# Site details

| Site Name | Site Address | Post code | High risk building reference |
| --- | --- | --- | --- |
|  |  |  | HRBxxxxxxxx |

# Duty Holders

| Duty holder | Name | email | telephone number | Company |
| --- | --- | --- | --- | --- |
| Client |  |  |  |  |
| Individual Principal Designer |  |  |  |  |
| Individual Principal Contractor |  |  |  |  |
| Principal Accountable Person |  |  |  |  |

# Designers

| Role | Name | Phone | email | Company |
| --- | --- | --- | --- | --- |
| Designer |  |  |  |  |
| Structural Designer |  |  |  |  |
| Electrical Designer |  |  |  |  |

# Objective of this  Building Regulations Compliance Statement

This statement and its appendix documents the  approach taken  to make sure Building Regulations are met and that the proposed building work, once built, will meet building regulations,

Drawings and plans  have been produced to present the proposal to install a new telecommunications cell on the building’s roof.  The new cell will provide 4G and 5G coverage and additional capacity for two  mobile network operator’s , [MNO Name] and [MONO Name].  This site share arrangement reduces the requirement for other cells on other buildings in the area.

The scope presented  in the design includes building works as defined in Building Regulations 2010.    There are alterations proposed that are material to functional requirements of approved documents A,  B, C, and P  and hence categorised as ‘A’ .  Other functional requirements of approved documents  E,  H, L,  R and 7 are also applicable.     The alterations are described in the Building Regulations Compliance Statement  provided in Appendix A.

More detailed assessments of the how the planned work will meet  the relevant functional requirement of each applicable approved document is provided in the same document,  and where necessary  further detail is supplied to explain why measures have been chosen in preference to others to meet the functional requirement.  The application  and compliance to British and BS EN standards and design codes  is further assessed under each applicable Approved Document.

# Legal  Provisions

The Building (Higher-Risk Buildings Procedures) (England) Regulations 2023 and HRB SCHEDULE 1, Paragraph 2

The Building (Higher-Risk Buildings Procedures) (England) Regulations 2023 – Regulation 2

The Higher-Risk Buildings (Descriptions and Supplementary Provisions) Regulations 2023 (defines a HRB and separate sections of the building).

The Building Safety Act 2022

Building Regulations 2010 (as amended).

Construction (Design and Management) Regulations 2015 (CDM 2015).

Work at Height Regulations 2005.

Lifting Operations and Lifting Equipment Regulations 1998 (LOLER).

Health and Safety at Work Act 1974.

# The Site

| South Elevation | Bird’s Eye view courtesy of Google Earth |
| --- | --- |

The Building is registered on the .Gov Higher Risk  Building register as follows.

HRBxxxxxxxxxxx

Building Name

Address

| Number of floors above ground | 14 |
| --- | --- |
| Height from ground level to the top floor, not the roof. | 34 metres |
| Number of residential units | 79 |

When was the building completed  [Building Name] was completed between 2001-2006.

The [AP/PAP Name] is responsible for the building's safety (accountable persons).

The [AP/PAP Name] is responsible for:

- the routes that residents can walk through, like corridors, staircases and fire doors

- facilities that residents share, like laundry rooms or bin rooms

- maintaining plant and equipment - this includes lifts, firefighting equipment and any other machinery in the building

The [AP/PAP Name] is the principal accountable person They're also responsible for telling residents how to contact them, make complaints or ask questions. This is part of their residents engagement strategy. They are based at [AP/PAP Name/address].

# Overview of the Design

Further details  are provided in appendix A.

A cell site is to be installed on the xx m  above ground level roof.   It will consist  of three fixed antenna frames, positioned in the building corners to provide coverage to the North East,  South East  and North West of the surrounding area.   These are to be supported on steel pedestals which have been designed to carry load to the reinforced concrete roof, which is covered with a warm roof designed and supplied by Langley Limited.

Two steel grillages will be similarly mounted on pedestals and positioned adjacent to the parapet edges, near the mid-span points of the long edges of the rooftop.   These grillage  will also be pedestal mounted and will support each operator’s cabinets.

Power supply will be obtained from the landlord supply, requiring new equipment to be installed in the Switch Room,   and a submain cable to be run from the  Switch Room  to the  [MNO name] cabinet grillage  via  a redundant  gas main riser,  requiring multiple penetrations through walls and floors slabs.    Firestopping measures are described in the  compliance statement . Fibre transmission is currently subject to a separate application submitted by [Fibre provider name],  but provision has been made in this application to lay fibre-optic cable in parallel with the submain  cable to the roof.

The original design was produced in 2024 by [Contractor]   for [MNO name] under a different programme.   The design was transferred to [Contractor] to progress the ‘site share’ proposal under the client’s programme.   The design has been extensively revised, principally in order to meet the site share scope, but also to meet  the functional requirements of  approved documents A, B, C.

# Designer Competencies.

The Client has authorised [Contractor Name]  to act as Principal Designer  and Principal Contractor  following their assessment of its organisational competency of  [Contractor Name] in both of these duty holder roles.

[Contractor Name] has  also Designer responsibilities and has employed the following individuals designers to fulfil the duties below.

| Designer | Name | Competency assessment summary |
| --- | --- | --- |
| Designer | Joe Bloggs | Knowledge: Civil Engineering 2:1 University of West Scotland 2018 Experience 2019 to 2023 Design Manager , Ruff Consultants Limited rooftop cell design focusing on Notice to Quit sites 2023 to date : Site Designer 50% focus on rooftop sites including 10 higher risk buildings Skills : CAD, structural CAD, and design. Concrete construction understanding through previous employment (Stephenson SSC site supervisor). Behaviours Engagement in the design exhibited through proposed revisions to pedestal design to meet the, improvements in the presentation of firestopping details. |
| Structural Designer | Joanne Bloggs | Knowledge: MSc Structural Engineering 2013 BSc Civil Engineering/Structural Engineering with Distinction ; University of València (UPV) 2011 Experience 10 years of accumulated Telecommunications related structural engineering knowledge including rooftop design. Application of BS EN codes . Skills Eurocodes, MS Tower , Autocad, Steel design Reinforced and prestressed concrete , MATLab Behaviours : demonstrates critical design and safe by design key behaviours. |
| Electrical Designer | T Sparks | Knowledge NVQ Level 3 Electrical Engineering, Tameside College 2016 NICIEC 18th Edition Safe Contractor Competency Experience : 14 years of electrician and electrical design experience Skills: Electrician skills and Electrical design, telecommunications design. Behaviours : Critical design, safe by design. |

# Appendix A

TELECOMS-[Insert Building Name] BUILDING REGULATIONS COMPLIANCE STATEMENT APPENDIX  A  details the applicable functional requirements and how the design will meet the these requirements.   Note that the   entries in this  Building Regulations Compliance Statement are further used to define the testing, certification, completion image, and inspection requirements listed on the construction control plan Appendix  A,  which in turn defines the reporting requirements of Golden Thread Arrangements.