QUIZ
"SHOCKS AND ARC FLASH"
PRESENTER'S COPY... WITH ANSWERS 
1. True or False? You can be shocked by household appliances, extension cords and even wall outlets.
   X   
True

       
False

2.
True or False? If you notice that a piece of equipment has torn insulation or exposed 

wiring, you should finish your task and then report it to your supervisor.
      
True

    X   
False

3.
True or False? Most arc flashes result from mistakes that are made when someone is 

working on or near an electrical system.
   X   
True

       
False

4.
True or False? An arc flash can vaporize structures and equipment.
   X   
True

       
False

5.
True or False? An arc flash event can end a worker’s life in a matter of seconds.
   X   
True

       
False

6.
True or False? Wearing arc-rated clothing is unnecessary in an electrically hazardous area 

if you’re a qualified person.
      
True

    X   
False

7.
True or False? Creating an “Electrically Safe Work Condition” can help reduce the risk of an 

arc flash event occurring when you are working on or around electrically powered equipment.
   X   
True

       
False

8.
True or False? De-energizing equipment will eliminate all shock and arc flash hazards.
      
True

    X   
False

9.
True or False? Preventing arc flash events is the responsibility of “qualified” electrical

workers only.
      
True

    X   
False

10.
True or False? If you aren’t qualified to operate or work on electrical equipment, you should only try to do it in an emergency.
      
True

    X   
False

GEN-476
