QUIZ
"UNDERSTANDING NFPA 70E… ELECTRICAL

 HAZARDS AND SAFE PRACTICES"
PRESENTER'S COPY... WITH ANSWERS 
1.
True or False? Because arc flashes only last microseconds, they are never fatal.
      
True

    X    
False

2.
True or False? Anyone can experience an electric shock.
   X   
True

       
False

3.
True or False? The keys to working safely around electricity are planning and preparation.
   X   
True

       
False

4.
True or False? A “restricted approach boundary” poses less of an electrical risk than a 

“limited approach boundary”.
      
True

    X    
False

5.
True or False? PPE is the “last line of defense” when working around electrical equipment.
   X   
True

       
False

6.
True or False? Any tools that you work with within a “restricted approach boundary” should 

be insulated.
   X   
True

       
False

7.
True or False? The NFPA 70E addresses arc flash, arc blast, and electric shock hazards.
   X   
True

       
False

8.
True or False? A static shock is an electrical explosion that occurs when air becomes the conductor of electricity.
      
True

    X    
False

9.
True or False? You can verify that test instruments are working properly by using the “LIVE-DEAD-LIVE” test.
   X   
True

       
False

10.
True or False? You should use physical or mechanical barriers when you’re working around exposed, energized conductors that operate at 20 volts or more.
      
True

    X    
False

GEN-475
