The following specification text has been prepared to assist design professionals in the preparation of a specification section incorporating SilPruf™ SCS2000 silicone sealant and adhesive, used for structural glazing applications, and on a variety of materials for weatherproofing applications.

Incorporate language from this specification into the relevant product Sections. Design professional is responsible for editing information to meet their Project requirements and coordinate with other specifications sections and Drawings.

SECTION 07 92 00

JOINT SEALANTS

Editor notes are included in hidden text to assist with product attributes and performance. As this is not a stand-alone specification section, insert final text into the following or similar relevant product Section:

07 24 00 – Exterior Insulation and Finish System (EIFS)

07 92 00 - Joint Sealants

08 44 13 – Glazed Aluminum Curtain Wall

08 80 00 – Glazing

SCS2000 will withstand high joint movements and extreme weather exposure.

SCS2000 is not recommended for use underwater or in continuous contact with water, food contact applications, when painting of cured sealant is desired, or for structural adhesion on bare steel, mill aluminum or similar metal surfaces subject to corrosion.

For assistance on the use of the products in this section, contact Momentive Performance Materials at 877-943-7325, or visit their website at www.siliconesforbuilding.com.

-  GENERAL

SUBMITTALS

Include the following into PART 1 of the material specification requiring SilPruf™ SCS2000 silicone sealant and adhesive for submission of product data, samples, and test reports.

Sealant Submittals:

Product Data: Manufacturer’s descriptive data and application instructions.

Samples: Sealant samples [showing available colors.] [in specified color.]

Laboratory Test Reports:

Sealant-Substrate adhesion testing.

Sealant compatibility testing.

Sealant manufacturer's recommendations.

WARRANTY

Manufacturer’s Warranty:

Silicone Sealants:  Up to twenty (20) year limited weatherseal warranty.

– PRODUCTS

Insert the following into PART 2 of the material specification requiring SilPruf™ SCS2000 silicone sealant and adhesive.

MATERIALS

Joint Sealant, Silicone:

Acceptable Product: SilprufTM SCS2000 by Momentive Performance Materials (www.siliconeforbuilding.com). [Substitutions not permitted.] [Refer to Division 01 for Substitution Procedures.]

Description: One component, high-strength, neutral cure, 100 percent silicone sealant and adhesive.

Physical characteristics:

Movement capability: Plus or minus 50 percent, tested to ASTM C719.

VOC content: 20 g/l, tested to ASTM D2369 or D2369 (modified).

Hardness: 24±2 durometer Type A indentor, tested to ASTM C661.

Ultimate tensile strength: 341 PSI (2.35 MPa), tested to ASTM D412.

Ultimate elongation: 715 percent, tested to ASTM D412.

Tear strength, die B: 76.8 PSI, tested to ASTM D624.

Shear strength: 121.4 PSI (0.84 MPa), tested to ASTM C961.

Peel strength: 56.6 PLI, tested to ASTM C794.

Service temperature range: Minus 55 to plus 250 degrees F (minus 48 to plus 121 degrees C).

Available in 13 standard colors. Select color below. Custom colors will be an additional charge. Contact Momentive Technical Services if using color other than black for structural glazing applications.

Color: [White.] [Black.] [Limestone.] [Medium Gray.] [Light Grey.] [Aluminum Gray.] [Dark Grey.] [Precast White.] [Bronze.] [Earth Tone.] [Red Brick.] [Champagne.] [Sandy Beige.] [Custom to be selected.] [As selected by Architect from manufacturer’s standard colors.]

ACCESSORIES

SCS2000 sealant attains primerless adhesion to many commonly encountered construction materials. However, some materials with variable surface characteristics may require the use of a primer to help obtain durable long-term adhesion. Prior to use, make trial applications to check adhesion to the specific materials to be used on the Project.

A primer is always required on exterior insulation and finish system (EIFS) surfaces.

Primer: Type recommended by joint sealant manufacturer for specific substrate to receive joint sealant.

Insert the following into PART 3 of the material specification requiring SilPruf™ SCS2000 silicone sealant and adhesive.

- EXECUTION

PREPARATION

Prepare surfaces to receive joint sealants in accordance with manufacturer’s instructions.

Ensure that joints are clean, dry, and sound prior to application of joint sealer.

Perform cleaning within 1 to 2 hours of when sealant is to be applied.

Retain the following for substrates such as concrete, masonry, brick, stone, and other similar porous substrates.

Porous Surfaces:

Remove contaminants, impurities, and other adhesion inhibitors.

Where necessary clean by wire brush, mechanical abrading, grinding, sanding, saw cutting, blast cleaning with sand or water, or combination of these methods.

Remove dust and other loose particles using soft bristle brush or oil-free air blow.

Clean polished stone surfaces and smooth sawn edges using solvent dampened rag.

Retain the following for substrates such as glass, metals, plastics, ceramics and other similar non-porous substrates.

Non-Porous Surfaces:

Clean surfaces by wiping with solvent applied with clean rag, then remove solvent with clean rags before it dries.

Use solvent approved by surface manufacturer when cleaning coatings, paints, and plastics.

Retain the following for EIFS applications. Note that primer is required on all EIFS substrates.

Exterior Insulation and Finish System (EIFS) Surfaces:

Lightly abrade joint surfaces using synthetic brush or pad, then remove dust and other loose particles using soft bristle brush or oil-free air blow.

Coordinate application of primer with EIFS for application of sealant to appropriate finish.

Retain the following for weathersealing applications such as in EIFS.

APPLICATION, WEATHERSEALING

Apply sealant in accordance with manufacturer’s instructions.

Apply sealant in continuous operation, horizontally in one direction and vertically from bottom to top of joint.

Apply positive pressure adequate to fill and seal joint.

Tool or strike sealant using concave tool, applying light pressure to spread material against backup material and joint surfaces; ensure void-free application.

Retain the following for structural glazing applications.

APPLICATION, STRUCTURAL GLAZING

Apply sealant in accordance with manufacturer’s instructions.

Push sealant bead ahead of the nozzle ensuring entire cavity is filled. Force sealant into contact with sides of the joint by neatly tooling, helping to eliminate any internal voids and assuring good contact.

Tool sealant at sill so that precipitation and cleaning solutions will not pool.

CLEANING

Remove excess sealant from adjacent glass, metal, and plastic surfaces while still uncured.

Allow sealant on porous surfaces to progress through initial cure, then remove by abrasion or other mechanical means.

END OF SECTION