## Cover
BILL OF QUANTITIES – MASTER TEMPLATE
Measured and formatted in accordance with the RICS New Rules of Measurement 2 (NRM2): Detailed measurement for building works
Currency neutral – every currency label in this workbook is driven by the currency code in cell C10.
1. PROJECT INFORMATION |  | www.mastt.com
Project name | Example Project – Commercial Office Fit-out and Base Build
Project number | PRJ-0001
Client / Employer | Enter client name
Project location | Enter location
Currency code (drives all currency labels) | CUR | Replace 'CUR' with AUD, GBP, USD, NZD, EUR etc. Every column heading and note that shows a currency reads this cell.
Date of bill of quantities | 2026-08-10
Prepared by (quantity surveyor) | Enter name
Checked by | Enter name
Contract duration (weeks) | 78 | Drives the time-related preliminaries on Bill No. 1.
Basis of measurement | RICS NRM2 – Detailed measurement for building works
Cost base date | 2026-08-10
Estimate status | Pre-tender estimate
Revision | Rev A
2. GLOBAL PRICING ASSUMPTIONS
Default all-in labour rate (per hour) | 68 | Default feeding every row of the 'Rate Build-Up' sheet.
Default material waste allowance (%) | 5% | Applied to material cost in the rate build-ups.
Main contractor's overheads (%) | 8%
Main contractor's profit (%) | 5%
Overheads and profit included in the measured rates? | Yes | Yes = O&P is added inside each rate build-up and the summary O&P line is nil. No = rates are net cost and O&P is added once on the summary. This switch prevents double counting.
Builder's work in connection (% of services) | 2.5% | Drives the BWIC allowance item in NRM2 §41 on Bill No. 8.
3. RISK ALLOWANCES, INFLATION AND TAX
Design development risk (%) | 5% | NRM2 risk allowances are applied on the 'Prov Sums and Risk' sheet.
Construction risk (%) | 3%
Employer change risk (%) | 2%
Employer other risk (%) | 1%
Tender inflation, to date of tender return (%) | 2.5%
Construction inflation, to mid-point of construction (%) | 3.5%
Tax – GST / VAT (%) | 10% | Set to 0.00% if the bill is to be presented exclusive of tax.
4. DAYWORK PERCENTAGE ADDITIONS
Daywork – labour, percentage addition (%) | 85%
Daywork – materials, percentage addition (%) | 15%
Daywork – plant, percentage addition (%) | 15%
Colour convention
Blue bold text on an amber fill | An input. Type over it.
Black text | A formula calculated inside the same sheet. Do not overtype.
Green text | A live link to another sheet. Do not overtype.
Grey italic text | Guidance, notes and NRM2 references.
A Mastt template. Construction project controls, cost management and reporting – | www.mastt.com
Every item pre-filled with 'EXAMPLE —' is an illustrative worked entry. Delete the example rows before issuing this bill.

## How to Use
HOW TO USE THIS TEMPLATE
A bill of quantities measured and formatted to RICS NRM2. Work through the sheets in the order below.
Step 1 – Cover | Set the currency code, contract duration and every global percentage. These cells drive the whole workbook: change the currency code in C10 and every column heading in every sheet re-labels itself.
Step 2 – Rate Build-Up | Build up your all-in rates from labour hours, material quantity and cost, waste, plant and sub-contract cost. Give each build-up a reference (BU-01, BU-02 …). The all-in rate in column P is what the bills pick up.
Step 3 – Bill No. 1, Preliminaries | Price NRM2 §1 as a fixed charge, a time-related charge, or both. The duration column is linked to the Cover sheet, so changing the programme reprices every time-related item at once.
Step 4 – Bills No. 2 to 9 | Measure the work. Each bill is divided into NRM2 work sections with the section number shown on every line. For each item enter a description, unit, and quantity, then either type a rate in 'Manual rate' or enter a build-up reference in 'BU ref' — the 'Rate applied' column takes the build-up rate when a reference is present and the manual rate otherwise.
Step 5 – Prov Sums and Risk | Schedule the defined and undefined provisional sums, the dayworks, the four NRM2 risk allowances and any credits for arisings. Risk percentages come from the Cover sheet and are applied to sub-total H on the summary.
Step 6 – BoQ Summary | Nothing here is typed except cell E36. Every other figure is a live link. Three reconciliation checks at the bottom confirm that the bills, the components and the grand total agree.
Step 7 – Tender Comparison | Enter each tenderer's priced summary in the blue columns. The estimate column, the lowest tender, the variances, the ranking and the name of the lowest tenderer all calculate themselves.
Which cells may I type in?
Blue bold text on an amber fill | An input. Type over it.
Black text | A formula inside the same sheet. Leave it alone.
Green text | A live link to another sheet. Leave it alone.
A row that turns pink | A quantity has been entered with no valid rate — either the rate is missing or the build-up reference does not exist.
Anything beginning 'EXAMPLE —' | An illustrative worked entry with an indicative rate. It is not a price. Delete every example row before you issue the bill.
Assumptions built into the template
• | All indicative rates and quantities are illustrative placeholders written for this template. They are not benchmarked market rates and must be replaced.
• | Overheads and profit are counted once. The switch in Cover!C25 decides whether they sit inside each rate build-up or are added as a single line on the summary — never both.
• | Risk allowances are applied to sub-total H on the summary (measured works, preliminaries, provisional sums, dayworks and credits). Change the reference in column F of the 'Prov Sums and Risk' sheet if your convention differs.
• | Construction inflation is applied to the sub-total after tender inflation, which compounds the two. Set either to zero if your convention is simple rather than compound escalation.
• | Builder's work in connection is calculated as a percentage of the four services sections above it on Bill No. 8, at the rate set in Cover!C26.
• | Quantities are measured net as fixed in position per NRM2. Waste is priced in the rate, in the waste column of the build-up sheet.
• | Source for the work section structure: RICS, NRM 2: Detailed measurement for building works, Part 3 — the 41 numbered work sections.
A Mastt template
Mastt is construction project controls software for capital project owners – budgets, contracts, variations, payments, risk and reporting in one place. If you are running this bill of quantities across a portfolio rather than a single spreadsheet, that is what Mastt is for.
www.mastt.com

## NRM2 Reference
Example Project – Commercial Office Fit-out and Base Build
NRM2 FORMAT AND WORK SECTION REFERENCE
The rules | RICS New Rules of Measurement, Volume 2 (NRM2): Detailed measurement for building works. NRM1 covers order of cost estimating and elemental cost planning; NRM3 covers building maintenance works.
Part 1 | General – purpose, use and definitions.
Part 2 | Rules for detailed measurement of building works – the content, structure and format of bills of quantities, including preliminaries, provisional sums (defined and undefined), prime cost sums, dayworks, risk allowances, credits, the information required, and the treatment of contractor designed works.
Part 3 | Tabulated rules of measurement for building works – 41 numbered work sections, each set out in the same tabulated format: Level 1 (group), Level 2 (sub-group) and Level 3 (item), with the unit of measurement, and the measurement rules, definition rules, coverage rules and non-measurable items for each.
Appendices | Templates for the preliminaries pricing schedule, the elemental and work section summaries, and for provisional sums, risks and credits.
BoQ formats | NRM2 allows a bill to be broken down elementally, by work section, by work package, or in a work breakdown structure that suits the procurement route. This workbook uses a work section breakdown grouped into nine bills, with the NRM2 section number carried on every line.
Units | m (linear), m2 (superficial), m3 (cubic), kg and t (weight), nr (enumerated), item, sum, and week or hour for time-related items. Quantities are measured net as fixed in position; no allowance is made for waste in the measured quantity – waste belongs in the rate.
Rounding | NRM2 requires quantities to be given to the nearest whole unit, except where a quantity is less than one unit, in which case two decimal places are given.
Provisional sums | A defined provisional sum has known nature, quantity, programme and access; the contractor allows for it in the programme and preliminaries. An undefined provisional sum does not, and the contractor is not deemed to have made that allowance.
Risk | NRM2 allocates risk across four categories: design development risks, construction risks, employer change risks and employer other risks.
THE 41 NRM2 WORK SECTIONS
Section | NRM2 work section title | Typical units | Bill in this workbook | Section subtotal (CUR)
1 | Preliminaries | item / wk / sum | 1 Preliminaries | 3960700
2 | Off-site manufactured materials, components or buildings | nr / item | 2 Substructure | 185000
3 | Demolitions | m2 / m3 / item | 2 Substructure | 74725
4 | Alterations, repairs and conservation | nr / m / item | 2 Substructure | 14700
5 | Excavating and filling | m2 / m3 | 2 Substructure | 260251
6 | Ground remediation and soil stabilisation | m3 / t / item | 2 Substructure | 59200
7 | Piling | m / nr | 2 Substructure | 527400
8 | Underpinning | m / nr | 2 Substructure | 49300
9 | Diaphragm walls and embedded retaining walls | m2 / m | 2 Substructure | 694200
10 | Crib walls, gabions and reinforced earth | m2 / m3 | 2 Substructure | 88200
11 | In-situ concrete works | m3 / m2 / t | 3 Superstructure | 1349351.75
12 | Precast/composite concrete | m2 / nr | 3 Superstructure | 468000
13 | Precast concrete | nr / m | 3 Superstructure | 58200
14 | Masonry | m2 / m / nr | 3 Superstructure | 615009
15 | Structural metalwork | t / nr / m2 | 3 Superstructure | 1873700
16 | Carpentry | m / m2 / nr | 3 Superstructure | 103860
17 | Sheet roof coverings | m2 / m | 4 Envelope and Roof | 437250
18 | Tile and slate roof and wall coverings | m2 / m | 4 Envelope and Roof | 100800
19 | Waterproofing | m2 / m | 4 Envelope and Roof | 221420
20 | Proprietary walls, linings and partitions | m2 / m | 4 Envelope and Roof | 475008
21 | Cladding and covering | m2 / m / nr | 4 Envelope and Roof | 3690750
22 | General joinery | m / nr / m2 | 5 Openings and Joinery | 111600
23 | Windows, screens and lights | nr / m2 | 5 Openings and Joinery | 177600
24 | Doors, shutters and hatches | nr | 5 Openings and Joinery | 177000
25 | Stairs, walkways and balustrades | nr / m | 5 Openings and Joinery | 179100
26 | Metalwork | nr / m / kg | 5 Openings and Joinery | 11760
27 | Glazing | m2 / nr | 5 Openings and Joinery | 114700
28 | Floor, wall, ceiling and roof finishings | m2 / m | 6 Finishes | 782024
29 | Decoration | m2 / m | 6 Finishes | 154688
30 | Suspended ceilings | m2 | 6 Finishes | 223200
31 | Insulation, fire stopping and fire protection | m2 / m / nr | 6 Finishes | 117220
32 | Furniture, fittings and equipment | nr / m / item | 7 FF and E | 325320
33 | Drainage above ground | m / nr | 8 Services | 83840
34 | Drainage below ground | m / nr / item | 9 External Works | 459000
35 | Site works | m2 / m / item | 9 External Works | 522580
36 | Fencing | m / nr | 9 External Works | 168700
37 | Soft landscaping | m2 / nr | 9 External Works | 95820
38 | Mechanical services | m2 / nr / item | 8 Services | 4267200
39 | Electrical services | m2 / nr / item | 8 Services | 2346600
40 | Transportation systems | nr | 8 Services | 570000
41 | Builder's work in connection with mechanical, electrical and transportation installations | nr / item / % | 8 Services | 181691
| Total of all 41 work sections (equals sub-total C on the BoQ Summary) |  |  | 26376667.75
| Check against the BoQ Summary |  |  | OK

## BoQ Summary
Example Project – Commercial Office Fit-out and Base Build
BILL OF QUANTITIES – SUMMARY
All amounts in CUR. Prepared in accordance with RICS NRM2. Every figure below is a live link – do not overtype.
Ref | Description | NRM2 reference | Basis / rate | AMOUNT (CUR) | % of works | Notes
1 | Preliminaries | NRM2 §1 |  | 3960700 | 12.54%
2 | Substructure and Groundworks | NRM2 §2 to §10 |  | 1952976 | 6.181%
3 | Superstructure – Frame, Upper Floors, Walls, Carpentry | NRM2 §11 to §16 |  | 4468120.75 | 14.14%
4 | Roof Coverings, Waterproofing, Linings and Cladding | NRM2 §17 to §21 |  | 4925228 | 15.59%
5 | Joinery, Windows, Doors, Stairs, Metalwork and Glazing | NRM2 §22 to §27 |  | 771760 | 2.443%
6 | Finishes, Decoration, Suspended Ceilings and Fire Protection | NRM2 §28 to §31 |  | 1277132 | 4.042%
7 | Furniture, Fittings and Equipment | NRM2 §32 |  | 325320 | 1.03%
8 | Building Services and Builder's Work in Connection | NRM2 §33, §38 to §41 |  | 7449331 | 23.58%
9 | External Works, Below Ground Drainage and Landscaping | NRM2 §34 to §37 |  | 1246100 | 3.944%
A | NET MEASURED WORKS (Bills 2 to 9, excluding preliminaries) |  |  | 22415967.75 | 70.94%
B | Preliminaries (Bill 1) |  |  | 3960700 | 12.54%
C | SUB-TOTAL – MEASURED WORKS AND PRELIMINARIES |  |  | 26376667.75 | 83.48%
D | Defined provisional sums |  |  | 147000 | 0.4652% | From the 'Prov Sums and Risk' sheet, block A
E | Undefined provisional sums |  |  | 165000 | 0.5222% | Block B – programme and preliminaries consequences not allowed for
F | Dayworks |  |  | 177900 | 0.563% | Block C
G | Credits for arisings |  |  | -34500 | -0.1092% | Block E – entered as negative values
H | SUB-TOTAL |  |  | 26832067.75 | 84.92% | This is the base for the risk allowances
I | Main contractor's overheads and profit, where not already included in the measured rates |  | 0% | 0 | 0% | Nil while Cover!C25 = 'Yes', because O&P is inside each rate build-up
J | SUB-TOTAL |  |  | 26832067.75 | 84.92%
K | Risk allowances (design development, construction, employer change, employer other) |  |  | 2951527.46 | 9.341% | From the 'Prov Sums and Risk' sheet, block D
L | SUB-TOTAL |  |  | 29783595.21 | 94.26%
M | Tender inflation, to date of tender return |  | 2.5% | 744589.88 | 2.357%
N | Construction inflation, to mid-point of construction |  | 3.5% | 1068486.48 | 3.382%
O | SUB-TOTAL – CONSTRUCTION COST |  |  | 31596671.57 | 100%
P | Contractor design fees and other adjustments |  |  | 0 | 0% | Enter a value directly in cell E36 if required
Q | SUB-TOTAL – EXCLUDING TAX |  |  | 31596671.57 | 100%
R | Tax (GST / VAT) |  | 10% | 3159667.16 | 10%
S | TOTAL BILL OF QUANTITIES (INCLUDING TAX) |  |  | 34756338.73
Checks
| Sum of the nine bills equals the works and preliminaries sub-total |  |  | OK
| Overheads and profit are counted once only |  |  | OK – O&P is inside the rate build-ups
| Total is the sum of every component |  |  | OK
Note on E40: Grand total. Every component above is a live link to a bill sheet, the preliminaries sheet, the provisional sums and risk sheet, or a percentage on the Cover sheet. Nothing on this sheet is typed except cell E36.

## 1 Preliminaries
Example Project – Commercial Office Fit-out and Base Build | [6 empty] | mastt.com
BILL No. 1 – PRELIMINARIES (NRM2 §1)
NRM2 splits preliminaries into the Employer's requirements (§1.1) and the Main contractor's cost items (§1.2), each priced as a fixed charge and/or a time-related charge.
BILL 1 TOTAL, CARRIED TO SUMMARY | [5 empty] | 3960700 | Total in CUR
Ref | Description | Fixed charge (CUR) | Time-related rate (per week) (CUR) | Duration (weeks) | Time-related charge (CUR) | TOTAL (CUR) | Notes and assumptions
1.1 | EMPLOYER'S REQUIREMENTS (NRM2 §1.1)
1.1.1 | EXAMPLE — Site accommodation required by the Employer – offices, meeting rooms, welfare for the Employer's representatives | 45000 | 1800 | 78 | 140400 | 185400 | Fixed charge covers set up and removal
1.1.2 | EXAMPLE — Site records required by the Employer – progress photographs, as-built records, O&M documentation |  | 650 | 78 | 50700 | 50700
1.1.3 | EXAMPLE — Completion and post-completion requirements – handover, training, defects rectification period attendance | 38000 |  | 78 |  | 38000
78
78
78
78
78
| Subtotal – EMPLOYER'S REQUIREMENTS (NRM2 §1.1) |  |  |  |  | 274100
1.2 | MAIN CONTRACTOR'S COST ITEMS (NRM2 §1.2)
1.2.1 | EXAMPLE — Management and staff – project manager, site manager, engineers, QS, safety officer, administration |  | 18500 | 78 | 1443000 | 1443000 | Time related; duration linked to Cover sheet
1.2.2 | EXAMPLE — Site establishment – site offices, stores, compounds, sheds, welfare, furniture, IT and consumables | 185000 | 4200 | 78 | 327600 | 512600
1.2.3 | EXAMPLE — Temporary services – temporary power, water, lighting, telecommunications and drainage; including consumption | 62000 | 2400 | 78 | 187200 | 249200
1.2.4 | EXAMPLE — Security – hoardings, fencing, gates, gantries, CCTV, security staff and alarms | 78000 | 3100 | 78 | 241800 | 319800
1.2.5 | EXAMPLE — Safety and environmental protection – safety programme, barriers, environmental controls, dust and noise mitigation | 24000 | 1450 | 78 | 113100 | 137100
1.2.6 | EXAMPLE — Control and protection – setting out, surveys, protection of existing and completed works, samples and testing | 18000 | 1250 | 78 | 97500 | 115500
1.2.7 | EXAMPLE — Mechanical plant – tower crane, hoists, mobile cranes, forklifts, small plant and scaffolding not measured in the works | 145000 | 9800 | 78 | 764400 | 909400
1.2.8 | Temporary works – access scaffolding, temporary roads, propping, temporary bridges and traffic management |  |  | 78
1.2.9 | Site records – the Contractor's own records, programme and progress reporting |  |  | 78
1.2.10 | Completion and post-completion requirements – testing, commissioning witnessing, handover documentation |  |  | 78
1.2.11 | Cleaning – site tidy, builder's clean and final clean on completion |  |  | 78
1.2.12 | Fees and charges – statutory fees, permits, licences, authority inspections and connections |  |  | 78
1.2.13 | Site services – temporary works designer, third party attendance and other site services |  |  | 78
1.2.14 | Insurances, bonds, guarantees and warranties – works insurance, public liability, performance bond, parent company guarantee, collateral warranties |  |  | 78
78
78
78
78
78
78
78
78
| Subtotal – MAIN CONTRACTOR'S COST ITEMS (NRM2 §1.2) |  |  |  |  | 3686600

## 2 Substructure
Example Project – Commercial Office Fit-out and Base Build | [8 empty] | mastt.com
BILL No. 2 – SUBSTRUCTURE AND GROUNDWORKS
NRM2 §2 to §10. Quantities are measured net as fixed in position in accordance with NRM2 Part 3.
BILL TOTAL, CARRIED TO SUMMARY | [7 empty] | 1952976 | Total in CUR
Item ref | NRM2 ref | Description | Unit | Quantity | BU ref | Manual rate (CUR) | Rate applied (CUR) | AMOUNT (CUR) | Notes and assumptions
§2 |  | NRM2 Work Section 2 – Off-site manufactured materials, components or buildings | [6 empty] | Units: nr / item
2.01 | §2 | EXAMPLE — Precast modular plant room, factory assembled and finished, delivered and craned into final position; including sealing to structure | nr | 1 |  | 185000 | 185000 | 185000 | Off-site manufactured – measured as a complete unit
0
0
0
0
0
|  | Subtotal – NRM2 §2 Off-site manufactured materials, components or buildings | [5 empty] | 185000
§3 |  | NRM2 Work Section 3 – Demolitions | [6 empty] | Units: m2 / m3 / item
3.01 | §3 | EXAMPLE — Demolish existing single storey brick outbuilding, 240 m3, remove arisings from site; including capping off of live services | item | 1 |  | 42000 | 42000 | 42000 | Credits for arisings measured on 'Prov Sums and Risk'
3.02 | §3 | EXAMPLE — Break out existing reinforced concrete ground slab, 200 mm thick, and cart away | m2 | 850 |  | 38.5 | 38.5 | 32725
0
0
0
0
0
0
|  | Subtotal – NRM2 §3 Demolitions | [5 empty] | 74725
§4 |  | NRM2 Work Section 4 – Alterations, repairs and conservation | [6 empty] | Units: nr / m / item
4.01 | §4 | EXAMPLE — Form new structural opening 2100 x 2400 mm in existing 350 mm masonry wall; including temporary support, precast lintel and making good | nr | 6 |  | 2450 | 2450 | 14700
0
0
0
0
0
0
|  | Subtotal – NRM2 §4 Alterations, repairs and conservation | [5 empty] | 14700
§5 |  | NRM2 Work Section 5 – Excavating and filling | [6 empty] | Units: m2 / m3
5.01 | §5 | EXAMPLE — Site clearance; remove vegetation and topsoil average 200 mm deep; stockpile on site for re-use | m2 | 4200 |  | 6.8 | 6.8 | 28560
5.02 | §5 | EXAMPLE — Bulk excavation to reduce levels, maximum depth not exceeding 2.00 m, in firm clay; disposal off site | m3 | 3150 | BU-01 |  | 45.54 | 143451 | Rate driven by build-up BU-01
5.03 | §5 | EXAMPLE — Excavating trenches for foundations, width exceeding 0.60 m, maximum depth not exceeding 2.00 m | m3 | 620 |  | 68 | 68 | 42160
5.04 | §5 | EXAMPLE — Imported granular fill Type 1, deposited and compacted in 150 mm layers | m3 | 480 |  | 96 | 96 | 46080
0
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §5 Excavating and filling | [5 empty] | 260251
§6 |  | NRM2 Work Section 6 – Ground remediation and soil stabilisation | [6 empty] | Units: m3 / t / item
6.01 | §6 | EXAMPLE — Removal of hydrocarbon contaminated soil to licensed landfill; including classification, haulage and tipping fees | t | 320 |  | 185 | 185 | 59200 | Confirm waste classification before pricing
0
0
0
0
0
0
|  | Subtotal – NRM2 §6 Ground remediation and soil stabilisation | [5 empty] | 59200
§7 |  | NRM2 Work Section 7 – Piling | [6 empty] | Units: m / nr
7.01 | §7 | EXAMPLE — 600 mm diameter CFA bored piles, 18.00 m deep, including reinforcement cage | m | 2160 |  | 235 | 235 | 507600
7.02 | §7 | EXAMPLE — Cut off pile heads and prepare projecting reinforcement | nr | 120 |  | 165 | 165 | 19800
0
0
0
0
0
0
|  | Subtotal – NRM2 §7 Piling | [5 empty] | 527400
§8 |  | NRM2 Work Section 8 – Underpinning | [6 empty] | Units: m / nr
8.01 | §8 | EXAMPLE — Traditional mass concrete underpinning in 1.00 m bays, 1.50 m deep below underside of existing footing | m | 34 |  | 1450 | 1450 | 49300
0
0
0
0
0
|  | Subtotal – NRM2 §8 Underpinning | [5 empty] | 49300
§9 |  | NRM2 Work Section 9 – Diaphragm walls and embedded retaining walls | [6 empty] | Units: m2 / m
9.01 | §9 | EXAMPLE — Secant piled retaining wall, 750 mm diameter piles, 14.00 m deep, hard/firm arrangement | m2 | 890 |  | 780 | 780 | 694200
0
0
0
0
0
|  | Subtotal – NRM2 §9 Diaphragm walls and embedded retaining walls | [5 empty] | 694200
§10 |  | NRM2 Work Section 10 – Crib walls, gabions and reinforced earth | [6 empty] | Units: m2 / m3
10.01 | §10 | EXAMPLE — Gabion retaining wall 2.00 m high, 1.00 m wide baskets; including geotextile and drainage layer | m2 | 210 |  | 420 | 420 | 88200
0
0
0
0
0
|  | Subtotal – NRM2 §10 Crib walls, gabions and reinforced earth | [5 empty] | 88200

## 3 Superstructure
Example Project – Commercial Office Fit-out and Base Build | [8 empty] | mastt.com
BILL No. 3 – SUPERSTRUCTURE: FRAME, WALLS AND CARPENTRY
NRM2 §11 to §16. Quantities are measured net as fixed in position in accordance with NRM2 Part 3.
BILL TOTAL, CARRIED TO SUMMARY | [7 empty] | 4468120.75 | Total in CUR
Item ref | NRM2 ref | Description | Unit | Quantity | BU ref | Manual rate (CUR) | Rate applied (CUR) | AMOUNT (CUR) | Notes and assumptions
§11 |  | NRM2 Work Section 11 – In-situ concrete works | [6 empty] | Units: m3 / m2 / t
11.01 | §11 | EXAMPLE — In-situ reinforced concrete C32/40 to pile caps, thickness exceeding 500 mm | m3 | 340 |  | 385 | 385 | 130900
11.02 | §11 | EXAMPLE — In-situ reinforced concrete C32/40 to horizontal suspended slabs, 250 mm thick | m3 | 1180 | BU-02 |  | 407.73 | 481121.4 | Rate driven by build-up BU-02
11.03 | §11 | EXAMPLE — Reinforcement; high yield deformed bars to BS 4449, 16 mm diameter; bent, cut and fixed | t | 145 | BU-03 |  | 2821.39 | 409101.55 | Rate driven by build-up BU-03
11.04 | §11 | EXAMPLE — Formwork to soffits of horizontal slabs, height to soffit 3.00–4.50 m | m2 | 4720 | BU-04 |  | 69.54 | 328228.8 | Rate driven by build-up BU-04
0
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §11 In-situ concrete works | [5 empty] | 1349351.75
§12 |  | NRM2 Work Section 12 – Precast/composite concrete | [6 empty] | Units: m2 / nr
12.01 | §12 | EXAMPLE — Precast concrete composite plank floor, 150 mm plank with 75 mm structural topping | m2 | 2400 |  | 195 | 195 | 468000
0
0
0
0
0
|  | Subtotal – NRM2 §12 Precast/composite concrete | [5 empty] | 468000
§13 |  | NRM2 Work Section 13 – Precast concrete | [6 empty] | Units: nr / m
13.01 | §13 | EXAMPLE — Precast concrete stair flight, 2.70 m rise, including half landing | nr | 12 |  | 4850 | 4850 | 58200
0
0
0
0
0
|  | Subtotal – NRM2 §13 Precast concrete | [5 empty] | 58200
§14 |  | NRM2 Work Section 14 – Masonry | [6 empty] | Units: m2 / m / nr
14.01 | §14 | EXAMPLE — Facing brickwork, 102.5 mm skin, stretcher bond in gauged mortar; including wall ties and movement joints | m2 | 1860 | BU-05 |  | 204.18 | 379774.8 | Rate driven by build-up BU-05
14.02 | §14 | EXAMPLE — Blockwork, 140 mm dense concrete blocks, to inner skin of cavity wall | m2 | 1860 | BU-06 |  | 126.47 | 235234.2 | Rate driven by build-up BU-06
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §14 Masonry | [5 empty] | 615009
§15 |  | NRM2 Work Section 15 – Structural metalwork | [6 empty] | Units: t / nr / m2
15.01 | §15 | EXAMPLE — Structural steel framing; universal beams and columns, fabricated, delivered and erected, including all connections | t | 285 |  | 5900 | 5900 | 1681500
15.02 | §15 | EXAMPLE — Intumescent coating to structural steelwork, 90 minute fire rating, off-site applied | m2 | 3100 |  | 62 | 62 | 192200
0
0
0
0
0
0
|  | Subtotal – NRM2 §15 Structural metalwork | [5 empty] | 1873700
§16 |  | NRM2 Work Section 16 – Carpentry | [6 empty] | Units: m / m2 / nr
16.01 | §16 | EXAMPLE — Softwood roof trusses at 600 mm centres, 9.00 m span, including bracing and strapping | m | 340 |  | 145 | 145 | 49300
16.02 | §16 | EXAMPLE — Structural softwood floor joists 47 x 220 mm at 400 mm centres | m2 | 620 |  | 88 | 88 | 54560
0
0
0
0
0
0
|  | Subtotal – NRM2 §16 Carpentry | [5 empty] | 103860

## 4 Envelope and Roof
Example Project – Commercial Office Fit-out and Base Build | [8 empty] | mastt.com
BILL No. 4 – ROOF COVERINGS, WATERPROOFING, LININGS AND CLADDING
NRM2 §17 to §21. Quantities are measured net as fixed in position in accordance with NRM2 Part 3.
BILL TOTAL, CARRIED TO SUMMARY | [7 empty] | 4925228 | Total in CUR
Item ref | NRM2 ref | Description | Unit | Quantity | BU ref | Manual rate (CUR) | Rate applied (CUR) | AMOUNT (CUR) | Notes and assumptions
§17 |  | NRM2 Work Section 17 – Sheet roof coverings | [6 empty] | Units: m2 / m
17.01 | §17 | EXAMPLE — Single ply PVC membrane roof covering, mechanically fixed; including vapour control layer and 150 mm PIR insulation | m2 | 2650 |  | 165 | 165 | 437250
0
0
0
0
0
0
|  | Subtotal – NRM2 §17 Sheet roof coverings | [5 empty] | 437250
§18 |  | NRM2 Work Section 18 – Tile and slate roof and wall coverings | [6 empty] | Units: m2 / m
18.01 | §18 | EXAMPLE — Natural slate roof covering 500 x 250 mm on battens and breather membrane; pitch 35 degrees | m2 | 480 |  | 210 | 210 | 100800
0
0
0
0
0
|  | Subtotal – NRM2 §18 Tile and slate roof and wall coverings | [5 empty] | 100800
§19 |  | NRM2 Work Section 19 – Waterproofing | [6 empty] | Units: m2 / m
19.01 | §19 | EXAMPLE — Two coat liquid applied waterproofing to below ground concrete walls | m2 | 1240 |  | 78 | 78 | 96720
19.02 | §19 | EXAMPLE — Hot melt waterproofing to podium deck; including protection board | m2 | 860 |  | 145 | 145 | 124700
0
0
0
0
0
0
|  | Subtotal – NRM2 §19 Waterproofing | [5 empty] | 221420
§20 |  | NRM2 Work Section 20 – Proprietary walls, linings and partitions | [6 empty] | Units: m2 / m
20.01 | §20 | EXAMPLE — Metal stud partition, 92 mm studs, two layers 15 mm fire rated board each side, 60 minute FRL; including acoustic insulation | m2 | 3200 | BU-07 |  | 148.44 | 475008 | Rate driven by build-up BU-07
0
0
0
0
0
0
|  | Subtotal – NRM2 §20 Proprietary walls, linings and partitions | [5 empty] | 475008
§21 |  | NRM2 Work Section 21 – Cladding and covering | [6 empty] | Units: m2 / m / nr
21.01 | §21 | EXAMPLE — Unitised glazed curtain walling, double glazed, thermally broken; including all framing, fixings and perimeter sealing | m2 | 2850 |  | 1150 | 1150 | 3277500
21.02 | §21 | EXAMPLE — Insulated composite metal wall panel, 100 mm core, horizontally laid | m2 | 1450 |  | 285 | 285 | 413250
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §21 Cladding and covering | [5 empty] | 3690750

## 5 Openings and Joinery
Example Project – Commercial Office Fit-out and Base Build | [8 empty] | mastt.com
BILL No. 5 – JOINERY, WINDOWS, DOORS, STAIRS, METALWORK AND GLAZING
NRM2 §22 to §27. Quantities are measured net as fixed in position in accordance with NRM2 Part 3.
BILL TOTAL, CARRIED TO SUMMARY | [7 empty] | 771760 | Total in CUR
Item ref | NRM2 ref | Description | Unit | Quantity | BU ref | Manual rate (CUR) | Rate applied (CUR) | AMOUNT (CUR) | Notes and assumptions
§22 |  | NRM2 Work Section 22 – General joinery | [6 empty] | Units: m / nr / m2
22.01 | §22 | EXAMPLE — MDF skirting 19 x 150 mm, painted finish; plugged and screwed | m | 2450 |  | 38 | 38 | 93100
22.02 | §22 | EXAMPLE — Purpose made reception desk, solid surface top, 4.50 m long | nr | 1 |  | 18500 | 18500 | 18500
0
0
0
0
0
0
|  | Subtotal – NRM2 §22 General joinery | [5 empty] | 111600
§23 |  | NRM2 Work Section 23 – Windows, screens and lights | [6 empty] | Units: nr / m2
23.01 | §23 | EXAMPLE — Aluminium framed double glazed window 1800 x 1500 mm; including ironmongery, sealing and making good | nr | 96 |  | 1850 | 1850 | 177600
0
0
0
0
0
0
|  | Subtotal – NRM2 §23 Windows, screens and lights | [5 empty] | 177600
§24 |  | NRM2 Work Section 24 – Doors, shutters and hatches | [6 empty] | Units: nr
24.01 | §24 | EXAMPLE — Single leaf 60 minute fire door, solid core, hardwood veneer; including frame, seals and ironmongery | nr | 84 |  | 1650 | 1650 | 138600
24.02 | §24 | EXAMPLE — Powered roller shutter door 4000 x 4500 mm; including controls | nr | 3 |  | 12800 | 12800 | 38400
0
0
0
0
0
0
|  | Subtotal – NRM2 §24 Doors, shutters and hatches | [5 empty] | 177000
§25 |  | NRM2 Work Section 25 – Stairs, walkways and balustrades | [6 empty] | Units: nr / m
25.01 | §25 | EXAMPLE — Galvanised steel escape stair, 3.60 m rise; including landings, treads and handrails | nr | 4 |  | 16500 | 16500 | 66000
25.02 | §25 | EXAMPLE — Stainless steel and glass balustrade, 1100 mm high | m | 145 |  | 780 | 780 | 113100
0
0
0
0
0
0
|  | Subtotal – NRM2 §25 Stairs, walkways and balustrades | [5 empty] | 179100
§26 |  | NRM2 Work Section 26 – Metalwork | [6 empty] | Units: nr / m / kg
26.01 | §26 | EXAMPLE — Galvanised steel bollards 150 mm diameter, set in concrete | nr | 28 |  | 420 | 420 | 11760
0
0
0
0
0
|  | Subtotal – NRM2 §26 Metalwork | [5 empty] | 11760
§27 |  | NRM2 Work Section 27 – Glazing | [6 empty] | Units: m2 / nr
27.01 | §27 | EXAMPLE — Internal frameless glazed partition, 12 mm toughened glass; including floor and head channels | m2 | 185 |  | 620 | 620 | 114700
0
0
0
0
0
|  | Subtotal – NRM2 §27 Glazing | [5 empty] | 114700

## 6 Finishes
Example Project – Commercial Office Fit-out and Base Build | [8 empty] | mastt.com
BILL No. 6 – FINISHES, DECORATION, CEILINGS AND FIRE PROTECTION
NRM2 §28 to §31. Quantities are measured net as fixed in position in accordance with NRM2 Part 3.
BILL TOTAL, CARRIED TO SUMMARY | [7 empty] | 1277132 | Total in CUR
Item ref | NRM2 ref | Description | Unit | Quantity | BU ref | Manual rate (CUR) | Rate applied (CUR) | AMOUNT (CUR) | Notes and assumptions
§28 |  | NRM2 Work Section 28 – Floor, wall, ceiling and roof finishings | [6 empty] | Units: m2 / m
28.01 | §28 | EXAMPLE — Cement:sand screed 65 mm thick to floors, steel float finish | m2 | 4200 | BU-10 |  | 52.61 | 220962 | Rate driven by build-up BU-10
28.02 | §28 | EXAMPLE — Porcelain floor tiling 600 x 600 mm; including adhesive, grout and trims | m2 | 1150 |  | 165 | 165 | 189750
28.03 | §28 | EXAMPLE — Carpet tiles, heavy commercial grade; including underlay and trims | m2 | 2600 |  | 78 | 78 | 202800
28.04 | §28 | EXAMPLE — Plaster skim to walls on plasterboard, two coat 3 mm | m2 | 6400 | BU-08 |  | 26.33 | 168512 | Rate driven by build-up BU-08
0
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §28 Floor, wall, ceiling and roof finishings | [5 empty] | 782024
§29 |  | NRM2 Work Section 29 – Decoration | [6 empty] | Units: m2 / m
29.01 | §29 | EXAMPLE — Emulsion paint; one mist and two full coats to plastered walls | m2 | 6400 | BU-09 |  | 22.07 | 141248 | Rate driven by build-up BU-09
29.02 | §29 | EXAMPLE — Gloss paint to metalwork; prepared, primed and three coats | m2 | 320 |  | 42 | 42 | 13440
0
0
0
0
0
0
|  | Subtotal – NRM2 §29 Decoration | [5 empty] | 154688
§30 |  | NRM2 Work Section 30 – Suspended ceilings | [6 empty] | Units: m2
30.01 | §30 | EXAMPLE — Suspended ceiling; 600 x 600 mm mineral fibre tiles on exposed grid, void 400 mm | m2 | 3100 |  | 72 | 72 | 223200
0
0
0
0
0
|  | Subtotal – NRM2 §30 Suspended ceilings | [5 empty] | 223200
§31 |  | NRM2 Work Section 31 – Insulation, fire stopping and fire protection | [6 empty] | Units: m2 / m / nr
31.01 | §31 | EXAMPLE — Fire stopping to service penetrations through fire rated walls and floors, 120 minute | nr | 420 |  | 145 | 145 | 60900
31.02 | §31 | EXAMPLE — Cavity fire barrier, 60 minute, to perimeter of curtain walling at each floor level | m | 640 |  | 88 | 88 | 56320
0
0
0
0
0
0
|  | Subtotal – NRM2 §31 Insulation, fire stopping and fire protection | [5 empty] | 117220

## 7 FF and E
Example Project – Commercial Office Fit-out and Base Build | [8 empty] | mastt.com
BILL No. 7 – FURNITURE, FITTINGS AND EQUIPMENT
NRM2 §32. Quantities are measured net as fixed in position in accordance with NRM2 Part 3.
BILL TOTAL, CARRIED TO SUMMARY | [7 empty] | 325320 | Total in CUR
Item ref | NRM2 ref | Description | Unit | Quantity | BU ref | Manual rate (CUR) | Rate applied (CUR) | AMOUNT (CUR) | Notes and assumptions
§32 |  | NRM2 Work Section 32 – Furniture, fittings and equipment | [6 empty] | Units: nr / m / item
32.01 | §32 | EXAMPLE — Sanitary fittings; WC suite, close coupled, including seat, cistern and connections | nr | 46 |  | 720 | 720 | 33120
32.02 | §32 | EXAMPLE — Fitted kitchenette units, 3.60 m run; including benchtop, sink, tapware and appliances | nr | 8 |  | 8400 | 8400 | 67200
32.03 | §32 | EXAMPLE — Loose furniture allowance; open plan workstation, chair and pedestal | nr | 180 |  | 1250 | 1250 | 225000 | Confirm whether FF&E is in contract or client direct
0
0
0
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §32 Furniture, fittings and equipment | [5 empty] | 325320

## 8 Services
Example Project – Commercial Office Fit-out and Base Build | [8 empty] | mastt.com
BILL No. 8 – BUILDING SERVICES AND BUILDER'S WORK IN CONNECTION
NRM2 §33, §38 to §41. Quantities are measured net as fixed in position in accordance with NRM2 Part 3.
BILL TOTAL, CARRIED TO SUMMARY | [7 empty] | 7449331 | Total in CUR
Item ref | NRM2 ref | Description | Unit | Quantity | BU ref | Manual rate (CUR) | Rate applied (CUR) | AMOUNT (CUR) | Notes and assumptions
§33 |  | NRM2 Work Section 33 – Drainage above ground | [6 empty] | Units: m / nr
33.01 | §33 | EXAMPLE — uPVC soil and vent pipe 100 mm diameter; including brackets, fittings and testing | m | 480 |  | 96 | 96 | 46080
33.02 | §33 | EXAMPLE — Rainwater downpipe, aluminium 100 mm diameter; including brackets | m | 320 |  | 118 | 118 | 37760
0
0
0
0
0
0
|  | Subtotal – NRM2 §33 Drainage above ground | [5 empty] | 83840
§38 |  | NRM2 Work Section 38 – Mechanical services | [6 empty] | Units: m2 / nr / item
38.01 | §38 | EXAMPLE — Air conditioning; VRF system with ducted fan coil units, complete installation, testing and commissioning | m2 | 8600 |  | 385 | 385 | 3311000
38.02 | §38 | EXAMPLE — Mechanical ventilation to sanitary areas and plant rooms, complete | item | 1 |  | 165000 | 165000 | 165000
38.03 | §38 | EXAMPLE — Hydraulic services; hot and cold water reticulation, complete | m2 | 8600 |  | 92 | 92 | 791200
0
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §38 Mechanical services | [5 empty] | 4267200
§39 |  | NRM2 Work Section 39 – Electrical services | [6 empty] | Units: m2 / nr / item
39.01 | §39 | EXAMPLE — Main switchboard 2000 A, Form 4 Type 2; including metering and power factor correction | nr | 1 |  | 145000 | 145000 | 145000
39.02 | §39 | EXAMPLE — Lighting and small power to general office areas; LED luminaires, complete with controls | m2 | 8600 |  | 210 | 210 | 1806000
39.03 | §39 | EXAMPLE — Fire detection and alarm system, addressable, complete | m2 | 8600 |  | 46 | 46 | 395600
0
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §39 Electrical services | [5 empty] | 2346600
§40 |  | NRM2 Work Section 40 – Transportation systems | [6 empty] | Units: nr
40.01 | §40 | EXAMPLE — Passenger lift, 1600 kg / 21 person, 8 stops, 1.6 m/s; including shaft equipment and commissioning | nr | 2 |  | 285000 | 285000 | 570000
0
0
0
0
0
|  | Subtotal – NRM2 §40 Transportation systems | [5 empty] | 570000
§41 |  | NRM2 Work Section 41 – Builder's work in connection with mechanical, electrical and transportation installations | [6 empty] | Units: nr / item / %
41.01 | §41 | EXAMPLE — Builder's work in connection with mechanical, electrical and transportation installations – percentage allowance | item | 1 |  | 181691 | 181691 | 181691 | Rate = BWIC % (Cover C36) x services sections above
0
0
0
0
0
|  | Subtotal – NRM2 §41 Builder's work in connection with mechanical, electrical and transportation installations | [5 empty] | 181691

## 9 External Works
Example Project – Commercial Office Fit-out and Base Build | [8 empty] | mastt.com
BILL No. 9 – EXTERNAL WORKS, BELOW GROUND DRAINAGE AND LANDSCAPING
NRM2 §34 to §37. Quantities are measured net as fixed in position in accordance with NRM2 Part 3.
BILL TOTAL, CARRIED TO SUMMARY | [7 empty] | 1246100 | Total in CUR
Item ref | NRM2 ref | Description | Unit | Quantity | BU ref | Manual rate (CUR) | Rate applied (CUR) | AMOUNT (CUR) | Notes and assumptions
§34 |  | NRM2 Work Section 34 – Drainage below ground | [6 empty] | Units: m / nr / item
34.01 | §34 | EXAMPLE — Excavate trench, lay 225 mm diameter uPVC drain, bed and surround in granular material, backfill and compact | m | 620 |  | 285 | 285 | 176700
34.02 | §34 | EXAMPLE — Precast concrete manhole 1200 mm diameter, 2.50 m deep; including cover and frame Class D400 | nr | 18 |  | 4850 | 4850 | 87300
34.03 | §34 | EXAMPLE — Stormwater detention tank, 240 m3 modular crate system; including geotextile wrap and connections | nr | 1 |  | 195000 | 195000 | 195000
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §34 Drainage below ground | [5 empty] | 459000
§35 |  | NRM2 Work Section 35 – Site works | [6 empty] | Units: m2 / m / item
35.01 | §35 | EXAMPLE — Asphalt pavement to car park; 40 mm wearing course on 60 mm base course on 250 mm compacted sub-base | m2 | 3400 |  | 128 | 128 | 435200
35.02 | §35 | EXAMPLE — Precast concrete kerb 150 x 300 mm on concrete foundation and haunching | m | 780 |  | 96 | 96 | 74880
35.03 | §35 | EXAMPLE — Line marking, wheel stops and pavement signage to car park | item | 1 |  | 12500 | 12500 | 12500
0
0
0
0
0
0
0
|  | Subtotal – NRM2 §35 Site works | [5 empty] | 522580
§36 |  | NRM2 Work Section 36 – Fencing | [6 empty] | Units: m / nr
36.01 | §36 | EXAMPLE — Palisade fencing 2.40 m high, galvanised and powder coated; including posts set in concrete | m | 420 |  | 285 | 285 | 119700
36.02 | §36 | EXAMPLE — Sliding vehicle gate 6.00 m wide, motorised; including controls | nr | 2 |  | 24500 | 24500 | 49000
0
0
0
0
0
0
|  | Subtotal – NRM2 §36 Fencing | [5 empty] | 168700
§37 |  | NRM2 Work Section 37 – Soft landscaping | [6 empty] | Units: m2 / nr
37.01 | §37 | EXAMPLE — Topsoil 300 mm deep and turf to landscape areas | m2 | 1650 |  | 42 | 42 | 69300
37.02 | §37 | EXAMPLE — Advanced tree planting, 100 litre container; including staking, mulch and 12 month maintenance | nr | 34 |  | 780 | 780 | 26520
0
0
0
0
0
0
|  | Subtotal – NRM2 §37 Soft landscaping | [5 empty] | 95820

## Rate Build-Up
Example Project – Commercial Office Fit-out and Base Build | [15 empty] | mastt.com
RATE BUILD-UP – LABOUR, MATERIAL, PLANT AND SUB-CONTRACT ANALYSIS
Enter a build-up reference in the 'BU Ref' column of any bill and the rate below is applied automatically. Rows left blank are inert.
ALL-IN RATE = ( labour + material + plant + sub-contract ) x (1 + overheads %) x (1 + profit %). Overheads and profit are only added here when Cover!C25 = "Yes". All values in CUR.
BU Ref | Description of rate build-up | Unit | Labour hrs / unit | Labour rate / hr | Labour cost | Material qty / unit | Material cost / qty | Waste % | Material cost | Plant cost / unit | Sub-contract / other | Net cost | Overheads % | Profit % | ALL-IN RATE | Notes and assumptions
BU-01 | EXAMPLE — Bulk excavation to reduce levels, firm clay, disposal off site | m3 | 0.12 | 68 | 8.16 | 0 | 0 | 5% | 0 | 14 | 18 | 40.16 | 8% | 5% | 45.54 | Disposal priced as sub-contract tipping
BU-02 | EXAMPLE — In-situ reinforced concrete C32/40 to suspended slabs | m3 | 1.1 | 68 | 74.8 | 1 | 235 | 5% | 246.75 | 38 | 0 | 359.55 | 8% | 5% | 407.73 | Material qty = 1 m3 concrete per m3 placed
BU-03 | EXAMPLE — Reinforcement, high yield deformed bar, cut, bent and fixed | t | 14 | 68 | 952 | 1 | 1420 | 5% | 1491 | 45 | 0 | 2488 | 8% | 5% | 2821.39 | Waste allowance covers offcuts and laps
BU-04 | EXAMPLE — Formwork to soffits of horizontal slabs, 3.00-4.50 m to soffit | m2 | 0.55 | 68 | 37.4 | 1 | 18.5 | 5% | 19.425 | 4.5 | 0 | 61.325 | 8% | 5% | 69.54 | Material assumes 6 uses of ply and props
BU-05 | EXAMPLE — Facing brickwork, 102.5 mm skin, stretcher bond | m2 | 1.35 | 68 | 91.8 | 60 | 1.35 | 5% | 85.05 | 3.2 | 0 | 180.05 | 8% | 5% | 204.18 | 60 bricks per m2 in stretcher bond
BU-06 | EXAMPLE — Blockwork, 140 mm dense concrete blocks, inner skin | m2 | 0.85 | 68 | 57.8 | 10 | 4.85 | 5% | 50.925 | 2.8 | 0 | 111.525 | 8% | 5% | 126.47 | 10 blocks per m2
BU-07 | EXAMPLE — Metal stud partition 92 mm, 2 x 15 mm board each side, 60 min FRL | m2 | 0.95 | 68 | 64.6 | 1 | 62 | 5% | 65.1 | 1.2 | 0 | 130.9 | 8% | 5% | 148.44 | Material rate is a composite per m2 of partition
BU-08 | EXAMPLE — Plaster skim to walls on plasterboard, two coat 3 mm | m2 | 0.28 | 68 | 19.04 | 1 | 3.6 | 5% | 3.78 | 0.4 | 0 | 23.22 | 8% | 5% | 26.33
BU-09 | EXAMPLE — Emulsion paint, one mist and two full coats to plastered walls | m2 | 0.22 | 68 | 14.96 | 0.32 | 12.5 | 5% | 4.2 | 0.3 | 0 | 19.46 | 8% | 5% | 22.07 | 0.32 litres per m2 over three coats
BU-10 | EXAMPLE — Cement:sand screed 65 mm thick, steel float finish | m2 | 0.42 | 68 | 28.56 | 0.07 | 210 | 5% | 15.435 | 2.4 | 0 | 46.395 | 8% | 5% | 52.61 | 0.07 m3 of screed per m2 at 65 mm
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%
|  |  |  | 68 | 0 |  |  | 5% | 0 |  |  | 0 | 8% | 5%

## Prov Sums and Risk
Example Project – Commercial Office Fit-out and Base Build | [5 empty] | mastt.com
PROVISIONAL SUMS, DAYWORKS, RISK ALLOWANCES AND CREDITS
NRM2 Part 2 requires provisional sums to be stated as defined or undefined, dayworks to be scheduled, risk to be allocated across four categories, and credits for arisings to be shown separately.
A. DEFINED PROVISIONAL SUMS
A defined provisional sum is work not yet fully designed but for which the nature, quantity, programme and access are known. The contractor is deemed to have allowed for it in the programme and preliminaries.
Ref | Description | Quantity / basis | Rate or value (CUR) | Rate / % addition | AMOUNT (CUR) | Notes and assumptions
PS-01 | EXAMPLE — Provisional sum for signage and wayfinding package |  | 85000 |  | 85000 | Design intent issued; scope and location known
PS-02 | EXAMPLE — Provisional sum for external landscape feature paving |  | 62000 |  | 62000 | Extent shown on landscape concept drawing L-101
| Subtotal A – Defined provisional sums |  |  |  | 147000
B. UNDEFINED PROVISIONAL SUMS
An undefined provisional sum is work for which the information above is not available. The contractor is NOT deemed to have made allowance in the programme or preliminaries; instruction of the work may carry time and preliminaries consequences.
Ref | Description | Quantity / basis | Rate or value (CUR) | Rate / % addition | AMOUNT (CUR) | Notes and assumptions
PS-11 | EXAMPLE — Provisional sum for unforeseen ground conditions and obstructions below existing slab |  | 120000 |  | 120000 | Scope unknown pending intrusive investigation
PS-12 | EXAMPLE — Provisional sum for statutory authority connection charges |  | 45000 |  | 45000 | Authority quotations not yet received
| Subtotal B – Undefined provisional sums |  |  |  | 165000
C. DAYWORKS SCHEDULE
Percentage additions are entered on the Cover sheet and flow through to the rows below. Labour is priced on hours x rate; materials and plant are priced on net value.
Ref | Description | Quantity / basis | Rate or value (CUR) | Rate / % addition | AMOUNT (CUR) | Notes and assumptions
DW-01 | Daywork – labour; provisional allowance of hours at the all-in labour rate, plus percentage addition | 500 | 68 | 85% | 62900 | Hours are a provisional allowance only
DW-02 | Daywork – materials; provisional net value plus percentage addition |  | 60000 | 15% | 69000 | Net value at invoice cost
DW-03 | Daywork – plant; provisional net value plus percentage addition |  | 40000 | 15% | 46000 | Net value at hire cost
| Subtotal C – Dayworks |  |  |  | 177900
D. RISK ALLOWANCES (NRM2 Part 2 – four risk categories)
Percentages are applied to the sub-total of measured works, preliminaries, provisional sums, dayworks and credits ('BoQ Summary'!E24). Enter a lump sum in the 'Rate or value' column instead if the risk has been quantified directly.
Ref | Description | Quantity / basis | Rate or value (CUR) | Rate / % addition | AMOUNT (CUR) | Notes and assumptions
RK-01 | Design development risks – allowance for the development of the design from the current stage to construction information | % of sub-total H |  | 5% | 1341603.39 | Percentage linked to the Cover sheet
RK-02 | Construction risks – allowance for risks that materialise during construction (ground, weather, access, sequencing, defects) | % of sub-total H |  | 3% | 804962.03 | Percentage linked to the Cover sheet
RK-03 | Employer change risks – allowance for changes in the Employer's requirements, scope and standards | % of sub-total H |  | 2% | 536641.36 | Percentage linked to the Cover sheet
RK-04 | Employer other risks – allowance for late release of information, third party and statutory delays, and other Employer-side risks | % of sub-total H |  | 1% | 268320.68 | Percentage linked to the Cover sheet
| Subtotal D – Risk allowances |  |  |  | 2951527.46
E. CREDITS FOR MATERIALS ARISING FROM DEMOLITION AND ALTERATION
Credits are entered as negative values so that they reduce the bill total automatically.
Ref | Description | Quantity / basis | Rate or value (CUR) | Rate / % addition | AMOUNT (CUR) | Notes and assumptions
CR-01 | EXAMPLE — Credit for salvaged structural steel arising from demolition (NRM2 §3) |  | -28000 |  | -28000 | Entered as a negative value
CR-02 | EXAMPLE — Credit for reclaimed facing bricks retained by the Contractor |  | -6500 |  | -6500 | Entered as a negative value
| Subtotal E – Credits |  |  |  | -34500
| MEMORANDUM – total of blocks A to E (each block is carried separately to the summary) |  |  |  | 3406927.46

## Tender Comparison
Example Project – Commercial Office Fit-out and Base Build
TENDER COMPARISON – BILL OF QUANTITIES BASIS
The pre-tender estimate column is linked live to the BoQ Summary. Enter each tenderer's priced summary in the blue columns only.
| Tenderer name | Pre-tender estimate | Tenderer 1 | Tenderer 2 | Tenderer 3
Tender date
Qualifications / departures noted
Ref | Description | Pre-tender estimate (CUR) | Tenderer 1 | Tenderer 2 | Tenderer 3 | Lowest (CUR) | Variance, lowest v estimate (CUR) | Variance % | Notes
1 | Preliminaries | 3960700
2 | Substructure and Groundworks | 1952976
3 | Superstructure – Frame, Upper Floors, Walls, Carpentry | 4468120.75
4 | Roof Coverings, Waterproofing, Linings and Cladding | 4925228
5 | Joinery, Windows, Doors, Stairs, Metalwork and Glazing | 771760
6 | Finishes, Decoration, Suspended Ceilings and Fire Protection | 1277132
7 | Furniture, Fittings and Equipment | 325320
8 | Building Services and Builder's Work in Connection | 7449331
9 | External Works, Below Ground Drainage and Landscaping | 1246100
| SUB-TOTAL – MEASURED WORKS AND PRELIMINARIES | 26376667.75
| Provisional sums, dayworks and credits | 455400
| Main contractor's overheads and profit adjustment | 0
| Risk allowances | 2951527.46
| Inflation – tender and construction | 1813076.36
| Contractor design fees and other adjustments | 0
| TOTAL EXCLUDING TAX | 31596671.57
| Tax (GST / VAT) | 3159667.16
| TENDER TOTAL, INCLUDING TAX | 34756338.73
Variance against the pre-tender estimate
Variance against the pre-tender estimate (%)
Ranking (1 = lowest tender)
| Lowest tenderer |  | No tenders entered
Lowest tender total, including tax
Normalisation notes – record here any qualification, exclusion, alternative or arithmetic correction applied before comparison.

## Lists (hidden)
Units of measurement (NRM2) | Yes / No | Item type
item | Yes | Measured work
sum | No | Provisional sum (defined)
nr |  | Provisional sum (undefined)
m |  | Prime cost sum
m2 |  | Daywork
m3 |  | Contractor designed work
kg |  | Risk allowance
t |  | Credit
hr
wk
day
%
prov sum