## Safety Plan Audit
SAFETY PLAN AUDIT
| Club: | Bobby Jones Links
| Date: | 2018-04-01
| Performed By: | Tom Ridge
Parking Lots & Walks- Exposure from slips, trips and falls.
| Parking lot surface condition is good with no potholes or hazardous walking areas |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Common walk areas are in good condition; lighting is adequate |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Curves are painted yellow or highly visible color |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Color contrast between level changes is adequate |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Anti-slip/high visibility stripes are used on step risers |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Handrails are provided for all stairways |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Fire lanes painted and visible |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Parking spaces marked |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Valet parking segregated from employee or other parking |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Pedestrian crossways marked |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Mirrors and signs provided for blind traffic |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Low overhead clearances posted |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Golf carts not permitted in parking lot |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
| Walkways and roadways crowned or sloped employee or other parking areas to avoid pooled water |  | YES | Parking Lots & Walks- Exposure from slips, trips and falls.
|  | Parking Lots & Walks- Exposure from slips, trips and falls. Operational Score | 100%
Cart Safety
| Driving age Requirement (at least 18 years age) |  | YES | Cart Safety
| Valid Driver's license required |  | YES | Cart Safety
| Carts are inspected daily/automatic parking brake works/carts have roofs or tops |  | YES | Cart Safety
| Preventive maintenance plan is documented weekly |  | YES | Cart Safety
| Written forms are available to notify club management of malfunctions |  | YES | Cart Safety
| Stop signs posted as needed at intersections/ concrete paths have minimal cracks |  | YES | Cart Safety
| Fuel/recharging areas are well vented |  | YES | Cart Safety
| Course marshal is provided |  | YES | Cart Safety
|  | Cart Safety Operational Score | 100%
Chemicals
| Groundskeeper is licensed for application of chemicals |  | YES | Chemicals
| Groundskeeper is a member of a professional organization such as Groundskeeper National Asc |  | YES | Chemicals
| Pesiticides,herbicides and fertilizers, etc. are secured in dry locked area away from public access |  | YES | Chemicals
| Applications are recorded |  | YES | Chemicals
| All employees potentially exposed to chemicals have received Hazardous Comm Program training |  | YES | Chemicals
| Course is closed during spraying and application times as specified in MSDS |  | YES | Chemicals
| The chemical storage area is contained or located away from drainage streams, ponds, lakes, canals |  | YES | Chemicals
| Lakes, pounds, streams, etc. have been tested recently to ensure runoff is not occurring |  | YES | Chemicals
|  | Chemicals Operational Score | 100%
Maintenance Equipment & Employee Safety
| Safety Glasses are worn by maintenance employees when operating equipment |  | YES | Maintenance Equipment & Employee Safety
| Seat belts on all mowers are in good working order and are being used daily |  | YES | Maintenance Equipment & Employee Safety
| Employees are wearing chaps & hard hats when operating chain saws |  | YES | Maintenance Equipment & Employee Safety
| Superintendent records minutes for weekly safety meeting |  | YES | Maintenance Equipment & Employee Safety
| Preventive maintenance is scheduled for major equipment; documented files or equipment |  | YES | Maintenance Equipment & Employee Safety
| Inventory on hand for commonly used parts |  | YES | Maintenance Equipment & Employee Safety
| Employee are instructed to use their legs as opposed to their backs when lifting items at work |  | YES | Maintenance Equipment & Employee Safety
| Storm drains in areas subject to flooding have been cleaned and clear |  | YES | Maintenance Equipment & Employee Safety
| Telephone system is equipped with lightning protection features |  | YES | Maintenance Equipment & Employee Safety
|  | Maintenance Equipment & Employee Safety Operational Score | 100%
Lift Safety (Admin)
| Exits are properly marked and lighted |  | YES | Lift Safety (Admin)
| Adequate number of exits |  | YES | Lift Safety (Admin)
| Emergency system for lighted exits |  | YES | Lift Safety (Admin)
| Employees know what to do in the event of a fire |  | YES | Lift Safety (Admin)
| Clubhouse and other buildings have sprinkler systems |  | YES | Lift Safety (Admin)
| Fire Extinguishers are charged |  | YES | Lift Safety (Admin)
| Documented evacuation route |  | YES | Lift Safety (Admin)
| Documented checks on hoods, filters deep fat fryers and other cooking appliances |  | YES | Lift Safety (Admin)
| Dryers are permitted to run their "cool off cycle" |  | YES | Lift Safety (Admin)
| Clubhouse has working smoke detectors |  | YES | Lift Safety (Admin)
| PA system or other system available to announce any emergency |  | YES | Lift Safety (Admin)
|  | Lift Safety (Admin) Operational Score | 100%
Pool/Fitness Safety
| Perimeter access is controlled by fence, bushes, etc. |  | YES | Pool/Fitness Safety
| Self-Closing gates are in place and are operational |  | YES | Pool/Fitness Safety
| Lifeguards are red cross certified |  | YES | Pool/Fitness Safety
| Lifeguard staffing has a 1:50 maximum ratio |  | YES | Pool/Fitness Safety
| Diving no permitted and is enforced |  | YES | Pool/Fitness Safety
| Separate baby or wading pool provided for children |  | YES | Pool/Fitness Safety
| Emergency phone provided poolside |  | YES | Pool/Fitness Safety
| Depth markers provided poolside (tested) |  | YES | Pool/Fitness Safety
| Glass containers not permitted in pool |  | YES | Pool/Fitness Safety
| Pool and spa rules posted |  | YES | Pool/Fitness Safety
| Person handling pool chemicals is properly licensed |  | YES | Pool/Fitness Safety
| Chemicals used are adequate to control bacteria |  | YES | Pool/Fitness Safety
| PH factor is checked one to three times a day (as needed) |  | YES | Pool/Fitness Safety
| Pool services are documented |  | YES | Pool/Fitness Safety
| Chemicals are in storage |  | YES | Pool/Fitness Safety
| Fitness equipment is in good working condition. |  | YES | Pool/Fitness Safety
| Slip resistant flooring is being used |  | YES | Pool/Fitness Safety
|  | Pool/Fitness Safety Operational Score | 100%
Restaurant Safety
| Cooking stations protected with approved system hood |  | YES | Restaurant Safety
| Duct work steam cleaned (check records) |  | YES | Restaurant Safety
| Handheld fire extinguishers with BC rating of forty or more in kitchen area |  | YES | Restaurant Safety
| Baffle filters clean and grease-free |  | YES | Restaurant Safety
| Deep fat fryer have automatic shut off at 475 degrees or less |  | YES | Restaurant Safety
| Freezers are operating between 0 to -100 |  | YES | Restaurant Safety
| Coolers are operating between 38-45 degrees |  | YES | Restaurant Safety
| Dishwater is minimally 145 degrees |  | YES | Restaurant Safety
| Dishwashing rinse water is over 160 degrees |  | YES | Restaurant Safety
| Garbage cans are lined |  | YES | Restaurant Safety
| Garbage cans have lids |  | YES | Restaurant Safety
| There is no floor storage of food in kitchen, coolers, freezers, or receiving area |  | YES | Restaurant Safety
| Hair nets or hats are worn by kitchen staff |  | YES | Restaurant Safety
| Antibacterial soap is provided to employees at hand washing sinks |  | YES | Restaurant Safety
| No visible signs of vermin |  | YES | Restaurant Safety
| Serviced by pest control operator (licensed and insured) |  | YES | Restaurant Safety
| Cooking station protected with approved system hood |  | YES | Restaurant Safety
|  | Restaurant Safety Operational Score | 100%
Wells & Tanks
| Fifty feet away from combustible structures |  | YES | Wells & Tanks
| Fuel tank/well is vented |  | YES | Wells & Tanks
| Protected from vehicular traffic |  | YES | Wells & Tanks
| Proper dispensing nozzles, FM approved and grounded |  | YES | Wells & Tanks
| Located away from streams, lakes, ponds and canals |  | YES | Wells & Tanks
| Containment |  | YES | Wells & Tanks
| Employee is present when fuel is received |  | YES | Wells & Tanks
| Dispensing system is locked and secured |  | YES | Wells & Tanks
| Wells are secured by a locked well shed |  | YES | Wells & Tanks
| Abandoned wells are properly filled and secured in accordance with state and local regulations |  | YES | Wells & Tanks
| Regular maintenance is performed on pumps, alternate parts are available in-house |  | YES | Wells & Tanks
|  | Wells & Tanks Operational Score | 100%
Liquor Liability
| Written club statement on alcohol consumption on file and known to all employees |  | NO | Liquor Liability
| Happy hours are provided with food-only specials |  | YES | Liquor Liability
| All servers-full or part times have been trained on alcohol awareness, with certificates on file |  | YES | Liquor Liability
| A trained member of management is available to servers for consultation on cutoff decisions |  | YES | Liquor Liability
| Employees, friends, relatives and spouses are not permitted to consume alcohol on premises |  | YES | Liquor Liability
| Hold harmless agreement used for private parties |  | YES | Liquor Liability
| Alternate ride, escort provided |  | YES | Liquor Liability
| Valet service and security have been properly instructed to observe alcohol policy |  | YES | Liquor Liability
|  | Liquor Liability Operational Score | 87.5%
Summary Score |  |  |  | YES | NO | N/A
| Parking Lots & Walks- Exposure from slips, trips and falls. Operational Score |  | 100% | 14 | 0 | 0
| Cart Safety Operational Score |  | 100% | 8 | 0 | 0
| Chemicals Operational Score |  | 100% | 8 | 0 | 0
| Maintenance Equipment & Employee Safety Operational Score |  | 100% | 9 | 0 | 0
| Lift Safety (Admin) Operational Score |  | 100% | 11 | 0 | 0
| Pool/Fitness Safety Operational Score |  | 100% | 17 | 0 | 0
| Restaurant Safety Operational Score |  | 100% | 17 | 0 | 0
| Wells & Tanks Operational Score |  | 100% | 11 | 0 | 0
| Liquor Liability |  | 87.5% | 7 | 1 | 0
|  | Total Score | 99.03% | 102 | 1 | 0
ACTION LIST
| AREA | ITEM
#1 | Liquor Liability | Written club statement on alcohol consumption on file and known to all employees
#2
#3
#4
#5
#6
#7
#8
#9
#10
#11
#12
#13
#14
#15
#16
#17
#18
#19
#20
#21
#22
#23
#24
#25
#26
#27
#28
#29
#30
#31
#32
#33
#34
#35
#36
#37
#38
#39
#40

## Audit Results and Action Plan
| SAFETY AUDIT ACTION PLAN |  | Responsible Person | Scheduled Completion Date | Date of Completion
Bobby Jones Links - Apr 01, 2018
| Area | Action Item
144 | Liquor Liability | Written club statement on alcohol consumption on file and known to all employees
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183

## Follow-Up Review
Follow-Up Review
|  | Club: | Bobby Jones Links
Date:
Performed By:
| AREA | Operational Review Items | Completed | Notes
5 | Liquor Liability | Written club statement on alcohol consumption on file and known to all employees
7
9
11
13
15
17
19
21
23
25
27
29
31
33
35
37
39
41
43
45
47
49
51
53
55
57
59
61
63
65 |  | 0
67
69
71
73
75

## Safety Videos
Safety Videos- Please Sign off Each Week
January https://youtu.be/oXrHt6xRgHQ
February https://youtu.be/HdmUviL3tt0
March https://youtu.be/8_46C0lxu9Y
April https://youtu.be/dOSacxsGvzQ
May https://youtu.be/oXrHt6xRgHQ
June https://youtu.be/5rCYI1T0CbY
July https://youtu.be/_RteWOHD_X0
August https://youtu.be/B13co7QhaCY
September https://youtu.be/T2jI-ePVyxM
October https://youtu.be/iFmGllGnjso
November https://youtu.be/D439iiv_Z2Q
December https://youtu.be/-YIq5kP9k6k