PAT Test Digital Recording Checklist

Please see the instructions in the “How To – Record a PAT Test on Lend Engine” video in order to use this document.

The below list needs to be copied and pasted into Lend Engine to digitally record a PAT Test and schedule a date for the next PAT Test.

Date:

Item Name:

Item Make:

Item Model:

Class:

Visual Inspection:

Using PAT Device:

Fuse Rating:

PAT Device Used:

PAT Tested:

Tester Name:

Repair Made / Comments:

The below is an example of a completed digital record of a PAT Test added to Lend Engine, for guidance purposes only.

Date: 26 February 2020

Item Name: Amplifier

Item Make: TOA

Item Model: A-2120

Class: 1

Visual Inspection: Body, Cable, Plug Exterior and Plug Interior

Using PAT Device: Earth Continuity Test, Insulation Resistance Test and Functional Check

Fuse Rating: 5A

PAT Device Used: Seaward PrimeTest 50

PAT Tested: Yes, Passed

Tester Name: Joe Bloggs

Repair Made / Comments: n/a