Document Title: ApNote Selecting the Right Field Spectrometer for Field and Laboratory Applications, A Practical Comparison: FieldSpec 4 and reveNIR

Rev Date: February 2026

| Layout Preview | English Text | Translated Text |
| --- | --- | --- |
|  | A Practical Comparison: FieldSpec 4 and reveNIR |  |
|  | Selecting the Right Field Spectrometer for Field and Laboratory Applications |  |
|  | Introduction |  |
|  | Field and portable spectrometers are used across mining, agriculture, environmental monitoring, and remote sensing. While FieldSpec™ 4 and reveNIR™ operate in similar spectral regions, they are designed for different measurement workflows. |  |
|  | FieldSpec 4 is optimized for applications requiring the highest spectral quality, flexible sampling geometries, and radiometrically calibrated measurements. It supports non-contact measurements and can use external illumination sources, including sunlight. |  |
|  | reveNIR is optimized for fast, handheld field use. It is designed for contact measurements and includes integrated tools for mineral matching and quantitative predictions directly in the field. |  |
|  | When to Use FieldSpec 4 |  |
|  | FieldSpec 4 is best suited for applications requiring: |  |
|  | maximum spectral quality and low noise |  |
|  | non-contact measurement capability |  |
|  | radiance and irradiance measurements |  |
|  | use of sunlight as a light source |  |
|  | flexible sampling through specialized accessories |  |
|  | Typical applications include remote sensing and validation studies, NDVI and vegetation analysis, ground truthing, environmental and water studies, and laboratory-based spectroscopy. |  |
|  | When to Use reveNIR |  |
|  | reveNIR is best suited for applications requiring: |  |
|  | true handheld portability |  |
|  | fast and simple field workflows |  |
|  | mineral matching using built-in libraries |  |
|  | in-field quantitative predictions |  |
|  | integrated GPS, cameras, and cloud connectivity |  |
|  | Typical applications include mineral identification in mining, field-based quantitative analysis, and agricultural analysis of plants and soils. |  |
| (BACK) |  |  |
|  | Overlapping Applications |  |
|  | Both instruments can be applied to food analysis, pharmaceutical and nutraceutical screening, insitu soil analysis, plant physiology, grain and seed analysis, and raw material characterization. |  |
|  | In these cases, the primary selection factors are portability, workflow simplicity, and budget. |  |
|  | Summary |  |
|  | FieldSpec 4 is the preferred solution when spectral quality, non-contact sampling, and radiometric capability are required. |  |
|  | reveNIR is the preferred solution when handheld operation, rapid field decisions, and mineral matching are the primary needs. |  |
|  | Feature |  |
|  | Wavelength Range |  |
|  | Spectral Range: 350-2500 nm |  |
|  | Spectral Range: 350-2500 nm |  |
|  | Spectral Resolution (Standard-Res) |  |
|  | 3nm @ 700 nm 10 nm @ 1400 nm 10 nm @2100 nm |  |
|  | VNIR: 1.5 nm spectral average SWIR1 and SWIR2: ≤8 nm spectral average |  |
|  | Wavelength Accuracy |  |
|  | ±0.5 nm (average error of wavelength calibration fit; ±1.0 nm for any one line) |  |
|  | VNIR: 0.5 nm SWIR 1: 2.7 nm SWIR 2: 2.7 nm |  |
|  | VNIR detector |  |
|  | 512 element silicon array (350-1000 nm) |  |
|  | CCD array – 2500 pixels (350-975 nm) |  |
|  | SWIR1 detector |  |
|  | InGaAs photodiode, TE cooled (1001-1800 nm) |  |
|  | Standard InGaAs – 256 pixels (976-1690 nm) |  |
|  | SWIR2 detector |  |
|  | InGaAs photodiode, TE cooled (1801-2500 nm) |  |
|  | Extended InGaAs – 256 pixels (1691 -2500 nm) |  |
|  | Signal to Noise Ratio |  |
|  | VNIR: 13000:1 SWIR 1 6900:1 SWIR 2: 2600:1 |  |
|  | VNIR: 525:1 SWIR 1 1100:1 SWIR 2: 1300:1 |  |
|  | Scanning Time |  |
|  | 100 milliseconds |  |
|  | 100 milliseconds |  |