District Name SD Automated External Defibrillator

(AED) Program

The District Name School District AED Program has been created to provide a rapid response to sudden cardiac arrest (SCA) for employees, students, and visitors to District Name School District. This document describes the policies, procedures, and protocols to be used in administering this program.  District Risk Management and the AED Program Coordinator have approved all protocols for this program.

The AED Program Coordinator will conduct an annual review of this written plan to meet regulatory requirements and ensure proper program implementation and quality assurance. The AED Program Coordinator must approve all elements of this document and any significant revisions made therein.

AED Program Administrators:

| Administrators | Name | Date |
| --- | --- | --- |
| AED Medical Director: |  |  |
| Disaster Emergency Coordinator: |  |  |
| AED Program Coordinator: |  |  |
| Superintendent: |  |  |
| Risk Management: |  |  |

1.0: Public Access Defibrillation Program

1.1 Overview

DISTRICT NAME School District implemented this Automated External Defibrillator (AED) Program to provide early defibrillation to victims of sudden cardiac arrest (SCA) on the campuses.  Sudden cardiac death (SCD) is a sudden, unexpected death caused by loss of heart function (sudden cardiac arrest). The decision to implement the program was made in consideration of the fact that SCA is the largest cause of natural death in the U.S., causing about 220,000 adult deaths in the U.S. each year. SCD is responsible for half of all heart disease deaths. SCA results when the heart abruptly and, without warning, stops working, which prevents blood from being pumped to the rest of the body.  SCA usually causes death if not treated within minutes. A cardiac arrest is different from a heart attack or myocardial infarction, where blood flow to the still-beating heart is interrupted. People with heart disease have a higher chance of having cardiac arrest, but SCAs occur in people who appear healthy and have no known heart disease or other risk factors.

Research has demonstrated that educating and training laypersons on cardiopulmonary resuscitation (CPR) and immediate actions to take during an SCA improves the chance of survival. The American Heart Association recommends CPR and automatic external defibrillator (AED) training for laypersons for this reason.  By installing automatic external defibrillators at key DISTRICT NAME School District facilities, such as cafeterias, museums, theaters, gyms, and sporting event venues that attract large crowds, lay responders or rescuers (non-medical LRR) are given access to defibrillation devices.  Survival rates have been demonstrated to be higher in areas where CPR and AED trained bystanders have rapid access to these devices.  An AED is a type of medical device that can be used on a person in certain types of cardiac arrest to restore a pulse.

Lay responders or rescuers (LRR) are legally protected when they render medical care. According to California

Health and Safety Code, Division 2.5, Section 1799.102 (See Appendix I):

No person who in good faith, and not for compensation, renders emergency care at the scene of an emergency shall be liable for any civil damages resulting from any act or omission.  The scene of an emergency shall not include emergency departments and other places where medical care is usually offered.

California Civil Code, Section 1714.21 expanded the Good Samaritan Law to include use of an automated external defibrillator for saving the life of another person in cardiac arrest. (See Appendix I)

Opening the wall mounted AED box on some units activates an alarm and/or flashing light.  When this alarm is seen or heard, a responder should immediately call 911.

The AED Program supports the goal of the American Heart Association’s Chain of Survival because it reduces the amount of time from SCA to defibrillation and emergency medical service (EMS) response.

American Heart Association’s Chain of Survival

1.2 Glossary of Acronyms

ABC	- Airway, Breathing & Circulation

AED	- Automated External Defibrillation/Defibrillator

ALS	- Advanced Life Support

BLS	- Basic Life Support

CPR	- Cardiopulmonary Resuscitation

EMS	- Emergency Medical Services

EMT	- Emergency Medical   Technician LRR – Lay Responder or Rescuer

AED	- Public Access Defibrillation

SCA	- Sudden Cardiac Arrest

1.3 Scope

This policy describes DISTRICT NAME School District’s standards and procedures relating to its AED Program, including equipment, maintenance, response, plan, and protocol.  All District departments seeking to acquire an AED are expected to seek District approval and once approved, comply with this policy.

2.0: AED Roles and Responsibilities

The success of the AED Program depends on the effective collaboration of team members from DISTRICT NAME School District campuses.  Specific responsibilities of team members include the following:

AED Advisory Group (AED/First Aid Committee)

- Develop recommendations for program operations.

- Review and approve program policies and procedures.

- Identify locations for AED equipment installation.

- Provide quality control oversight.

Medical Doctor – (If applicable)

- Provide medical consultation and expertise.

- Oversee and approve protocols for the use of the AED.

- Review all incidents involving the use of the AED.

AED Program Coordinator

- Serve as the liaison between the AED Site and the AED Advisory Group.

- Provide requested reports regarding the AED program.

- Ensure that DISTRICT NAME School District campuses with installed AEDs receive updated information each year which describes the proper use of an AED. Ensure that necessary information is posted next to any installed AED.

- Publicize an annual list of AED locations.

- Maintain an up-to-date list of all AED Site Coordinators.

- Ensure compliance with regulatory requirements.

- Convene and coordinate activities of the AED Advisory Group.

- Serve as liaison and contact for any DISTRICT NAME School District department wishing to have an AED installed as part of the AED program.

Maintain updated AED information including:

- Policy

- Location of AEDs

- List of individuals with program responsibilities including Medical Doctor, Program Coordinator and Site Coordinators.

- Assure monthly maintenance of the AEDs and related response equipment.

- See Appendix C for sample monthly AED maintenance checklists.

- Notify the Medical Doctor, the Disaster Emergency Coordinator, and the Director of Risk Management of ANY cardiac arrest or use of the AED.

- Develop and maintain Cardiac Emergency Response Plan (CERP) and AED policies and procedures.

- Assure compliance with regulatory requirements.

- Maintain and compile all data pertaining to the AED Program, including the following records, for seven (7) years or as indicated:

  - A copy of the physician’s prescription for the AED.

  - Training documentation from an American Heart Association or American Red Cross recognized AED training class for the AED Cardiac Emergency Response Team.

  - Documentation of HIPAA and other appropriate training for the AED Cardiac Emergency Response Team.

  - Log of maintenance checks of the AED, including the dates checked and the name of the person that performed the review.

  - Record of all incidences for 7 years or, in the case of minors, until they are 18 years of age plus one year or for 7 years, whichever is longer.

AED Site Coordinator

- Perform weekly Quick Checks by visually verifying the green light indicator status on the device.  Record this information on the daily Quick Check log. Maintain all log sheets in an electronic or hard copy format and make them available to the Program Coordinator upon request. Informs the Program Coordinator of any malfunction.

- Notify the AED Program Coordinator of any cardiac arrest incidences or use of the AED.

- Attend safety meetings upon request.

- Follow the incident and post-incident procedures of the AED Program contained herein.

- Report any abuse or vandalism of the AED to the Disaster Emergency Coordinator and to the Program Coordinator immediately.

- Immediately notify the AED Coordinator of any major changes (i.e. change to individual assigned as AED Site Coordinator, the building is no longer occupied, etc.).

Certification and Training

All of the above individuals must receive CPR and approved AED device training in compliance with regulations adopted by the EMS Authority and the standards of the American Heart Association or the American Red Cross. In accordance with regulations set out in Section 5.6 below to protect the confidentiality of any victim’s health information, all lay responders and program participants must receive training in protection of health information. Although this program does not constitute a HIPAA component program, basic HIPAA training will be used to ensure that all participants are trained in health information confidentiality issues. Lay responders and program participants must complete required training and receive basic HIPAA training.

Participants unable to access this site will be provided with additional training opportunities as indicated.

3.0: Site AED Facility Requirements

In order to be equipped with an AED, a facility must satisfy the following criteria:

- Approval of site from AED Advisory Group.

- Designation of an AED Site Coordinator.

- Agreement to AED Site Coordinator Responsibilities.

- Agreement to all policies and procedures for the AED Program.

4.0: AED Equipment

The AED Advisory Group will recommend a specific AED device to be used at the designated locations.  This equipment may not be used outside the parameters of the DISTRICT NAME School District AED program.

District Risk Management must be notified prior to any departmental purchase of AEDs. Once an AED has been purchased, it falls under the jurisdiction of District Risk Management and will be included in the AED Program.

To maintain consistency campus-wide, the AED Advisory Group requests that District departments/sites only purchase approved AED devices.

4.1 Supplies and Accessories will be provided and maintained for all AEDs and must remain with the unit.  See Appendix B for the AED Location and Equipment Sheet.

Each AED location shall include the items in the following table:

| Item Description | Quantity |
| --- | --- |
| Approved AED Device with batteries installed | 1 |
| Wall Mounted Cabinet with Quick Reference | 1 |
| Defibrillation AEDs | 1 set |
| Out of Service sign | 1 |
| Accessories (scissors, towel, razor, gloves, wet wipe, dry wipe) (Pocket CPR Mask or CPR Shield) | 1 set |

4.2 AED Maintenance

The Program Coordinator or their designee is responsible for AED maintenance. District Risk Management will assist in this process as needed. This includes the performance of a full equipment inspection according to the manufacturer’s guidelines and maintain all inspection records.

Equipment Maintenance:

All equipment and accessories necessary for support of medical emergency response shall be maintained in a state of readiness per manufacturer guidelines. Department AED Coordinators shall provide the monthly maintenance checks, biannual AED testing, and software updates as required. Specific maintenance requirements must include the information provided by equipment manufacturer:

  - The main school office shall be informed of changes in availability of emergency medical response equipment. If equipment is withdrawn from service, the main school office shall be informed and then notified when equipment is returned to service.

  - The main school office shall be responsible for informing response teams of changes to availability of emergency medical equipment.

  - The AED Program Coordinator or designee shall be responsible for having regular equipment maintenance performed.

  - All maintenance tasks shall be performed according to equipment maintenance procedures as outlined in the operating instructions.

  - Following use of emergency response equipment, all equipment shall be cleaned and/or decontaminated as required. If contamination includes body fluids, the equipment shall be disinfected according to procedure #_________________.

AED Self-Maintenance Checks

AED self-maintenance checks are provided internally by the AED. The AED will perform self-tests on a scheduled basis depending on the AED model (daily, weekly or monthly).

Daily Maintenance Checks

Daily maintenance checks can be as simple as checking to see if the “Go” light is green. The “Go” light indicates that the battery is in proper working condition.

Monthly Maintenance Checks

Monthly maintenance checks will be provided by the Department AED Coordinator. Department AED Coordinator shall conduct, document and submit to the AED Program Coordinator a system check including the following elements and form Appendix C:

AED Testing

AEDs shall be tested biannually and after each use. Completed the AED Test form (See user manual) and provide a copy to the AED Program Coordinator.

AED Software Updates

Periodically, manufacturers may release new software updates for your AED. Updates should be performed by the Building AED Coordinator as soon as possible after receiving notification from the manufacturer.		See Appendix C for the monthly maintenance checklist.

5.0: AED Response Plan Procedures

In the event of a serious medical emergency, the following guidelines should be followed.

5.1 Assess the situation and try to confirm the scene is safe prior to proceeding with assistance.

5.2 Emergency Notification.  Immediately dial 911 from a campus phone or mobile phone, and provide the following information:

- Caller’s name.

- Type of emergency (e.g. cardiac arrest).

- Location of emergency.

- If CPR is in process.

- If an AED is available.

- Designate someone to promptly direct the resources that arrive at the scene.

5.3 First Person to Respond.

As indicated above, at the scene, if the incident is on Campus, the responder calls 911 and renders appropriate care, if conditions are safe.  Procedures on how to operate the AED are displayed in the AED Wall Cabinet. After the incident, the responder will advise the District Risk Management Office.

- Determine the most appropriate course of action for providing the best care to the individual(s) involved.

- Assess whether the AED is needed.

- If needed, apply device.

- If not needed, continue to give proper care until medical professionals arrive.

- Prior to using the AED, and in accordance with American Heart Association or American Red Cross training, the responder should confirm:

- The patient is unconscious, absent of respirations, and has no pulse.

- The patient’s condition is not a result of trauma.

- The patient is not hypothermic.

- The patient is 12 years of age or older and the patient’s body weight is over 80 pounds¹.

- Those administering medical aid shall take necessary Bloodborne pathogens isolation precautions (gloves, goggles, masks, etc.).

- If the AED is delayed in the arrival and patient is pulse less/non-breathing, initiate basic CPR.

- Use the AED in accordance with appropriate training methods².

- Maintain confidentiality of victim’s health information and route only to necessary and appropriate personnel involved in the victim’s care.

1 Follow the recommended guidelines of the manufacturer of the specific approved AED device.

2 Follow the recommended guidelines of the manufacturer of the specific approved AED device.

- The first person to respond will transfer victim care to the responding EMS Personnel once they arrive. This person will be expected to provide the following information to the responding EMS personnel:

- Initial time of the event.

- Any care given prior to EMS arrival.

- Victim’s condition.

5.4 Failure of the AED

In the unlikely event that the AED does not operate properly, the responder shall continue with basic life support measures, including CPR, until a more highly trained medical authority arrives on scene.

5.5 Post-Incident Procedures.

The Program and Site Coordinators will assure that the following action items be performed:

- AED Site Coordinator:  Inform the AED Program Coordinator within the next business day of the use of the AED.

- AED Program Coordinator:

- Immediately notify Risk Management of the use of the AED.

- Remove the used AED from service and replace with a back-up replacement if available. If there is no replacement, clearly mark the Unit out-of-service with directions to the nearest active unit.

- Download event data from the internal memory of the approved AED device following manufacturer’s guidelines.

- Check the AED.  Make sure there is no damage or missing parts. Secure new, replacement pads for the unit.

- Perform a maintenance check using the checklist in Appendix C.

- Replace the used defibrillator AED with a back-up AED if available. Replace any other supplies that have been used.

- Clean and disinfect the unit with a soft damp cloth using 90% isopropyl alcohol, soap, and water or chlorine bleach and water solution.

- Return the AED to service.

- Conduct incident debriefing with the Site Coordinator and individuals present during the incident.

Internal Post Event Documentation:

- It is important to document each use of the AED:

- Complete incident report forms and forward to the AED Coordinator, Risk Management, and all AED Advisory Group members within 48 hours. See Appendix E for the AED Incident Report and Appendix F for the Post-Incident Debrief Form.

- Downloaded data and the Post-Incident Report and Debriefing forms will be stored by the Program Coordinator for seven years for adults, or in the case of minors, for one year after the eighteenth birthday or for seven years, whichever is greater.

- External Post Event Documentation: After notification of the use of the AED, the prescribing physician and other appropriate personnel shall review the incident for the purpose of medical control.  This will be accomplished by transferring the data stored on the AED to a computer where the time, number of shocks delivered, and heart rhythm pre/post shock may be analyzed.

If anyone needs psychological support after the incident, employees should contact Human Resources and students should contact District/Site Councilors.

5.6 AED Incident Confidentiality.

Lay responders and program participants must protect the confidentiality of a victim’s health information and route any information related to the AED incident only to necessary and appropriate personnel involved in the victim’s care. The AED Incident Report is confidential to both the victim and the District. This report should not be altered once it is completed.  Discussion of all aspects of the event is to be limited to Risk Management, the EMS Provider, Public Safety, AED Site Coordinator, the and AED Program Coordinator. Following the incident, when District Administration is not present, such discussions shall take place only during staff debriefing sessions. To prevent violation of victim confidentiality, lay responders and program participants are to refrain from public discussion about any aspects of the medical event. Victim confidentiality must be maintained in accordance with all applicable state and federal regulations.

5.7 Response and Equipment Irregularities.  Any protocol or equipment irregularities that occurred during the use of an AED are to be immediately reported to AED Coordinator.

Appendix A: Site Roster

AED Medical Director: _________________________________________________________________

Phone number:  		Alternate/cell phone number: ___________________

Campus address: _______________________________________________________________________

Email address: _________________________________________________________________________

AED Program Coordinator: _____________________________________________________________

Phone number:  		Alternate/cell phone number:___________________

Campus address: _______________________________________________________________________

Email address: _________________________________________________________________________

Appendix B: AED Location List – THIS MUST BE UPDATED

| AED # | Campus | Building/Room # | Coordinator | Phone |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |
| 5. |  |  |  |  |
| 6. |  |  |  |  |
| 7. |  |  |  |  |
| 8. |  |  |  |  |
| 9. |  |  |  |  |
| 10. |  |  |  |  |
| 11. |  |  |  |  |
| 12. |  |  |  |  |
| 13. |  |  |  |  |
| 14. |  |  |  |  |
| 15. |  |  |  |  |
| 16. |  |  |  |  |
| 17. |  |  |  |  |
| 18. |  |  |  |  |
| 19. |  |  |  |  |
| 20. |  |  |  |  |
| 21. |  |  |  |  |
| 22. |  |  |  |  |
| 23. |  |  |  |  |
| 24. |  |  |  |  |
| 25. |  |  |  |  |
|  | TOTAL |  |  |  |

Appendix C: AED Monthly Maintenance Checklist – SAMPLE (see User Manual)

District Name and Site AED Monthly Maintenance Log

AED Location:__________________________			Year:_______________________

AED Model #__________________________			AED Serial#______________________________

| Date | AED Unit Undamaged | Housing Undamaged | Cables Undamaged | Spare Batteries | AEDs | CPR Barrier | Scissors | Gloves | Razor | Towel | Moist Towelette | Status Ind. | Out of service Sign | Comments | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Jan |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Mar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Apr |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jun |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Jul |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Aug |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sept |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nov |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dec |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Appendix D: Weekly Quick Check Log - SAMPLE (Use online form)

| AED Location: |  |  |  |  |
| --- | --- | --- | --- | --- |
| AED Model Number: |  | AED Serial Number: |  |  |
| Date | Does the status indicator show green check mark? |  |  |  |
|  | Yes |  | No | If No, enter the date the AED is returned to service |

Appendix E: AED Incident Report - SAMPLE

Incident Details

Incident Date:                                                Incident Time:

# of Shocks Delivered:                  	Device ID:                            	Device Type:_______________

Make: ____________________	Model:_____________________	Serial #:___________________

Victim Detail

Last Name: ______________________	First Name: __________________________M/I :____________

DOB:______________________	Age: ____________		Gender:___________________

Phone: ____________________________

AED Operator

Last Name: ________________________		First Name:_____________________________

Phone:___________________________

Comments: _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Additional Information:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Report Completed by: ________________________________	Date:________________________

Routing:

- AED Program Coordinator

- Director Risk Management

Appendix F: AED Post-Incident Debrief Form

Victim Data (if available)

Victim Name: _________________________ 	Age:_____	Gender:___________________

Incident Date:_________________________

SCA Event Report

Collapse/recognition: ____________________________     Time 911 Called: _______________

| Victim unresponsive: | Yes | No | Documented time: | : : |
| --- | --- | --- | --- | --- |
| Rescue breathing: | Yes | No | Documented time: | : : |
| CPR started: | Yes | No | Documented time: | : : |
| AED applied: | Yes | No | Documented time: | : : |
| First shock advised: | Yes | No | Documented time: | : : |
| Additional shocks: Yes No Total # of shocks delivered: _______________ |  |  |  |  |
| Return of circulation: | Yes | No | Documented time: | : : |
| Return of respiration: | Yes | No | Documented time: | : : |
| EMT arrival: : : |  |  |  |  |

Victim condition at EMT arrival:

________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Report Completed by: ______________________________	Date: ___________________

Appendix G: Cardiac Science AED User’s Manual

For AED user’s manual, please visit http:

Appendix H: Placing an AED Back in Service after Use

The following steps shall be followed when placing the AED back in service after use (NOTE:  Consult with the AED manufacturer to ensure these are the steps recommended for your agency’s AED):

|  | Steps |
| --- | --- |
|  | Replace battery in the AED |
|  | Perform complete battery insertion test (BIT) |
|  | Request a new battery from the manufacturer or licensed equipment supplier |
|  | Mark used battery “training only” and send to (insert job title) |
|  | Note use and BIT date on maintenance log |
|  | Replace electrode AEDs (replacement AEDs should be obtained from the manufacturer or licensed equipment supplier) |
|  | Request new AED data card from manufacturer or licensed equipment supplier |

Place this checklist with maintenance records

Appendix I: Reference of Relevant Statutes, Laws and Regulations

California Health and Safety Code 1799.102

Known as the “Good Samaritan Law”, provides immunity from civil liability to a person who provides emergency care at the scene of an emergency.

For more information on the specified requirements in the bill, please visit: https://leginfo.legislature.ca.gov/faces/codes_displaySection.xhtml?lawCode=HSC&sectionNum=1799.102.

California Civil Code, Section 1714.21 and Health and Safety Code, Section 1797.196.

These codes expanded the Good Samaritan Law to include use of an automated external defibrillator for the purpose of saving the life of another person in cardiac arrest.

For detailed information, please visit:

https://leginfo.legislature.ca.gov/faces/codes_displaySection.xhtml?sectionNum=1797.196.&lawCode=HSC

https://cchealth.org/ems/pdf/AED-AB658.pdf