## Sheet1
Líneas de Distribución
Voltage | 15kV Class | 5kV Class
| 7.63/13.20 kV | 4.80/8.32kV | 4.16/7.20 kV | 2.77/4.80 kV | 2.40/4.16 kV | TOTAL MILES - OVERHEAD DISTRIBUTION SYSTEM
Miles | 3530 | 3500 | 380 | 10 | 5930 | 13350
menos de
Líneas de Transmisión
Voltage | 230 kV | 115 kV | 38 kV |  |  | TOTAL MILES - TRANSMISSION SYSTEM
Miles | 410 | 700 | 1530 |  |  | 2640
Substations | Acres
300 | 200
Fuente | Motion Submitting LUMA's Updated Vegetation Management Plan
Table 7.1.5 PREPA Standard Widths: Distribution ROW, Rural and Residential Sights
Tipo de Línea | Voltaje | Servidumbre de Paso Estándar (en pies) | Propuesto
Single Phase | 7.6/13.2kV | 10' | 15
Multi-phase | 7.6/13.2kV | 10' | 15 | in feet
Double circuit | 7.6/13.2kV | 10' | 15
Aerial Spacer Cable | 7.6/13.2kV | 10' | 15
Single Phase | 4.8/8.3 kV | 10' | 15
Multi-phase | 4.8/8.3 kV | 10' | 15
Low Voltage Secondary | 120/240 V | 10' | 15 | VALIDAR DISCREPANCIA ENTRE VOLTAGES
Services | 120/240 V | - | 15
Table 7.1.6(A) Standard Widths for Transmission ROW, Urban/Developed sites | [5 empty] | Table 7.1.6(B) Standard Widths for Transmission ROW, Undeveloped sites
Line Type | Voltage Class | Standard ROW Width | Propuesto |  |  | Line Type | Voltage Class | Standard ROW Width | Propuesto
Double Circuit Structure | 230 kV | 60 | 30 | -30 |  | Single Circuit | 230 kV | 100 | 30
Two Lines common ROW | 230 kV | 100 | 30 | -70 |  | Double Circuit Structure | 230 kV | 100 | 30
Single Circuit | 115 kV | 30 | 30 | 0 |  | Two Lines common ROW | 230 kV | 100 | 30
Double Circuit Structure | 115 kV | 40 | 30 | -10 |  | Single Circuit | 115 kV | 100 | 30
Two Lines common ROW | 115 kV | 100 | 30 | -70 |  | Double Circuit Structure | 115 kV | 100 | 30
Single Circuit | 38 kV | 25 | 20 | -5 |  | Two Lines common ROW | 115 kV | 100 | 30
Double Circuit Structure | 38 kV | 25 | 20 | -5 |  | Single Circuit | 38 kV | 50 | 20
Two Lines common ROW | 38 kV | undefined | 20 |  |  | Double Circuit Structure | 38 kV | 50 | 20
[6 empty] | Two Lines common ROW | 38 kV | 50 | 20

## Sheet2
Total Distribution Miles | 13350 | 0.8349
Total Transmission Miles | 2640 | 0.1651
Total T&D Miles | 15990
supuesto
$ en millones
Contrato 1 | 488
Contrato 2 | 52
Contrato 3 | 488
Gasto total en Poda | 1028 | 0.06429
Gasto Poda Distribucion | 858.2739 | 858.2739
Gasto por milla de dist | 0.06429 |  | convertir a nominal | 64290.1814
|  |  | Por pie de amplitud | 6429.0181
|  |  | PC 1148 (+5 pies) | 429136960.6004
64290.1814
6429.0181
429136960.6004