## B2B Product Codes
Ausgrid Product Codes FY2026-2027
Service Order Type | Service Order Subtype | Service | Product Code* | Charge 2026-2027 GST Exclusive | Charge 2026-2027 GST Inclusive | Fixed / Quoted | Notes
Allocate NMI | <blank> | Metering Site Establishment | ALLOC | 74.82 | 82.302 | Fixed | Site establishment services, liaising with the Australian Energy Market Operator (AEMO) or market participants for the purpose of establishing NMIs in market systems, for new premises or for any existing premises for which AEMO requires a new NMI and for validating and updating network load data.
De-energisation | Pillar-Box Pit Or Pole-Top | Disconnection Visit (Disconnection Completed - Technical/Advanced) | TECH_COM | 377.82 | 415.602 | Fixed | The de-energisation method will be at Ausgrid's discretion. This fee is applicable to any request to de-energise an installation where CT metering is installed. Fee includes re-energisation.
De-energisation | Pillar-Box Pit Or Pole-Top | Pillar/Pole Top Disconnection Completed | DE-ENPTCOM POLE_COM PTDISNPCOM | 373.64 | 411.004 | Fixed | The de-energisation method will be: • de-energisation at pole top or pillar box • de-energisation at point of attachment Fee includes re-energisation.
De-energisation | Pillar-Box Pit Or Pole-Top | Pillar/Pole Top Site Visit | DE-ENPTNCO POLE_VISIT PTDISNPNCO | 500.97 | 551.067 | Fixed | Site visited. Not de-energised.
De-energisation | Pillar-Box Pit Or Pole-Top | Vacant Property Disconnection | DE-EN VAC_STDCOM DE-EN-ST | 220.35 | 242.385 | Fixed | The de-energisation method will be at Ausgrid's discretion and will involve one of the following methods: • removal of the service fuses; or • removal of barge board fuses; or • turn off and sticker covering main switch. Fee includes re-energisation.
De-energisation | Pillar-Box Pit Or Pole-Top (Non-Payment) | Disconnection Completed | RFDISNPCOM NP_STD_COM | 112.33 | 123.563 | Fixed | The de-energisation method will be at Ausgrid's discretion and will involve one of the following methods: • removal of the service fuses; or • removal of barge board fuses; or • turn off and sticker covering main switch. Fee is for de-energisation only, a re-energisation fee will apply when requesting a re-energisation.
De-energisation | Pillar-Box Pit Or Pole-Top | Traffic Control | PTDTRAFFIC | 427 | 469.7 | Quoted | Traffic control required for de-energisation/re-energisation method used
De-energisation | Remove Fuse or Recipient Discretion | Disconnection Visit (Disconnection Completed - Technical/Advanced) | TECH_COM | 377.82 | 415.602 | Fixed | The de-energisation method will be at Ausgrid's discretion. This fee is applicable to any request to de-energise an installation where CT metering is installed. Fee includes re-energisation.
De-energisation | Remove Fuse or Recipient Discretion | Special Meter Reading (includes Move-in / Move-out Reading) | DE-EN_RO | 15.69 | 17.259 | Fixed | Read only service due to multiple service orders. Read provided or site attended and unable to read due to no access.
De-energisation | Remove Fuse or Recipient Discretion | Vacant Property Disconnection | DE-ENRFCOM VAC_STDCOM DE-EN-ST | 220.35 | 242.385 | Fixed | The de-energisation method will be at Ausgrid's discretion and will involve one of the following methods: • removal of the service fuses; or • removal of barge board fuses; or • turn off and sticker covering main switch. Fee includes re-energisation.
De-energisation | Remove Fuse or Recipient Discretion | Vacant Property Site Visit | DE-ENRFNCO VAC_VISIT DE-ENNCO DEEN-STNCO | 56.25 | 61.875 | Fixed | Site visited. Not de-energised
De-energisation | Remove Fuse or Recipient Discretion - Non payment | Disconnection Completed | RFDISNPCOM NP_STD_COM | 112.33 | 123.563 | Fixed | The de-energisation method will be at Ausgrid's discretion and will involve one of the following methods: • removal of the service fuses; or • removal of barge board fuses; or • turn off and sticker covering main switch. Fee is for de-energisation only, a re-energisation fee will apply when requesting a re-energisation.
De-energisation | Remove Fuse or Recipient Discretion - Non payment | Disconnection Visit (Disconnection Completed - Technical/Advanced) | TECH_COM | 377.82 | 415.602 | Fixed | The de-energisation method will be at Ausgrid's discretion. This fee is applicable to any request to de-energise an installation where CT metering is installed. Fee includes re-energisation.
De-energisation | Remove Fuse or Recipient Discretion - Non payment | Disconnection Visit (Site Visit Only) | RFDISNPNCO NP_VISIT | 67.86 | 74.646 | Fixed | Site visited. Not de-energised.
Meter Investigation | Meter Test | Type 5-6 Meter Test Complex | METESS | 888.37 | 977.207 | Fixed | If the meter test reveals that one or more of the meters associated with the NMI are not operating satisfactorily, Ausgrid will not levy any charge for the provision of the service.
Meter Investigation | Meter Test | Type 5-6 Meter Test Simple | METESSIM | 576.45 | 634.095 | Fixed | If the meter test reveals that one or more of the meters associated with the NMI are not operating satisfactorily, Ausgrid will not levy any charge for the provision of the service.
Meter Investigation | Meter Test | Type 5-6 Meter and CT testing | CT_TEST | 1323.73 | 1456.103 | Fixed | If the meter test reveals that one or more of the meters associated with the NMI are not operating satisfactorily, Ausgrid will not levy any charge for the provision of the service.
Meter Investigation | Tamper | Rectification of illegal connection | METAM MRECTI | 1214.76 | 1336.236 | Quoted | Rectification of illegal connection
Meter Reconfiguration | Change Controlled Load | Off peak conversion | MECCL OPCONV | 213.5 | 234.85 | Fixed | The replacement, adjustment or reprogramming of the Ausgrid owned off-peak metering equipment at a customer's premises. A charge for this service may be levied for each occasion that the service is provided.
Re-energisation | <blank> | Reconnection During Normal Business Hours | No charge | 0 | 0 |  | For re-energisation between the hours of 7.30am and 4pm on a working day
Re-energisation | <blank> | Reconnection/Disconnection Outside Normal Business Hours | AH-RE | 154.7 | 170.17 | Fixed | For re-energisation outside the hours of 7.30am and 4pm on a working day
Re-energisation | <blank> | Special Meter Reading (includes Move-in / Move-out Reading) | RE-EN | 15.69 | 17.259 | Fixed | Read provided or site attended and unable to read due to no access.
Re-energisation | <blank> | Vacant Property Site Visit | VAC_VISIT | 56.25 | 61.875 | Fixed | For re-energisation between the hours of 7.30am and 4pm on a working day where site visited and not reconnected through no act or omission of Ausgrid or site reattended to operate main switch after re-energisation.
Re-energisation | <blank> | Reconnection During Normal Business Hours | RENPCOM | 112.33 | 123.563 | Fixed | For re-energisation between the hours of 7.30am and 4pm on a working day for sites disconnected for non-payment.
Special Read | <blank> | Special Meter Reading (includes Move-in / Move-out Reading) | SPRD | 15.69 | 17.259 | Fixed | Read provided or site attended and unable to read due to no access.
Special Read | Check Read | Special Meter Reading (includes Move-in / Move-out Reading) | SPRDCH | 15.69 | 17.259 | Fixed | Read provided or site attended and unable to read due to no access. A charge will not be levied for this service where the service reveals that a scheduled meter reading was inaccurate
Special Read | Final Read | Special Meter Reading (includes Move-in / Move-out Reading) | SPRDFR | 15.69 | 17.259 | Fixed | Read provided or site attended and unable to read due to no access.
Supply Service Works | Temporary Isolation Group Supply | Initial site visit - no access | SSWTIGSNA | 193.9 | 213.29 | Fixed | Fee is levied if there is no access to the site on the initial visit.
Supply Service Works | Temporary Isolation Group Supply | MP no show/no access 2nd visit | SSWTIGSNC | 346.95 | 381.645 | Fixed | Fee is levied if there is no access to the site on the second visit or the retailers appointed MC/MP does not attend the scheduled appointment.
Supply Service Works | Temporary Isolation Group Supply | Simple (up to nine) complete - excluding initial site visit | SSWTIGSSC | 538.78 | 592.658 | Fixed | Fee is levied if the isolation and re-energisation is a success for a site where there are upto nine NMIs requiring and outage. This does not include the initial site investigation to identify impacted NMIs.
Supply Service Works | Temporary Isolation Group Supply | Complex (more than nine) complete | SSWTIGSCC | 762.42 | 838.662 | Fixed | Fee is levied if the isolation and re-energisation is a success for a site where there are more than nine NMIs requiring and outage. This includes the initial site investigation to identify impacted NMIs.
* Note: The Product Codes Table reflects expected service provision based on Service Order Type and Subtype but variations may apply based on actual request and service provided

## Product Code by Service
Product Code | Ancillary Network Service | Charge 2026-2027 GST Exclusive | Charge 2026-2027 GST Inclusive | Fixed/Quoted
AH-RE | Reconnection/Disconnection Outside Normal Business Hours | 154.7 | 170.17 | Fixed
ALLOC | Metering Site Establishment | 74.82 | 82.302 | Fixed
BASOFFER | Basic (excluding 100A Connections requiring load slip or Basic Micro EG Connections >5kW or Over 100A Connection Offer (new or existing site)) | 22.15 | 24.365 | Fixed
DE-EN | Vacant Property Disconnection | 220.35 | 242.385 | Fixed
DE-EN_RO | Special Meter Reading (includes Move-in / Move-out Reading) | 15.69 | 17.259 | Fixed
DE-ENNCO | Vacant Property Site Visit | 56.25 | 61.875 | Fixed
DE-ENPTCOM | Pillar/Pole Top Disconnection Completed | 373.64 | 411.004 | Fixed
DE-ENPTNCO | Pillar/Pole Top Site Visit | 500.97 | 551.067 | Fixed
DE-ENRFCOM | Vacant Property Disconnection | 220.35 | 242.385 | Fixed
DE-ENRFNCO | Vacant Property Site Visit | 56.25 | 61.875 | Fixed
DE-EN-ST | Vacant Property Disconnection | 220.35 | 242.385 | Fixed
DEEN-STNCO | Vacant Property Site Visit | 56.25 | 61.875 | Fixed
EMGMAINT | Emergency maintenance of failed metering equipment not owned by the network | 253.91 | 279.301 | Fixed
FINR_MRIM | Final read after type 5 meter equipment removed | 90.31 | 99.341 | Fixed
MECCL | Off peak conversion | 213.5 | 234.85 | Fixed
NMIEXTINCT | NMI Extinction | 39.07 | 42.977 | Fixed
NSMTRDATA | Types 5-7 non-standard Meter Data Services | 22.39 | 24.629 | Fixed
OPCONV | Off peak conversion | 213.5 | 234.85 | Fixed
POLE_COM | Pillar/Pole Top Disconnection Completed | 373.64 | 411.004 | Fixed
POLE_VISIT | Pillar/Pole Top Site Visit | 500.97 | 551.067 | Fixed
PTDISNPCOM | Pillar/Pole Top Disconnection Completed | 373.64 | 411.004 | Fixed
PTDISNPNCO | Pillar/Pole Top Site Visit | 500.97 | 551.067 | Fixed
RDCCDT | Recovery of Debt Collection Costs - Dishonoured Transaction | 39.52 | 43.472 | Fixed
RE-EN | Special Meter Reading (includes Move-in / Move-out Reading) | 15.69 | 17.259 | Fixed
RENPCOM | Reconnection Completed | 112.33 | 123.563 | Fixed
SITE_ALT | Metering Site Alteration | 39.07 | 42.977 | Fixed
SPRD | Special Meter Reading (includes Move-in / Move-out Reading) | 15.69 | 17.259 | Fixed
SPRDCH | Special Meter Reading (includes Move-in / Move-out Reading) | 15.69 | 17.259 | Fixed
SPRDFR | Special Meter Reading (includes Move-in / Move-out Reading) | 15.69 | 17.259 | Fixed
STATRIGHT | Attendance at customers' premises to perform a statutory right where access is prevented | 121.99 | 134.189 | Fixed
VAC_STDCOM | Vacant Property Disconnection | 220.35 | 242.385 | Fixed
VAC_VISIT | Vacant Property Site Visit | 56.25 | 61.875 | Fixed
CT_RECOV | Type 5 and 6 CT recovery | 320.27 | 352.297 | Fixed
CT_TEST | Type 5 and 6 Meter and CT testing | 1323.73 | 1456.103 | Fixed
METAM | Rectification of illegal connection | 1214.76 | 1336.236 | Quoted
METESS | Type 5-6 Meter Test Complex | 888.37 | 977.207 | Fixed
METESSIM | Type 5-6 Meter Test Simple | 576.45 | 634.095 | Fixed
MRECTI | Rectification of illegal connection | 1214.76 | 1336.236 | Quoted
NP_STD_COM | Disconnection Completed | 112.33 | 123.563 | Fixed
NP_VISIT | Disconnection Visit (Site Visit Only) | 67.86 | 74.646 | Fixed
PTDTRAFFIC | Pillar/Pole Top Disconnection Traffic Control | 427 | 469.7 | Quoted
RFDISNPCOM | Disconnection Completed | 112.33 | 123.563 | Fixed
RFDISNPNCO | Disconnection Visit (Site Visit Only) | 67.86 | 74.646 | Fixed
SSWTIGSCC | Complex (more than nine) complete | 762.42 | 838.662 | Fixed
SSWTIGSNA | Initial site visit - no access | 193.9 | 213.29 | Fixed
SSWTIGSNC | MP no show/no access 2nd visit | 346.95 | 381.645 | Fixed
SSWTIGSSC | Simple (up to nine) complete | 538.78 | 592.658 | Fixed
TECH_COM | Disconnection Visit (Disconnection Completed - Technical/Advanced) | 377.82 | 415.602 | Fixed
CORMDATA | Correction of metering and market billing data | - | -
TARFCHG | Tariff Change | - | -