## Checklist
AIRCRAFT/ SURFACE/ HELIPAD/OSHA/BASE CHECKLIST For 12th Edition Standards |  | Revised February 2022 for 12th Edition Standards (Rev. June 2024)
Base Information at the Bottom (for new or moving bases) |  | PICTURES REQUIRED where highlighted in yellow
Program Name
Base Location (street address, city, state, zip)
FW
RW
Make
Model
N#
VFR
IFR
Single/Dual Pilot
Ambulance Type (I, II, III)
Ambulance License #
Other surface vehicle (indicate boat, snowmobile, ATV, etc.)
On the exterior of the aircraft or immediately inside the loading door, the name of the FAA Part 135 certificate or Authority Having Jursidiction (AHJ) “visible” to the public. (Name appears or Certificate holder number or letters appear?) In the lists below - Supplies are carry-on as pertinent to the type of service. (B) is seen behind on-board equipment that should also be found on boats.
MEDICAL EQUIPMENT AND SUPPLIES (Applies to aircraft & surface vehicles) | Applicable Standard
AIRWAY
1. There is access and necessary space to maintain airway from seat-belted position of the medical personnel. | 03.06.01-5
COMMENT:
1a. Seating in the ground ambulance is designed so that patient care can be rendered from a seat-belted position. | 03.06.01-4
2. There is access for simultaneous airway management if there are two patients on the aircraft or ambulance. | 03.06.01-4a
COMMENT:
3. Laryngoscope, blades and endotracheal supplies in appropriate sizes for ages of patients transported. (For critical care and ALS providers) | 03.06.01-13a
COMMENT:
3a. Expiration dates current:
4. PEEP valves | 03.06.01-13a
COMMENT:
5. Bag-valve-mask in appropriate sizes for ages of patients transported. | 03.06.01-13a
COMMENT:
6. Supplies for decompressing pneumothorax and emergency cricothyrotomy available. (For critical care and ALS providers) | 03.06.01-15
COMMENT:
7. Mechanical ventilator (For critical care and ALS providers) | 03.06.01-13b
Manufacturer’s make and model #
COMMENT:
8. Installed mechanical suction (B) | 03.06.01-13d
COMMENT:
9. Portable mechanical suction (B) | 03.06.01-13d
Manufacturer’s make and model #
COMMENT:
10. Pulse oximeter on-board or immediately available. | 03.06.01-13e
Manufacturer’s make and model #
COMMENT:
11. End-tidal CO2 detectors (continuous wave-form) or monitoring on-board. (For critical care and ALS providers) | 03.06.01-13f
Manufacturer’s make and model #
COMMENT:
12. Endotracheal tube cuff pressure manometer | 03.06.01-5c
OXYGEN
1. Adequate amounts of oxygen (based on longest potential transport times at highest liter flow) (B) | 03.06.01-6
COMMENT:
2. Portable oxygen tank (B) | 03.06.01-6f
COMMENT:
3. Back-up source of oxygen (B) | 03.06.01-6g
Is the back-up source the portable oxygen tank?
COMMENT:
4. Oxygen delivery supplies (masks, cannulas etc.) consistent with ages of patients transported | 03.06.01-6c
COMMENT:
5. Oxygen flow can be stopped at or near the source from inside the a/c or vehicle (B). | 03.06.01-6b
COMMENT:
6. Each gas outlet clearly labeled (B) | 03.06.01-6
COMMENT:
7. Medical personnel can determine quantity of oxygen remaining in on-board and back-up supply. (B) | 03.06.01-6b
COMMENT:
8. Medical personnel can determine liter flow when administering oxygen from on-board & back-up supply (B) | 03.06.01-6b
COMMENT:
9. Oxygen flow meters and outlets are padded or flush mounted | 03.06.01-i
COMMENT:
IV FLUIDS (For critical care and ALS providers)
1. IV supplies and fluids readily available. (For critical care and ALS providers) (B) | 03.06.01-7a
1a. Expiration dates current:
COMMENT:
2. Able to provide rapid or high flow IV fluids if needed. (B) | 03.06.01-7b
COMMENT:
3. Hangers or hooks available. | 03.06.01-7b
COMMENT:
4. Hangers or hooks are padded or flush mounted. | 03.06.01-7c
COMMENT:
5. Glass IV containers found. | 03.06.01-7d
COMMENT:
6. A minimum of 3 IV infusion pumps on board or immediately available. (For critical care and ALS providers) | 03.06.01-7e
COMMENT:
MEDICATIONS (For critical care and ALS providers)
1. Emergency medications are easily accessible. (For critical care and ALS providers) (B) | 03.06.01-8
COMMENT:
2. Controlled substances are stored in a locked system. (B) | 03.06.01-8c
COMMENT:
3. DEA License (hospital pharmacy or at individual bases) | 03.06.01-8
4. Medications are stored to provide protection from extreme temperature changes. (B) | 03.06.01-8d
4a. Expiration dates checked: | 03.06.01-8f
COMMENT:
CARDIAC MONITORING (For critical care and ALS providers)
1. Cardiac monitor on-board (B) | 03.06.01-10
Manufacturer’s make and model #
COMMENT:
2. Defibrillator on-board (B) | 03.06.01-11
Manufacturer’s make and model #
COMMENT:
3. Pediatric paddles on-board (B) | 03.06.01-11c
COMMENT:
4. Extra battery or power source available for cardiac monitor, defibrillator, external pacemaker. (B) | 03.06.01-10b
COMMENT:
5. External pacemaker on-board or immediately available. | 03.06.01-12
Manufacturer’s make and model #
COMMENT:
6. Displays of cardiac monitor, defibrillator, and external pacemaker are visible to medical personnel. (B) | 03.06.01-10a
COMMENT:
7. Extra battery or power source available for cardiac monitor, defibrillator, external pacemaker. (B) | 03.06.01-10b
COMMENT:
8. Fetal Doppler Monitor if HROB is part of scope of care | 03.06.01-17
COMMENT:
For all Providers:
9. Automatic blood pressure device, doppler, or arterial line monitoring, or sphygmomanometer blood pressure. (B) | 03.06.01-14
COMMENT:
BLOOD PRODUCTS
1. Program transports blood products? | Yes. / No
2. Blood is maintained at a controlled temperature of 2-8 degrees C during transport and infused within 4 hours of removal from thermal control. | 03.06.01-16b
3. The temperature of the cooling mechanism is monitored and recorded.
STRETCHER AND RESTRAINTS
1. Stretcher and means for securing is consistent with applicable FAR's/AHJ laws. (B) | 03.06.01-19
COMMENT:
2. Stretcher is large enough to carry up to 6 ft., 212 lb. patient in the supine position. (B) | 03.06.01-19c
COMMENT:
3. Stretcher is rigid enough to support CPR or a back-board is immediately available if CPR required. (B) | 03.06.01-19c
COMMENT:
4. Head of the stretcher can be elevated at least 30 degrees. (B) | 03.06.01-19c
COMMENT:
5. Three cross straps (at chest, hips and knees) on the stretcher comply with FAA regs/AHJ laws. (B) | 03.06.01-19d
COMMENT:
6. Patients loaded head-forward are additionally restrained with a shoulder harness. (RW/FW) | 03.06.01-19c
COMMENT:
7. The type and model of stretcher indicates (in policy or as labeled on the stretcher) the maximum gross weight allowed (inclusive of patient and equipment) | 03.06.01-19c
COMMENT:
8. If the ambulance stretcher is floor supported by its own wheels, there is a mechanism to secure it in position under all conditions. These restraints permit quick attachment and detachment for patient transfer. | 03.06.01-19c
COMMENT:
9. Appropriate restraining device for patients under 40 pounds (excluding isolettepatients) that can be secured with a locking device. Patients under 40 pounds must be secured in a five-point safety strap device that allows good access from all sides of the patient and thepatient's head can be raised at least 30 degrees. Velcro straps are not encouraged. (B) | 03.06.01-19d
COMMENT:
9a. If a car seat is used – it has a DOT approved sticker. | 03.06.01-19d
COMMENT:
10. Restraining device within the isolette (B) | 03.06.01-19e
COMMENT:
INFECTION CONTROL
1. Gloves, eye and mouth protection available on the vehicle/aircraft. (B) | 03.07.01-7b
COMMENT:
2. Sharps container on-board. (B) | 03.07.01-7b
COMMENT:
3. Floor, sides and ceiling of the patient cabin area are of a surface capable of being cleaned and disinfected according to OSHA regulations with the appropriate disinfectant. (B) | 03.06.01-23
COMMENT:
4. HAZMAT Guide book present | 02.03.07-2u
GENERAL ASPECTS OF MEDICAL CONFIGURATION
1. Head-strike envelope clear of all obstructions in the airplane and clear of hard objects in the vehicle (B). - Picture of Exterior - side, back and front views of the aircraft and/or surface vehicle (showing searchlight in Helicopter) Interior - Head-strike envelope clear of all obstructions in the airplane and clear of hard objects in the surface vehicle. | 02.03.07-d
COMMENT:
2. Helmets are worn in the helicopter and maintained according to policy and manufacturer’s guidelines | 02.03.07
COMMENT:
2. a. The Helmet ICS cord has a disconnect device to allow for clean separation | 02.03.07
3. Functioning seatbelts and shoulder harnesses (if available) found at each seat. | 02.03.07-p
3a. Seat belt mountings on side-facing bench seat in the ambulance restrain at the pelvic level | 02.03.07-p
3b. Avoid shoulder harnesses in side-facing bench seat in the ambulance (seat belts only) | 02.03.07-p
3.c. Appropriate number of U.S. Coast Guard or AHJ approved life vests available for each occupant (B only) | 03.06.00-25
COMMENT:
4. Possible to do effective CPR while in flight with stretcher locked in position. (B) | 03.06.01-1
COMMENT:
5. Evidence of securing equipment and supplies that are not permanently mounted. (B) (Picture of equipment and supplies including carry-on equipment such as an IABP as appropriate) | 02.03.07-2e
COMMENT:
6. Medical personnel ensure that all medical equipment is in working order through checklists. (B) | 03.06.01-22
COMMENT: At beginnng of each shift.
7. Entry for patient allows for loading and unloading without excessive maneuvering of the patient or compromise to patient care. (B) | 03.06.01-19
COMMENT:
8. Adequate interior lighting for patient care or a self-contained lighting system powered by battery pack (B) | 03.06.01-20a
COMMENT:
9. Lighting in the aircraft protects the pilot’s night adaptation vision (red lighting or low intensity) | 02.03.07-2c
COMMENT:
10. Interior lighting of the ambulance includes an overhead or dome light that does not reflect in the driver’s vision while driving. | 02.03.07-2c
COMMENT:
11. Aircraft/vehicle configuration allows for stabilizing and childbirth procedures if part of the service’s scope of care. (B) | 03.06.01-3
COMMENT:
12. Patients are always loaded on the stretcher as designed (head position is not reversed for high risk OB patients). | 03.06.01-2
COMMENT:
13. Ability to transport two or more patients does not compromise the airway or stabilization or ability to perform emergency procedures of any on-board patient. (B) | 03.06.01-4
COMMENT:
14. Doors on the ambulance/aircraft are capable of being opened fully and held by a mechanical device | 02.03.07-2a
COMMENT:
15. There is a mechanism to measure cabin temperature. (B) | 03.06.01-24a
COMMENT:
AIRCRAFT EQUIPMENT (Applies to RW and FW aircraft)
1. 180 degree controllable searchlight of at least 400,000 candle power. (RW) | 02.03.07-2h
COMMENT:
2. "No smoking" signs prominently displayed inside the cabin. | 02.03.07-2m
COMMENT:
3. FCC Posting is displayed (states “The use of cellular phones when the aircraft is airborne is prohibited by FCC rules. Violation of this rule could result in suspension of service and/or a fine. The use of cellular phones while the aircraft is on the ground is subject to FCC regulations.” Or the display can simply state “No cell phone use in flight.” | 04.02.04-1
COMMENT:
4. Functioning emergency locator transmitter (ELT)(RW) | 02.03.07-2k
COMMENT:
5. Functioning radar altimeter (RW) | 02.03.07-2h
COMMENT:
6. Survival gear appropriate to operating environment. | 02.03.07-2k
6.a. Individual survival gear on each crew member. | 02.03.07-2k
COMMENT:
7. Fire extinguisher accessible to air medical personnel and pilot. | 02.03.07-2l
COMMENT:
8. Electrical power outlet; 28 volt DC and/or 115 volt AC with minimum of 750 voltage amperage capacity. | 03.06.01-21
8a. A back-up power source to enable use of equipment may be an extra battery. | 03.06.01-21
COMMENT:
9. A physical barrier between the pilot, throttles, flight controls and radios and the patient(s). | 02.03.07-2b
COMMENT:
10. Radios capable to transmit and receive:
10a. Medical Director | 04.02.01-1
10b. Transport Operations Center | 04.02.01-2
10c. Air Traffic Control | 04.02.01-3
10d. EMS and law enforcement (RW) | 04.02.01-4
COMMENT:
11. Pilot can control and override radio transmissions from the cockpit. | 04.02.02
COMMENT:
12. Interior of the aircraft is climate controlled? | 03.06.01-24
12a. Functioning heater?
12b. Functioning air conditioner?
12c. Other means to control temperature inside cabin?
COMMENT:
13. Storage for carry-on baggage- Equipment is secured in engineered mounts | 02.03.07-2u
If Yes, where?
14. Firearms permitted on the aircraft? | 02.03.07-2u
If yes, where are firearms stored?
15. Copy of photo ID w/ first and last name?
IF NVGs are used:
1. Policy addresses use by personnel on board? | 02.03.07-2h
1a. Pilot only?
1b. Pilot and medical personnel?
1c. Medical personnel only?
1d. Use approved to the ground?
COMMENT:
2. Training records are on file and current? | 02.03.07-2h
3. Op Specs - DO93 – Helicopter NVG Maintenance Program | 02.03.07-2h
COMMENT:
4. Helicopter has a 406Mhz ELT or must be monitored at 3 minute intervals or less by a satellite tracking system | 02.03.07-2h
COMMENT:
5. Helicopter has:
5a. HTAWS | 02.03.07-2h
5b. Flight data recording devices (Crash resistant recorder systems) | 02.03.07-2h
5c. Flight control stabilizing system for single pilots operations | 02.03.07-2h
5d. Traffic Collision Avoidance Systems (TCAS) | 02.03.07-2h
5e. Crash Resistant Fuel System | 02.03.07-2h
5f. Energy-absorbing seats | 02.03.07-2h
5g. Health and Usage Monitoring Sytems (HUMS) | 02.03.07-2h
COMMENT:
SURFACE EQUIPMENT (Applies to ambulances and may also apply to boats as indicated with a (B))
1. There is evidence of a preventive maintenance program and there are no holes or damage penetrating the body of the vehicle (B) | 07.02.01
COMMENT:
2. "No smoking" signs prominently displayed inside the vehicle (B) | 02.03.07-2m
COMMENT:
3. Fire extinguisher accessible to medical personnel and driver (B) | 02.03.07-2l
COMMENT:
4. Electrical power outlet; 28 volt DC and/or 115 volt AC with minimum of 750 voltage amperage capacity. (B) | 03.06.01-21
COMMENT:
5. Overhead grab rails in patient area of the vehicle. (B) | 02.03.07-2p
COMMENT:
6. Vehicle operational controls and communications equipment are physically protected from any interference by the patient, medical personnel or equipment and supplies. (B) | 02.03.07-2b
COMMENT:
7. Radios capable to transmit and receive: | 07.02.12
7a. Medical Director
7b. Operations Center
7c. Capability to communicate with marine and land authorities (B)
7d. Internal communications between the driver position and the patient compartment? | 07.02.12
COMMENT:
8. The vehicle is heated and air conditioned pertinent to coverage area. (B) | 07.02.04
COMMENT:
9. Fuel capacity provides no less than a 175 mile range. | 07.02.05
COMMENT:
10.There is a ground clearance of at least 6 inches at gross vehicle weight. | 07.02.06
COMMENT:
11.The ambulance can perform in ambient temperatures of minus 30 degrees - 120 degrees F. | 07.02.07
COMMENT:
12.The names of the service are clearly shown in letters not less than 3" high which are identifiable from the sides and rear of the ambulance? Boat licensing is current and displayed according to AHJ | 07.02.08
COMMENT:
13.There is a siren capable of emitting sound audible from a distance of not less than 500 feet. | 07.02.09-1
COMMENT:
14. Shoulder harnesses are not used on side facing bench seats. | 02.03.07-2p
COMMENT:
15.There is at least one light capable of displaying red light(with a 360 degree capacity)or strobe lights visible from a distance of 500 feet from the front of the ambulance. Boat is lighted according to AHJ for night and low visibility conditions. | 07.02.09-2
COMMENT:
16.There is survival equipment as required by AHJ (B) | 02.03.07-2k
17.There is road hazard equipment on the ambulance as follows | 07.02.10-1
17a. Flashlight?
17b. Road marking device?
17c. Tools,wrench,screwdriver, hammer?
17d. Leather, heavy-duty gloves?
17e. Reflective vests?
17f. Equipment for dealing with snow as appropriate to environment?
17g. Rescue equipment (as required by AHJ) (B) | 07.02.11
VEHICLE CONSPICUITY – Ambulance (Strongly encouraged)
1. There is reflective striping on all sides of the vehicle | 02.03.07-2i
2a. Sides of the vehicle: A retroreflective stripe(s) shall be affixed to at least 50 percent of the cab and body length on each side. | 02.03.07-2i
2b. Sides of the vehicle: The stripe or combination of stripes shall be a minimum of 4 inches (100mm) in total width. | 02.03.07-2i
2c. Sides of the vehicle: The 4 inch (100mm) wide stripe or combination of stripes can be interrupted by objects (i.e., receptacles, door handles) provided the full stripe is seen as conspicuous when approaching the ambulance. | 02.03.07-2i
2d. Sides of the vehicle: A graphic design can replace all or part of the required striping materials if the design or combination thereof covers at least the same perimeter length. | 02.03.07-2i
3. Back of the vehicle: The reflective striping must follow the same standards as for the vehicle sides. | 02.03.07-2i
4. Doors: Any door of the ambulance designed to allow persons to enter or exit the ambulance has at least 96 square inches (62,000 square millimeters) of retroreflective materials affixed to the inside of the door. | 02.03.07-2i
FEEDBACK DEVICES – Ambulance (Strongly encouraged)
1. Real-time feedback mechanisms installed | 02.03.07-2j
2. Event-recording cameras installed | 02.03.07-2j
3. Speed governors installed | 02.03.07-2j
4. Weather alert systems installed | 02.03.07-2j
Non-Dedicated Ambulance Services (policy 03.03.00)
1. There is a checklist to verify on board equipment is in working order and oxygen is sufficient for the length of the transport.
2. Stretcher can be secured in a locked position to prevent movement during transport.
3. Seatbelts are required for operator and attendants.
4. Operator uses lights and sirens only when requested by the clinical crew.
5. Operator uses a hands-free communication system. Texting is prohibited while the ambulance is in motion.
6. Ground ambulance EMS license by State or AHJ is provided.
7. Ambulance operator adheres to rest/duty time guidelines according to Accreditation Standard 01.07.01
8. Ambulance operator is trained in defensive driving, developed by the provider or outside agency that includes EVOC or equivalent training.
PRIMARY HELIPAD
1. Marked (with a painted H or similar landing designation) | 05.07.01-1
2. Identified by a strobe light or heliport beacon. A beacon may not be necessary when the location of the hospital can be readily determined by the lights(s) on a prominent building or landmark near the helipad. | 05.07.01-2
3. Has perimeter lighting for night operations that do not extend greater than 2" above the TLOF (touchdown and lift off) or FATO (final Approach and Take off area) horizontal plane | 05.07.01-3
4. Has a device to identify wind direction and velocity (i.e., windsock). The wind indicator should be located in an illuminated area or lighted for night operations. | 05.07.01-4
5. Have at least two unobstructed approach and departure paths oriented to be separated at least 90-135 degrees apart | 05.07.01-5
a. Takeoff and landing area length and width, or diameter, should be equal to rotor diameter of the largest design helicopter utilizing the helipad but not less than 40 feet. | 05.07.01-5
b. Surface of the helipad should be clear of objects, including parked helicopters. | 05.07.01-5
c. A parking area should be provided if more than one helicopter at a time is to be accommodated. | 05.07.01-5
6. Have at least two approach and takeoff paths, oriented to be separated at least 90-135 degrees apart | 05.07.01-6
7. There are two access points oriented at least 90 degrees apart from one another and with unrestricted access for fire-fighting personnel | 05.07.01-9
8. Have adequate fire retardant chemicals readily available | 05.07.01-7
9. Have documented, ongoing safety programs for those personnel responsible for loading and unloading patients or working around the helicopter on the helipad | 05.07.01-13
10. Have evidence of adequate security― a minimum of one person to prevent bystanders from approaching the helicopter as it lands or lifts off, or perimeter security such as fencing, roof top, etc. A means must exist to monitor the primary helipad if accessible to the public, i.e., through direct visual monitoring or closed circuit TV. | 05.07.01-14
11. There is a documented and integrated emergency response plan which is practiced at least on an annual basis. | 05.07.01-12
12. There should be a policy to address more than one running aircraft at any one time and a policy to address permission to land or take off from the helipad. | 05.07.01-15
13. Communications policies will include:
13a. Procedures that coordinate arrivals and departures with referring and receiving hospital helipads - specific contact arrangements are pre-arranged for each frequently used location | 05.07.01-15a
13b. Procedures that coordinate arrivals and departures from hospital helipads with other air medical services in the region | 05.07.01-15a
13c. Staging if more than one aircraft is expected | 05.07.01-15a
13d. Air to air communications | 05.07.01-15a
13e. Hosting common frequencies | 05.07.01-15a
13f. Procedures that require communications specialists to ask if more than one aircraft is incoming to the same hospital helipad or scene | 05.07.01-15a
13g. Written agreements with local, regional or state agencies that incoming aircraft will announce in the blind on a common frequency when operating into a hospital and scenes where no common frequency has been pre-established. At 10 minutes from ETA, any inbound aircraft should communicate on 123.025 or commonly agreed upon frequency. | 05.07.01-15a
14. Crew Coordination: | 05.07.01-15b
14a. Strict enforcement of sterile cockpit | 05.07.01-15b
14b. One medical crewmember taking active part in watching for obstructions during the critical stages of flight | 05.07.01-15b
14c. Before departing from a scene or a sending institution, the medical crew and the pilot should discuss any alternative hospitals that they might need to divert to should he patient’s condition change. The pilot and medical crew are encouraged to pre-program any radios or navigation equipment for this alternative destination to minimize the workload required to effect this change, should the need arise as coordinated with the communications center. | 05.07.01-15b
14d. It is strongly encouraged that the program develops pre-determined landing sites for scene coordination with ground agencies where possible | 05.07.01-15b
15. There is limited distance from the helipad to the hospital (positioned at the closest, safe location) in order to minimize the effects to the patient. | 05.07.01-16
15a. Patient monitoring should continue without interruption between the helipad and the hospital | 05.07.01-16
15b. The medical crew is continuously supplied and equipped so that emergent patient interventions can be performed as needed between helipad and hospital. | 05.07.01-16
16. Hearing protection is provided for and used by all personnel who assist with patient rapid loading/ unloading. | 05.07.01-17
17. Evidence of a system to communicate changes (construction, additions, obstructions, etc.) to the helipad for users of the primary helipad(s) must be available and may include a pilot's memo book or a database in the communications center. A system to record acknowledgment must be in place. | 05.07.01-18
OSHA FACILITY INSPECTION – Hangar – Garage
Hazard Communication. (1910.1200) | All OSHA
1. MSDS sheets or electronic equivalent available. | 05.05.03-5 (RW)
06.05.03-5 (FW)
2. Employees can access the MSDS system to obtain the information.
COMMENT: Online and/or paper copy.
3. Portable containers filled from a labeled container that are used for more than one work shift need to be labeled. (Typically, turbine oil, hydraulic fluid, carbonex etc.)
COMMENT:
Hazardous Materials
Compressed Gas Cylinders (1910.101 and CGA Pamphlet P 1 1965)
Cylinders are stored in the vertical position protected against tipping by a restraining device such a cable or a chain.
Cylinders are protected by a valve protection cap when not in service.
COMMENT:
Electrical Safety 1910.305(g)(1)(iv)
Flexible cords and cables are not used as a substitute for the fixed wiring of a structure; where they run through holes in walls, ceilings, or floors;
Electrical Safety (1910.334)
Extension cords shall be inspected for any external defects including a grounding connector
Extension cords shall not be plugged into extension cords.
COMMENT:
Personal Protective Equipment (1910.132)
PPE is issued, fitted and training is provided.
COMMENT:
Walking and Working Surfaces (1910.22)
All places of employment, passageways, storerooms, and service rooms are kept clean and orderly and in a sanitary condition.
Every ladderway floor opening or platform is guarded by a standard railing with standard toeboard on all exposed sides.
COMMENT:
Means of Egress and Fire Protection (1910.33) (1910 Subpart E App)
An Emergency Action Plan has been developed for each location
COMMENT:
Noise Exposure (1910.95)
A hearing conservation program is in place (RW only)
COMMENT:
Storage
Storage of material does not create a hazard. Bags, containers, bundles, etc., stored in tiers shall be stacked, blocked, interlocked and limited in height so that they are stable and secure against sliding or collapse. (1910.176)
NFPA-13 requires that sprinkler heads have a clear distance of 18 inches (0.46 m) from the ceiling to the top of cabinets and/or shelves.
COMMENT:
Lifting Devices
Overhead and gantry cranes (1910.179)
The rated load of the crane is plainly marked on each side of the crane, and if the crane has more than one hoisting unit, each hoist shall have its rated load marked on it or its load block and this marking shall be clearly legible from the ground or floor.
A periodic testing system is in place.
COMMENT:
General
Outlet air pressure for air used in cleaning is reduced to 30 psi or less.
A system for safety colored code markings for physical hazards is in use (1910.144)
PVC will not be used for compressed air lines.
COMMENT:
Anchoring fixed machinery (1910.212(b))
Machines designed for a fixed location are securely anchored to prevent walking or moving (includes all bench and floor mounted machinery).
COMMENT:
BASE Information - Only if this is a new base or a base move
FW
RW
Ground
Admin Office/HQ
RW Maintenance
FW Maintenance
Medical Crew
Communication Center
Other (Explain)
Hours of Service for each mode
Date Base Opened
Hangar Available
Garage or shelter available
Ambulance Fueling available
Aircraft fueling available
Distance and driving time from Admin/HG during traffic hours
Medical Personnel and Pilot Quarters
Rest Areas for pilots and medical personnel
Area for paperwork
Area for flight planning and conducting weather checks
Washer and Dryer to wash soiled uniforms
Refueling (if on site)
Emergency Shut-off switches
Fuel truck or onsite fuel system with hoses gorunding etc.
Daily Maintenance area
Mechanics work area/shed/ection of hangar
Toolbox
Stock and storage area
Serviceable & non-serviceable parts
Eyewash station
Primary Helipad
Marked (with a painted H or similar landing designation) | 05.07.01-1a
Identified by a strobe light or heliport beacon. A beacon may not be necessary when the location of the hospital can be readily determined by the lights(s) on a prominent building or landmark near the helipad. | 05.07.01-2
Has perimeter lighting for night operations that do not extend greater than 2" above the TLOF (touchdown and lift off) or FATO (final Approach and Take off area) horizontal plane | 05.07.01-3
Has a device to identify wind direction and velocity (i.e., windsock). The wind indicator should be located in an illuminated area or lighted for night operations. | 05.07.01-4
Have at least two unobstructed approach and departure paths oriented to be separated at least 90-135 degrees apart | 05.07.01-6
Takeoff and landing area length and width, or diameter, should be equal to rotor diameter of the largest design helicopter utilizing the helipad but not less than 40 feet. | 05.07.01-5
Have at least two approach and takeoff paths, oriented to be separated at least 90-135 degrees apart | 05.07.01-6
There are two access points oriented at least 90 degrees apart from one another and with unrestricted access for fire-fighting personnel | 05.07.01-9
Have adequate fire retardant chemicals readily available | 05.07.01-7
Have documented, ongoing safety programs for those personnel responsible for loading and unloading patients or working around the helicopter on the helipad | 05.07.01-13
Have evidence of adequate security― a minimum of one person to prevent bystanders from approaching the helicopter as it lands or lifts off, or perimeter security such as fencing, roof top, etc. A means must exist to monitor the primary helipad if accessible to the public, i.e., through direct visual monitoring or closed circuit TV. | 05.07.01-14
Medical Crew Experience and Training
If you are just moving the base – is the crew going to be the same? Yes or No
If you answered ‘no’ above or this is a new base - Submit orientation and currencies of staff: (Include your own database or use the tab on this form):
Pilot and Mechanic Experience and Training
If you are just moving the base – are the pilots and mechanics going to be the same? Yes or No
If you answered ‘no’ above or this a new base - List pilot and mechanic names and submit copies of pilots license with personal information (except for name and rating) blacked out.
Staffing
If you are just moving the base – will the staff be the same? Yes or No
If you answered ‘no’ above or this is a new base - Submit medical personnel duty schedules at this base. (AS: 01.08.01)
12 Hour Shifts
24 Hour shifts
>24 hour shifts
Approximately how many transports per day on average?
Average time or distance for flights?
Submit policy regarding time-outs.
Submit pilot and mechanics’ schedules (AS: 05.05.05 and 06.05.01)
Management
Name and title (RN, EMT-P, Pilot) of base manager
Who manager reports to?
Determine base commitment to safety and quality:
Describe the SMS and how this base fits into the overall company safety program.
Describe the QM program and how this base fits into the overall QM program.
Ask about triage and the Utilization Review process.
What operational risk assessment tools are available?
Weather
Submit weather minimums (RW)
Comm Center
What communications center is utilized for this base? (If this is the Comm Center, please attach pictures

## Competencies
(Competencies – dates last completed under each listing) (Document First Initial /Last Name and title initials under NAME and Title)
NAME & Title | CPR | ACLS | ATLS | PHTLS | PALS | NRP | Safety | Haz/Mat | Survival | Inf Contrl | 5 Initial Intubations

## Sheet2 (hidden)
Yes
No
N/A
Name
Number

## Sheet3 (hidden)
Program Name:
Aircraft Type__________ |  |  | N#______________
Ambulance Type_________ |  | License#____________
Base Location (street address, city, state, zip)_______________________
AIRCRAFT/ AMBULANCE/ HELIPAD CHECKLIST For 2012 Standards
---------------------------------------------------------------------------------------------------------------------
On the exterior of the aircraft or immediately inside the loading door, the name of the FAA Part 135 Operator appears “visible” to the public.
Check one: | Name appears | Certificate holder number appears