## PG-CASA
Clean Air Sarnia and Area - VOC Results
Station: | Paddock Green Park |  | Matrix: | SUMMA Canisters |  | Note: All non-detectable results are reported as "<" (detection limit)
Data Updated: | 2026-06-16 |  | Method: | GC/MS
Substance Name | No. of valid samples | Maximum | Minimum | 24-hour AAQC | No. > 24-hour AAQC | All concentrations in units of µg/m3
[6 empty] | 2026-01-08 | 2026-01-23 | 2026-02-01 | 2026-02-13 | 2026-02-25 | 2026-03-13 | 2026-03-24 | 2026-04-02 | 2026-04-14 | 2026-04-26 | 2026-05-08 | 2026-05-20
Acetone | 12 | 16.2 | 3.6 | 11880 | 0 | 7.8 | 6.4 | 6.4 | 9.3 | 4.8 | 16.2 | 7.6 | 11.9 | 13.1 | 9.3 | 12.6 | 3.6
Allyl chloride | 12 | 0 | 0 |  | n/a | <0.63 | <0.63 | <0.63 | <0.63 | <0.63 | <0.63 | <0.63 | <0.63 | <0.72 | <0.63 | <0.63 | <0.63
Benzene | 12 | 0.83 | 0.38 | 2.3 | 0 | 0.48 | <0.32 | 0.8 | 0.83 | 0.38 | 0.45 | 0.38 | 0.42 | 0.61 | 0.83 | 0.38 | <0.32
Benzyl chloride | 12 | 0 | 0 |  | n/a | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.2 | <1.0 | <1.0 | <1.0
Bromodichloromethane | 12 | 0 | 0 |  | n/a | <1.3 | <1.3 | <1.3 | <1.3 | <1.3 | <1.3 | <1.3 | <1.3 | <1.5 | <1.3 | <1.3 | <1.3
Bromoform | 12 | 0 | 0 | 55 | 0 | <2.1 | <2.1 | <2.1 | <2.1 | <2.1 | <2.1 | <2.1 | <2.1 | <2.4 | <2.1 | <2.1 | <2.1
Bromomethane | 12 | 0 | 0 | 1350 | 0 | <0.78 | <0.78 | <0.78 | <0.78 | <0.78 | <0.78 | <0.78 | <0.78 | <0.89 | <0.78 | <0.78 | <0.78
1,3-Butadiene | 12 | 0.8 | 0.8 | 10 | 0 | <0.44 | <0.44 | <0.44 | <0.44 | <0.44 | <0.44 | <0.44 | <0.44 | 0.8 | <0.88 | <0.44 | <0.44
Carbon Disulfide | 12 | 0 | 0 | 330 | 0 | <1.6 | <1.6 | <1.6 | <1.6 | <1.6 | <1.6 | <1.6 | <1.6 | <1.8 | <1.6 | <1.6 | <1.6
Carbon Tetrachloride | 12 | 0 | 0 | 2.4 | 0 | <1.26 | <1.26 | <1.26 | <1.26 | <1.26 | <1.26 | <1.26 | <1.26 | <1.45 | <1.26 | <1.26 | <1.26
Chlorobenzene | 12 | 0 | 0 |  | n/a | <0.92 | <0.92 | <0.92 | <0.92 | <0.92 | <0.92 | <0.92 | <0.92 | <1.06 | <0.92 | <0.92 | <0.92
Chloroethane | 12 | 0 | 0 | 5600 | 0 | <0.53 | <0.53 | <0.53 | <0.53 | <0.53 | <0.53 | <0.53 | <0.53 | <0.61 | <0.53 | <0.53 | <0.53
Chloroform | 12 | 0 | 0 | 1 | 0 | <0.98 | <0.98 | <0.98 | <0.98 | <0.98 | <0.98 | <0.98 | <0.98 | <1.12 | <0.98 | <0.98 | <0.98
Chloromethane | 12 | 2.06 | 0.68 | 320 | 0 | 1.16 | 0.68 | 1.3 | 1.3 | 1.12 | 0.78 | 1.26 | 1.45 | 2.06 | 1.61 | 1.2 | 1.57
Cyclohexane | 12 | 16.4 | 0.69 | 6100 | 0 | <0.69 | <0.69 | <0.69 | <0.69 | <0.69 | <0.69 | <0.69 | <0.69 | 16.4 | 5.51 | 0.69 | 5.85
Dibromochloromethane | 12 | 0 | 0 |  | n/a | <1.7 | <1.7 | <1.7 | <1.7 | <1.7 | <1.7 | <1.7 | <1.7 | <2.0 | <1.7 | <1.7 | <1.7
1,2-Dibromoethane | 12 | 0 | 0 | 3 | 0 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.8 | <1.5 | <1.5 | <1.5
1,2-Dichlorobenzene | 12 | 0 | 0 |  | n/a | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.4 | <1.2 | <1.2 | <1.2
1,3-Dichlorobenzene | 12 | 0 | 0 |  | n/a | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.4 | <1.2 | <1.2 | <1.2
1,4-Dichlorobenzene | 12 | 0 | 0 | 95 | 0 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.2 | <1.4 | <1.2 | <1.2 | <1.2
Dichlorodifluoromethane | 12 | 2.8 | 2.1 | 500000 | 0 | 2.4 | 2.8 | 2.5 | 2.5 | 2.2 | 2.3 | 2.5 | 2.5 | 2.3 | 2.5 | 2.4 | 2.1
1,1-Dichloroethane | 12 | 0 | 0 | 165 | 0 | <0.81 | <0.81 | <0.81 | <0.81 | <0.81 | <0.81 | <0.81 | <0.81 | <0.93 | <0.81 | <0.81 | <0.81
1,2-Dichloroethane | 12 | 0 | 0 | 2 | 0 | <0.81 | <0.81 | <0.81 | <0.81 | <0.81 | <0.81 | <0.81 | <0.81 | <0.93 | <0.81 | <0.81 | <0.81
1,1-Dichloroethene (dichloroethylene) | 12 | 0 | 0 | 10 | 0 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.91 | <0.79 | <0.79 | <0.79
cis-1,2-Dichloroethene | 12 | 0 | 0 | 105 | 0 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.91 | <0.79 | <0.79 | <0.79
trans-1,2-Dichloroethene | 12 | 0 | 0 | 105 | 0 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.79 | <0.91 | <0.79 | <0.79 | <0.79
Methylene chloride (dichloromethane) | 12 | 0.69 | 0.69 | 220 | 0 | <0.69 | <0.69 | <0.69 | 0.69 | <0.69 | <0.69 | <0.69 | <0.69 | <0.80 | <0.69 | <0.69 | <0.69
1,2-Dichloropropane | 12 | 0 | 0 | 2400 | 0 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <1.1 | <0.9 | <0.9 | <0.9
cis+trans-1,3-dichloropropylene | 12 | 0 | 0 |  | n/a | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <1.0 | <0.9 | <0.9 | <0.9
cis-1,3-Dichloropropene (propylene) | 12 | 0 | 0 |  | n/a | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <1.0 | <0.9 | <0.9 | <0.9
trans-1,3-Dichloropropene | 12 | 0 | 0 |  | n/a | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.6 | <1.4 | <1.4 | <1.4
1,2-dichlorotetrafluoroethane (Freon 114) | 12 | 0 | 0 | 700000 | 0 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.83 | <0.72 | <0.72 | <0.72
1,4-Dioxane | 12 | 0 | 0 | 3500 | 0 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.83 | <0.72 | <0.72 | <0.72
Ethyl acetate | 12 | 0 | 0 |  | n/a | <0.43 | <0.43 | <0.43 | <0.43 | <0.43 | <0.43 | <0.43 | <0.43 | <0.48 | <0.43 | <0.43 | <0.43
Ethylbenzene | 12 | 0 | 0 | 1000 | 0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.1 | <1.0 | <1.0 | <1.0
4-Ethyltoluene | 12 | 0 | 0 |  | n/a | <0.82 | <0.82 | <0.82 | <0.82 | <0.82 | <0.82 | <0.82 | <0.82 | <0.94 | <0.82 | <0.82 | <0.82
n-Heptane | 12 | 0 | 0 | 11000 | 0 | <2.1 | <2.1 | <2.1 | <2.1 | <2.1 | <2.1 | <2.1 | <2.1 | <2.5 | <2.1 | <2.1 | <2.1
Hexachlorobutadiene | 12 | 9.73 | 5.32 |  | n/a | <0.70 | <0.70 | <0.70 | <0.70 | <0.70 | <0.70 | <0.70 | <0.70 | 5.32 | 9.73 | <0.70 | 5.64
n-Hexane | 12 | 0 | 0 | 2500 | 0 | <4.10 | <4.10 | <4.10 | <4.10 | <4.10 | <4.10 | <4.10 | <4.10 | <4.51 | <4.10 | <4.10 | <4.10
2-Hexanone | 12 | 3.2 | 3.2 |  | n/a | <2.5 | <2.5 | <2.5 | <2.5 | <2.5 | <2.5 | <2.5 | <2.5 | 3.2 | <2.5 | <2.5 | <2.5
Isopropanol | 12 | 0 | 0 | 7300 | 0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.1 | <1.0 | <1.0 | <1.0
Isopropylbenzene | 12 | 0.86 | 0.71 | 400 | 0 | 0.74 | <0.59 | <0.59 | 0.86 | <0.59 | <0.59 | <0.59 | <0.59 | 0.71 | <0.59 | <0.59 | <0.59
Methyl ethyl ketone (MEK) | 12 | 0 | 0 | 1000 | 0 | <0.82 | <0.82 | <0.82 | <0.82 | <0.82 | <0.82 | <0.82 | <0.82 | <0.94 | <0.82 | <0.82 | <0.82
Methyl isobutyl ketone (MIBK) | 12 | 0 | 0 | 1200 | 0 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.72 | <0.83 | <0.72 | <0.72 | <0.72
Methyl tert-butyl ether (MTBE) | 12 | 0.68 | 0.68 | 7000 | 0 | <0.52 | <0.52 | <0.52 | <0.52 | <0.52 | <0.52 | <0.52 | <0.52 | <0.58 | <0.52 | 0.68 | <0.52
Naphthalene | 12 | 2.98 | 2.98 | 22.5 | 0 | <1.89 | <0.67 | <2.22 | <2.29 | <1.07 | <0.59 | <0.76 | <0.86 | 2.98 | <4.65 | <0.86 | <2.27
Propylene | 12 | 0 | 0 | 4000 | 0 | <0.85 | <0.85 | <0.85 | <0.85 | <0.85 | <0.85 | <0.85 | <0.85 | <0.98 | <0.85 | <0.85 | <0.85
Styrene | 12 | 0 | 0 | 400 | 0 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.6 | <1.4 | <1.4 | <1.4
1,1,2,2-Tetrachloroethane | 12 | 0 | 0 |  | n/a | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.4 | <1.6 | <1.4 | <1.4 | <1.4
Tetrachloroethylene | 12 | 0 | 0 | 360 | 0 | <0.59 | <0.59 | <0.59 | <0.59 | <0.59 | <0.59 | <0.59 | <0.59 | <0.68 | <0.59 | <0.59 | <0.59
Tetrahydrofuran | 12 | 5.24 | 0.57 | 93000 | 0 | 0.68 | 5.24 | 0.68 | 1.13 | 1.51 | <0.38 | 0.6 | <0.38 | 1.36 | 1.47 | 1.36 | 0.57
Toluene | 12 | 0 | 0 | 2000 | 0 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.8 | <1.5 | <1.5 | <1.5
Freon 113 | 12 | 0 | 0 | 800000 | 0 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.5 | <1.7 | <1.5 | <1.5 | <1.5
1,2,4-Trichlorobenzene | 12 | 0 | 0 | 400 | 0 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.3 | <1.1 | <1.1 | <1.1
1,1,1-Trichloroethane | 12 | 0 | 0 | 115000 | 0 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.3 | <1.1 | <1.1 | <1.1
1,1,2-Trichloroethane | 12 | 0 | 0 |  | n/a | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.1 | <1.2 | <1.1 | <1.1 | <1.1
Trichloroethylene | 12 | 1.2 | 1.1 | 12 | 0 | 1.2 | <1.1 | 1.1 | 1.2 | 1.2 | <1.1 | <1.1 | <1.1 | <1.3 | <1.1 | 1.1 | <1.1
Trichlorofluoromethane | 12 | 0 | 0 | 6000 | 0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.1 | <1.0 | <1.0 | <1.0
1,2,4-Trimethylbenzene | 12 | 0 | 0 | 220 | 0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.0 | <1.1 | <1.0 | <1.0 | <1.0
1,3,5-Trimethylbenzene | 12 | 0 | 0 | 220 | 0 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <1.1 | <0.9 | <0.9 | <0.9
2,2,4-trimethylpentane (Isooctane) | 12 | 0 | 0 |  | n/a | <1.8 | <1.8 | <1.8 | <1.8 | <1.8 | <1.8 | <1.8 | <1.8 | <2.0 | <1.8 | <1.8 | <1.8
Vinyl acetate | 12 | 0 | 0 |  | n/a | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <0.9 | <1.0 | <0.9 | <0.9 | <0.9
Vinyl bromide | 12 | 0 | 0 |  | n/a | <0.51 | <0.51 | <0.51 | <0.51 | <0.51 | <0.51 | <0.51 | <0.51 | <0.59 | <0.51 | <0.51 | <0.51
Vinyl chloride | 12 | 0 | 0 | 1 | 0 | <0.87 | <0.87 | <0.87 | <0.87 | <0.87 | <0.87 | <0.87 | <0.87 | <1.00 | <0.87 | <0.87 | <0.87
m&p-Xylene | 12 | 0 | 0 |  | n/a | <0.43 | <0.43 | <0.43 | <0.43 | <0.43 | <0.43 | <0.43 | <0.43 | <0.48 | <0.43 | <0.43 | <0.43
o-Xylene | 12 | 0 | 0 |  | n/a | <1.3 | <1.3 | <1.3 | <1.3 | <1.3 | <1.3 | <1.3 | <1.3 | <1.5 | <1.3 | <1.3 | <1.3
Xylenes Total | 12 | 5.2 | 5.2 |  | n/a | <2.4 | 5.2 | <2.4 | <2.4 | <2.4 | <2.4 | <2.4 | <2.4 | <2.7 | <2.4 | <2.4 | <2.4
BTEX Total | 12 | 0 | 0 |  | n/a
Notes:
< - means below method detection limit, only values measured above detection limit are shown
N/S - Not Sampled. April 6, 2023 was not sampled as a result of lab supplied equipment issue
[2] 4-Bromofluorobenzene (CAS 460-00-4) concentrations are presented as %.
INV - Invalid sample as final canister pressure was outside of Operations Manual for Air Monitoring in Ontario criteria.
Note on S12: DL = 2.5ppbv
Note on S58: DL = 0.26ppbv Qualifiers = DLQ