Reporting Entity:

Reporting Date:

| Terminal Station | Station Name | Entity Name | Expected In Service Date |
| --- | --- | --- | --- |
| Station #1 |  |  |  |
| Station #2 |  |  |  |
| Station #3 |  |  |  |

## Instructions: The intent of these forms is to provide the user with a simplified means of providing adequate information to the Task Force on System Protection to facilitate reviews. This does not imply that these forms will necessarily give a complete or comprehensive picture of the protection system and the user should feel free to modify or change the data to provide what is believed to be necessary information to describe the particular situation.

## The following diagrams shall be provided for review by the Task Force on System Protection.

1.2.1 Geographical map showing the electrical systems involved.

1.2.2 Associated relay Protection system one-line diagrams.

1.2.3 Associated relevant protection and control function diagrams.

### 1.2.4 A physical layout of protection panels and batteries for the purpose of illustrating physical separation will also be included, unless prohibited by NERC CIP Standards. If prohibited by NERC CIP Standards, a statement shall be made in the cover letter confirming that physical separation as per D4 requirement is maintained.

1.2.5 Where IEC 61850 protocol is utilized, LAN network diagrams sufficient to illustrate that redundant protection systems are both galvanically isolated and have no single mode failures.

## For any systems not meeting the criteria portion of Directory 4 or Directory 7, an exception request is to be outlined in section 16.

# System Element being reported on.

All elements with identical protections can be reported using the same form, please enter element designations below.

| Element Type | Element Designations |
| --- | --- |

| Communication Equipment utilized by Protection (Yes, No or NA)? |  |
| --- | --- |

# Transmission Line Protection

## Voltage Level

|  | kV |
| --- | --- |

## Line Protection – Phase

## Line Designation:

| Protection Group 1 Designation (A, B, Primary, Backup, etc.): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Station |  | Protection Scheme | Model | MFR |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

| Protection Group 2 Designation (A, B, Primary, Backup, etc.): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Station |  | Protection Description | Model | MFR |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

## Line Protection – Ground

## Line Designation:

| Protection Group 1 Designation (A, B, Primary, Backup, etc.): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Station |  | Protection Description | Model | MFR |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

| Protection Group 2 Designation (A, B, Primary, Backup, etc.): |  |  |  |  |
| --- | --- | --- | --- | --- |
| Station |  | Protection Description | Model | MFR |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |

# Transformer Protection

## Station Designation

## Voltage Level

|  | kV |
| --- | --- |

## Unit Designation

Transformer Protection

|  | PROTECTION GROUP: |  | PROTECTION GROUP: |
| --- | --- | --- | --- |
| PROTECTION | TYPE | MFR. |  | TYPE | MFR. |
| Differential |  |  |  |  |  |
| Gas (Pressure)* |  |  |  |  |  |
| Sudden Pressure* |  |  |  |  |  |
| Overcurrent |  |  |  |  |  |

*Only report these protections if they are used to trip.

# Generator Protection

## Station Designation

## Voltage Level

|  | kV |
| --- | --- |

## Unit Designation

## Generator Protection

|  | PROTECTION GROUP: |  | PROTECTION GROUP: |
| --- | --- | --- | --- |
| PROTECTION | TYPE | MFR. |  | TYPE | MFR. |
| Differential |  |  |  |  |  |
| Loss of field |  |  |  |  |  |
| Neg. phase sequence |  |  |  |  |  |
| Anti-motoring |  |  |  |  |  |
| Overexcitation |  |  |  |  |  |
| Out-of-step |  |  |  |  |  |
| Underfrequency |  |  |  |  |  |
| Overfrequency |  |  |  |  |  |
| Over/Under Voltage |  |  |  |  |  |
| Field ground |  |  |  |  |  |
| Other |  |  |  |  |  |

# Bus Protection

## Station Designation

## Voltage Level

|  | kV |
| --- | --- |

## Bus Designation

## Bus Protection

|  | PROTECTION GROUP: |  | PROTECTION GROUP: |
| --- | --- | --- | --- |
| PROTECTION | TYPE | MFR. |  | TYPE | MFR. |
| Differential |  |  |  |  |  |
| Other |  |  |  |  |  |

# Shunt Capacitors and Filter Protection

## Station Designation

## Voltage Level

|  | kV |
| --- | --- |

## Designation

## Protection

|  | PROTECTION GROUP: |  | PROTECTION GROUP: |
| --- | --- | --- | --- |
| PROTECTION | TYPE | MFR. |  | TYPE | MFR. |

# HVDC Protection

## Voltage Level (AC)

|  | kV |
| --- | --- |

## Station Designation

## Type of HVDC (Line Commutated Converter, LCC or Voltage Source Converter, VSC)

## Number of Poles

## HVDC Protection

| HVDC Type |  | PROTECTION GROUP: |  | PROTECTION GROUP: |
| --- | --- | --- | --- | --- |
|  | PROTECTION | TYPE | MFR. |  | TYPE | MFR. |
| LCC | Commutation Failure |  |  |  |  |  |
|  | DC Power Reversal |  |  |  |  |  |
|  | DC Fault |  |  |  |  |  |
| VSC | AC Voltage |  |  |  |  |  |
|  | AC Current |  |  |  |  |  |
|  | Frequency |  |  |  |  |  |
|  | Harmonic Distortion |  |  |  |  |  |
|  | DC Fault |  |  |  |  |  |
|  | Other |  |  |  |  |  |

# Remedial Action Scheme (RAS)

## Functional Description

| Function |  |
| --- | --- |
| Generator Rejection (GR) |  |
| Transmission Cross Tripping (TCT) |  |
| Load Rejection (LR) |  |
| Other (O) |  |

## Designation

## Classification (Type I or II)

## Initiating Conditions

## Action(s) Resulting

## Reason for Installation

## How is Redundancy Achieved

## How is Security Achieved:

## Arming Method

## If provisions for breaker failure are required, please describe how this is accomplished.

# Other Protections

## Description

# Communication Link

| PROTECTION FUNCTION | PROTECTION GROUP | PROTECTION GROUP | ROUTE DIVERSITY (YES/NO) |
| --- | --- | --- | --- |
|  | ROUTE DESIGNATION (i.e. Path 1) | COMM. MEDIUM (Type) | ROUTE DESIGNATION (i.e. Path 2) | COMM. MEDIUM (Type) |  |

ADDITIONAL INFORMATION:

# IEC 61850 Network

## Station Designation

## Type of Network Redundancy Protocol (HSR, PRP, etc.)

## Network

|  | Protection Group 1 Designation (A, B, Primary, Backup, etc.): |  | Protection Group 2 Designation (A, B, Primary, Backup, etc.): |
| --- | --- | --- | --- |
|  | TYPE | MFR. |  | TYPE | MFR. |
| Time Synchronization Source |  |  |  |  |  |
| Sample Value Network Switches |  |  |  |  |  |
| GOOSE Network Switches |  |  |  |  |  |
| Merging Units |  |  |  |  |  |

# Equipment Detail

## Current Transformer Type

| Station |  | Current Transformer Type (Free Standing/Bushing/ Optical) | Merging Unit (Yes/No) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

## Voltage Transformer Type

| Station |  | Voltage Transformer Type (Wire Wound PT/Capacitive Coupling/Optical) | Merging Unit (Yes / No) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

## Station Battery

| Station |  | Transfer Capability (Yes or No) | # of Battery Banks |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

## Physical Separation (Yes/No)

| Station |  | Relay Systems | Wiring | Battery Banks | Telecom Equipment | 61850 Network |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |

## Breakers

### Breaker Type

| Station |  | Breaker Type (List Insulation Medium and whether Live tank or Dead Tank) |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |

### Operation (Single Phase or Three Phase)

| Station and Breaker Designation |  | Breaker Operation |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |

### Trip coils

| Station and Breaker Designation |  | Number of Trip Coils | Each Trip Coil Monitored (Yes/No) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

### Protection

| Station and Breaker Designation | Ground Fault CTs (Yes/No) | Breaker Failure |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Breaker Failure Protection (Yes/No) | PROTECTION GROUP | PROTECTION GROUP (if applicable) |
|  |  |  | Model | MFR | Model | MFR |

# Disturbance Monitoring Equipment (DME)

The following table, indicate if the installation meets the requirements of NPCC Directory 11.

| Station |  | Sequence of Events Recording Capability (SER) (Yes/No) | Digital Fault Recording Capability (DFR) (Yes/No) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |

NOTES:

# Bulk Power System Protection Performance

Does the following statement accurately describe the performance of the presented protection system?

“This Bulk Power System protection takes corrective action within times determined by studies in accordance with Directory #1 Design and Operation of the Bulk Power System and if applicable, the planning assessment performed to exclude BPS elements from Directory #1 applicability.”

| Response (Yes, No) |  |
| --- | --- |

# Exception Request

| Station | Element | Relevant Section in D4 or D7. |
| --- | --- | --- |
| Assessment Summary |  |  |

| Station | Element | Relevant Section in D4 or D7. |
| --- | --- | --- |
| Assessment Summary |  |  |

| Station | Element | Relevant Section in D4 or D7. |
| --- | --- | --- |
| Assessment Summary |  |  |