[Registered Entity Name]

NERC ID: [NCRXXXXX]

PRC-024-3 – Frequency and Voltage Protection Settings for Generating Resources

R1 and R2

2026 Self-Certification

TABLE OF CONTENTS

Instructions	2

Scope	3

Assessment Guidance	4

Requirement 1	4

Requirement 2	7

For previous Compliance Monitoring Engagement Follow-up:	10

# Instructions

- Populate the cover page by adding your entity’s name and NERC identification number.

- Complete the tasks listed under Assessment Guidance.

- Log into Align and complete your self-certification response.

- Submit the following via the Secure Evidence Locker (SEL):

  - This completed Worksheet; and

  - Specific evidence requested within this document. Please make sure to use unique file names for each evidence file submitted and identify within your narratives which specific evidence files support each conclusion made. These references and the use of unique file names help facilitate and expedite NPCC’s review of the Self-Certification work that has been performed.

# Scope

PRC-024-3 – Frequency and Voltage Protection Settings for Generating Resources: R1 and R2

# Assessment Guidance

## Requirement 1

Provide a brief explanation, in your own words, of how you comply with PRC-024-3 R1. It is recommended to provide references to supplied evidence, including references to the appropriate page within the evidence.

Populate Table 1 with the file names of any documents referenced above that will be submitted as evidence. Add additional rows as necessary:

| Table 1: Document File Names |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Evidence Requests:

Note: If any of the below questions are addressed in your narrative response above, please write “This is covered in the narrative response above.”

- Does your entity own any applicable frequency protection set to trip or cease injecting current during a frequency excursion in accordance with Requirement R1?

[Provide any evidence narratives here]

- Provide a list of all applicable frequency protection that is set to trip or cease injecting current during a frequency excursion for applicable generating resources(s).

[Provide any evidence narratives here]

- Provide a list of applicable frequency protection that has exceptions, as listed in Requirement R1, including the reason for each exception.

[Provide any evidence narratives here]

- For the list of all applicable frequency protection provided in evidence request #2:

  - Select a random sample from the population, using the following sampling logic (a random sample may be selected using statistical functions available in Microsoft Excel, through use of https://www.random.org/integer-sets/?mode=advanced) , or other statistical tool:

- Select eight of your frequency protection if your total population is nine or greater.

- If eight or fewer total frequency protection exists in the population, select the entire population.

  - Fill in Table 2 with the evidence of the sampling process used including:

- Samples selected (per Step a.)

- Evidence of the sampling process or tool utilized to create the sample (e.g. what are your samples and how they are created)

| Table 2: Sampling |  |
| --- | --- |
| File Contents | File Name / Page(s) |
| Samples Selected |  |
| Statistical Function Output |  |
| Comments |  |

- For each applicable frequency protection selected in the sample above, provide evidence such as dated setting sheets, calibration sheets, calculations, or other documentation that demonstrate that applicable frequency protection has been set such that the applicable frequency protection does not trip or cease injecting current during a frequency excursion for the applicable generating resource(s) within the “no trip zone” of PRC-024 Attachment 1.

[Provide any evidence narratives here]

- If available, provide an Internal Control Matrix, flowcharts, or similar document(s), which details the internal controls in place for this requirement, frequency of internal control, the person/dept. responsible for the internal control, and any testing of the internal control.

[Provide any evidence narratives here]

Populate Table 3 with the file names of any documents referenced above in requests 1 – 6 that will be submitted as evidence. Add additional rows as necessary.

| Table 3: Document File Names |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

## Requirement 2

Provide a brief explanation, in your own words, of how you comply with PRC-024-3 R2. It is recommended to provide references to supplied evidence, including references to the appropriate page within the evidence.

Populate Table 4 with the file names of any documents referenced above that will be submitted as evidence. Add additional rows as necessary.

| Table 4: Document File Names |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

Evidence Requests:

Note: If any of the below questions are addressed in your narrative response above, please write “This is covered in the narrative response above.”

- Does your entity own any applicable voltage protection set to trip or cease injecting current during a voltage excursion in accordance with Requirement R2?

[Provide any evidence narratives here]

- Provide a list of all applicable voltage protection that is set to trip or cease injecting current during a voltage excursion for applicable generating resources(s).

[Provide any evidence narratives here]

- Provide a list of all applicable voltage protection exceptions, including the reason for each exception:

- Instances where the Transmission Planner allows less stringent voltage protection settings;

  - If the Transmission Planner allows less stringent voltage settings than those required to meet PRC-024 Attachment 2, then provide documentation of the less stringent settings including the Transmission Planner’s location-specific study.

- Instances where the voltage protection has documented and communicated regulatory or equipment limitations in accordance with Requirement R3.

[Provide any evidence narratives here]

- For the list of all applicable voltage protection provided in evidence request #2:

- Select a random sample from the population, using the following sampling logic (a random sample may be selected using statistical functions available in Microsoft Excel, through use of https://www.random.org/integer-sets/?mode=advanced), or other statistical tool:

- Select eight of your voltage protection if your total population is nine or greater.

- If eight or fewer total voltage protection exists in the population, select the entire population.

- Fill in Table 5 with the evidence of the sampling process used including:

- Samples selected (per Step a.)

- Evidence of the sampling process or tool utilized to create the sample (e.g. what are your samples and how they are created)

| Table 5: Sampling |  |
| --- | --- |
| File Contents | File Name / Page(s) |
| Samples Selected |  |
| Statistical Function Output |  |
| Comments |  |

- For each applicable voltage protection selected in the sample above, provide evidence such as dated setting sheets, voltage-time curves, calibration sheets, coordination plots, dynamic simulation studies, calculations, or other documentation that demonstrates that applicable voltage protection has been set such that the applicable voltage protection does not trip or cease injecting current during a voltage excursion for the applicable generating resource(s) within the “no trip zone” of PRC-024 Attachment 2.

[Provide any evidence narratives here]

- If available, provide an Internal Control Matrix, flowcharts, or similar document(s), which details the internal controls in place for this requirement, frequency of the internal control, the person/dept. responsible for the internal control, and any testing of the internal control.

[Provide any evidence narratives here]

Populate Table 6 with the file names of any documents referenced above in requests 1 – 6 that will be submitted as evidence. Add additional rows as necessary.

| Table 6: Document File Names |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

## For previous Compliance Monitoring Engagement Follow-up:

If applicable, provide your follow-up actions on the previous Compliance Monitoring engagement’s areas of concern (AOC) and recommendations for PRC-024-3 R1, R2. Compliance Monitoring engagements include audits (on-site or off-site), spot-checks, and guided self-certifications.

Populate Table 7 with the file names of any documents referenced above that will be submitted as evidence. Add additional rows as necessary.

| Table 7: Document File Names |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| File Name | Document Title | Revision or Version | Document Date | Relevant Page(s) or Section(s) | Description of Applicability of Document |

NPCC is dedicated to the continued reliability of the Bulk Power System in Northeastern North America.

NPCC is dedicated to the continued reliability of the Bulk Power System in Northeastern North America.

1040 Avenue of the Americas, 4th Floor
New York, NY 10018

www.npcc.org

1040 Avenue of the Americas 4th Floor
New York, NY 10018

www.npcc.org

Please visit the NERC Training Site for access to all Align and ERO SEL training materials, including training videos, user guides, and start, stop, continue guides.