## General Information
|  |  | Date created/Last reviewed: | October 2025 | Next review date: | October 2028
Industry: | Power
Sub-Industry: | Solar |  | 4-Digit SOC 2020 code: (click here) | 5241 Electricians and electrical fitters |  | Feeder occupations (coming into this role) | Progression occupations (moving out of this role)
Occupation Title: | Commercial Installer |  | Occupation RQF level: (England, NI & Wales) | 3 |  | Electrician | Commercial Project Manager Commercial Design Engineer
Also known as: | N/A |  | Occupation SCQF level: (Scotland) | 6
Brief description of the occupation: | The primary purpose of a solar PV commercial installer is to install, maintain, and ensure the efficient operation of solar photovoltaic systems on commercial buildings and land. This involves assessing installation sites, measuring and preparing the installation area, fitting and securing solar panels, and connecting the system to the electrical network safely, following health and safety regulations. In addition to installation, the role includes performing routine maintenance and troubleshooting to ensure that solar systems operate at optimal efficiency over time. Installers use various technical tools and equipment to carry out these tasks and must have a thorough understanding of electrical wiring, system grounding, and adherence to safety and quality standards. As much of the work is outdoors and often at height, physical fitness and safety awareness are essential. The installer may collaborate with other tradespeople like electricians and roofers, ensuring quality control during installation and offering technical support or advice on solar energy systems. This role is pivotal in the broader renewable energy sector, helping businesses reduce their carbon footprint and transition to green energy sources.
Commentary on supply and demand (prepared by Energy & Utility Skills):
Average salary range (full-time annual gross): | £32,000 to £45,000 |  | Median salary for the SOC (full-time annual gross): | 38760 |  | The demand for solar PV commercial installers in the UK is projected to grow strongly over the next ten years due to the government's aggressive plans to increase solar power capacity. The UK is aiming to expand installed solar capacity from over 18 GW currently to around 45-47 GW by 2030, which would significantly boost the need for skilled solar installers as well as associated roles in project development and maintenance. This growth is supported by rising solar panel installations on new builds and retrofits, with solar power accounting for an increasing share of the UK’s energy mix.
Source: Earnings and hours worked, occupation by four-digit SOC: ASHE Table 14
Other benefits: | In addition to salary, other benefits might include a company vehicle, overtime, performance bonuses, holiday allowance and support with further skills development.
Description of the pathway into this occupation for new entrants (e.g. school/college leavers): |  | Typically, new entrants will require GCSEs or equivalent in Maths and English and completion of a relevant Level 3 qualification or an appropriate electrician Apprenticeship.
Description of the pathway into this occupation for experienced workers (e.g. transferring from other industries): |  | The typical pathway for an experienced electrician to become a commercial installer is to achieve a relevant level 3 qualification (and the Level 3 Electrotechnical Experienced Worker Qualification if required).
Minimum entry requirements: |  | - UK driving licence - UK electrician’s certification (e.g. Level 3 NVQ in Electrical Installation) or the Experienced Worker Route - Register on a Part P Competent Person Scheme (e.g. NICEIC or NAPIT) - To design and install systems under government-funded schemes, you must be Microgeneration Certification Scheme (MCS) certified An employer might also want you to have: - SSSTS (Site Supervisor Safety Training Scheme) or equivalent - CDM awareness / CIOB (Charted Institute of Building) fundamentals - PRINCE2 project management - NABCEP Certification (PVIP) or equivalent - First Aider

## Routes to Competency
Where it is possible to map units of learning to individual tasks, a RAG rating has been applied on the basis of: Green = there appears to be good coverage of that task in the RtC Amber = there appears to be some coverage of that task in the RtC Red = there appears to be no coverage of that task in the RtC
Type of route to competency | Name of route to competency | Nation | Mandatory? (Y / N) | Important notes | Weblink | Assessing potential installation sites to ensure suitability for solar panels. | Measuring and preparing roof or ground areas for panel installation. | Installing solar PV panels on a variety of roof types (e.g., slate, concrete tile, tin sheet) and ground mounts. | Installing mounting systems such as in-roof systems, ballasted and ground-mounted structures. | Connecting solar panels to the electrical system, including DC wiring and termination of MC4 connectors. | Grounding electrical equipment and checking all wiring for safety and compliance. | Testing electrical parameters such as string voltage, current, and insulation resistance. | Performing commissioning tests to confirm the system is functioning correctly. | Conducting routine maintenance checks and repairs to ensure system performance. | Ensuring adherence to strict health and safety guidelines, risk assessments, and method statements. | Maintaining detailed records of installations, materials used, and tests performed. | Collaborating with team members and communicating with clients to provide updates and support. | Cross-cutting units of learning (associated with the occupation, but any specific task(s)) | Other units of learning (not associated with the occupation)
Apprenticeship | None identified |  |  | While there are apprenticeship standards and frameworks relevant to becoming an electrician (a critical requirment for this occupation), none of them deliver full competency in terms of designing and installing small-scale solar systems.
Other Qualification | Level 3 Award in the Installation and Maintenance of Small Solar Photovoltaic Systems | UK | Mandatory - or an equivalent Level 3 qualification | N/A | https://lclawards.co.uk/qualifications/qualifications-details/rqf/level-3-award-in-the-installation-and-maintenance-of-small-scale-solar-photovoltaic-systems/
[6 empty] | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the types, characteristics and typical conversion efficiencies of SPV modules The learner will know the fundamental design principles used to determine SPV system module array size and position requirements The learner will know the layouts and the requirements for installing SPV module arrays The learner will plan and prepare for the installation of a SPV system | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the preparatory work required for SPV system installation work The learner will know the layouts and the requirements for installing SPV module arrays The learner will plan and prepare for the installation of a SPV system | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the purpose of SPV system components The learner will know the preparatory work required for SPV system installation work The learner will know the layouts and the requirements for installing SPV module arrays The learner will be able to install SPV system components | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the preparatory work required for SPV system installation work The learner will know the layouts and the requirements for installing SPV module arrays The learner will be able to install SPV system components | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the fundamental differences between AC and DC circuits within SPV systems The learner will know the purpose of SPV system components The learner will know SPV system DC and AC circuit installation layouts within the scope of the relevant Engineering Recommendations for grid tied systems The learner will know SPV system protection methods and components The learner will be able to install SPV system components | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the fundamental differences between AC and DC circuits within SPV systems The learner will know the types, characteristics and typical conversion efficiencies of SPV modules The learner will know SPV system protection methods and components The learner will know the requirements to test and commission SPV systems The learner will be able to inspect and test a new SPV system installation The learner will know how to diagnose faults in SPV system installations The learner will know how to rectify faults in SPV systems The learner will be able to undertake fault diagnosis work on SPV system installations | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the fundamental differences between AC and DC circuits within SPV systems The learner will know the types, characteristics and typical conversion efficiencies of SPV modules The learner will know SPV system protection methods and components The learner will know the requirements to test and commission SPV systems The learner will be able to inspect and test a new SPV system installation The learner will know how to diagnose faults in SPV system installations The learner will know how to rectify faults in SPV systems The learner will be able to undertake fault diagnosis work on SPV system installations | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the purpose of SPV system components The learner will know the types, characteristics and typical conversion efficiencies of SPV modules The learner will know the requirements to test and commission SPV systems The learner will be able to inspect and test a new SPV system installation The learner will be able to commission a new SPV system installation The learner will know how to diagnose faults in SPV system installations The learner will know how to rectify faults in SPV systems The learner will be able to undertake fault diagnosis work on SPV system installations | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work The learner will know the purpose of SPV system components The learner will know the types, characteristics and typical conversion efficiencies of SPV modules The learner will know the requirements to test and commission SPV systems The learner will know the requirements for the routine inspection, service and maintenance of SPV system installations The learner will know how to diagnose faults in SPV system installations The learner will know how to rectify faults in SPV systems The learner will undertake the routine service and maintenance of a SPV system installation The learner will be able to undertake fault diagnosis work on SPV system installations | The learner will know the health and safety risks and safe systems of work associated with solar photovoltaic (SPV) system work The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work | The learner will know the requirements of the relevant regulations and standards relating to the installation, testing and commissioning activities of SPV system installation work | The learner will know the requirements to handover SPV systems The learner will be able to hand over a new SPV system installation
Other Qualification | Level 3 Award in the Installation and Maintenance of Small Solar Photovoltaic Systems | UK | Mandatory - or an equivalent Level 3 qualification | N/A | https://www.cityandguilds.com/qualifications-and-apprenticeships/building-services-industry/electrical-installation/2922-small-solar-photovoltaic-systems#tab=information
[6 empty] | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS Identifying and mitigating hazards Solar PV system components Array architectures Symbols and acronyms General requirements and considerations prior to installation of solar PV systems Inverter sizing, specification and location Requirements and considerations for the design and installation of AC accessories and equipment | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS General requirements and considerations prior to installation of solar PV systems | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS Solar PV system components Symbols and acronyms Labelling requirements for the solar PV system and associated circuits | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS Electrical isolation of a PV system Solar PV system components Symbols and acronyms Requirements and considerations for the design and installation of DC accessories and equipment Requirements and considerations for the design and installation of AC accessories and equipment Labelling requirements for the solar PV system and associated circuits Inspection, testing and commissioning | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS Electrical isolation of a PV system Solar PV system components Symbols and acronyms Requirements and considerations for the design and installation of DC accessories and equipment Requirements and considerations for the design and installation of AC accessories and equipment Inspection, testing and commissioning | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS Identifying and mitigating hazards Electrical isolation of a PV system Symbols and acronyms Requirements and considerations for the design and installation of DC accessories and equipment Requirements and considerations for the design and installation of AC accessories and equipment Inspection, testing and commissioning | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS Identifying and mitigating hazards Symbols and acronyms Inspection, testing and commissioning | Identifying and mitigating hazards Symbols and acronyms Inspection, testing and commissioning Handover and maintenance | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS Identifying and mitigating hazards | Statutory requirements and nonstatutory guidance relating to the design, installation and commissioning of solar PV and EESS Labelling requirements for the solar PV system and associated circuits | Handover and maintenance
Other Qualification | Level 3 Award in the Installation of Small Scale Solar Photovoltaic Systems | UK | Mandatory - or an equivalent Level 3 qualification | N/A | https://bpec.org.uk/qualification/solar-photovoltaic-systems-qcf-mapped/
[6 empty] | Photovoltaic panels in context of renewable technologies How a Photovoltaic system works – principles and components Design of a PV system | How a Photovoltaic system works – principles and components Design of a PV system | How a Photovoltaic system works – principles and components Installation of a PV system PV Installation & Battery Storage Systems | How a Photovoltaic system works – principles and components Installation of a PV system PV Installation & Battery Storage Systems | How a Photovoltaic system works – principles and components Installation of a PV system PV Installation & Battery Storage Systems | How a Photovoltaic system works – principles and components Installation of a PV system PV Installation & Battery Storage Systems | How a Photovoltaic system works – principles and components Installation of a PV system PV Installation & Battery Storage Systems | How a Photovoltaic system works – principles and components Commissioning and Client Hand Over PV Installation & Battery Storage Systems | How a Photovoltaic system works – principles and components Maintenance and Fault Finding | Installation of a PV system Maintenance and Fault Finding |  | Commissioning and Client Hand Over
Other Qualification | Level 3 Award in the Installation of Small Scale Solar Photovoltaic Systems | UK | Mandatory - or an equivalent Level 3 qualification | N/A | https://eal.org.uk/qualifications/eal-level-3-award-in-the-installation-of-small-scale-solar-photovoltaic-systems
[6 empty] | Know the health and safety risks and safe systems of work associated with solar photovoltaic system installation work Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the types, silicon characteristics and typical conversion efficiencies of solar photovoltaic modules Know the fundamental design principles used to determine solar photovoltaic system module array size and position requirements Know the preparatory work required for solar photovoltaic system installation work Know the layouts and the requirements for installing solar photovoltaic module arrays Know solar photovoltaic system protection techniques and components | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the preparatory work required for solar photovoltaic system installation work Know the layouts and the requirements for installing solar photovoltaic module arrays | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the purpose of solar photovoltaic system components Know the layouts and the requirements for installing solar photovoltaic module arrays | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the purpose of solar photovoltaic system components Know the layouts and the requirements for installing solar photovoltaic module arrays | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the fundamental differences between AC and DC circuits within solar photovoltaic systems Know the purpose of solar photovoltaic system components Know the layouts and the requirements for installing solar photovoltaic module arrays Know solar photovoltaic system DC and AC circuit installation layouts within the scope of the relevant Engineering Recommendation for grid tied systems | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the fundamental differences between AC and DC circuits within solar photovoltaic systems Know the purpose of solar photovoltaic system components Know solar photovoltaic system DC and AC circuit installation layouts within the scope of the relevant Engineering Recommendation for grid tied systems Know solar photovoltaic system protection techniques and components | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the fundamental differences between AC and DC circuits within solar photovoltaic systems Know the purpose of solar photovoltaic system components Know solar photovoltaic system DC and AC circuit installation layouts within the scope of the relevant Engineering Recommendation for grid tied systems Know the requirements to test and commission solar photovoltaic systems | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the purpose of solar photovoltaic system components Know the requirements to test and commission solar photovoltaic systems | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the purpose of solar photovoltaic system components Know the requirements to test and commission solar photovoltaic systems | Know the health and safety risks and safe systems of work associated with solar photovoltaic system installation work Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work | Know the requirements of the relevant regulations/standards relating to practical installation, testing and commissioning activities for solar photovoltaic system installation work Know the purpose of solar photovoltaic system components Know the requirements to handover solar photovoltaic systems