## Asset Categorization
Category | Sub-category | Asset Name | Criticality
Perimeter Security | Fencing Air side | Fence structure | A
Fence Perimeter
Gate Barrier-Electric
Gate Barrier-Manual
Gate Sliding
Road Blocker Hydraulic
| Fencing Land side | Fence structure | C
Fence Perimeter
Gate Barrier-Electric
Gate Barrier-Manual
Gate Sliding
Road Blocker Hydraulic
Mechanical | Automatic Door | Motor | B
Glass Door
Gears
| Air Conditioning & Mechanical Ventilation | Chiller | A
|  | Air Handling Unit | A
|  | Chiller Pump | A
|  | Energy Recovery Ventilation | B
|  | Air Curtain | C
|  | Fan Coil Unit | A
|  | Roof Exhaust Fan | C
|  | Room Cooling Unit | B
|  | Condensing Unit | A
|  | Air Distribution Network | A
|  | VRV A/C unit | A
|  | Central A/C unit | A
|  | Package A/C unit | A
|  | Split A/C unit | A
|  | Window A/C unit | B
|  | Computer Room Air Conditioning System | A
|  | Smoking Room/Cabin | C
|  | Chilled Water Plant | A
|  | Chiller Make Up Water Pump | A
|  | Chilled Water Pipeline Network and Valves | A
|  | Chilled Water Primary/secondary Pumps | A
|  | Chiller Control Panels | A
Broadcasting & Communication System | Flight Information Display System (FIDS) | FIDS System | B
Flap Board
Monitor
Console
Computer
Printer
Hard Disk
Antenna
Remote
Controller
Hub System
Modem
PC Book
LAN Router
LAN Switch
Distribution Patch Panel
Router
Server
Workstation
Switcher
LAN Connector
Station Patch Panel
Battery Bank
Interactive Voice Response
Scanner
Fire Wall
Stereo Mixer
Message Detail Recording (MDR)
| Public Address System (PAS) | Amplifier | B
Microphone
Monitor Panel
Exchanger
Term Board
Auto Blower
Multi Compact Disc
Cassette Player
PAS Matrix
Battery Unit
Power Module
Monitor Module
Digital Announcer
Ceiling Speaker
Horn Speaker
Intercom
Message Recorder
Noise Analyser
Radio Tuner
Zone Selector
AM/FM Tuner
CD Changer
Tape Deck
Voice Alarm Unit
Backup Batteries
Wireless Mic+Tuner
Presentation Switcher
LCD Monitor
Audio Monitor
Computer (CPU)
PAS Mixer
Controller
Protector
Remote Call Station
Call Station Interface
SD Tuner
Baggage Handling System | Baggage Conveyor | Baggage Conveyor | A
Readers
Steel Structure
Modular Conveyor Platform
Dispatch Conveyor
Vertical Movers (S conveyors)
Carousels
Sorters
Diverts and Merges
| BHS Panels | Feeder Distribution Panels
Sub Main Distribution Panels
| BHS Control Systems | PLC Panel and Remote I/0s
| BHS HLC | Hardware, Software and Network equipment
| Baggage Weighing Scale | Load Cell
Weighing belt
Display unit
| Security & Baggage Scanner | X-ray Baggage Scanner | A
Hand Baggage Scanner
Explosive & Narcotics Detector
Workstation
Tray Retrieval System
Mobile Vehicle Camera
Mobile Vehicle Monitor
Mobile Vehicle Intercom
Mobile Baggage Scanner
Automatic Tag Reader (ATR)
Electrical / Utility | Street Lighting | Light Pole | C
Solar Street Light
Luminaire
Control Panel
Cabling & Wiring
Solar Panel / Photocell
| Building Lighting | Light fixture | B
Control Panel
Cabling & Wiring
| Airfield Lighting | Runway Approach Lighting | A
Beacon
Wind Sock
Signage
Solar Beacon
Runway Lighting
Taxiway Lighting
Airfield Lighting Control and Monitoring System
VASI/PAPI
Main Distribution Panel
Flood Lighting
Constant Current Regulators
AGLAS, ALCMS
Hardware and Network Equipments
| Power Distribution –Medium Voltage and Low Voltage | Transformer Substation | A
Overhead Lines
Switchgear
Ring Main Unit
Cabling & Wiring
Uninterruptible Power Supply (UPS)
Battery Pack
Earthing
Power Distribution Control Centre
Control Panel
Power Distribution Unit (PDU)
Load Center
Distribution Panels
Capacitor Banks
Battery Charger
| Power Generator | Diesel Generator | A
Gas Generator
Control Panel
Fuel tanks & supply
Cooling system
Backup Battery
Cabling & Wiring
Solar Power Generating Plant
Distribution Panels
| Irrigation Network System | Pump | C
Sprinklers
Valves
Controllers
Pipework
| Sewage Network & Plant | Sewage Treatment Plant (STP) | B
Blower
Compressor
Chlorinator
Pump
Sand Filter
Sump Pump
Sump Membrane
Sump Mixer (Agitator)
Fine Bubble Diffusers
Manual Bar Screen
Meter
Tank Aeriation
Tank Equalization
Tank Clean in Place (CIP) System
Tank Membrane
Tank Collecting (U/G)
Tank Chemical
Tank Tertiary
Sludge Bed
Tank Chlorine
Tank Irrigation
Pump Backwash
Pump Filter
Pump Sludge Recycling
Pump Sludge Transfer
Lift Station
Pump Booster
Pump Chemical Dosing
Open Lagoon
Pump Clarifier
Pump Micro Strainer
Tank Clarifier
Tank Sludge (U/G)
Sludge Drying Bed
Pump Raw Sewage
Pump Froth Control
Pump Effluent
Pump Sewage Transfer
Pump Motor
Tank Sludge Holding
Tank Air Blower Compressed
Pressure Tank
Pipeline network and Valves
| Water Plant & Distribution (Including Fire Fighting water network) | Water Treatment Plant (WTP) | A
|  | Pump Fire Diesel | A
|  | Pump Hydraulic | A
|  | Pump | A
|  | Sand Filter | A
|  | Water Softener | A
|  | Sump Pump | A
|  | Reservoir Water | A
|  | Pump Fire Electric | A
|  | Pump Deep Well | A
|  | Pump Drinking Water | A
|  | Pump Emergency | A
|  | Pump Jocky | A
|  | Pump Filter | A
|  | Pump Distribution | A
|  | Pump Booster | A
|  | Pump Irrigation | C
|  | Reservoir Water (U/G) | A
|  | Reservoir Water (On Ground) | A
|  | Tank Water (Over Head) | A
|  | Mixer Chlorine | A
|  | Pump Loading | A
|  | Tank Soft Water | A
|  | Pump Soft Water Delivery | A
|  | Tank Chlorine | A
|  | Pump Feed | A
|  | Pump Flushing | A
|  | Water Hammer Absorber | A
|  | Pump Backwash | A
|  | Pressure Tank | A
|  | Overhead Crane | C
|  | Deep Well | B
|  | Pressure Vessel | C
|  | Tank Fibre Glass | C
|  | Irrigation Sprinkler | C
|  | Irrigation control panel | C
|  | Irrigation Pipes & valves | C
|  | Pump Irrigation | C
|  | Pipeline network and Valves (Fire fighting) | A
|  | Pipeline network and Valves (Domistic) | A
|  | Pipeline network and Valves(Irrigation) | C
| Solid Waste | Chute | C
Compactor
Incinerator
Control Panel
| Storm Water Drainage Network | Drainage Ditch | B
Detention Pond
Pump Station
Oil/Water Separator
Lift Station
Underground drainage system
| Reverse Osmosis Plant | Reverse Osmosis (R/O) Plant | B
R/O Unit
Permeator
Pump Feed
Pump High Pressure
Pump Dosing
Pump Flushing
Automatic Valve
Mixer Chemical
Flowmeter
Pressure Gauge
Tank Break
Tank Chemical
Sand Filter
Filter Cartridge
Valve Solenoid
Cooling Tower
Pump Filter Feed Backwash
Filter Brim
Meter
Tank Flush
Tank Product Storage
Pump Waste Pit
Pump Backwash
Blower
Security | CCTV / IPTV | CCTV Camera | A
Monitor
Multiplexer
Scanner
Switcher
Control Panel
Recorder
Console
Digital Video Recorder
DVD Writer
Pan Tilt Zoom Controller
Server
Network Video Recorder
Security Access Control System
Workstation
NVR-Video Storage (NVR)
NVR-Server (NVR)
NVR-Network Video Recorder
LAN Switch
Access Point
UPS Battery Pack
| Walkthrough Screening | Walkthrough Metal Detector | A
Supervisory & Monitoring System
| Stand-Alone X-Ray | X-ray Machine | A
Explosive Trace Detection (ETD) Machine
Hand-held Metal Detector
Body Scanner
Shoe Scanner
Fire Life Safety | Fire Alarm System | Smoke Detector | A
Heat Detector
Pull Station Post
Smash Glass
Backup Batteries
Auto Dialler
Beam Detector
MIMIC Panel
N/W Comm Module
Alarm Bell
Input Monitor
Control Relay
Control Module
Monitor Module
Power Supply
Fire Fighting Panel
Interface Module
Crash Alarm Control Panel
Optical Detector
Fire Curtain
Fire Shutter
Call Point
Computer
Computer monitor
Network Card
Sounder
Speaker Wall Mount
Flasher
Gateway
| Fire Fighting System | Fire Hydrant | A
Fire Sprinkler System
Fire Hose Reel System
Fire Extinguisher
Gas Extinguishing System
Communication System | Communication Radios | Base Station Radio | A
Hand-held Radio
Mobile Radio
Cockpit Voice Recorder (CFR)
CFR-Computer
CFR-Monitor
CFR-Speaker
CFR-UPS
CFR-Battery Pack
GPS Navigation System
Cell phone Charging Machine
Antennas
Radio Signal Boosters
CFR-Console
CFR-Network Storage
CFR-Lan Switch
| Master Clock System | Server | C
Clock
Cabling & Wiring
Aircraft Support System | Ground Service Equipment (GSE) | GPU | A
PCA
PWS
SVS
| Visual Docking Guidance System | Operator Panel | A
Display Board
| Passenger Boarding Bridge | Canopy | A
Auto leveller
Tunnels
Lifting Column
Wheel Bogie
Rotunda
| Private Automatic Branch Exchange (PABX Exchange) | PABX Exchange | B
Voice Recorder
Operating Console
Console Monitor
Auto Attendant
Computer
Monitor
Printer
Speaker
Modem
UPS
VR Monitor
VR Computer
VR UPS
Bill Computer
Bill PC Monitor
Bill Printer
Rectifier
Router
Digital Analogue Unit
Network Switch
Remote Access Unit
Backup Batteries
Server
Switch
| Data Control Center | Servers | A
Racks and Cabinets
Switch
Router
Firewall
UPS
HVAC (CRAC)
Monitor
Fire Suppression System
Load Balancer
Access Control
Monitor
NOC (Network Operations Center)
Server rooms
PDU
Aviation Fuel Infrastructure | Fuel Pits | Fuel Storage Tanks | A
Fuel Pumps
Fuel Dispensing Nozzles
Fuel Pipeline
Fuel Monitoring & control System
Fuel Filtration System
Leakage Detection system
Facilities & Infrastructure | Building Management System | Switches | B
Sensors
Controllers (DDCs)
Interlock
| Escalators | Steps | A
Handrails
Balustrade
Control System
Safety System
Lighting
| Elevators | Elevator Cars | A
Elevator Shafts
Control Panels
Motor & Drive system
Cables & Ropes
Sensors & Control System
Lighting & Interior Fixtures
Infrastructure | Pavements | Runway | A
|  | Taxiway | A
|  | Apron | A
|  | Taxi lane | A
|  | Shoulders | A
|  | Airside Roads | B
|  | Landside Roads | B
|  | Surface Carparks | B
|  | Car Parking | C
|  | Underground tunnels/structures | B
Fire Rescue | Vehicals and aquepments | CFR AMBULANCE | A
|  | CFR TRUCK WATER | A
|  | CFR PORTABLE FIRE PUMP | B
|  | CFR JEEP (COMMAND VEH) | A
|  | CFR Steam Cleaner | C
|  | CFR FLOODLIGHT MOBILE (TOW TYPE) | A
|  | CFR LIGHT RESCUE PUMPER | A
|  | CFR RESCUE (HAZMAT) | A
|  | CFR (MAJOR) FOAM TENDER 6*6 | A
|  | CFR TRUCK PICKUP | A
|  | CFR MINI PUMPER | A
|  | CFR BREATHING COMPRESSOR | A
|  | CFR STRUCTURAL PUMPER | A
|  | CFR BREATHING set | A
Note on B40: Hatim M. Kaki: going to SITA .
Note on C125: Hatim M. Kaki: Deleted
Note on C154: Hatim M. Kaki: N/A
Note on C163: Hatim M. Kaki: N/A
Note on C175: Hatim M. Kaki: N/A
Note on B302: Hatim M. Kaki: SOC Project
Note on B380: Hatim M. Kaki: Deleted