## Courthouse Summary
SCHEDULE OF QUANTITIES - SUMMARY
NEW COURT HOUSE BUILDING
SALELOLOGA
ITEM | ITEM DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | SITE PREPARATION |  |  |  | 0
2 | SUBSTRUCTURE |  |  |  | 0
3 | FRAME |  |  |  | 0
4 | STRUCTURAL WALLS |  |  |  | included
5 | UPPER FLOORS |  |  |  | not applicable
6 | ROOF |  |  |  | 0
7 | EXTERIOR WALLS & FINISHES |  |  |  | 0
8 | EXTERIOR WINDOWS & DOORS |  |  |  | 0
9 | STAIRS & BALUSTRADES |  |  |  | 0
10 | INTERIOR WALLS |  |  |  | 0
11 | INTERIOR DOORS |  |  |  | 0
12 | FLOOR FINISHES |  |  |  | 0
13 | WALL FINISHES |  |  |  | included
14 | CEILING FINISHES |  |  |  | 0
15 | FITTINGS & FIXTURES |  |  |  | 0
16 | SANITARY PLUMBING |  |  |  | 0
17 | AIR CONDITIONING & VENTILATION |  |  |  | 0
18 | FIRE PROTECTION SERVICES |  |  |  | 0
19 | ELECTRICAL SERVICES |  |  |  | 0
20 | VERTICAL & HORIZONTAL TRANSPORT |  |  |  | not required
21 | SPECIAL SERVICES |  |  |  | 0
22 | DRAINAGE SERVICES |  |  |  | 0
23 | EXTERNAL WORKS |  |  |  | 0
24 | SUNDRIES |  |  |  | 0
| SUB-TOTAL |  |  |  | 0
25 | PRELIMINARIES & GENERAL |  |  |  | 0
26 | CONTRACTOR'S PROFIT MARGIN |  |  |  | 0
27 | VAGST |  |  |  | 0
| TOTAL |  |  |  | 0

## Courthouse SoQ
SCHEDULE OF QUANTITIES
NEW COURT HOUSE BUILDING
SALELOLOGA
ITEM | ITEM DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | SITE PREPARATION
1.01 | Allowance for clearing of building platform and bulk excavate to required levels | 5160 | m2 |  | 0
1.02 | Allowance for hardfill to required levels and compact prior to substructure work | 1 | Sum |  | 0
| TOTAL FOR SITE PREPARATION |  |  |  | 0
2 | SUBSTRUCTURE
2.01 | Perimeter reinforced concrete footing with foundation block wall to building including excavation, risk of collapse, formwork, reinforcing steel, DPM and concrete | 840 | m |  | 0
2.02 | Allowance for reinforced concrete pad foundation for columns to verandah | 56 | No |  | 0
2.03 | Reinforced 125mm concrete floor slab with floor thickening including excavation, formwork, hardfill, insulation and dpc to main building | 3270 | m2 |  | 0
2.04 | Reinforced 150mm thick concrete floor slab with floor thickening including excavation, formwork, hardfill, insulation and dpc to carpark area | 400 | m2 |  | 0
| TOTAL FOR SUBSTRUCTURE |  |  |  | 0
3 | FRAME
3.01 | Allowance for concrete ring beam | 840 | m |  | 0
3.02 | Allowance for 300mm diameter concrete columns | 56 | No |  | 0
3.03 | Roof structure including trusses, rafters, framing purlins and bracing | 3670 | m2 |  | 0
| TOTAL FOR FRAME |  |  |  | 0
4 | STRUCTURAL WALLS |  |  |  | included
5 | UPPER FLOORS |  |  |  | not applicable
6 | ROOF
6.01 | Roof cladding over building and verandah including timber battens, reflective foil, self supporting paper and galvanized wire netting | 3670 | m2 |  | 0
6.02 | Timber fascia board including paint finish | 300 | m |  | 0
6.03 | PVC guttering including all brackets and spigots | 300 | m |  | 0
6.04 | Allowance for downpipes including brackets and connection to stormwater drain or water tank | 300 | m |  | 0
6.05 | Allowance for ridge and valley flashing | 130 | m |  | 0
6.06 | Allowance for barge flashing | 120 | m |  | 0
6.07 | Allowance for ceiling to porte co'chere area | 400 | m2 |  | 0
| TOTAL FOR ROOF |  |  |  | 0
7 | EXTERIOR WALLS & FINISHES
7.01 | 200 series block wall including D12 reinforcing steel, mortar fill and plaster/paint finish | 1500 | m2 |  | 0
| TOTAL FOR EXTERIOR WALLS & FINISHES |  |  |  | 0
8 | EXTERIOR WINDOWS & DOORS
8.01 | Aluminium louvre windows including frame and hardware | 150 | m2 |  | 0
8.02 | Allowance for exterior solid core doors including hardware and paint | 17 | No |  | 0
8.03 | Allowance for exterior double solid core doors including hardware and paint | 12 | No |  | 0
8.04 | allowance for single steel door - cell block & interview room | 3 | No |  | 0
8.05 | Allowance for Double steel door - garage | 1 | No |  | 0
| TOTAL FOR EXTERIOR WINDOWS & DOORS |  |  |  | 0
9 | STAIRS & BALUSTRADES
9.01 | Allowance for concrete step including handrail | 3 | Sum |  | 0
9.02 | Allowance for concrete ramp including handrail | 1 | Sum |  | 0
9.03 | Allowance for steel balustrade to verandahs | 1 | Sum |  | 0
| TOTAL FOR STAIRS & BALUSTRADES |  |  |  | 0
10 | INTERIOR WALLS
10.01 | 200 series block wall including D12 reinforcing steel, mortar fill and plaster/paint finish | 2970 | m2 |  | 0
| TOTAL FOR INTERIOR WALLS |  |  |  | 0
11 | INTERIOR DOORS
11.01 | Allowance for interior hollow core doors including hardware and paint | 56 | No |  | 0
11.02 | Allowance for interior double solid core doors including hardware and paint | 5 | Sum |  | 0
11.03 | Allowance for proprietary toilet partitions | 27 | Sum |  | 0
11.04 | Allowance for Accordion Wall | 1 | Sum |  | 0
| TOTAL FOR INTERIOR DOORS |  |  |  | 0
12 | FLOOR FINISHES
12.01 | Tiles on concrete slab (provisional) | 3270 | m2 |  | 0
12.02 | Painted timber skirting | 2050 | m |  | 0
| TOTAL FOR FLOOR FINISHES |  |  |  | 0
13 | WALL FINISHES |  |  |  | included
14 | CEILING FINISHES
14.01 | Allowance for specified ceiling lining including ceiling battens, stop and paint to raking ceiling | 3670 | m2 |  | 0
14.02 | Selected timber cornice including paint finish | 1550 | m |  | 0
| TOTAL FOR CEILING FINISHES |  |  |  | 0
15 | FITTINGS & FIXTURES
15.01 | Allowance for joinery rostrum to court rooms | 3 | Sum |  | 0
15.02 | Allowance for joinery for reception | 1 | Sum |  | 0
| TOTAL FOR FITTINGS & FIXTURES |  |  |  | 0
16 | SANITARY PLUMBING
16.01 | Allowance for water supply connection | 1 | Sum |  | 0
16.02 | Allowance for wc units, including pipework and connection supply and drainage | 36 | No |  | 0
16.03 | Allowance for urinal units, including pipework and connection supply and drainage | 9 | No |  | 0
16.04 | Allowance for wash hand basins, including taps, pipework and connection supply and drainage | 31 | No |  | 0
16.05 | Allowance for vanity with insert sink including taps, pipework and connection supply and drainage | 2 | No |  | 0
| TOTAL FOR SANITARY PLUMBING |  |  |  | 0
17 | AIR CONDITIONING & VENTILATION
17.01 | Allowance for air conditioning units including connections and pipework | 1 | Sum |  | 0
| TOTAL FOR AIR CONDITIONING & VENTILATION |  |  |  | 0
18 | FIRE PROTECTION SERVICES
18.01 | Allowance for fire protection system | 1 | Sum |  | 0
| TOTAL FIRE PROTECTION SERVICES |  |  |  | 0
19 | ELECTRICAL SERVICES
19.01 | Allowance for power, wiring and lighting | 3270 | m2 |  | 0
19.02 | Allowance for external lighting | 1 | Sum |  | 0
19.03 | Allowance for fans to include connection and controls | 1 | Sum |  | 0
| TOTAL FOR ELECTRICAL SERVICES |  |  |  | 0
20 | VERTICAL & HORIZONTAL TRANSPORT |  |  |  | not required
21 | SPECIAL SERVICES
21.01 | Allowance for data and communication | 1 | Sum |  | 0
| TOTAL FOR SPECIAL SERVICES |  |  |  | 0
22 | DRAINAGE SERVICES
22.01 | Allowance for septic tanks including overflows | 3 | No |  | 0
| TOTAL FOR DRAINAGE SERVICES |  |  |  | 0
23 | EXTERNAL WORKS
23.01 | Concrete walk path including ramps & steps | 190 | m2 |  | 0
23.02 | Allowance for concrete steps including handrails | 2 | No |  | 0
23.03 | Allowance for driveway and ramp | 1 | Sum |  | 0
23.04 | Allowance for curbing and planter strip | 1 | Sum |  | 0
23.05 | Allowance for soft landscaping and plants | 1 | Sum |  | 0
| TOTAL FOR EXTERNAL WORKS |  |  |  | 0
24 | SUNDRIES
SUB-TOTAL
25 | PRELIMINARIES & GENERAL |  |  |  | 0
26 | CONTRACTOR'S PROFIT MARGIN |  |  |  | 0
27 | VAGST |  |  |  | 0
| TOTAL |  |  |  | 0

## Residence Summary
SCHEDULE OF QUANTITIES - SUMMARY
NEW JUDGES RESIDENCE BUILDING
SALELOLOGA
ITEM | ITEM DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | SITE PREPARATION |  |  |  | 0
2 | SUBSTRUCTURE |  |  |  | 0
3 | FRAME |  |  |  | 0
4 | STRUCTURAL WALLS |  |  |  | included
5 | UPPER FLOORS |  |  |  | not applicable
6 | ROOF |  |  |  | 0
7 | EXTERIOR WALLS & FINISHES |  |  |  | 0
8 | EXTERIOR WINDOWS & DOORS |  |  |  | 0
9 | STAIRS & BALUSTRADES |  |  |  | 0
10 | INTERIOR WALLS |  |  |  | 0
11 | INTERIOR DOORS |  |  |  | 0
12 | FLOOR FINISHES |  |  |  | 0
13 | WALL FINISHES |  |  |  | included
14 | CEILING FINISHES |  |  |  | 0
15 | FITTINGS & FIXTURES |  |  |  | 0
16 | SANITARY PLUMBING |  |  |  | 0
17 | AIR CONDITIONING & VENTILATION |  |  |  | 0
18 | FIRE PROTECTION SERVICES |  |  |  | 0
19 | ELECTRICAL SERVICES |  |  |  | 0
20 | VERTICAL & HORIZONTAL TRANSPORT |  |  |  | not required
21 | SPECIAL SERVICES |  |  |  | 0
22 | DRAINAGE SERVICES |  |  |  | 0
23 | EXTERNAL WORKS |  |  |  | 0
24 | SUNDRIES |  |  |  | 0
| SUB-TOTAL |  |  |  | 0
25 | PRELIMINARIES & GENERAL |  |  |  | 0
26 | CONTRACTOR'S PROFIT MARGIN |  |  |  | 0
27 | VAGST |  |  |  | 0
| TOTAL |  |  |  | 0

## Residence SoQ
SCHEDULE OF QUANTITIES
NEW JUDGES RESIDENCE BUILDING
SALELOLOGA
ITEM | ITEM DESCRIPTION | QTY | UNIT | RATE | TOTAL
1 | SITE PREPARATION
1.01 | Allowance for clearing of building platform and bulk excavate to required levels | 517 | m2 |  | 0
1.02 | Allowance for hardfill to required levels and compact prior to substructure work | 1 | Sum |  | 0
| TOTAL FOR SITE PREPARATION |  |  |  | 0
2 | SUBSTRUCTURE
2.01 | Perimeter reinforced concrete footing with foundation block wall to building including excavation, risk of collapse, formwork, reinforcing steel, DPM and concrete | 230 | m |  | 0
2.02 | Allowance for reinforced concrete pad foundation for columns to verandah | 22 | No |  | 0
2.03 | Reinforced concrete floor slab with floor thickening including excavation, formwork, hardfill, insulation and dpc to main building | 396 | m2 |  | 0
2.04 | Reinforced thick oncrete floor slab with floor thickening including excavation, formwork, hardfill, insulation and dpc to verandah | 121 | m2 |  | 0
| TOTAL FOR SUBSTRUCTURE |  |  |  | 0
3 | FRAME
3.01 | Allowance for concrete ring beam | 153 | m |  | 0
3.02 | Allowance for concrete masonry columns | 22 | No |  | 0
3.03 | Roof structure including trusses, rafters, framing purlins and bracing | 517 | m2 |  | 0
| TOTAL FOR FRAME |  |  |  | 0
4 | STRUCTURAL WALLS |  |  |  | included
5 | UPPER FLOORS |  |  |  | not applicable
6 | ROOF
6.01 | Roof cladding over building and verandah including timber battens, reflective foil, self supporting paper and galvanized wire netting | 571 | m2 |  | 0
6.02 | Timber fascia board including paint finish | 146 | m |  | 0
6.03 | PVC guttering including all brackets and spigots | 128 | m |  | 0
6.04 | Allowance for downpipes including brackets and connection to stormwater drain or water tank | 80 | m |  | 0
6.05 | Allowance for ridge flashing | 70 | m |  | 0
6.06 | Allowance for barge flashing | 25 | m |  | 0
6.07 | Soffit framing to building and verandah with specified lining, timber trim and including paint finish | 121 | m2 |  | 0
| TOTAL FOR ROOF |  |  |  | 0
7 | EXTERIOR WALLS & FINISHES
7.01 | Block wall cladding including reinforcing steel, mortar fill and paint finish | 276 | m2 |  | 0
| TOTAL FOR EXTERIOR WALLS & FINISHES |  |  |  | 0
8 | EXTERIOR WINDOWS & DOORS
8.01 | Aluminium louvre windows including frame and hardware | 1 | Sum |  | 0 | m2 in courthouse soq
8.02 | Allowance for exterior solid core doors including hardware and paint | 14 | No |  | 0
| TOTAL FOR EXTERIOR WINDOWS & DOORS |  |  |  | 0
9 | STAIRS & BALUSTRADES
9.01 | Allowance for concrete step including handrail | 1 | Sum |  | 0
9.02 | Allowance for concrete ramp including handrail | 12 | m2 |  | 0 | Sum in courthouse soq
| TOTAL FOR STAIRS & BALUSTRADES |  |  |  | 0
10 | INTERIOR WALLS
10.01 | Block wall cladding including reinforcing steel, mortar fill and plaster/paint finish | 215 | m2 |  | 0
| TOTAL FOR INTERIOR WALLS |  |  |  | 0
11 | INTERIOR DOORS
11.01 | Allowance for interior hollow core doors including hardware and paint | 10 | No |  | 0
| TOTAL FOR INTERIOR DOORS |  |  |  | 0
12 | FLOOR FINISHES
12.01 | Tiles on concrete slab | 396 | m2 |  | 0
12.02 | Painted timber skirting | 569 | m |  | 0
| TOTAL FOR FLOOR FINISHES |  |  |  | 0
13 | WALL FINISHES |  |  |  | included
14 | CEILING FINISHES
14.01 | Allowance for specified ceiling lining including ceiling battens, stop and paint to raking ceiling | 396 | m2 |  | 0
14.02 | Selected timber cornice including paint finish | 583 | m |  | 0
| TOTAL FOR CEILING FINISHES |  |  |  | 0
15 | FITTINGS & FIXTURES
15.01 | Allowance for joinery desk in room | 4 | Sum |  | 0
15.02 | Allowance for vanity for wash hand basin | 10 | No |  | 0
15.03 | Allowance for closets | 10 | No |  | 0
15.02 | Allowance for kitchen joinery including countertop, splash back, drawers and cupboards | 1 | Sum |  | 0
| TOTAL FOR FITTINGS & FIXTURES |  |  |  | 0
16 | SANITARY PLUMBING
16.01 | Allowance for water supply connection | 1 | Sum |  | 0
16.02 | Allowance for wc units, including pipework and connection supply and drainage | 10 | No |  | 0
16.03 | Allowance for shower units, including floor tray, cubicle, shower rose, pipework and connection supply and drainage | 10 | No |  | 0
16.04 | Allowance for wash hand basins, including taps, pipework and connection supply and drainage | 10 | No |  | 0
16.05 | Allowance for double insert sink including taps, pipework and connection supply and drainage | 1 | No |  | 0
16.06 | Allowance for laundry tap, pipework and connection supply and drainage | 1 | No |  | 0
| TOTAL FOR SANITARY PLUMBING |  |  |  | 0
17 | AIR CONDITIONING & VENTILATION
17.01 | Allowance for air conditioning units including connections and pipework | 10 | No |  | 0
| TOTAL FOR AIR CONDITIONING & VENTILATION |  |  |  | 0
18 | FIRE PROTECTION SERVICES
18.01 | Allowance for fire protection system | 1 | Sum |  | 0
| TOTAL FIRE PROTECTION SERVICES |  |  |  | 0
19 | ELECTRICAL SERVICES
19.01 | Allowance for power, wiring and lighting | 396 | m2 |  | 0
19.02 | Allowance for external lighting | 1 | Sum |  | 0
19.03 | Allowance for fans to include connection and controls | 1 | Sum |  | 0
| TOTAL FOR ELECTRICAL SERVICES |  |  |  | 0
20 | VERTICAL & HORIZONTAL TRANSPORT |  |  |  | not required
21 | SPECIAL SERVICES |  |  |  | 0
22 | DRAINAGE SERVICES
22.01 | Allowance for septic tanks including overflows | 1 | No |  | 0
| TOTAL FOR DRAINAGE SERVICES |  |  |  | 0
23 | EXTERNAL WORKS
23.01 | Allowance for splash areas | 1 | Sum |  | 0
| TOTAL FOR EXTERNAL WORKS |  |  |  | 0
24 | SUNDRIES
| SUB-TOTAL |  |  |  | 0
25 | PRELIMINARIES & GENERAL |  |  |  | 0
26 | CONTRACTOR'S PROFIT MARGIN |  |  |  | 0
27 | VAGST |  |  |  | 0
| TOTAL |  |  |  | 0