## Lot 1 Blood Bank
ANNEX A PRICE SCHEDULE
Blood Bank
To be completed by supplier
MoH Requirements | [8 empty] | Mandatory fields | [8 empty] | Non Mandatory
Code No. | Description | MOH Quantity and physical unit (Consumption) | MOH Quantity and physical unit (Consumption) | Minimum Order Qty | Maximum Order Qty | BASIC UNIT COMPOSITION | BASIC UNIT COMPOSITION | Prefferred Mode of Transport | Mode of Transport | Offered Number of Packs | Offered Pack Size | Offered price per pack [CIF - Cost, Insurance and Freight] | Currency | Product expiry | Delivery Time | Manufacturer | Method of delivery | Supplier Identifier [Inventory item code / name] | Comments
|  | 12 Months | 24 Months | 12 months (supplies)
B001 | ANTI - A MONOCLONAL TYPING SERA (SAME BRAND) | 500 VIALS (50 TRAYS) | 1000 VIALS | 40 TRAYS (400 VIALS) | 60 TRAYS (600 VIALS) | 1 TRAY X 10 (VIAL OF 10MLS) | 1 | Air
B002 | ANTI - B MONOCLONAL TYPING SERA (SAME BRAND) | 500 VIALS (50 TRAYS) | 1000 VIALS | 40 TRAYS (400 VIALS) | 60 TRAYS (600 VIALS) | 1 TRAY X 10 (VIAL OF 10MLS) | 1 | Air
B003 | ANTI - AB MNOCLONAL TYPING SERA (SAME BRAND) | 500 VIALS (50 TRAYS) | 1000 VIALS | 40 TRAYS (400 VIALS) | 60 TRAYS (600 VIALS) | 1 TRAY X 10 (VIAL OF 10MLS) | 1 | Air
B004 | ANTI - D DUOCLONE MONOCLONAL TYPING SERA (SAME BRAND) | 500 VIALS (50 TRAYS) | 1000 VIALS | 40 TRAYS (400 VIALS) | 60 TRAYS (600 VIALS) | 1 TRAY X 10 (VIAL OF 10MLS) | 1 | Air
B005 | MONOCLONE ANTI-D NEGATIVE CONTROL (SAME BRAND) | 500 VIALS (50 TRAYS) | 1000 VIALS | 40 TRAYS (400 VIALS) | 60 TRAYS (600 VIALS) | 1 TRAY X 10 (VIAL OF 10MLS)
B006 | ANTI HUMAN GLOBULIN REAGENT- RABBIT AHG (Polyclonal IgG & C3) - GREEN REAGENT (SAME BRAND) | 500 VIALS (50 TRAYS) | 1000 VIALS | 40 TRAYS (400 VIALS) | 60 TRAYS (600 VIALS) | 1 TRAY X 10 (VIAL OF 10MLS) | 1 | Air
B007 | ANTI-D (IgG) REAGENT (RH Antibodies IgG) - FOR THE PREPARATION OF CONTROL CELLS (SAME BRAND) | 50 VIALS (5 TRAYS) | 100 VIALS | 40 TRAYS (400 VIALS) | 60 TRAYS (600 VIALS) | 1 TRAY X 10 (VIAL OF 10MLS) | 1 | Air
B008 | ALSEVERS SOLUTION - FOR RED CELL PRESERVATIVE 500ML | 15 BOXES | 30 BOXES | 15 BOXES | 20 BOXES | BOTTLE OF 500MLS | 1 | Air
B009 | BLOOD BAGS-SINGLE/450ML, 16 GAUGE NEEDLE, NEEDLE INJURY PROTECTOR CPDA1, TERUMO OR ALTERNATIVE | 5 CASES | 10 CASES | 5 CASES (300 UNITS) | 5 CASES (300 UNITS) | 1 CASE OF 60 BLOOD BAGS | 1 | Air
B010 | LOW IONIC STRENGTH SOLUTION (FOR COMPATABILITY TESTING) LISS ADDITIVE 10ML VIAL (SAME BRAND) | 500 VIALS (50 TRAYS) | 1000 VIALS | 40 TRAYS (400 VIALS) | 60 TRAYS (600 VIALS) | 1 TRAY X 10 (VIAL OF 10MLS) | 1 | Air
B013 | BLOOD UNIT SERIAL NUMBERS STICKERS (500 NUMBERS PER ROLL & 6 STICKERS PER NUMBER) | 65 ROLLS | 130 ROLLS | 70 ROLLS | 85 RLLS | ROLL OF 500 LABELS (9 STICKERS PER NUMBER) | 1 | Air
B014 | BLOOD BAG TAGS. DIMENSIONS: 15X7 CM (WITH STRING ATTACHED) | 40 BUNDLES | 80 BUNDLES | 50 BUNDLES (APPROX 5000 TAGS) | 70 BUNDLES (APPROX. 7000 TAGS) | BOX X 48 BUNDLE (1 BUNDLE OF 97-100 TAGS) | 1 | Air
B015 | BLOOD GROUP LABEL: "A RhD positive" AND WITH Expirey Date: ________________ (SPACE TO WRITE EXPIRY DATE) | 50 ROLLS | 100 ROLLS | 50 ROLLS | 70 ROLLS | ROLL OF 500 LABELS | 1 | Air
B016 | BLOOD GROUP LABEL: "B RhD positive" AND WITH Expirey Date: ________________ (SPACE TO WRITE EXPIRY DATE) | 50 ROLLS | 100 ROLLS | 50 ROLLS | 70 ROLLS | ROLL OF 500 LABELS | 1 | Air
B017 | BLOOD GROUP LABEL: "AB RhD positive" AND WITH Expirey Date: ________________ (SPACE TO WRITE EXPIRY DATE) | 50 ROLLS | 100 ROLLS | 40 ROLLS | 50 ROLLS | ROLL OF 500 LABELS | 1 | Air
B018 | BLOOD GROUP LABEL: "O RhD positive" AND WITH Expirey Date: ________________ (SPACE TO WRITE EXPIRY DATE) | 50 ROLLS | 100 ROLLS | 70 ROLLS | 85 ROLLS | ROLL OF 500 LABELS | 1 | Air
B019 | BLOOD GROUP LABEL: "O RhD negative" AND WITH Expirey Date: ________________ (SPACE TO WRITE EXPIRY DATE) | 10 ROLLS | 20 ROLLS | 10 ROLLS | 15 ROLLS | ROLL OF 500 LABELS |  | Air
B020 | BLOOD COMPONENT STICKERS: (WATER PROOF STICKERS) WHOLE BLOOD vol:___________ml | 10 ROLLS | 20 ROLLS | 10 ROLLS | 15 ROLLS | ROLL OF 500 LABELS | 1 | Air
B021 | BLOOD COMPONENT STCKERS: (WATER PROOF STICKERS) PACKED RED CELLS vol:________ml | 50 ROLLS | 100 ROLLS | 65 ROLLS | 85 ROLLS | ROLL OF 500 LABELS | 1 | Air
B022 | BLOOD COMPONENT STICKERS: (WATER PROOF STICKERS) FRESH FROZEN PLASMA vol:_______ml | 50 ROLLS | 100 ROLLS | 50 ROLLS | 70 ROLLS | ROLL OF 500 LABELS | 1 | Air
B023 | BLOOD COMPONENT STICKERS: (WATER PROOF STICKERS) PLATELETS vol:__________ml | 50 ROLLS | 100 ROLLS | 50 ROLLS | 70 ROLLS | ROLL OF 500 LABELS | 1 | Air
B024 | HAEMOGLOBIN MEASUREMENT DEVICE (HAEMOCUE) BY A SINGLE MEASUREMENT WITH CONSUMABLES. | 5 | 10 | 5 UNITS | 7 UNITS | BOX CONTAINING 1 DEVICE | 1 | Air
B025 | MICROCUVETTE FOR HAEMOGLOBIN MEASURING DEVICE | 500 BOTTLES | 1000 BOTTLES | 125 TRAYS (500 BOTTLES) | 130 TRAYS (520 BOTTLES) | 1 TRAY (4 BOTTLES X 25 UNITS PER BOX), 100 UNITS | 1 | Air
B030 | PLASTIC BLOOD GROUPING TILES 6 X 4 WELLS (SHI-10366) PACKET OF 100 | 60 PKTS | 120 PKTS | 60 PKTS (6000 UNITS) | 75 PKTS (7500 UNITS) | 1 PKT X 100 UNITS | 1 | Air
B031 | AGTROL KIT - PACK FOR PREPARING CONTROL CELLS | 50 KITS | 50 KITS | 50 KITS | 60 KITS | 1 KIT PER BOX | 1 | Air
B033 | Serascan Diana 3 - 3 cell screen | 100 BOXES | 200 BOXES | 25 BOXES | 200 BOXES | 3 x 10 mL |  | Air
B034 | Identisera Diana - 11 cell panel | 100 BOXES | 100 BOXES | 50 BOXES | 100 BOXES | 11 x 5 mL |  | Air
B035 | Serigrup Diana A1/B - 2 cell reverse | 10 BOXES | 20 BOXES | 5 BOXES | 20 BOXES | 2 x 10 mL |  | Air
B036 | DG Gel Confirm - ABO confirmation | 50 CARDS | 100 CARDS | 50 CARDS | 100 CARDS | 50 cards |  | Air
B037 | DG Gel Coombs - Antibody identification | 150 CARDS | 300 CARDS | 70 CARDS | 300 CARDS | 50 cards |  | Air
B038 | DG Gel Rh Pheno + Kell - RH phenotyping | 50 CARDS | 100 CARDS | 25 CARDS | 100 CARDS | 50 cards |  | Air
B039 | DG Gel Newborn - Baby | 50 CARDS | 50 CARDS | 25 CARDS | 50 CARDS | 50 cards |  | Air
B040 | DG Gel Sol - Universal diluent | 4 BOXES | 8 BOXES | 2 BOXES | 8 BOXES | 2x100ml |  | Air
B041 | DG Gel ABO/Rh - Group cards | 550 CARDS | 1100 CARDS | 300 CARDS | 1500 CARDS | 50 cards |  | Air
B042 | Essential II Control - QC for Group and screen | 10 BOXES | 20 BOXES | 5 BOXES | 20 BOXES | 2 x 2 x 6 mL |  | Air
B043 | Weak D Control | 6 BOXES | 12 BOXES | 3 BOXES | 12 BOXES | 1 x 4 mL |  | Air
B044 | DG Pipette - 10ul.25 and 50ul | 5 UNITS | 10 UNITS | 5 UNITS | 10 UNITS | 1 unit |  | Air
B045 | Identisera Diana Extend - Extended panel | 1 BOX | 2 BOXES | 1 BOX | 2 BOXES | 4x5ml |  | Air
B046 | Identisera Diana P - Papain 11 cell panel | 1 BOX | 2 BOXES | 1 BOX | 2 BOXES | 11 x 5 mL |  | Air
B047 | DG Gel Rh Pheno + Kell - RH phenotyping | 50 CARDS | 100 CARDS | 50 CARDS | 100 CARDS | 50 cards |  | Air
B048 | BTM Core Module License - Middleware license | 1 UNIT |  | 1 UNIT |  | 1 unit |  | Air
B049 | DG Pipette/DG Pipette Tips Blue | 100 BOXES | 200 BOXES | 50 BOXES | 250 BOXES | 1 x 1000 |  | Air
B050 | DG Dispenser holder | 2 UNIT |  | 1 UNIT |  | 1 unit |  | Air
B051 | DG Dispenser Plus | 2 UNITS |  | 2 UNITS |  | 1 unit |  | Air
B052 | DG manual station | 10 UNITS |  | 10 UNITS |  | 1 unit |  | Air
B053 | DG Spin | 2 UNITS |  | 2 UNITS |  | 1 unit |  | Air
B054 | DG Therm | 2 UNITS |  | 2 UNITS |  | 1 unit |  | Air
B055 | DG Reader Net | 1 UNIT |  | 1 UNIT |  | 1 unit |  | Air

## Lot 2 Biochemistry
|  | BIOCHEMISTRY | [7 empty] | To be completed by supplier
| MoH Requirements | [8 empty] | Mandatory fields | [8 empty] | Non Mandatory
| Code No. | Description | MOH Quantity and physical unit (Consumption) | MOH Quantity and physical unit (Consumption) | Minimum Order Qty | Maximum Order Qty | MOH BASIC UNIT | Preffered Pack Size | Prefferred Mode of Transport | Mode of Transport | Offered Number of Packs | Offered Pack Size | Offered price per pack [CIF - Cost, Insurance and Freight] | Currency | Product expiry | Delivery Time | Manufacturer | Method of delivery | Supplier Identifier [Inventory item code / name] | Comments
Product/Code Number |  |  | 1 year | 2 years | 1 year (minimum) | 1 year (maximum)
03183688122 | C001 | Albumin (serum). ALB2, 300T, cobas c, Integra | 190 | 380 | 190 | 237.5 | 300T | 1 | AIR
03333701190 | C002 | ALP IFCC. ALP2, 400T, cobas c, Integra | 130 | 260 | 130 | 162.5 | 400T | 1 | AIR
20764957322 | C003 | ALT IFCC. ALTL, 500T, cobas c, Integra | 125 | 250 | 125 | 156.25 | 500T | 1 | AIR
03183742122 | C004 | Amylase, Total. AMYL Gen2, 300T, cobas c, Integra | 40 | 80 | 40 | 50 | 300T | 1 | AIR
20764949322 | C005 | AST IFCC. ASTL, 500T, cobas c, Integra | 125 | 250 | 125 | 156.25 | 500T | 1 | AIR
05589061190 | C006 | Bilirubin Direct BIL-D Gen2. 350T, cobas c, Integra | 155 | 310 | 155 | 193.75 | 350T | 1 | AIR
05795397190 | C007 | Bilirubin Total. BIL-T Gen3, 250T, cobas c, Integra | 210 | 420 | 210 | 262.5 | 250T | 1 | AIR
05061482190 | C008 | Calcium Gen 2. CA Gen2, 300T, cobas c, Integra | 150 | 300 | 150 | 187.5 | 300T | 1 | AIR
03039773190 | C009 | Cholesterol. CHOl HiCo Gen2, 400T, cobas c, Integra | 125 | 250 | 125 | 156.25 | 400T | 1 | AIR
07190794190 | C010 | CK. CK 200T, cobas c, Integra | 100 | 200 | 100 | 125 | 200T | 1 | AIR
04810716190 | C011 | Creatinine. CREAJ2, 700T, cobas c, Integra | 125 | 250 | 125 | 156.25 | 700T | 1 | AIR
07876033190 | C012 | CRP Gen 4. CRP4, 250T, cobas c, Integra | 100 | 200 | 100 | 125 | 250T | 1 | AIR
03002721122 | C013 | GGT. GGT-2, 400T, cobas c, Integra | 125 | 250 | 125 | 156.25 | 400T | 1 | AIR
04404483190 | C014 | Glucose HK. GLUC HK Gen3, 800T, cobas c | 85 | 170 | 85 | 106.25 | 150T | 1 | AIR
07528566190 | C015 | HDL Chol. HDLC4, 350T, cobas c, Integra | 125 | 250 | 125 | 156.25 | 350T | 1 | AIR
03183696122 | C016 | Iron. IRON Gen2, 200T, cobas c, Integra | 40 | 80 | 40 | 50 | 200T | 1 | AIR
03004732122 | C017 | LDH. LDHI Gen2 acc.IFCC, 300T, cobas c, Integra | 80 | 160 | 80 | 100 | 300T | 1 | AIR
04679598190 | C018 | Lithium (LI), 100T, cobas c | 5 | 10 | 5 | 6.25 | 100T | 1 | AIR
06481647190 | C019 | Magnesium. MG2, 250T, cobas c, Integra | 185 | 370 | 185 | 231.25 | 250T | 1 | AIR
03183793122 | C020 | Phosphate. PHOS Gen2, 250T, cobas c, Integra | 185 | 370 | 185 | 231.25 | 250T | 1 | AIR
03183734190 | C021 | Total Protein (serum). TP Gen2, 300T, cobas c, Integra | 185 | 370 | 185 | 231.25 | 300T | 1 | AIR
03333825190 | C022 | Total Protein (other). TPUC3, 150T, cobas c, Integra | 12.5 | 25 | 12.5 | 15.625 | 150T | 1 | AIR
20767107322 | C023 | Triglyceride. TRIGL, 250T, cobas c, Integra | 155 | 310 | 155 | 193.75 | 250T | 1 | AIR
03015050122 | C024 | Transferrin. TRSF Gen2, 100T, cobas c, Integra | 20 | 40 | 20 | 25 | 100T | 1 | AIR
03183807190 | C025 | Uric Acid. UA Gen2, 400T, cobas c, Integra | 65 | 130 | 65 | 81.25 | 400T | 1 | AIR
04460715190 | C026 | Urea. UREAL, 500T, cobas c, Integra | 125 | 250 | 125 | 156.25 | 500T | 1 | AIR
04490843190 | C027 | Gentamycin. GENT2, 100T, cobas c, Integra | 3 | 6 | 3 | 3.75 | 100T | 1 | AIR
06779336190 | C028 | Vancomycin. VANC3, 100T, cobas c, Integra | 5 | 10 | 5 | 7 | 100T | 1 | AIR
04489357190 | C029 | NaCl 9% Diluent, cobas c | 15 | 30 | 15 | 18.75 | 50mL | 1 | AIR
04489365190 | C030 | SI2. NaCl 9% SI Gen2, cobas c, Integra | 30 | 60 | 30 | 37.5 | 2750T | 1 | AIR
04489241190 | C031 | NaOH-D, cobas c | 185 | 370 | 185 | 231.25 | 66mL | 1 | AIR
04489225190 | C032 | SMS cobas c | 665 | 1330 | 665 | 831.25 | 50mL | 1 | AIR
05422485190 | C033 | EcoTergent. ECO-D, cobas c | 185 | 370 | 185 | 231.25 | 60mL | 1 | AIR
04851013190 | C034 | (Instrument Check). INSTC, 65 tests, cobas c | 1 | 2 | 1 | 1.25 | 65T | 1 | AIR
10759350190 | C035 | Cfas 12x3mL. (Calibrator) | 12.5 | 25 | 12.5 | 15.625 | 12 x 3mL | 1 | AIR
12172623122 | C036 | Cfas Lipids 3x1mL (Cal Lipids) | 7.5 | 15 | 7.5 | 9.375 | 3 x 1mL | 1 | AIR
03121305122 | C037 | Cfas PUC (Cal - urine & CSF) | 5 | 10 | 5 | 6.25 | pc | 1 | AIR
11355279216 | C038 | Cfas Proteins (Cal - Trsnf, CRP) | 12.5 | 25 | 12.5 | 15.625 | pc | 1 | AIR
03375790190 | C039 | HITACHI Preciset TDM 1 (CALIBRATOR) | 3 | 4 | 3 | 4 | pc | 1 | AIR
4521536190 | C040 | TDM Control Set | 3 | 4 | 3 | 4 | pc | 1 | AIR
05117003190 | C041 | PreciControl ClinChem Multi 1, 20x5mL (PCC-1) | 12.5 | 25 | 12.5 | 15.625 | 20 x 5mL | 1 | AIR
05117216190 | C042 | PreciControl ClinChem Multi 2, 20x5mL (PCC-2) | 12.5 | 25 | 12.5 | 15.625 | 20 x 5mL | 1 | AIR
03121313122 | C043 | Precinorm PUC | 7.5 | 15 | 7.5 | 9.375 | 4 x 3mL | 1 | AIR
03121291122 | C044 | Precipath PUC | 7.5 | 15 | 7.5 | 9.375 | 4 x 3mL | 1 | AIR
11183974216 | C045 | ISE Standard Low | 30 | 60 | 30 | 37.5 | 10 x 3mL | 1 | AIR
11183982216 | C046 | ISE Standard High | 40 | 80 | 40 | 50 | 10 x 3mL | 1 | AIR
04663632190 | C047 | Activator for cobas c, Integra | 7.5 | 15 | 7.5 | 9.375 | 9 x 12mL | 1 | AIR
020757144322 | C048 | cobas Integra Check Sample | 1 | 2 | 1 | 1.25 | 1 bottle | 1 | AIR
10825441001 | C049 | K+. Potassium Cartridge | 12 | 24 | 12 | 15 | pc | 1 | AIR
10825468001 | C050 | Na+. Sodium Cartridge | 12 | 24 | 12 | 15 | pc | 1 | AIR
03246353001 | C051 | Cl-. Chloride Cartridge | 12 | 24 | 12 | 15 | pc | 1 | AIR
03149501001 | C052 | Reference Electrode | 12 | 24 | 12 | 15 | pc | 1 | AIR
04522630190 | C053 | ISE Diluent Gen 2 (DIL) | 30 | 60 | 30 | 37.5 | 5 x 300mL | 1 | AIR
04522320190 | C054 | ISE Internal Standard Gen 2 (IS) | 60 | 120 | 60 | 75 | 5 x 600mL | 1 | AIR
05979854190 | C055 | ISE Internal Standard Inserts | 6 | 12 | 6 | 7.5 | 5 x 300mL | 1 | AIR
11360981216 | C056 | ISE Reference Electrolyte Solution (REF) | 30 | 60 | 30 | 37.5 | 300mL | 1 | AIR
04880285190 | C057 | NaOH-D Basic wash (Cell Wash 1) 2L | 80 | 160 | 80 | 100 | 2 x 1.8L | 1 | AIR
04880307190 | C058 | Acid Wash Solution (Cell Wash 2) | 25 | 50 | 25 | 31.25 | 2 x 1.8L | 1 | AIR
04708725190 | C059 | Sample Cleaner 1, cobas c | 2.5 | 5 | 2.5 | 3.125 | 12 x 59mL | 1 | AIR
04813707001 | C060 | Photometer Lamp. LAMP HALOGEN ASSy 12V/50W | 15 | 30 | 15 | 19 | pc | 1 | AIR
4555040001 | C061 | Reaction Cell Set (cuvettes) - cobas c311 | 10 | 20 | 10 | 12.5 | box | 1 | AIR
06704999001 | C062 | Filter DI Jumbo Cartridges | 50 | 100 | 50 | 62.5 | pc | 1 | AIR
07129351001 | C063 | Sartolon Midicap 0.2 micron | 25 | 50 | 25 | 31.25 | pc | 1 | AIR
06704972001 | C064 | Filter 4FC Fibredyne | 25 | 50 | 25 | 31.25 | pc | 1 | AIR
10244003001 | C065 | Hitachi Sample Cups. 3.5mL | 6 | 12 | 6 | 7.5 | 1 x 6000cups | 1 | AIR
| C066 | Hitachi Caps Red | 12 | 24 | 12 | 15 | 1 x 1000caps | 1 | AIR
04469658190 | C067 | Albumin (other) . ALB-T TQ Gen2, 100T, cobas c, Integra | 20 | 40 | 20 | 25 | 100T | 1 | AIR
08443432190 | C068 | TSH | 12 | 24 | 12 | 15 | 300 tests per pack | 1 | AIR
09043284190 | C069 | FT4 G4 | 12 | 24 | 12 | 15 | 300 tests per pack | 1 | AIR
09005811214 | C070 | FT3 III | 4 | 8 | 4 | 5 | 300 tests per pack | 1 | AIR
09315357190 | C071 | Trop T High Sens (9/18 min) | 20 | 40 | 20 | 25 | 300 tests per pack | 1 | AIR
07251025190 | C072 | HCG Total + B | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
09015124190 | C073 | AFP | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
07027079214 | C074 | CEA | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
08791732190 | C075 | Total PSA | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
07026986214 | C076 | CA 125 II | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
07027273214 | C077 | Ferritin | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
07028121190 | C078 | Vitamin B12 II | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
8324174190 | C079 | Folate (Serum/RBC) (New version) | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
08928428190 | C080 | PTH (9/18 min) | 8 | 16 | 8 | 10 | 300 tests per pack | 1 | AIR
07299001190 | C081 | Universal Diluent | 3 | 6 | 3 | 3.75 | 300 tests per pack | 1 | AIR
07299010190 | C082 | Multiassay Diluent | 3 | 6 | 3 | 3.75 | 45.2mL | 1 | AIR
08443459190 | C083 | TSH Calset | 4 | 8 | 4 | 5 | 45.2mL | 1 | AIR
09043292190 | C084 | FT4 G4 CalSet | 4 | 8 | 4 | 5 | pc | 1 | AIR
09077871190 | C085 | FT3 III Calset | 4 | 8 | 4 | 5 | pc | 1 | AIR
09315373190 | C086 | CalSet Troponin T hs (9/18min) | 4 | 8 | 4 | 5 | pc | 1 | AIR
03302652190 | C087 | HCG Total + B Calset | 4 | 8 | 4 | 5 | pc | 1 | AIR
09227261190 | C088 | AFP Calset Gen 3 | 4 | 8 | 4 | 5 | pc | 1 | AIR
11731645322 | C089 | CEA Calset | 4 | 8 | 4 | 5 | pc | 1 | AIR
08838534190 | C090 | TOTAL PSA Calset | 4 | 8 | 4 | 5 | pc | 1 | AIR
07030207190 | C091 | CA 125 II Calset II | 4 | 8 | 4 | 5 | pc | 1 | AIR
03737586190 | C092 | Ferritin Calset | 4 | 8 | 4 | 5 | pc | 1 | AIR
07212780190 | C093 | Vitamin B12 II Calset | 4 | 8 | 4 | 5 | pc | 1 | AIR
8324247190 | C094 | Folate G3 calset (New version) | 4 | 8 | 4 | 5 | pc | 1 | AIR
08928487190 | C095 | CalSet PTH (9/18min) | 4 | 8 | 4 | 5 | pc | 1 | AIR
05095107190 | C096 | PreciControl Troponin (use for HighSens) | 20 | 40 | 20 | 25 | 2x2mL Level 1&2 | 1 | AIR
05618860190 | C097 | PreciControl Varia | 10 | 20 | 10 | 13 | 2x3mL Level 1&2 | 1 | AIR
06908799214 | C098 | ProCell II M | 45 | 90 | 45 | 56.25 | 2 x 2L | 1 | AIR
04880293214 | C099 | CleanCell M | 70 | 140 | 70 | 87.5 | 2 x 2L | 1 | AIR
06908853214 | C100 | PreClean II M | 20 | 40 | 20 | 25 | 2 x 2L | 1 | AIR
07485409001 | C101 | ProCell/CleanCell cups | 2 | 4 | 2 | 2.5 | 1 cup | 1 | AIR
05694302001 | C102 | Assay Tip/Assay Cup TrayTip M. 36 x 105 tips/cups and 3 waste liners | 15 | 30 | 15 | 43.75 | 36 x 105 tips/cups and 3 waste liners | 1 | AIR
07485425001 | C103 | LFC SysCleanCup | 4 | 8 | 4 | 5 | 1 cup | 1 | AIR
08255920001 | C104 | PreWash LFC Cup | 4 | 8 | 4 | 5 | 1 cup | 1 | AIR
05889073190 | C105 | ISD Sample Pretreatment | 4 | 8 | 4 | 5 | 100 tests | 1 | AIR
11298500316 | C106 | ISE Clean | 5 | 10 | 5 | 6.25 | 5x100mL | 1 | AIR
REF 370 | C107 | Biorad QCs. Lyphochek Immunoassay Plus Controls. 2 x 5 mL (4 per level)4 /box | 12 | 24 | 12 | 18.75 | 12 x 5 mL | 1 | AIR
| C108 | HP TONER 30A | 25 | 50 | 25 | 30 | pc | 1 | AIR
| C109 | HP DRUM 32A | 20 | 40 | 20 | 25 | pc | 1 | AIR
| C110 | Lexmark MS310d toner refill. Item code 08162077001 | 8 | 16 | 8 | 10 | pc | 1 | AIR
| C111 | Lexmark (500Z)50F0Z00 Imaging Unit. Item code 10005360001 | 4 | 8 | 4 | 5 | pc | 1 | AIR
944-157 | C112 | Solution Pack. SP90 | 90 | 180 | 90 | 112.5 | pack | 1 | AIR
946-009 | C113 | Sensor Cassette 900 tests | 6 | 12 | 6 | 7.5 | pc | 1 | AIR
946-008 | C114 | Sensor Cassette 600 tests | 18 | 36 | 18 | 22.5 | pc | 1 | AIR
946-010 | C115 | Sensor Cassette 100 tests | 18 | 36 | 18 | 22.5 | pc | 1 | AIR
984-070 | C116 | Printer paper (8 rolls) | 40 | 80 | 40 | 50 | 1 X 8 rolls | 1 | AIR
906-026 | C117 | Clot catcher for the ABL90 Flex analyzer | 5 | 10 | 5 | 6.25 | pc | 1 | AIR
944-021 | C118 | ctHb Calibration Solutions S7770 | 3 | 6 | 3 | 3.75 | 1 x 4 ampules | 1 | AIR
924-455 | C119 | Inlet probe | 15 | 30 | 15 | 18.75 | pc | 1 | AIR
903-585 | C120 | Inlet Gasket with holder | 50 | 100 | 50 | 62.5 | pc | 1 | AIR
834-662 | C121 | Inlet Connector Gasket | 5 | 10 | 5 | 6.25 | pc | 1 | AIR
943-906 | C122 | Hypochlorite solution S5362 | 3 | 6 | 3 | 3.75 | pc | 1 | AIR
841-797 | C123 | Tubing for valve | 6 | 12 | 6 | 7.5 | box | 1 | AIR
956-610 | C124 | safePICO self-fill (1mL) - big bx | 200 | 400 | 200 | 250 | box | 1 | AIR
905-954 | C125 | Capillary tubes glass. D956G-70-45 X 1 CLINITUBES | 6 | 12 | 6 | 7.5 | bottle | 1 | AIR
920-712 | C126 | Ampoule opener | 2 | 4 | 2 | 2.5 | pc | 1 | AIR
REF 1116795 | C127 | Affinion HAEMOGLOBIN A1C KIT. REF 1116795 | 950 | 1900 | 950 | 1187.5 | 1 X 15 kits | 1 | AIR
REF 1116793 | C128 | Affinion HBA1C CONTROL (CAN & ABN). REF 1116793 | 12 | 24 | 12 | 15 | 1N X 1AbN / box | 1 | AIR
REF 1116781 | C129 | Affinion MICROALBUMIN/CREATININE KIT. REF 1116781 | 275 | 550 | 275 | 343.75 | 1 X 15 kits | 1 | AIR
REF 1116779 | C130 | Affinion MICROALBUMIN/CREATININE CONTROL HI/LO. REF 1116779 | 12 | 24 | 12 | 15 | 1N X 1AbN / box | 1 | AIR
SMN10311134 | C131 | DCA Haemoglobin A1C Kit (DCA). SMN10311134 | 665 | 1330 | 665 | 831.25 | 1 X 10 kits | 1 | AIR
| C132 | DCA HbA1C CONTROLS (Normal&Abnormal) | 4 | 8 | 4 | 5 | 1 X 4 (2N 2ABN) | 1 | AIR
S-10322638 | C133 | DCA HI Flow Air Filter. S-10322638 | 25 | 50 | 25 | 31.25 | pc | 1 | AIR
S-10888741 | C134 | DCA HbA1C Sampling Device 10/pack. S-10888741 | 15 | 30 | 15 | 18.75 | 10/pack | 1 | AIR
| C135 | DCA Optical Test Cartridge | 2 | 4 | 2 | 2.5 | pc | 1 | AIR
Ref 11621947196 | C136 | TROPONIN T TEST KIT. (Roche CARDIAC TROP T Sensitive. Ref 11621947196) | 300 | 600 | 300 | 375 | 1 X 5 kits | 1 | AIR
| 137 | urine HCG kits (PREGNANCY TEST KITS) 50 KITS PER PACK | 300 | 600 | 300 | 375 | 1 X 50 kits | 1 | AIR
| C138 | SODIUM DITHIONATE (Na2S2O4) | 1 | 2 | 1 | 2 | 1 X 250 grams | 1 | AIR
| C139 | SODIUM HYDROGEN CARBONATE (NaHCO₃) | 1 | 2 | 1 | 2 | 1 X 250 grams | 1 | AIR
| C140 | GLUCOSE DRINK - 75 grams (For oral glucose tolerance test OGTT) | 300 | 600 bottles | 300 | 375 | bottle | 1 | AIR
| C141 | 24-Hour Urine Collection bottles - 2L | 100 | 200 bottles | 100 | 125 | 2L bottle | 1 | AIR

## Lot 3 Haematology
|  | HATEMATOLOGY | [7 empty] | To be completed by supplier
| MoH Requirements | [8 empty] | Mandatory fields | [8 empty] | Non Mandatory
| Code No. | Description | MOH Quantity and physical unit (Consumption) | MOH Quantity and physical unit (Consumption) | MOH BASIC UNIT | Minimum Order Qty | Maximum Order Qty | Preffered Pack Size | Prefferred Mode of Transport | Mode of Transport | Offered Number of Packs | Offered Pack Size | Offered price per pack [CIF - Cost, Insurance and Freight] | Currency | Product expiry | Delivery Time | Manufacturer | Method of delivery | Supplier Identifier [Inventory item code / name] | Comments
Product/Code Number |  |  | 1 year | 2 years |  | 1 year (minimum) | 1 year (maximum)
6510167001 | H001 | Cell Pack DCL 20L. 06510167001 | 180 | 360 | 20L | 180 | 225 | 1 | AIR
9419799001 | H002 | CellPack DFL 1x1L. 09419799001 | 50 | 100 | 1 x 1L | 50 | 62.5 | 1 | AIR
3337006001 | H003 | Sulfolyser (5L) SLS-220A. 03337006001 | 35 | 70 | 5L | 35 | 43.75 | 1 | AIR
8128553001 | H004 | Lysercell-WNR WNR-210A 5L. 08128553001 | 50 | 100 | 5L | 50 | 62.5 | 1 | AIR
8128537001 | H005 | Lysercell-WDF WDF-210A 5L. 08128537001 | 60 | 120 | 5L | 60 | 75 | 1 | AIR
6510248001 | H006 | Fluorocell WNR 2x82mL. 06510248001 | 12 | 24 | 2 x 82mL | 12 | 15 | 1 | AIR
6510256001 | H007 | Fluorocell WDF 2x42mL. 06510256001 | 60 | 120 | 2 x 42mL | 60 | 75 | 1 | AIR
6510272001 | H008 | Fluorocell RET 2x12mL. 06510272001 | 30 | 60 | 2 x 12mL | 30 | 37.5 | 1 | AIR
| H009 | Cellclean Auto (CCA-500A) | 60 | 120 | 20 x 4mL | 60 | 75 | 1 | AIR
12215616001 | H010 | Sulfolyser 1,5 (HGB). 12215616001 | 6 | 12 | 3 x 500 mL | 6 | 7.5 | 1 | AIR
6510388001 | H011 | XN CHECK. Level 1. 06510388001 | 6 | 12 | 8 X 3.0 mL | 6 | 7.5 | 1 | AIR
6510396001 | H012 | XN CHECK. Level 2. 06510396001 | 6 | 12 | 8 X 3.0 mL | 6 | 7.5 | 1 | AIR
6510400001 | H013 | XN CHECK. Level 3. 06510400001 | 6 | 12 | 8 X 3.0 mL | 6 | 7.5 | 1 | AIR
6510418001 | H014 | XN CHECK BF. 06510418001 | 3 | 6 | 2 x 3 x 3.0mL | 3 | 3.75 | 1 | AIR
| H015 | XN CAL | 1 | 2 | 3 x 3.0mL | 1 | 1.25 | 1 | AIR
7762208001 | H016 | XN-L Check L1. 07762208001 | 6 | 12 | 3.0mL x 6 vials | 6 | 7.5 | 1 | AIR
7762224001 | H017 | XN-L Check L2. 07762224001 | 6 | 12 | 3.0mL x 6 vials | 6 | 7.5 | 1 | AIR
7762623001 | H018 | XN-L Check L3. 07762623001 | 6 | 12 | 3.0mL x 6 vials | 6 | 7.5 | 1 | AIR
| H019 | CoaguchekXS Device | 3 | 6 | pc | 3 | 3.75 | 1 | AIR
46253151 | H020 | CoaguchekXS PT/INR strips | 100 | 200 | 2 x 24 | 100 | 125 | 1 | AIR
| H021 | CoaguchekXS PT controls | 25 | 50 |  | 25 | 31.25 | 1 | AIR
SMN 10310965 | H022 | Siemens. Hematek Stain Pak (Modified Wrights stain). SMN 10310965 | 12 | 24 | 3 bottles / pack | 12 | 15 | 1 | AIR
| H023 | Hematek Cannula Set | 10 | 20 | 3 cannulas / set | 10 | 12.5 | 1 | AIR
| H024 | Hematek Pump tube set | 10 | 20 | 3 tubes / set | 10 | 12.5 | 1 | AIR
| H025 | Hematek underplaten tubing set | 10 | 20 | 3 tubes / set | 10 | 12.5 | 1 | AIR
| H026 | Line fuses | 10 | 20 | 1 fuse / unit | 10 | 12.5 | 1 | AIR
| H027 | Knurled thumb screw | 3 | 6 | pc | 3 | 3.75 | 1 | AIR
| H028 | 3.5ML S SEDIVETTE TUBES FOR ESR TESTING FUNCTIONALITY OF SEDIPLUS S2000 | 40 pckts | 80 pckts | 50 tubes (sedivettes) per packet | 40 | 50 | 1 | AIR
| H029 | Accutell D-dimer rapid test (casette) kit. (Cut-off < 500ng/ml) | 150 kits | 300 kits | pc | 100 | 150 | 1 | AIR
| H030 | AccuQuik D-Dimer rapid test (casette) kit. (Cut-off < 500ng/ml) | 150 kits | 300 kits | pc | 100 | 150 | 1 | AIR
| H031 | Biozek medical D-dimer rapid test (casette) kit. (Cut-off < 500ng/ml) | 150 kits | 300 kits | pc | 100 | 150 | 1 | AIR
| H032 | Methanol (2.5L) | 15 | 30 | 2.5L | 15 | 20 | 1 | AIR
| H033 | 3% Glacial Acetic Acid (for manual WBC count) | 15 | 30 | 100 mL | 15 | 20 | 1 | AIR
| H034 | Crystal violet / Gentian violet (for manual WBC count) | 15 | 30 | 100 mL | 15 | 20 | 1 | AIR
| H035 | Ammonium Oxalate solution (for manual Platelet count) | 15 | 30 | 100 mL | 15 | 20 | 1 | AIR
| H036 | New Methylene Blue (for manual Retic count) | 15 | 30 | 100 mL | 15 | 20 | 1 | AIR
REF 31003 | H037 | Hemostat Thromboplastin - SI 6 X 10 mL. | 55 | 110 | 6 x 10ml bottles | 55 | 68.75 | 1 | AIR
REF 33013 | H038 | Hemostat APTT-EL reagent 1 (RGT 1) 6 X 10 mL. | 5 | 10 | 6 x 4ml bottles | 5 | 6.25 | 1 | AIR
REF 33022 | H039 | Hemostat APTT-EL reagent 2 (RGT 2) 6 X 30ML. | 3 | 6 | 6 x 30ml bottles | 3 | 3.75 | 1 | AIR
REF 35001 | H040 | Hemostat Control Plasma Normal. 6 x 1 mL. | 55 | 110 | 6 x 1ml vials | 55 | 68.75 | 1 | AIR
REF 35002 | H041 | Hemostat Control Plasma Abnormal. 6 x 1 mL. | 55 | 110 | 6 x 1ml vials | 55 | 68.75 | 1 | AIR
| H042 | DOUBLE CUVETTE (250 PER BOX) | 60 | 120 | 250 pcs/box | 60 | 75 | 1 | AIR
REF 36002 | H043 | Hemostat D-Dimer reagent. 2 x 1 mL. | 30 | 60 | 2 x 1mL | 30 | 37.5 | 1 | AIR
REF 36012 | H044 | Hemostat D-Dimer control High/Low. 4 x 1 mL. | 12 | 24 | 4 x 1mL | 12 | 15 | 1 | AIR
REF 32002 | H045 | Hemostat Fibrinogen reagent. 5 x 2 mL. | 3 | 6 | 5 x 2ml | 3 | 3.75 | 1 | AIR

## Lot 4 Microbiology
| MICROBIOLOGY | [6 empty] | To be completed by supplier
MoH Requirements | [7 empty] | Mandatory fields | [8 empty] | Non Mandatory
Code No. | Description | MOH Quantity to order for one year period | MOH BASIC UNIT | Preffered Pack Size | Minimum Order Qty | Maximum Order Qty | Prefferred Mode of Transport | Mode of Transport | Offered Number of Packs | Offered Pack Size | Offered price per pack [CIF - Cost, Insurance and Freight] | Currency | Product expiry | Delivery Time | Manufacturer | Method of delivery | Supplier Identifier [Inventory item code / name] | Comments
|  | 12 months |  |  | 12months | 12 months
M001 | BLOOD AGAR BASE 500G MAST DIAGNOSTICS | 50 | 500 G BOTTLE | 1 BOTTLE | 50 | 100 | AIR
M002 | COLUMBIA CNA 500G MAST DIAGNOSTICS | 50 | 500 G BOTTLE | 1 BOTTLE | 50 | 100 | AIR
M003 | MACONKEY AGAR #3 CM 115 MAST DIAGNOSTICS | 60 | 500 G BOTTLE | 1 BOTTLE | 50 | 100 | AIR
M004 | MULLER HINTON AGAR 500G MAST DIAGNOSTICS | 30 | 500 G BOTTLE | 1 BOTTLE | 50 | 100 | AIR
M005 | XLD AGAR BASE 500g MAST DIAGNOSTICS | 10 | 500 G BOTTLE | 1 BOTTLE | 50 | 100 | AIR
M006 | SALMONELLA SHIGELLA AGAR BASE MAST DIAGNOSTICS | 20 | 500 G BOTTLE | 1 BOTTLE | 50 | 100 | AIR
M007 | TRIPLE SUGAR IRON AGAR BASE MAST DIAGNOSTICS | 10 | 500 G BOTTLE | 1 BOTTLE | 50 | 100 | AIR
M008 | SDA AGAR BASE MAST DIAGNOSTICS | 20 | 500 G BOTTLE | 1 BOTTLE | 50 | 100 | AIR
M009 | AMOXCYILLIN/CALVULANIC 30MCG 10CART/PKG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M010 | AMPICILLIN/10MCG 10CART/PKG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M011 | AMPICILLIN/2MCG 10CART/PKG MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M012 | BACITRACIN MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M013 | CEFTRIAXONE 30 MCG 10CART/PKT MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M014 | CEFUROXIME 30MCG 10CART/PKG MAST DIAGNOSTICS | 15 | 5*50 | 1bott | 20 | 50 | AIR
M015 | CHLORAMPHENICOL 30MCG 10CART/PKG MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M016 | CIPROFLOXACIN 5MCG 10CART/PKG MAST DIAGNOSTICS | 10 | 5*50 | 1bott | 20 | 50 | AIR
M017 | CLINDAMYCIN 2MCG 10CART/PKG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M018 | CEFOXITIN 30MCG 10CART/PKG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M019 | ERYTHROMYCIN 15MCG 10CART.PKG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M020 | GENTAMICIN 10MCG 10CART/PKG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M021 | NITROFLURANTOIN 100MCG 10CART.PKG MAST DIAGNOSTICS | 40 | 5*50 | 1bott | 20 | 50 | AIR
M022 | OXACILLIN 1MCG 10CART/PKG MAST DIAGNOSTICS | 5 | 5*50 | 1bott | 20 | 50 | AIR
M023 | TETRACYCLINE 30MCG 10CART/PKG MAST DIAGNOSTICS | 10 | 5*50 | 1bott | 20 | 50 | AIR
M024 | VANCOMYCIN 5MCG 10CART/PKG MAST DIAGNOSTICS | 10 | 5*50 | 1bott | 20 | 50 | AIR
M025 | PENICILLIN MIC STRIP MAST DIAGNOSTICS | 20 | 10 | 1bott | 20 | 50 | AIR
M026 | MEROPENEM 10MCG MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M027 | CEFTRIAXONE MIC STRIP MAST DIAGNOSTICS | 10 | 10 STRIPS/BOX | 1bott | 20 | 50 | AIR
M028 | Trimethoprim-Sulfamethoxazole 25MG (TS25) MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M029 | CEFTAZIDIME 10MG MAST DIAGNOSTICS | 2 | 5*50 | 1bott | 20 | 50 | AIR
M030 | Amikacin 30MG MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M031 | Cefalexin 30MG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M032 | Cefazolin 30MG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M033 | Gentamicin 30MG MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M034 | Cefotaxime 30MG MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M035 | Imipenem 10MG MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M036 | Pefloxacin 5MG MAST DIAGNOSTICS | 20 | 5*50 | 1bott | 20 | 50 | AIR
M037 | Ciprofloxacin MIC strip MAST DIAGNOSTICS | 10 | 10 STRIPS/BOX | 1 box | 20 | 50 | AIR
M038 | Trimethoprim MG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M039 | Norfloxacin 10MG MAST DIAGNOSTICS | 30 | 5*50 | 1bott | 20 | 50 | AIR
M040 | Penicillin disc 1 unit | 30 | 5*50 | 1bott | 20 | 50 | AIR
M041 | CEFOTAXIME PAIRED DISCS (ESBL SCREENING) | 20 | set | set | 10 | 20 | AIR
M042 | CEFTAZIDIME 30MCG MAST DIAGNOSTICS | 20 | 3*50 | 3*50 | 10 | 20 | AIR
M043 | CEFTAZIDIME + CLAVULANIC ACID 30/10 MCG | 25 | 3*50 | 3*50 | 10 | 20 | AIR
M044 | CEFEPIME 30MCG | 5 | 5*50 | 5*50 | 10 | 20 | AIR
M045 | CEFEPIME + CLAVULANIC ACID 30/10 MCG | 5 | 5*50 | 5*50 | 10 | 20 | AIR
M046 | CARBAPENAMASE SCREENING DISC (CAT-ID) | 20 | set | set | 10 | 20 | AIR
M047 | OPTOCHIN DISC 10CART/PKG | 50 | 5*50 | 5*50 | 15 | 25 | AIR
M048 | BACTERIAL ANTIGEN KIT FOR CSF | 6 | 30 | 1 BOX | 5 | 10 | AIR
M049 | API 10 S (50 STRIPS) | 100 | 50 STRIPS | 1 BOX | 50 | 100 | AIR
M050 | N/MIC-503 Phoenix M50 | 100 | 25 PER BOX | 1 BOX | 80 | 160 | AIR
M051 | P/MIC-88 Pheonix M50 | 100 | 25 PER BOX | 1 BOX | 80 | 160 | AIR
M052 | TDA REAGENT | 3 | 10ML * 6 | 1PACK | 5 | 10 | AIR
M053 | NIT 1 REAGENT | 1 | 10ML * 6/PACK | 1PACK | 5 | 10 | AIR
M054 | NIT 2 REAGENT | 1 | 10ML * 6/PACK | 1PACK | 5 | 10 | AIR
M055 | ROTA/ADENO RAPID TEST KIT | 100 | 20 TESTS PER BOX | 1 BOX | 30 | 50 | AIR
M056 | FECAL OCCULT BLOOD | 50 | 25 TESTS | 1 BOX | 30 | 50 | AIR
M057 | PARAFFIN OIL | 5 | 500ML | 1 BOTTLE | 10 | 15 | AIR
M063 | GENBAG CO2 45533 | 30 | 20SACHETS/BOX | 1 BOX | 200 | 300 | AIR
M064 | DISPOSABLE INOCUATING LOOP 1UL | 100 | 1000PIECES | 5 BOX | 150 | 250 | AIR
M065 | DISPOSABLE INOCULATING LOOP 10UL | 100 | 1000 PIECES | 1BOX | 100 | 200 | AIR
M064 | DISPOSABLE INOCUATING LOOP 1UL | 100 | 1000PIECES | 5 BOX | 150 | 250 | AIR
M065 | DISPOSABLE INOCULATING LOOP 10UL | 100 | 1000 PIECES | 1BOX | 100 | 200 | AIR
M066 | BACT/ALERT AEROBIC/FA PLUS REF: 410851 | 500 | 25 PER BOX | 1 BOX | 170 | 220 | AIR
M067 | BACT/ALERT ANAEROBIC /FN PLUSREF: 410852 | 500 | 25 PER BOX | 1 BOX | 170 | 220 | AIR
M068 | BACT/ALERT AEROBIC PEDIATRIC /PF PLUS REF: 410853 | 500 | 25 PER BOX | 1 BOX | 170 | 220 | AIR
M069 | Sterile Airway Needle/Subculture units | 150 |  | 1 box | 100 | 250 | AIR
M070 | Thermal Roll 2.25 inches (5.7 cm) wide and 82 feet (25 meters) long | 200 |  | 1 box | 100 | 180 | AIR
M071 | Multistix 10SG (SIEMENS) | 100 | 100 TEST PER BOTTLE | 1Bottle | 200 | 500 | AIR
M072 | Multistix 8SG (SIEMENS) |  | 100 TEST PER BOTTLE | 1Bottle | 200 | 300 | AIR
M073 | UA Diptube Liquid QC Chek-Stix Level 1 & 2 | 50 | 6 tubes per kit | 1 box | 3 | 6 | AIR
M074 | API 20E | 15 | 25 TESTS | 1 Box | 50 | 100 | AIR
M075 | API NH | 5 | 10 TEST PER BOX | 1BOX | 10 | 15 | AIR
M076 | VP1 Reagent | 10 |  | 1BOTTLE | 10 | 15 | AIR
M077 | VPII Reagent | 10 |  | 1 BOTTLE | 10 | 15 | AIR
M078 | JAMES Reagent | 10 |  | 1 BOTTLE | 10 | 15 | AIR
M079 | API 20 Strep | 15 |  | 1 BOX | 10 | 15 | AIR
M080 | 3% H2O2 (Catalase) | 4 | 10L per bottle | 1bottle | 3 | 5 | AIR
M081 | Staphaeurex Latex Agglutination Test | 70 | 3 tubes/box | 1 box | 150 | 250 | AIR
M082 | Streptococcal Grouping Kit | 10 |  | 1 box | 20 | 50 | AIR
M083 | Salmonella antisera kit | 2 |  | 1 box | 5 | 10 | AIR
M084 | Shigella antisera kit | 2 |  | 1 box | 5 | 10 | AIR
M085 | E. coli 0157 antisera kit | 2 |  | 1 box | 5 | 10 | AIR
M086 | Oxidase Strips | 10 | 100 Strips | 1 BOTTLE | 30 | 50 | AIR
M087 | Indole test | 15 |  | 1 BOTTLE | 10 | 15 | AIR
M088 | Portable Ohmeter (for distilled water QC) | 2 | pcs | pcs | 2 | 2 | AIR
M089 | TDS Meter (for ditilled water QC) | 2 | pcs | pcs | 2 | 2 | AIR
M090 | Surface Probe (for pH QC) | 2 | pcs | pcs | 2 | 2 | AIR
M091 | White Rolls of sticker labels (for the Monarch 1131 label gun) | 300 | pcs | rolls | 300 | 300 | AIR
M092 | Plastic Drum Taps for 20L cube drum | 50 | pcs | pcs | 50 | 50 | AIR
M093 | CO2 containers | 20 | pcs | containers | 20 | 20 | AIR
M094 | Phoenix Spec Calibrator Kit | 1 | pcs | pcs | 1 | 1 | AIR

## Lot 5 Serology
| SEROLOGY | [7 empty] | To be completed by supplier
MoH Requirements | [8 empty] | Mandatory fields | [8 empty] | Non Mandatory
Code No. | Description |  | NHS Quantity to order for one year period | NHS BASIC UNIT | Minimum Order Qty | Maximum Order Qty | Preffered Pack Size | Prefferred Mode of Transport | Mode of Transport | Offered Number of Packs | Offered Pack Size | Offered price per pack [CIF - Cost, Insurance and Freight] | Currency | Product expiry | Delivery Time | Manufacturer | Method of delivery | Supplier Identifier [Inventory item code / name] | Comments
|  | Product/Code Number |  |  | 12 months | 12 months
S001 | RAPID PLASMA REAGIN(RPR) (500 TESTS) |  | 150 | 500 TESTS | 20 | 50 | 1 box | AIR
S002 | DETERMINE™ HIV-1/2 TEST, 100 TESTS. |  | 500 | 100 TESTS | 500 | 600 | 1 pack | AIR
S003 | HEPATITIS B SURFACE ANTIGEN, 100 TESTS KIT (DETERMINE) |  | 500 | 100 TESTS | 500 | 600 | 1 pack | AIR
S004 | SERODIA® ANTI HEPATITIS B SURFACE ANTIBODY |  | 100 | 25 TESTS | 50 | 100 | 1 box | AIR
S005 | HEPATITIS C TESTING KIT, 100 TESTS KIT |  | 500 | 30 TESTS | 700 | 800 | 1 box | AIR
S006 | HEPATITIS A TESTING KIT (DETERMINE) |  | 250 | 25 TESTS | 250 | 300 | 1 box | AIR
S007 | RHEUMATOID FACTOR TESTING KIT |  | 150 | 0 | 20 | 50 | 1 box | AIR
S008 | STREPTOZYME /ANTI STREPTOLYSIN O TITRE TEST (ASOT) |  | 150 | 0 | 20 | 50 | 1 box | AIR
S009 | DENGUE DUO (DENGUE NS1 AG AND IGG/LGM) |  | 200 | 25 TESTS | 600 | 700 | 1 box | AIR
S010 | LEPTOSPIROSIS TEST KIT |  | 150 | 30 TESTS | 600 | 700 | 1 box | AIR
S011 | INFLUENZA A&B TEST KITS |  | 100 | 25 TESTS | 600 | 700 | 1 box | AIR
S012 | UNIVERSAL TRANSPORT MEDIUM |  | 4 | 100 | 4 | 10 | 1 box | AIR
S015 | Nasal swab with UTM |  | 300 | 50 per box | 350 | 500 | 1 box | AIR
S016 | UNIGOLD HIV confirmatory test |  | 10 | 25 tests/box | 50 | 60 | 1 box | AIR
S017 | INSTI HIV confirmatory test |  | 10 | 1 | 100 | 150 | 1 pack | AIR
|  |  | 1 Years | 2 Years | MOH BASIC UNIT
S018 | HBsAg II reagent Elecsys E2G 300 V2 /calset | 8814848190 | 18 | 36 | 300 tests per pack |  | 1 | AIR
S019 | Anti-HAV G2 Elecsys E2G 300 (Total Gen II) | 08086664190 | 18 | 36 | 300 tests per pack |  | 1 | AIR
S020 | Anti HCV II reagent Elecsys E2G 300 V2 /calset | 08837058190 | 18 | 36 | 300 tests per pack |  | 1 | AIR
S021 | HIV Duo reagent Elecsys E2G 300 V2 / calset Lyo | 08836973190 | 18 | 36 | 300 tests per pack |  | 1 | AIR
S022 | Syphilis reagent Elecsys E2G 300 V2 /calset Lyo | 09015051190 | 18 | 36 | 300 tests per pack |  | 1 | AIR
S023 | PreciControl HBsAg II | 04687876190 | 18 | 36 | 8x1.3mL Level 1&2 |  | 1 | AIR
S024 | PreciControl anti HAV Gen II new! | '08086672190 | 6 | 12 | 8x1.0mL Level 1&2 |  | 1 | AIR
S025 | PreciControl anti HCV | 03290379190 | 2.5 | 5 | 8x1.3mL Level 1&2 |  | 1 | AIR

## Lot 6 HistoCytology
| HISTOCYTOLOGY | [6 empty] | To be completed by supplier
MoH Requirements | [7 empty] | Mandatory fields | [8 empty] | Non Mandatory
Code No. | Description | MOH Quantity to Order for two year period | NHS BASIC UNIT | Minimum Order Qty | Maximum Order Qty | Preffered Pack Size | Prefferred Mode of Transport | Mode of Transport | Offered Number of Packs | Offered Pack Size | Offered price per pack [CIF - Cost, Insurance and Freight] | Currency | Product expiry | Delivery Time | Manufacturer | Method of delivery | Supplier Identifier [Inventory item code / name] | Comments
|  | 24 months | 2 years | 12 months | 12 months
HC004 | Schiff's Reagent | 12 | 500mls | 4 | 6 | bottle | Air
HC008 | Scotts Tap Water | 20 | 5 litres | 7 | 10 | bottle | Air
HC015 | 40X Immuno Wash Buffer | 25 | 250mls | 6 | 10 | bottle | Air
HC016 | 10X EDTA Buffer pH 8.0 | 25 | 500mls | 6 | 10 | bottle | Air
HC017 | Progesterone Receptor Rabbit Monoclonal Antibody | 15 | 25mls | 5 | 7 | bottle | Air
HC018 | Estrogen Receptor Rabbit Monoclonal Antibody | 15 | 25mls | 5 | 7 | bottle | Air
HC019 | Mouse/Rabbit UnoVue HRP/DAB Detection System | 15 | Kit | 5 | 10 | kit | Air
HC027 | Whatman Filter paper circle 32cm | 5 | 1 x100pcs | 2 | 3 | box | Air
HC028 | Microtome Blade Feather S35 | 50 | 10 x 50 pcs | 22 | 25 | box | Air
HC029 | Cutting Knife | 5 | 50cm | 2 | 3 | single | Air
HC030 | Histosette Yellow (with lids) | 30 | 500pcs | 13 | 15 | box | Air
HC031 | Cytology Centrifuge Tubes (conical bottom) | 10 | 10mls x 100pcs | 3 | 4 | Bag | Air
HC032 | Histosette White (with lids) | 50 | 500 pcs | 22 | 25 | box | Air
HC033 | Biopsy Foam Pads (black) | 5 | 1000pcs | 2 | 3 | Bag | Air