## Issue Sites - FZ
NB - Some sites appear in both sections |  |  | QUALITY | [7 empty] | POWER
Restaurant | Franchisee | Service Co. | Q3 2025 | Ice Bath | Litres | Ambient | Q3 Kw/h | Q4 Kw/h | Q1 '25 Kw/h | Q2 2025 | Q3 2025 | Q3 Cost | Cost vs Bench*
Power issues
0043 - Staines 1 (Multiplex 44 - 1 x tower (8v)) | Mark Schweizer | FME Services UK Ltd | 99.6053 | -0.18 | 522.9767 | 29.1933 | 37.74 | 24.5 | 21.3091 | 37.3513 | 35.6897 | 893.1346 | 278.2746 | Warm equipment room
0344 - Bromborough (E) (Multiplex 44 - 1 x tower (8v)) | Paul Griffiths | JAC | 76.5611 | 3.1967 | 854.9733 | 28.13 | 72.12 | 64.0567 | 54.8416 | 71.3124 | 69.9386 | 1750.2132 | 1135.3532 | Ice bath blew out daily Jul/Aug - better in Sept
0363 - Stockport Forum (E) (Multiplex 44 - 2 x tower (8v)) | Stuart Broadbelt | JHES | 83.5176 | 0.53333 | 951.15 | 26.7433 | 39.38 | 32.9 | 27.2082 | 35.722 | 43.5087 | 1088.806 | 473.946 | Ice bath blew out daily Jul/Aug - better in Sept
0428 - Belfast 2 (Multiplex 44 - 1 x tower (8v)) | Paul Connan | ABS | 98.941 | 0.49 | 829 | 25.7567 | 52.67 | 45.97 | 36.4144 | 47.8504 | 53.2726 | 1333.1466 | 718.2866
0462 - Milton Keynes Arena (E) (Multiplex 44 - 1 x tower (10v)) | Ken Tomkins | Network North | 98.8722 | 1.1 | 656.62 | 25.9633 | 58.02 | 44.0767 | 35.2731 | 48.0272 | 53.0284 | 1327.0352 | 712.1752 | Solid quality but at cost of high power usage
0480 - Bridgend (Multiplex 44 - ABS 2) | Ralph Parker | Network West | 51.158 | 5.5667 | 1377.4167 | 26.2733 | 47.52 | 42.9567 | 39.1827 | 41.0348 | 46.2202 | 1156.6607 | 541.8007 | Ice bath blows out every day. Power use remains very high.
0490 - Gatwick South (Multiplex 44 - 2 x tower (8v)) | Sandy Madhar | FME Services UK Ltd | 99.2719 | 0.18 | 827.4933 | 27.8533 | 43.53 | 30.2667 | 22.3685 | 31.9349 | 40.8673 | 1022.7042 | 407.8442
0493 - Kitts Green (E) (Multiplex 44 - 1 x tower (10v)) | Sarah McLean | Network West | 66.2088 | 2.8633 | 672.3933 | 27.1467 | 38.51 | 30.0867 | 34.7751 | 37.22 | 40.2001 | 1006.0075 | 391.1475 | Ice bath misbehaving since early April & blows out every day.
0550 - Farnborough (Multiplex 44 - ABS 2 ) | Mark Schweizer | FME Services UK Ltd | 99.4279 | 0.37333 | 1092.4167 | 25.1867 | 107.52 | 85.78 | 82.3513 | 103.8437 | 115.9674 | 2902.0836 | 2287.2236 | New Mx44 in 2024 has fixed quality.Power usage still very high
0614 - Darlington 2 (E) (Multiplex 44 - 2 x tower (8v)) | Jonny Nassau | Wessex | 72.4904 | 0.71667 | 679.67 | 26.1133 | 47.87 | 41.84 | 38.9794 | 42.4038 | 44.4396 | 1112.1018 | 497.2418 | Ice bath blowing out almost every day.
0658 - Hammersmith 2 (Multiplex 44 - 1 x tower (10v)) | Abel Campos/1 | FME Services UK Ltd | 74.4006 | 3.0567 | 331.3133 | 30.5433 | 59.74 | 44.39 | 41.6857 | 41.672 | 45.4873 | 1138.3203 | 523.4603 | poor ice bath until early Aug. Fixed but has recently blown out again (16/9/25). Warm equipment room
0682 - Oldbury (Multiplex 44 - 2 x tower (8 & 10v)) | Douglas Wright | Network West | 99.825 | 0.59333 | 1014.4133 | 24.8 | 45.35 | 34.6033 | 34.1831 | 46.4458 | 48.409 | 1211.4357 | 596.5757
0879 - Riverside (E) (Multiplex 44 - 1 x tower (8v)) | Dean Fitzmaurice | Wessex | 99.9839 | -1.0533 | 652.3833 | 26.29 | 42.48 | 37.92 | 33.2839 | 35.4754 | 40.3906 | 1010.7754 | 395.9154
1187 - Medway City (Multiplex 44 - 2 x tower (8v)) | Gian Chahal | FME Services UK Ltd | 99.943 | 0.48667 | 524.0667 | 23.7333 | 50.61 | 40.97 | 36.9338 | 45.9222 | 48.6875 | 1218.4057 | 603.5457
1199 - Liverpool - Aigburth Road (Multiplex 44 - 2 x tower (8v)) | Tony Higdon | JAC | 97.6488 | 0.24 | 806.07 | 20.9133 | 40.35 | 38.0033 | 35.2526 | 40.6172 | 40.2343 | 1006.8636 | 392.0036
1362 - Cardiff Shopping Centre (Multiplex 44 - 1 x tower (8v)) | Ralph Parker | Network West | 95.5739 | N/A | 635.38 | 30.5667 | 35.24 | 25.55 | 19.2254 | 31.6629 | 37.9814 | 950.4843 | 335.6243 | Equipment room warm.
1475 - Derby (E) (Multiplex 44 - ABS 2) | Tim Dobbs | Network North | 86.707 | 1.4267 | N/A | 25.3433 | 69.42 | 43.1033 | 48.1001 | 68.4629 | 71.1645 | 1780.8924 | 1166.0324 | Unit is 9yrs old & poorly located. Ice bath continues to blow out regularly
1539 - DALKEITH (Multiplex 44 - ABS 1) | Graham Angus | ESG | 77.5394 | 2.34 | 1115.7267 | 24.1867 | N/A | 49.26 | 47.6062 | 39.5654 | 41.8992 | 1048.5271 | 433.6671 | Ice bath blows out every day.
1592 - Prenton (Multiplex 44 - ABS 1) | Paul Griffiths | JAC | 85 | 1.0033 | 919.3533 | 27.46 | 34.32 | 29.7667 | 24.9481 | 34.3125 | 42.1362 | 1054.4579 | 439.5979 | ABS compensating for fluctuating Sys A temp & wobbly ice bath. Recirc issue fixed 17/9/25?
1698 - Mansfield Asda (Multiplex 44 - ABS 2) | Jacqui Moore | Network North | 100 | 0.65667 | 685.0467 | 26.3933 | 40.44 | 33.1333 | 31.363 | 39.0153 | 42.003 | 1051.1262 | 436.2662
2448 - SALFORD TRAFFORD RD (Multiplex 44 - ABS 2) | Mark Nutall | DML Electrical Services | 99.3388 | -0.26667 | 430.6933 | 20.2767 | N/A | 21.0267 | 15.2096 | 28.9184 | 35.6244 | 891.5016 | 276.6416 | Power usage increasing - almost doubled since opening (weather-related?). Ice bath/Power issue 9th July (accidental?)
Equipment Performance Issues
0011 - SHEPHERDS BUSH | Abel Campos/1 | FME Services UK Ltd | 84.6058 | 0.50333 | 551.76 | 25.9833 | N/A | N/A | N/A | 30.2172 | 26.6288 | 666.3857 | 51.5257 | Sys A probe has been repositioned 28/8 - picking up heat from Agi motor
0223 - Neasden (Multiplex 50 - 2 x towers (8 & 7v)) | Trishna Vaid | FME Services UK Ltd | 82.0826 | 0.35333 | 773.57 | 25.74 | 12.93 | 10.21 | 8.9569 | 9.9375 | 11.0278 | 275.9715 | -338.8885 | Fine July/Aug - Ice Bath goes pear-shaped in Sept. Mx50 - sys B is running hot hence IQ score
0300 - Dagenham FS DT (Multiplex 44 - 2 x tower (8v)) | Joey Antwi-Kusi | Wessex | 30.3341 | 0.65333 | 919.3033 | 23.57 | 27.58 | 20.7133 | 24.9024 | 25.0832 | 29.6331 | 741.5681 | 126.7081 | Ice bath fine but flow & rtn both above max temps (check positioning)
0344 - Bromborough (E) (Multiplex 44 - 1 x tower (8v)) | Paul Griffiths | JAC | 76.5611 | 3.1967 | 854.9733 | 28.13 | 72.12 | 64.0567 | 54.8416 | 71.3124 | 69.9386 | 1750.2132 | 1135.3532 | Ice bath blew out daily Jul/Aug - better in Sept
0363 - Stockport Forum (E) (Multiplex 44 - 2 x tower (8v)) | Stuart Broadbelt | JHES | 83.5176 | 0.53333 | 951.15 | 26.7433 | 39.38 | 32.9 | 27.2082 | 35.722 | 43.5087 | 1088.806 | 473.946 | Ice bath blew out daily Jul/Aug - better in Sept
0436 - Cardiff Newport Road (Apexx 6 - 2 x towers (6 & 8v)) | Ralph Parker | Network West | 80 | 3.91 | 1416.14 | 20.1367 | 40.59 | N/A | 26.107 | 28.7115 | 32.6958 | 818.213 | 203.353 | Consistent performance., but Ice bath always close to max temp hence IQ score.
0480 - Bridgend (Multiplex 44 - ABS 2) | Ralph Parker | Network West | 51.158 | 5.5667 | 1377.4167 | 26.2733 | 47.52 | 42.9567 | 39.1827 | 41.0348 | 46.2202 | 1156.6607 | 541.8007 | Ice bath blows out every day. Power use remains very high.
0493 - Kitts Green (E) (Multiplex 44 - 1 x tower (10v)) | Sarah McLean | Network West | 66.2088 | 2.8633 | 672.3933 | 27.1467 | 38.51 | 30.0867 | 34.7751 | 37.22 | 40.2001 | 1006.0075 | 391.1475 | Ice bath misbehaving since early April & blows out every day.
0579 - HERNE BAY D/T (Tower) | Paul Crocker | FME Services UK Ltd | 53.6449 | 0.42333 | 1163.3267 | 18.7367 | N/A | N/A | N/A | 11.03 | 11.8927 | 297.6136 | -317.2464 | Ice bath reasonably solid but recirc issue until mid-Aug.
0614 - Darlington 2 (E) (Multiplex 44 - 2 x tower (8v)) | Jonny Nassau | Wessex | 72.4904 | 0.71667 | 679.67 | 26.1133 | 47.87 | 41.84 | 38.9794 | 42.4038 | 44.4396 | 1112.1018 | 497.2418 | Ice bath blowing out almost every day.
0658 - Hammersmith 2 (Multiplex 44 - 1 x tower (10v)) | Abel Campos/1 | FME Services UK Ltd | 74.4006 | 3.0567 | 331.3133 | 30.5433 | 59.74 | 44.39 | 41.6857 | 41.672 | 45.4873 | 1138.3203 | 523.4603 | poor ice bath until early Aug. Fixed but has recently blown out again (16/9/25)
0766 - Cardiff - St Marys Street (E) (Multiplex 44 - 1 x tower (8v)) | Ralph Parker | Network West | 79.6231 | 0.54333 | 442.68 | 25.17 | 29.41 | 26.9667 | 25.6683 | 27.0112 | 24.9684 | 624.8333 | 9.9733 | Tricky ice bath Jul/Aug. Better in Sept.
0805 - CARLISLE D/T (Multiplex 44 - 1 x tower (10v)) | Henry Terefenko | ESG | 71.4087 | 2.75 | N/A | 19.37 | 15.01 | 13.76 | N/A | N/A | N/A | N/A | N/A | Icebath fine until 9th July - subsequently blows out every day
1396 - Greenford 2 (Multiplex 50 - 2 x towers (8v)) | Abel Campos/2 | FME Services UK Ltd | 61.4104 | 0.59667 | 604.61 | 24.6167 | 15.86 | 14.84 | 17.5534 | 14.7986 | 16.1726 | 404.7186 | -210.1414 | Sys A & B both fluctuate significantly. Ice bath solid.
1539 - DALKEITH (Multiplex 44 - ABS 1) | Graham Angus | ESG | 85 | 2.34 | 1115.7267 | 24.1867 | N/A | 49.26 | 47.6062 | 39.5654 | 41.8992 | 1048.5271 | 433.6671 | Ice bath blows out every day.
1592 - Prenton (Multiplex 44 - ABS 1) | Paul Griffiths | JAC | 95 | 1.0033 | 919.3533 | 27.46 | 34.32 | 29.7667 | 24.9481 | 34.3125 | 42.1362 | 1054.4579 | 439.5979 | ABS compensating for fluctuating Sys A temp & wobbly ice bath. Recirc issue fixed 17/9/25?
1673 - Westfield London (Multiplex 44 Dual Carb - 2 x towers (20v)) | Abel Campos/1 | FME Services UK Ltd | 50 | -1.5967 | 983.0467 | 25.1833 | 37.1 | 32.4167 | 27.4717 | 32.4746 | 37.3704 | 935.1932 | 320.3332 | v. Long run to towers. Site not busy Mon-Fri so recirc goes into idle. Fluctuating & high Sys A. Sys B fine.
1700 - Winchester (Multiplex 44 - ABS 2) | Tony Bennett | FME Services UK Ltd | 95 | 0.93667 | 721.5967 | 23.14 | 25.81 | 18.0067 | 14.5091 | 19.5313 | 9.3526 | 234.0496 | -380.8104 | Ice bath issue in July. Major recirc failure 4th Sept
1704 - Milford Haven (Multiplex 44 - ABS 2) | Ron Mounsey | Network North | 88.3333 | 0.19 | 539.1967 | 23.2767 | 18.14 | 12.8333 | 11.9104 | 10.8315 | 14.1422 | 353.9074 | -260.9526 | Solid ice bath but high Flow & Rtn temps - being masked by ABS. Major recirc issue fixed early July.
1741 - Bristol Emersons Green (Multiplex 44 - ABS 2) | Laura Wilder | Wessex | 91.6667 | 1.18 | 775.0233 | 26.0667 | 31.18 | 26.17 | 19.6729 | 26.3547 | 23.6348 | 591.4609 | -23.3991 | Major recirc issue for most of July. Followed by fluctuating icebath from 5th Aug
1911 - Skegness (Multiplex 44 - ABS 2) | James Thompson | Wessex | 92.4582 | 1.3733 | 616.2233 | 22.3467 | 23.15 | 13.2467 | 10.1418 | 17.7822 | 18.8079 | 470.6674 | -144.1926 | Major recirc issue 29th Aug (ongoing). Ice bath soid. Masked by ABS
2091 - Wrexham Delivery Kitchen (Multiplex 44 - ABS 2) | Stewart Williams | JAC | 96.2214 | 1.2767 | 556.74 | 24.94 | 19.65 | 12.8267 | 11.6594 | 18.9527 | 22.1464 | 554.2143 | -60.6457 | Jittery ice bath & lately rising Sys A accompanied by power increase
2183 - Harlow Delivery Kitchen (Multiplex 44 - ABS 2) | Claude Abi-Gerges | In House | 99 | 2.0767 | 274.49 | 25.2767 | 23.4 | 17.8733 | 15.1411 | 21.0032 | 18.9862 | 475.1303 | -139.7297 | Ice bath started to struggle mid-June onwards. Fixed 29/8/25. Masked by ABS
Denotes Quality score propped up by ABS system

## Issue sites - McOpCo
NB - Some sites appear in both sections
|  |  |  | QUALITY |  |  |  | POWER USAGE
| SITE_NAME | Equipment Age |  | IQ Q3 2025 | Ice Bath | Filter Flow (Avg) | Amb Temp | Q2 Power | Q3 Power | Q4 Power | Q1 '25 Power | Q3 '25 Power | Cost | Notes
Power issues
| 0068 - KILBURN (ABS 2.0) |  | FME Services UK Ltd | 99.9935 | 0.31 | 600.04 | 29.36 | N/A | N/A | N/A | N/A | 40.8072 | 1021.2
| 0303 - Edge Lane DT (E) (Multiplex 44 - 2 x tower (8v)) | 2021-03-26 | Network North | 99.7224 | 0.2 | 749.55 | 15.3267 | 44.88 | 47.01 | 43.38 | 38.3912 | 39.3929 | 985.8062 | Quality fine at cost of high power usage. IRLX from 8/10/25
| 0336 - Llanelli DT (E) (Multiplex 44 - ABS 2 & 1 x Tower (8v)) | 2022-09-22 | Network West | 90 | 4.8867 | 1393.7533 | 25.41 |  |  |  |  | 36.9325 | 924.2348 | IB right on 5°C mark but water flowing to ABS & towers is fine. High vol. Performance consistent. Sensor placement?
| 0383 - Southport 2 DT (E) (Multiplex 44 - 2 x tower (8v)) | 2021-06-22 | Network North | 63.6213 | 3.34 | 808.69 | 28.64 | 46.14 | 48.44 | 44.61 | 45.5501 | 45.837 | 1147.0703 | Ice bath began to regularly blow out from early May. Power usage remains high.
| 0414 - Telford (Multiplex 44 - 2 x tower (8v)) | 2022-09-17 | Network West | 99.8918 | -2.89 | 985.43 | 26.07 |  |  |  |  | 37.1145 | 928.7908 | Struggles every Q3
| 0418 - Hillsborough (Multiplex 44 - ABS 2) | 2021-03-09 | Wessex | 95 | 3.2133 | 1148.46 | 25.0933 | 33.19 | 35.45 | 31.16 | 30.4216 | 41.6364 | 1041.9507 | Ice bath beginning to struggle at weekends. Power lower than this time last year.
| 0459 - Canning Town D/T (Multiplex 44 - ABS 2) | 2019-07-02 | Wessex | 90 | 2.5267 | 913.65 | 27.4267 | 30.84 | 38.52 | 31.43 | 27.9859 | 42.9919 | 1075.8732 | Ice bath has begun to blow out daily from mid_Jun. Power usage high vs Q2 2024.
| 0466 - Widnes (E) (Multiplex 44 - 1 x tower (10v)) | 2019-05-02 | Network North | 98.2206 | 0.24 | 801.0433 | 26.1433 | 40.09 | 46.38 | 42.23 | 42.2566 | 39.04 | 976.976 | Power usage very high but lower than Q3 2024
| 0818 - Winsford (E) (Multiplex 44 - 1 x tower (8v)) | 2013-12-01 | Network North | 99.8768 | 0.62333 | 1029.585 | 27.34 |  |  |  |  | 43.33 | 1084.3333 | NEW Mx44 19/4/25 - better performance & drastically reduced power usage vs PY, but still high
| 0941 - Coulby Newham (E) (Multiplex 44 - 1 x tower (8v)) |  | Wessex | 65.6223 | 3.0333 | 975.18 | 33.2767 | 113.59 | 126.94 | 103.72 | 91.731 | 105.6883 | 2644.8499 | Ice bath blows out every day. Power still insane but better than Q3 2024.
| 0951 - Port Talbot (E) (Multiplex 44 - 1 x tower (8v)) |  | Network West | 57.4243 | 4.4367 | N/A | 25.6533 | 48.07 | N/A | N/A | 39.9248 | 41.2774 | 1032.9666 | New Mx44 26/9/25 to fix constantly poor ice bath
| 1033 - Oldham 3 (E) (Multiplex 44 - 1 x tower (10v)) | 2022-07-08 | Network North | 99.9491 | 0.49667 | 826.2267 | 22.9833 | 45.83 | 46.6 | 31.5 | 26.6885 | 36.638 | 916.8667 | Power high but less than vs. PY Q3 2024
| 1104 - Consett (Multiplex 44 - 2 x tower (8v)) | 2021-08-10 | Wessex | 94.93 | 0.87 | 1133 | 27.47 |  |  |  |  | 40.49 | 1013.2623 | Power higher than Q3 2024
| 1263 - Bow D/T (Multiplex 44 - ABS 2) | 2021-06-04 | Wessex | 95 | 3.7 | 513.7767 | 30.2033 | 26.46 | 38.68 | 43.78 | 38.6691 | 42.39 | 1060.8098 | Ice bath struggling in heat. ABS compensating but power high vs Q3 2024
| 1359 - Bletchley (E) (Energize - ABS 2) |  | Network East | 90 | 2.19 | 711.2 | 29.0367 | 66.9 | 68.98 | 35.22 | 23.2069 | 55.1911 | 1381.1563 | Sys A high & ice bath struggles every day - power down vs Q3 2024
| 1376 - Westfield Stratford (Multiplex 44 Dual Carb - 2 x ABS 2) | 2023-06-15 | Unique | 99 | 4.4833 | 1255.7133 | 27.56 | 38.82 | 41.03 | 34.58 | 26.1552 | 45.27 | 1132.8818 | Ice bath no longer solid with daily temperature issues - ABS responsible for IQ score
| 1521 - Widnes 2 (Multiplex 44 - ABS 1) | 2018-11-21 | Network North | 100 | 0.6 | 784.7 | 26.39 |  |  |  |  | 40.9389 | 1024.4972 | Recirc issue end-Sept. Creeping power cost (up vs Q3 PY)
| 1693 - Swansea - Tesco (Multiplex 44 - 2 x tower (14v)) | 2023-06-04 | Network West | 98.9725 | 0.70333 | 678.34 | 23.35 |  |  |  |  | 40.2448 | 1007.1265 | Power has reduced since the Summer peak(avg 33Kw/h per day over last 30days)
Equipment Performance Issues
| 0319 - Leicester - Fosse Park D/T (Multiplex 50 - 2 x towers (8v)) | 2014-11-11 | Network East | 74.295 | 1.7433 | 1158.8967 | 23.7133 | 18.71 | 20.15 | 16.9 | 15.1253 | 19.6969 | 492.9146 | Ice bath began to regularly blow out early June
| 0383 - Southport 2 DT (E) (Multiplex 44 - 2 x tower (8v)) | 2021-06-22 | Network North | 63.6213 | 3.34 | 808.69 | 28.64 | 46.14 | 48.44 | 44.61 | 45.5501 | 45.837 | 1147.0703 | Ice bath began to regularly blow out from early May. Power usage remains high.
| 0443 - Linwood (Multiplex 50 - ABS 2) | 2016-07-11 | ESG | 59.0044 | 5.1567 | 1487.7867 | 26.0067 |  |  |  |  | 9.1911 | 230.0069 | Ice bath blows out every day. Fixed 17/9?
| 0459 - Canning Town D/T (Multiplex 44 - ABS 2) | 2019-07-02 | Wessex | 90 | 2.5267 | 913.65 | 27.4267 | 30.84 | 38.52 | 31.43 | 27.9859 | 42.9919 | 1075.8732 | Ice bath has begun to blow out daily from mid_Jun. Power usage high vs Q2 2024.
| 0584 - Tankersley (E) (Multiplex 44 - 1 x tower (10v)) | 2021-08-04 | Wessex | 83.4279 | 1.5633 | 1112.4967 | 25.4933 |  |  |  |  | 25.212 | 630.9311 | Ice bath occasionally blowing out - hence IQ score
| 0674 - Kingsmill (Energize - ABS 2 & 1 x Tower (8v)) | 2016-06-03 | Wessex | 50 | 5.75 | 788.6633 | 22.51 | 14.01 | 15.31 | 12.61 | 10.8241 | 14.27 | 357.1068 | Ice bath fluctuating every day - ABS partly compensating
| 0780 - Wigston (Multiplex 44 - ABS 2 & 1 x Tower (8v)) | 2023-09-02 | Network East | 50 | 0 | 799.4067 | 23.7767 | 25.92 | 22.14 | 21.83 | 20.7626 | 25.0671 | 627.3047 | Recirc issue fixed 23/8. ABS compensating but not for Tower
| 0962 - Moore Farm (Multiplex 44 - 2 x tower (8v)) |  | Wessex | 73.1 | 3.25 | 804.71 | 26.14 | 37.96 | 36.28 | 28.53 | 21.9319 | 34.6032 | 865.9451 | Ice bath failed 17/9 (ongoing as of mid-Oct)
| 0801 - Meir (Multiplex 44 - 2 x tower (8v)) | 2016-09-06 | Network North | 99 | -0.076667 | 837.0867 | 24.3933 | 36.68 | 40.59 | 32.2 | 21.9988 | 30.7056 | 768.4086 | Sys A went rogue 28/4. Fixed 13/9. Ice bath solid.
| 0803 - Runcorn (Multiplex 44 - ABS 2) | 2019-09-26 | Network North | 75 | 6.2767 | 896.9633 | 26.7633 | 50.74 | 53.17 | 42.94 | 40.8847 | 32.4582 | 812.2665 | Major Ice bath issue throughout Aug. Resaonably solid either side.
| 0862 - Camberley 2 (Multiplex 44 - 1 x tower (8v)) |  | Wessex | 77.37 | 2.52 | 816.3 | 29.13 |  |  |  |  | 38.6863 | 968.1247 | Fluctuating ice bath fixed mid-Aug.
| 0908 - Bristol Hengrove (Multiplex 44 - ABS 2) | 2016-12-02 | Wessex | 95 | 3.1667 | 558.7467 | 23.86 | 47.71 | 51.42 | 49.79 | 47.0334 | 38.88 | 972.972 | Fluctuating ice bath until early Sept. New Mx44 from 19/9?
| 0929 - Telford Forge (Multiplex 44 - ABS 2 & 1 x tower (8v)) |  | Network West | 50 | 0.80333 | 977.09 | 23.3 |  |  |  |  | 27.43 | 686.4358 | Ice bath blows out every day
| 0937 - Peterlee (Multiplex 44 - 1 x tower (8v)) | 2019-11-19 | Wessex | 83.0183 | 0.88667 | 742.7467 | 28.25 |  |  |  |  | 36.1311 | 904.1804 | Ice bath occasionally fails under pressure
| 0941 - Coulby Newham (E) (Multiplex 44 - 1 x tower (8v)) |  | Wessex | 65.6223 | 3.0333 | 975.18 | 33.2767 | 113.59 | 126.94 | 103.72 | 91.731 | 105.6883 | 2644.8499 | Ice bath blows out every day. Power still insane but better than Q3 2024.
| 0951 - Port Talbot (E) (Multiplex 44 - 1 x tower (8v)) |  | Network West | 57.4243 | 4.4367 | N/A | 25.6533 | 48.07 | N/A | N/A | 39.9248 | 41.2774 | 1032.9666 | New Mx44 26/9/25 to fix constantly poor ice bath
| 0970 - Stairfoot (E) (Multiplex 44 - 2 x tower (8v)) | 2022-09-29 | Wessex | 84.8148 | 0.51333 | 757.5433 | 28.44 |  |  |  |  | 29.6431 | 741.8187 | Recirc issue most of August
| 0996 - Rock Retail (Multiplex 44 - 1 x tower (10v)) | 2021-08-26 | Network North | 65.7159 | 3.3433 | 773.9267 | 27.8933 | 33.8 | 27.89 | 26.44 | 17.4479 | 23.3 | 583.0825 | Ice bath constantly blows out under pressure. Needs re-gas?
| 1026 - Glasshoughton (Multiplex 44 - 2 x tower (10 & 8v)) |  | Wessex | 73.24 | -1.88 | 1112.8 | 22.41 |  |  |  |  | 36.2 | 905.905 | Ice bath struggles at peak times.
| 1123 - Cortonwood (Multiplex 44 - 1 x tower (10v)) | 2019-08-07 | Wessex | 80.8594 | 1.9367 | 1074.59 | 31.3367 |  |  |  |  | 37.51 | 938.6878 | Ice bath struggling under pressure. Bigger issue 5-12th Sept
| 1133 - Ashington (Multiplex 44 - 1 x tower (10v)) |  | Wessex | 30.3904 | 5.5233 | 1194.9067 | 26.17 | 27.42 | 27.58 | 26.39 | 23.6939 | 24.41 | 610.8603 | Almost permanently high ice bath temp issue remains. Hi vol.
| 1148 - Redcar 2 (E) (Multiplex 44 - 1 x tower (10v)) |  | Wessex | 84.62 | 1.52 | 659.1 | 23.17 |  |  |  |  | 35.28 | 882.882 | Ice bath struggles at peak times.
| 1164 - New Denham (Multiplex 44 - 1 x tower (10v)) | 2024-07-31 | Wessex | 43.886 | 0.14667 | 1247.6967 | 22.88 | 34.89 | 21.97 | 18.22 | 12.9516 | 18.0367 | 451.3683 | Sys A (recirc?) issue from 30/7 persists
| 1263 - Bow D/T (Multiplex 44 - ABS 2) | 2021-06-04 | Wessex | 95 | 3.7 | 513.7767 | 30.2033 | 26.46 | 38.68 | 43.78 | 38.6691 | 42.39 | 1060.8098 | Ice bath struggling in heat. ABS compensating but power high vs Q3 2024
| 1358 - BEACONSFIELD MSA |  | FME Services UK Ltd | 69.5499 | 3.9067 | 1059.0433 | 26.2133 | 30.32 | 29.69 | 21.91 | 23.9011 | 25.7 | 643.1425 | Old site in listed building. Ice Bath continues to blow out daily under pressure
| 1359 - Bletchley (E) (Energize - ABS 2) |  | Network East | 90 | 2.19 | 711.2 | 29.0367 | 66.9 | 68.98 | 35.22 | 23.2069 | 55.1911 | 1381.1563 | Sys A high & ice bath struggles every day - power down vs Q3 2024
| 1376 - Westfield Stratford (Multiplex 44 Dual Carb - 2 x ABS 2) | 2023-06-15 | Unique | 99 | 4.4833 | 1255.7133 | 27.56 | 38.82 | 41.03 | 34.58 | 26.1552 | 45.27 | 1132.8818 | Ice bath no longer solid with daily temperature issues - ABS responsible for IQ score
| 1378 - West Auckland (E) (Multiplex 44 - 1 x tower (10v)) |  | Wessex | 70.5512 | -3.7733 | 1058.8633 | 26.1933 |  |  |  |  | 27.6 | 690.69 | Ice bath fluctuation possibly down to probe positioning, but power readings very strange.Recrirc issue 3/9-18/9
| 1507 - Acton North (Multiplex 44 - ABS 1) | 2021-04-13 | FME Services UK Ltd | 95 | 1.6333 | 645.5667 | 25.93 |  |  |  |  | 20.81 | 520.7703 | Ice bath blows out regularly.ABS compensating
| 1546 - Bracknell - THE LEXICON (Multiplex 44 - ABS 1) | 2020-12-05 | FME Services UK Ltd | 90 | 2.66 | 707.1 | 26.42 |  |  |  |  | 35.53 | 889.1383 | Fluctuating ice bath to 13/8 when fixed. Recirc issue to 25/9. Solid since.
| 1633 - Bristol Hengrove DK (Multiplex 44 - ABS 2) | 2021-12-03 | Wessex | 95 | 8.6833 | 498.71 | 22.0967 |  |  |  |  | 22.67 | 567.3168 | Ice bath issue 11.7-11/8
| 2000 - Basingstoke - Chineham Shopping Centre | 2024-03-27 | FME Services UK Ltd | 95 | -0.35333 | 457.02 | 26.9667 |  |  |  |  | 22.11 | 553.3028 | Sys A issue - from 20th June fixed 11/8.
Denotes Quality score propped up by ABS system