## Issue Sites - McOpCo
NB - Some sites appear in both sections
Power issues | Service Co. | EP Score |  | Ice Bath |  |  | Power (Previous 5 x Qtrs) |  |  |  |  | Cost |  | Notes
|  | EP Q4 25 | EP 12mths Avg | Ice Bath °C | Q4 Ice Bath Efficiency | Filter Flow (Avg Litres) | Q4 '24 | Q1 '25 | Q2 '25 | Q3 '25 Power | Q4 '25 | Cost | Cost vs Bench*
0383 - Southport 2 DT (E) (Multiplex 44 - 2 x tower (8v)) | Network North | 69.2248 | 80.3939 | 4.5267 | 69.2189 | 529.4933 | 44.61 | 45.55 | 45.14 | 46.74 | 35.41 | 886.1353 | 328.8337 | Ice bath now solid & power down vs PY.
0418 - Hillsborough (Multiplex 44 - ABS 2) | Wessex | 67.8988 | 82.665 | 3.0133 | 67.119 | 1254.48 | 31.16 | 30.43 | 38.51 | 41.64 | 42.4467 | 1062.2278 | 504.9263 | Ice bath blows out every day, protected by ABS. Power far higher than this time last year. Needs re-gas?
0748 - METRO CENTRE 2 | Wessex | 68.7884 | 68.7884 | 0.66 | 98.4458 | 340.405 |  |  |  |  | 43.3 | 722.3049 | 165.0033 | New site (to us). Power high, Sys A all over the place since Christmas 25 but Ice Bath solid.
0862 - Camberley 2 (Multiplex 44 - 1 x tower (8v)) | Wessex | 93.6913 | 90.0918 | 0.93333 | 94.928 | 787.6367 | 34.05 | 34.08 | 37.85 | 38.67 | 39.6333 | 991.8242 | 434.5226 | Fluctuating ice bath fixed mid-Aug but still occasionally jittery - power use still high
0941 - Coulby Newham (E) (Multiplex 44 - 1 x tower (8v)) | Wessex | 87.2228 | 84.63 | 1.9433 | 84.7676 | 1037.37 | 103.72 | 91.73 | 97.5 | 105.7 | 110.5667 | 2766.9308 | 2209.6293 | Ice bath blows out daily. Sys A issue from 27/11/25
1104 - Consett (Multiplex 44 - 2 x tower (8v)) | Wessex | 96.0537 | 96.8623 | 0.83333 | 97.8959 | 1137.4767 | 30.58 | 25.88 | 34.96 | 40.51 | 41.3567 | 1034.9506 | 477.649 | Power higher than Q4 2024. Power down recently, so recent fix?
1263 - Bow D/T (Multiplex 44 - ABS 2) | Wessex | 69.94 | 69.97 | 1.85 | 68.34 | 545.3 | 43.78 | 38.67 | 40.84 | 42.39 | 38.89 | 973.14 | 415.84 | Ice Bath fix 8th Nov - power drop since
1359 - Bletchley (E) (Energize - ABS 2) | Network East | 75.4566 | 31.4552 | -0.10333 | 99.8364 | 541.52 | 35.22 | 23.3 | 47.25 | 55.08 | 39.9867 | 1000.6663 | 443.3648 | Ice bath fixed 16/11/25 but Sys A flow/rtn went haywire at the same time
Equipment Performance Issues | Service Co. | EP Score |  | Ice Bath |  |  | Power (Previous 5 x Qtrs) |  |  |  |  | Cost |  | Notes
|  | EP Q4 25 | EP 12mths Avg | Ice Bath °C | Q4 Ice Bath Efficiency | Filter Flow (Avg Litres) | Q4 '24 | Q1 '25 | Q2 '25 | Q3 '25 Power | Q4 '25 | Cost | Cost vs Bench*
0037 - Walthamstow (Multiplex 44 - ABS 2) | Unique | 54.6356 | 68.8025 | 0.20333 | 99.9887 |  | 27.85 | 26.57 | 28.96 | 23.86 | 21.2567 | 531.9481 | -25.3535 | Sys A issue fixed 27/11/25. Fine since.
0418 - Hillsborough (Multiplex 44 - ABS 2) | Wessex | 67.8988 | 82.665 | 3.0133 | 67.119 | 1254.48 | 31.16 | 30.43 | 38.51 | 41.64 | 42.4467 | 1062.2278 | 504.9263 | Ice bath blows out every day, protected by ABS. Power lower than this time last year. Needs re-gas?
0464 - Barnsley 2 (E) (Multiplex 44 - ABS 2 & 1 x Tower (8v)) | Wessex | 79.1799 | 91.4009 | -2.5367 | 99.994 | 953.35 | 30.59 | 25.41 | 28.73 | 38.99 | 33.2633 | 832.4149 | 275.1133 | Faulty placement on Ice Bath sensor now fixed & Ice Bath solid, but keep an eye on Sys A temp (went up at same time as Ice Bath fixed)
0674 - Kingsmill (Energize - ABS 2 & 1 x Tower (8v)) | Wessex | 42.965 | 45.8656 | 4.6 | 35.8332 | 740.7133 | 12.61 | 10.83 | 13.16 | 14.24 | 12.4667 | 311.9783 | -245.3232 | Ice bath overly warm but consistent - Sys A temps fluctuate on the high side
0748 - METRO CENTRE 2 | Wessex | 68.7884 | 68.7884 | 0.66 | 98.4458 | 340.405 |  |  |  |  | 28.8633 | 722.3049 | 165.0033 | New site (to us). Power high, Sys A all over the place since Christmas '25 but Ice Bath solid.
0891 - BILSTON | Network West | 74.0705 | 74.0705 | 1.3933 | 87.2687 | 541.8367 |  |  |  |  | 16.17 | 404.6542 | -152.6473 | Sys A temps suggest something struggles under major sales pressure (but not severely) - power suspiciously low
1164 - New Denham (Multiplex 44 - 1 x tower (10v)) | Wessex | 29.3786 | 41.621 | 0.023333 | 100 | 801.1433 | 18.22 | 12.98 | 18.04 | 17.61 | 13.2167 | 330.7471 | -226.5545 | Sys A (recirc?) issue from 30/7 persists
1342 - Cyfartha Retail Park (Multiplex 44 - ABS 2) | Network West | 77.8307 | 81.5374 | -0.46333 | 100 | 1163.76 | 29.51 | 23.27 | 30.8 | 30.49 | 29.3933 | 735.5682 | 178.2666 | Sys A issue- from 15th June - seemingly fixed end Nov'25
1359 - Bletchley (E) (Energize - ABS 2) | Network East | 75.4566 | 31.4552 | -0.10333 | 99.8364 | 541.52 | 35.22 | 23.3 | 47.25 | 55.08 | 39.9867 | 1000.6663 | 443.3648 | Ice bath fixed 16/11/25 but Sys A flow/rtn went haywire at the same time
1507 - Acton North (Multiplex 44 - ABS 1) | FME Services UK Ltd | 41.9411 | 79.0718 | 2.4167 | 73.5616 | 618.53 | 18.82 | 20.59 | 20.81 | 20.38 | 18.13 | 453.7033 | -103.5983 | Ice bath fixed 15/11/25 but Sys A went haywire 13/11/25?
1571 - GRANTHAM COLSTERWORTH (ABS 1.0) | Network West | 29.4825 | 29.4825 | 0.26 | 99.9769 | 84.39 |  |  |  |  | 9.875 | 247.1219 | -310.1797 | New (to us) Sys A high from install. 50% power drop in mid-Nov suggests motor failure somewhere. Ice Bath solid.
2000 - Basingstoke - Chineham Shopping Centre (Multiplex 44 - ABS 2) | FME Services UK Ltd | 68.2647 | 76.0174 | -0.29667 | 100 | 450.3133 | 20.87 | 14.85 | 22.17 | 22.05 | 16.7733 | 419.7527 | -137.5489 | Sys A issue- from 20th June fixed 11/8. Sys A still high but consistent.

## Issue sites - FZ
NB - Some sites appear in both sections
| SITE_NAME | Equipment Age
| Power issues | Franchisee | Service Co. | EP Score |  | Ice Bath |  |  | Power (Previous 5 x Qtrs) |  |  |  |  | Cost |  | Notes
|  |  |  | EP Q4 25 | EP 12mths Avg | Ice Bath °C | Q4 Ice Bath Efficiency | Filter Flow (Avg Litres) | Q4 '24 | Q1 '25 | Q2 '25 | Q3 '25 Power | Q4 '25 | Cost | Cost vs Bench*
| 0344 - Bromborough (E) (Multiplex 44 - 1 x tower (8v)) | Paul Griffiths | JAC | 94.9978 | 90.649 | 3.1967 | 94.6333 | 825.1467 | 64.0567 | 54.8416 | 71.3124 | 69.9386 | 59.9433 | 1500.0819 | 1004.7994 | Ice bath blew out daily Jul/Aug - better in Sept
| 0428 - Belfast 2 (Multiplex 44 - 1 x tower (8v)) | Paul Connan | ABS | 96.056 | 98.6538 | 0.49 | 95.1567 | 987 | 45.97 | 36.4144 | 47.8504 | 53.2726 | 38.09 | 953.2023 | 457.9198 | Coarse data only
| 0462 - Milton Keynes Arena (E) (Multiplex 44 - 1 x tower (10v)) | Ken Tomkins | Network North | 98.6358 | 98.7854 | 1.1 | 99.77 | 629.0433 | 44.0767 | 35.2731 | 48.0272 | 53.0284 | 48.9633 | 1225.3074 | 730.0249 | Solid quality but at cost of high power usage
| 0480 - Bridgend (Multiplex 44 - ABS 2) | Ralph Parker | Network West | 75.9423 | 75.3878 | 5.5667 | 77.0967 | 1169.4767 | 42.9567 | 39.1827 | 41.0348 | 46.2202 | 42.0967 | 1053.4691 | 558.1866 | Sys A issue fixed 17/10/25 - been pretty consistent since (but at cost of high power usage)
| 0493 - Kitts Green (E) (Multiplex 44 - 1 x tower (10v)) | Sarah McLean | Network West | 97.6561 | 83.2931 | 2.8633 | 97.34 | 609.84 | 30.0867 | 34.7751 | 37.22 | 40.2001 | 37.8867 | 948.1138 | 452.8313 | Ice bath better in Q4 '25 but at cost of higher power usage
| 0550 - Farnborough (Multiplex 44 - ABS 2 ) | Mark Schweizer | FME Services UK Ltd | 99.7481 | 99.4518 | 0.37333 | 100 | 973.15 | 85.78 | 82.3513 | 103.8437 | 115.9674 | 87.73 | 2195.4433 | 1700.1608 | New Mx44 in early Nov has fixed quality.Power usgae still very high
| 0614 - Darlington 2 (E) (Multiplex 44 - 2 x tower (8v)) | Jonny Nassau | Wessex | 89.0319 | 88.6866 | 0.71667 | 97.9467 | 667.3867 | 41.84 | 38.9794 | 42.4038 | 44.4396 | 43.7633 | 1095.1774 | 599.8949 | Ice bath more solid in Q4 - possible fix 13/11/25? - but power still very high
| 0658 - Hammersmith 2 (Multiplex 44 - 1 x tower (10v)) | Abel Campos/1 | FME Services UK Ltd | 66.9283 | 81.0785 | 3.0567 | 69.54 | 299.6533 | 44.39 | 41.6857 | 41.672 | 45.4873 | 46.4933 | 1163.4957 | 668.2132 | Poor ice bath until early Aug. Fixed blew out again (16/9/25). Fixed again 11/11/25
| 0682 - Oldbury (Multiplex 44 - 2 x tower (8 & 10v)) |  | Network West | 99.7435 | 99.7198 | 0.59333 | 100 | 999.9367 | 34.6033 | 34.1831 | 46.4458 | 48.409 | 36.6967 | 918.3341 | 423.0516 | Performance is fine but at high power cost
| 0805 - CARLISLE D/T (Multiplex 44 - 1 x tower (10v)) | Henry Terefenko | ESG | 96.57 | 77.07 | 2.75 | 96.99 | 810.79 | 13.76 | N/A | N/A | N/A | 37.71 | 943.78 | 448.49 | Icebath fine until 9th July then poor until Q4 when OK. Big power usage rise in December'25
| 1187 - Medway City (Multiplex 44 - 2 x tower (8v)) | Gian Chahal | FME Services UK Ltd | 99.78 | 99.58 | 0.49 | 100 | 511.66 | 40.97 | 36.93 | 45.92 | 48.69 | 42.28 | 1058.06 | 562.77 | Performance is fine but at high power cost
| 1199 - Liverpool - Aigburth Road (Multiplex 44 - 2 x tower (8v)) | Tony Higdon | JAC | 99.89 | 95.59 | 0.24 | 100 | 845.55 | 38 | 35.25 | 40.62 | 40.23 | 37.53 | 939.19 | 443.91 | Check Sys A - looks high
| 1376 - Westfield Stratford (Multiplex 50 - 2 x ABS 2) | Jon Betts | Unique | 29.2754 | 29.4834 | 4.4833 | 25.07 | 1054.01 | 34.58 | 26.1552 | 29.6281 | 45.2686 | 48.12 | 1204.203 | 708.9205 | Ice bath consistently high with daily temperature issues - power up vs Q4 PY
| Equipment Performance Issues | Franchisee | Service Co. | EP Score |  | Ice Bath |  |  | Power (Previous 5 x Qtrs) |  |  |  |  | Cost |  | Notes
|  |  |  | EP Q4 25 | EP 12mths Avg | Ice Bath °C | Q4 Ice Bath Efficiency | Filter Flow (Avg Litres) | Q4 '24 | Q1 '25 | Q2 '25 | Q3 '25 Power | Q4 '25 | Cost | Cost vs Bench*
| 0011 - SHEPHERDS BUSH | Abel Campos/1 | FME Services UK Ltd | 78.0682 | 49.3905 | 0.50333 | 94.62 | 505.7333 | N/A | N/A | 30.2172 | 26.6288 | 18.21 | 455.7053 | -39.5772 | Sys A probe has been repositioned 28/8 - picking up heat from Agi motor. Ice Bath issue early Nov for 1wk.
| 0223 - Neasden (Multiplex 50 - 2 x towers (8 & 7v)) | Trishna Vaid | FME Services UK Ltd | 51.3693 | 55.5044 | 0.35333 | 100 | 789.3067 | 10.21 | 8.9569 | 9.9375 | 11.0278 | 8.9867 | 224.8913 | -270.3912 | Fine July/Aug - Ice Bath goes pear-shaped in Sept. Mx50 - sys B is running hot hence IQ score
| 0300 - Dagenham FS DT (Multiplex 44 - 2 x tower (8v)) | Joey Antwi-Kusi | Wessex | 41.6 | 38.18 | 0.65 | 100 | 786.35 | 20.71 | 24.9 | 25.08 | 29.63 | 22.01 | 550.88 | 55.6 | Ice bath fine but flow & rtn both above max temps but consistent (check positioning)
| 0436 - Cardiff Newport Road (Apexx 6 - 2 x towers (6 & 8v)) | Ralph Parker | Network West | 81.8486 | 77.011 | 3.91 | 75.62 | 1456.76 | N/A | 26.107 | 28.7115 | 32.6958 | 28.9167 | 723.6396 | 228.3571 | Consistent performance., but Ice bath always close to max temp hence EP score (check positioning).
| 0658 - Hammersmith 2 (Multiplex 44 - 1 x tower (10v)) | Abel Campos/1 | FME Services UK Ltd | 66.9283 | 81.0785 | 3.0567 | 69.54 | 299.6533 | 44.39 | 41.6857 | 41.672 | 45.4873 | 46.4933 | 1163.4957 | 668.2132 | Poor ice bath until early Aug. Fixed blew out again (16/9/25). Fixed again 11/11/25
| 1111 - Cambridge Newmarket (Multiplex 50 - 1 x tower (10v)) | Richard Cross | Network East | 29.3705 | 29.2164 | 0.16 | 100 | 1078 | 18.2567 | 17.247 | 17.3259 | 18.1864 | 16.88 | 422.422 | -72.8605 | Ice bath fine but Sys A temps constantly high = check positioning
| 1376 - Westfield Stratford (Multiplex 50 - 2 x ABS 2) | Jon Betts | Unique | 29.2754 | 29.4834 | 4.4833 | 25.07 | 1054.01 | 34.58 | 26.1552 | 29.6281 | 45.2686 | 48.12 | 1204.203 | 708.9205 | Ice bath consistently high with daily temperature issues - power up vs Q4 PY
| 1396 - Greenford 2 (Multiplex 50 - 2 x towers (8v)) | Abel Campos/2 | FME Services UK Ltd | 67.1829 | 53.9939 | 0.59667 | 84.3467 | 584.1867 | 14.84 | 17.5534 | 14.7986 | 16.1726 | 13.97 | 349.5992 | -145.6832 | Sys A & B both fluctuate significantly. Ice bath solid.
| 1577 - Cardiff Ty Glas (Multiplex 44 - ABS 1) | Ralph Parker | Network West | 61.406 | 76.5257 | -0.80333 | 100 | 661.96 | 18.28 | 16.0508 | 16.72 | 28.9031 | 25.4633 | 637.2199 | 141.9374 | Sys A issue fixed 19/11/25 - all good since
| 1673 - Westfield London (Multiplex 44 Dual Carb - 2 x towers (20v)) | Abel Campos/1 | FME Services UK Ltd | 29.3151 | 29.1089 | -1.5967 | 100 | 875.96 | 32.4167 | 27.4717 | 32.4746 | 37.3704 | 32.98 | 825.3245 | 330.042 | v. Long run to towers. Site not busy Mon-Fri so recirc goes into idle. Fluctuating & high Sys A. Sys B fine.
| 1684 - Nelson Broadway (Multiplex 44 - ABS 2) | Victor Arcinega | DML Electrical Services | 48.055 | 86.7334 | 0.57333 | 100 | 519.41 | 26.44 | 22.1015 | 26.5174 | 33.718 | 21.9567 | 549.4656 | 54.1831 | Sys A issue on 21/10 (ongoing) - related to jittery ice bath at same time