Port________________________________ Date___________________________________

Receiving Ship___________________ ___   Barge / Bunker Facility_____________________

Master______________________________ Barge Master____________________________

Designated Person in charge ___________________________

| Bunkers to be Transferred – AS1 (agreement sheet 1) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Grade | Tonnes | Density^ | Load temp | Vol at load density / temp (m3) | Transfer Rates (m3) |  |  | Max Line Pressure (Kg/Psi) |
|  |  |  |  |  | Initial | Max | Topping Off |  |
| Fuel Oil |  |  |  |  |  |  |  |  |
| Gasoil/Diesel |  |  |  |  |  |  |  |  |
| LO in bulk |  |  |  |  |  |  |  |  |
| Oily Mixture / Sludge |  |  | N A |  |  |  | N A |  |

If bunkering LNG or alternative fuels use a dedicated bunkering checklist developed to industry standard for that fuel

|  | Sequence of Bunker Tanks to be Loaded /Discharged – AS2 (agreement sheet 2) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sequence # | Tank Characteristic |  |  | Grade / Oily Mix or Sludge | Volume to bunker (m3) |  |  |  | Confirm density^ / temp. used remains accurate. If not re-calculate | Expected sounding on completion (cm)^ | Expected Ullage on completion (cm)^ |
|  | ID / No | Vol at max. filling |  |  | OBQ ** | Available Volume | Planned Filling |  |  |  |  |
|  |  | m3 | %* |  |  |  | m3 | %* |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |

^  - Caution : The density of VLSFO can vary significantly according to method of production.                            The density of the product to be bunkered shall be determined prior to commencing bunkering and where required the bunkering plan / checklist revised regarding tank filling data. (Obtained Pre-delivery typical fuel parameters shall be checked against the draft Bunker Delivery Note (BDN).

*   - for maximum filling % see technical procedure 4.11.4

** - volume in tank prior bunkering

Declaration:

I,…………………………………… , Chief Engineer, have personally verified that the starting figures stated above are accurate.

Signature: ______________________________

I,…………………………………… , Designated person in Charge, have personally verified that the starting figures stated above are accurate.

Signature: ______________________________

| PARTS A+B: CHECKS AT PLANNING STAGE (Prior Arrival of Bunkering Barge or Arrival at Bunkering Facility) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Check | Receiving Ship Status(A) | Bunker Facility/ Barge Status(B) | ISGOTT 6 C/List item | Remarks |
| 1 | Pre-briefing session with Master with the bunker team and records maintained in deck log book Ensure team : - Are in compliance with W&R requirements - Instructed to carry out duties with no distractions |  Yes |  | - | Risk assessment reviewed |
| 2 | Necessary permissions are granted? (Request confirmation from Port authority). Local requirements are observed? |  Yes |  Yes | 1,2 6,7 |  |
| 3 | Mooring and fendering arrangement is agreed? |  Yes |  Yes | 5,10 | If required has SAF 10 – “Permit to Allow Small Craft Alongside”, been prepared |
| 4 | Where supplied by vessel, all bunker hoses are in good condition and are appropriate to the service intended? |  Yes |  Yes | 24,36 |  |
| 5 | Has bunkering plan been prepared and does it include contingency measures and sampling requirements? |  Yes |  | - | The Bunker Plan is to be approved by the Master & C/E and signed by all persons involved in the bunkering operation. |
| 6 | All personnel aware of operations and bunker plan exchanged? Sequence of bunkering agreed – See AS2 |  Yes |  Yes | 3,4 8,9 |  |
| 7 | Have bunker tank high level alarms been tested? Alarm level %______ Sounding__________ |  Yes |  | - | As applicable for Sludge/Bilge transfer ashore operations. |
| 8 | Has transfer of fuel to minimise mixing of old fuel with new been completed? |  Yes |  | - | Not applicable for Sludge/Bilge transfer ashore operations. |
| 9 | Are all staff involved in bunkering familiar with their own ships bunkering system? |  Yes |  Yes | - |  |
| 10 | Are all staff involved in bunkering familiar with their duties during bunkering? |  Yes |  | - |  |
| 11 | Has the following roles been assigned to individuals during bunkering? - Watch at Manifold - Deck Watch - Tank Monitor during topping off |  Yes |  | - | Nominated Person i. ii. iii. |

| Date / Time Completed | Receiving Ship | Bunker Facility |
| --- | --- | --- |

| PARTS C+D: CHECKS AFTER MOORING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Check | Receiving Ship Status(C ) | Bunker Facility/ Barge Status (D) | ISGOTT 6 C/List item | Remarks |
| 12 | Have fenders been checked, are they in good order and there is no possibility of metal to metal contact? |  Yes |  Yes | 11,14 |  |
| 13 | Is your vessel securely moored |  Yes |  Yes | 12,15 |  |
| 14 | If bunkering from/to a barge, is the barge securely moored? |  Yes |  Yes | 12,15 |  |
| 15 | Is there a safe means of access between facility / barge and ship? |  Yes |  Yes | 13,16 |  |
| 16 | Have all bunker tanks on board the bunker barge been sounded? (If sounding cannot be made due to safety reasons, the Master must report this to the commercial operator by telephone and backed up by email) |  Yes |  Yes | - | Not applicable for Sludge/Bilge transfer ashore operations. |

| Date / Time Completed | Receiving Ship | Bunker Facility |
| --- | --- | --- |

| PART E: PRE-TRANSFER CONFERENCE AND AGREEMENT AS3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Check | Receiving Ship Status | Bunker Facility/ Barge Status | ISGOTT 6 C/List item | Remarks |
| 17 | Has an effective method and clarity of communications been established between responsible officers? Primary system: Backup system: Emergency Stop Signal: Hand signals for following agreed: Commence Bunkers Increase rate Decrease Rate Stop |  Yes |  Yes | 17 | (VHF/UHF Ch…….) All communications in English. Weather operating limits are defined. ………………………. |
| 18 | Bunker watch is established. Is there an effective watch on board the barge and on the vessel maintained at the bunker connection and roving watch to detect spills? |  Yes |  Yes | 18 |  |
| 19 | Smoking restrictions and designated smoking areas are established Nominated smoking rooms:- Vessel……………………………… Barge……………………………… |  Yes |  Yes | 19 |  |
| 20 | Naked light restrictions are established |  Yes |  Yes | 20 |  |
| 21 | Safety data sheets and other delivery documentation including delivery notes available, checked and found satisfactory? |  Yes |  Yes | 21 |  |
| 22 | Hazardous properties of the product to be transferred identified in the safety data sheet are discussed? |  Yes |  Yes | 22 | Appropriate PPE identified/utilised. Also see item 47 |

| AS3: AGREEMENT SHEET 3 - OPERATIONAL MANAGEMENT CONTROLS |  |  |  |
| --- | --- | --- | --- |
| Agreement | Details | Receiving ship initials | Bunker facility initials |
| Process for starting transfer | Initial flow rate: ______________________ Increase of flow to full rate / pressure: Max rate:__________ Max pressure:______ Quantity transferred check intervals: ______ |  |  |
| Process for completing transfer | Slowdown of flow for topping off: Tank Ullage: _________________ meters Rate:_______________________ m3/h Notice period ________________ minutes Transfer stop: ________________________ Ship or Barge / Facility stop notification: ____________________________________ |  |  |

| PARTS F+G – TECHNICAL CHECKS BEFORE BUNKERING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Check | Receiving Ship Status (F) | Bunker Facility/ Barge Status(G) | ISGOTT 6 C/List item | Remarks |
| 23 | Adequate insulating means are in place in the barge to ship connection? |  Yes |  Yes | 23,35 |  |
| 24 | Bunker transfer equipment / hose: • is in good condition • is appropriate to the service intended • is properly rigged • is properly secured to manifolds • is fully bolted (all flange bolts fitted) |  Yes |  Yes | 24,36 | The connection shall be made in the presence of the designated person in charge. |
| 25 | Is fire-fighting equipment ready on facility/ barge and receiving ship? |  Yes |  Yes | 25,37 |  |
| 26 | Are all scuppers and save-alls plugged? |  Yes |  Yes | 26,38 |  |
| 27 | Have all portable drip trays been positioned under hose couplings and empty and all air vents checked? |  Yes |  Yes | 27,39 |  |
| 28 | Has initial bunker line up been cross-checked by two Officers and all unused bunker connections / manifolds blanked and fully bolted? |  Yes |  Yes | 24,36 28,40 |  |
| 29 | High level and overfill alarm units are operational, tank(s) gauging system verified |  Yes |  Yes | 29,41 |  |
| 30 | Bunker operation emergency stop is operational |  Yes |  Yes | 30,42 | Where provided |
| 31 | Bunker tank openings are closed |  Yes |  Yes | 31,43 |  |
| 32 | Is the oil spill equipment ready? |  Yes |  Yes | 32,44 |  |
| Item | Check | Receiving Ship Status (F) | Bunker Facility/ Barge Status(G) | ISGOTT 6 C/List item | Remarks |
| 33 | Are main radio transmitter(MF/HF) aerials earthed and radars switched off? |  Yes |  Yes | 33.45 |  |
| 34 | Are fixed VHF/UHF transceivers and AIS equipment on low power mode or switched off? |  Yes |  Yes | 34.46 |  |
| 35 | Is the bunker line drip sampler clean, fitted correctly and in working order? |  Yes |  | - | Not applicable for Sludge/Bilge transfer ashore operations. |
| 36 | Have bunker lines been visually inspected and found in good order? Wherever possible unused tanks and lines are to be segregated by at least two valves. |  Yes |  | - |  |
| 37 | Are bunker lines pressure tested as required by VMS ie to MAWP in last 12 months and to 1.5 times MAWP twice in last 5 years? |  Yes |  | - | Not applicable for Sludge/Bilge transfer ashore operations. |
| 38 | Overboard valves connected to the cargo system, engine room bilges and bunker lines closed and sealed? |  Yes |  | - |  |
| 39 | Have bunker hoses been identified with grade of oil? |  Yes |  Yes | - |  |
| 40 | Has the bunkering hose been end blanked/capped before hoisting to other vessel? |  Yes |  Yes | - |  |
| 41 | Has a visual inspection been made of oil to check for a frothy or bubbly mixture? |  Yes |  | - | Not applicable for Sludge/Bilge transfer ashore operations. |
| 42 | If frothy or bubbly mixture discovered has a note of protest been issued to barge and management office advised? |  Yes |  | - | Not applicable for Sludge/Bilge transfer ashore operations. |
| 43 | All external doors and ports in the accommodation closed? |  Yes |  | - | Accommodation kept at positive pressure |
| 44 | Have plans for line clearance (blowing) been discussed and process agreed? |  Yes |  Yes | - |  |

| Date / Time Completed | Receiving Ship | Bunker Facility |
| --- | --- | --- |

Declaration   - We the undersigned have checked the items in the applicable parts A to G as marked and signed below:

| Part | Checks | Receiving ship | Bunker Facility |
| --- | --- | --- | --- |
| A+B | Checks at the planning stage |  |  |
| C+D | Checks after mooring |  |  |
| E | Pre – transfer conference / agreements |  |  |
| F+G | Technical checks before bunkering |  |  |

We are satisfied that the entries we have made are correct to the best of our knowledge and that the receiving ship and bunker facility are in agreement to undertake the transfer operation. (For tankers- in accordance with the guidance in chapter 24 of ISGOTT).

We have also agreed to carry out the repetitive checks noted in parts H and I of this checklist, which should occur at intervals of not more than _________ hours for the receiving ship and not more than ________ hours for the bunker facility.

If, to our knowledge, the status of any item changes, we will immediately inform the other party.

| Receiving ship | Bunker Facility |
| --- | --- |
| Name: | Name: |
| Rank: | Position: |
| Signature: | Signature: |
| Date: | Date: |
| Time: | Time: |

| FURTHER CHECKS DURING BUNKERING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Check |  | Receiving Ship Status | ISGOTT 6 C/List item | Remarks |
| 45 |  | Bunker hoses and lines checked for leakage? |  Yes | - |  |
| 46 |  | Are drip samples being collected over the whole bunkering period? |  Yes | - | Not applicable for Sludge/Bilge transfer ashore operations. |
| 47 |  | Testing tank atmosphere for hydrocarbon (flammable) gas and toxic gas emissions carried out? ** |  Yes | - | H2S (TLV-TWA 5ppm) Benzene (TLV-TWA 1ppm) If concentrations detected keep personnel clear of tank emissions. |
| 48 |  | Has the receiving / discharging rate been calculated and is the supplier being updated with the rate and estimated time for topping off and completion? |  Yes | - | Temperature of bunker intake monitored. Tank levels monitored at maximum 30 minute intervals. |

** If appropriate

| PART H: RECEIVING SHIP REPETITIVE CHECKS DURING BUNKERING (enter date for first check each day - add additional pages if required) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Ref. |  |  | Check | Time | Time | Time | Time | Time | Time | Remarks |
| TEC08 | ISGOTT |  |  |  |  |  |  |  |  |  |
| Interval time: ………………. Hours |  |  |  |  |  |  |  |  |  |  |
| 12 |  | 11 | Fendering is effective |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 13,14 |  | 12 | Mooring arrangement is effective |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 15 |  | 13 | Access between ship and bunker facility is safe |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 17 |  | 17 | Communications between the ship and supplier are effective, tested? |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 19 |  | 19 | Smoking restrictions and designated smoking areas are complied with |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 20 |  | 20 | Naked light restrictions are complied with |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 26 |  | 26 | Scuppers and save-alls are plugged |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| AS3 |  | AS3 | Bunker tank contents are monitored |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes | At intervals not exceeding ..… min |
| 35 |  | - | Is the bunker line drip sampler clean, fitted correctly and in working order? |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 43 |  | - | All external doors and ports in the accommodation closed? |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes | Accommodation kept at positive pressure |
| 45 |  | - | Bunker hoses and lines checked for leakage? |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 46 |  | - | Are drip samples being collected over the whole bunkering period? |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 47 |  | - | Testing for hydrocarbon (flammable) gas and toxic gas emissions carried out? ** |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 48 |  | - | Has the receiving / discharging rate been calculated and is the supplier being updated with the rate and estimated time for topping off and completion? |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| Initials |  |  |  |  |  |  |  |  |  |  |

| PART I: BUNKERING FACILITY REPETITIVE CHECKS DURING BUNKERING (enter date for first check each day - add additional pages if required) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item Ref. |  | Check | Time | Time | Time | Time | Time | Time | Remarks |
| TEC08 | ISGOTT |  |  |  |  |  |  |  |  |
| Interval time: ………………. Hours |  |  |  |  |  |  |  |  |  |
| 12 | 14 | Fendering is effective |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 13,14 | 15 | Mooring arrangement is effective |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 15 | 16 | Access between ship and bunker facility is safe |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 17 | 17 | Communications between the ship and supplier are effective, tested? |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 19 | 19 | Smoking restrictions and designated smoking areas are complied with |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 20 | 20 | Naked light restrictions are complied with |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| 26 | 38 | Scuppers and save-alls are plugged |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes |  |
| AS3 | AS3 | Tank contents are monitored |  Yes |  Yes |  Yes |  Yes |  Yes |  Yes | At intervals not exceeding ..… min |
| Initials |  |  |  |  |  |  |  |  |  |

| PARTS J+K – CHECKS BEFORE DISCONNECTING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Check | Receiving Ship Status (J) | Bunker Facility/ Barge Status(K) | ISGOTT 6 C/List item | Remarks |
| 49 | Have plans for line clearance (blowing) been discussed and process agreed? |  Yes |  Yes | - | Blowing should NOT be performed (a) 90% of tanks up to 700m3, (b) 95% for tanks over 700m3, (c) if high level alarm is active, (d) any issues with air locking difficulties or constructed anomaly unless the level is below 90%. |
| 50 | Bunker hoses, fixed pipelines and manifolds are drained |  Yes |  Yes | 47,49 |  |
| 51 | Remote and manually controlled valves are closed |  Yes |  Yes | 48,50 |  |

| PART L – ADDITIONAL CHECKS AFTER COMPLETION OF BUNKERING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Check | Receiving Ship Status | Bunker Facility/ Barge Status | ISGOTT 6 C/List item | Remarks |
| 52 | Have bunker hoses been disconnected and manifolds blanked? |  Yes |  | - | The disconnection shall be made in the presence of the designated person in charge. |
| 53 | Has bunker receipt been signed by the Chief Engineer and Master for volume only and not for weight? / Has desludging receipt been obtained from slop barge ? |  Yes |  Yes | - |  |
| 54 | Have drip trays been drained? |  Yes |  | - |  |
| 55 | Have the contents of drip sample container been stirred before transfer to sample bottles? |  Yes |  | - | Not applicable for Sludge/Bilge transfer ashore operations |
| 56 | Have the samples been sealed and signed by suppliers representative? |  Yes |  Yes | - | Not applicable for Sludge/Bilge transfer ashore operations |
| 57 | Has MARPOL VI sample been taken, sealed and seal number recorded and number updated in Annex VI register and the BDN? |  Yes |  Yes | - | Not applicable for Sludge/Bilge transfer ashore operations |
| 58 | Has the sampling and sealing of the suppliers sample been personally witnessed and carried out in accordance with VPS or other testing programme procedures? |  Yes |  Yes | - | Not applicable for Sludge/Bilge transfer ashore operations |
| 59 | Have the samples been despatched prior to sailing out from the port of bunkering to the nearest VPS or other fuel testing programme laboratory within 24 hours? |  Yes |  | - | NB: VShips to be advised of the reasons if this is not possible or if any doubt on sample requirements. Not applicable for Sludge/Bilge transfer ashore operations |
| 60 | Has the vessel received the full nomination of bunkers? |  Yes |  | - | If there is any short loading of bunkers – immediately advise VShips and wait for guidance. Only sail / cast off the bunker barge after receiving clear guidelines from VShips. |

| Bunker / Residue Tanks on Completion of Load / Discharge |  |  |  |
| --- | --- | --- | --- |
| Tank No | Grade | Ullage in Tank on completion. | % Filling |

Declaration:

I,…………………………………… , Chief Engineer, have personally verified that the finishing figures stated above are accurate.

Signature: ______________________________

I,…………………………………… , Designated person in Charge, have personally verified that the finishing figures stated above are accurate.

Signature: ______________________________

Supplemental Declaration

We have checked, where appropriate jointly, the items of the checklist in accordance with the instructions and have satisfied ourselves that the entries made are correct to the best of our knowledge

| Part | Checks | Receiving ship | Bunker Facility |
| --- | --- | --- | --- |
| J,K+L | Checks before disconnecting and after completion |  |  |

| Receiving ship | Bunker Facility |
| --- | --- |
| Name: | Name: |
| Rank: | Position: |
| Signature: | Signature: |
| Date: | Date: |
| Time: | Time: |

Completion Instructions

Pre – Arrival

The receiving ship should complete part A and then forward a copy to the bunker facility for review.                   The bunker facility should complete part B and then similarly forward a copy to the receiving ship for review.

If it is not possible for either party to transmit the completed part then the representative of the receiving ship or the bunker facility (as applicable) should send a message confirming the time and date of completion to the relevant party before arrival. If there are any outstanding issues not marked ’Yes’ in the status box, this should be explained in this communication for pre-arrival review by the representatives.

Checks after mooring

The receiving ship should complete part C and give a copy to the bunker facility representative as soon as possible, but no later than at the pre-transfer conference. The bunker facility should complete part D and give a copy to the receiving ship as soon as possible, but no later than at the pre- transfer conference.

Checks before transfer – the pre-transfer conference

Before the operation starts, a representative of the receiving ship and bunker facility should meet to conduct a pre-transfer conference, the receiving ship and bunker facility should complete part E as part of the pre-transfer conference, with each party retaining a copy.

During this process, both parties should agree / complete checks AS1, AS2 + AS3 as appropriate which summarise the detailed operational factors agreed at the pre-transfer conference. A copy should be displayed at the control stations on the receiving ship and bunker facility for reference.

Pre -bunkering technical checks

On completion of the pre-transfer conference (including agreements) , the representatives of both the receiving ship and bunker facility should undertake final technical checks immediately before the transfer. (Checklist parts F+G) . Before beginning the bunker transfer, each party should confirm satisfactory completion to the other party and copies exchanged before signing the declaration.

Where it is not possible to satisfactorily tick a yes box, the issue should be brought to the immediate attention of the other party, corrected, or if not possible to correct further risk assessed.

The declaration

When completed, each separate checklist part should be checked off by personnel from the receiving ship / bunker facility in the relevant boxes for receiving ship and bunker facility, or both.  When all parts are completed and the times for the repetitive checks noted the declaration details and signatures are added

Summary of repetitive checks during and after transfer

The receiving ship should complete repetitive checks in part H and the bunker facility part I, at the agreed intervals.  A final copy should be provided to the other party when operations are completed.

Post- bunkering checks

At the end of the operation, both parties should complete the supplemental declaration when they have confirmed the pre-disconnection checklists J + K are satisfactory. Checklist L should be confirmed by the bunker facility as appropriate.

The receiving ship and bunker facility should keep copies of all checklists and the declarations