Acoustical Banner Specification for 

SR-100 2” PVC Catenary Banner

SECTION 09800 – ACOUSTICAL CEILING BANNERS

PART 1 – GENERAL


1.1
SUMMARY

A. This section includes the following:

1. Acoustical Ceiling Banners.

1.2 SUBMITTALS

A. Shop Drawings: Show fabrication and installation details for ceiling banners, including plans, elevations, sections, details and attachment to other work.

B. Submittals:  Furnish 8 1/2” x 11” samples, showing manufacture full range of colors, texture and patterns available for each type of acoustical banners specified.

C. Product Test Report: From a qualified testing agency indicating ceiling banners comply with requirements.

D. Qualification Data: For firms specified in “Quality Assurance” Article to demonstrate their capabilities and experience.

E. Product Certificates: Signed by manufacturer certifying that the products furnished comply with requirements.

1.3 QUALITY ASSURANCE

A. Manufacturer Qualification: Manufacture shall have a minimum of 5 years experience in production of specified products and shall furnish supporting documentation showing completed jobs of approximately the same size and scope.

B. Fire Test Reports: Provide ceiling banners with the following surface- burning characteristics as per CPAI 84.

C. Acoustical Test Report: Provide acoustical test report from a qualified testing agency.

1.4 DELIVERY, STORAGE, AND HANDLING

A. Protect Ceiling banners from excessive moisture when shipping, storing, and handling.  Deliver in unopened skids and store in a dry place with adequate air circulation.  Do not delivery material until all wet-work has been completed.

PART 2 – PRODUCTS

1.1 CEILING BANNERS, GENERAL

A. Ceiling banners shall be 2” thick – 1.6 lb. per cubic foot density fiberglass.   Manufactures standard banner construction, sewn edges, banner manufactures standard full line of facings.
1. Products

a. Model # SR-100-2 PVC Catenary Banner

Sound Seal 

Agawam, MA.  USA

Ph. (800) 569-1294

Fax (413) 789-4444

2. Facing Material:  PVC
3. Banner Thickness: nominal 2” thick

4. Noise Reduction: .85 NRC

5. Banner Width: 48 inches

6. Banner Length: length as required

1.2 CONSTRUCTION

A. The acoustical ceiling banner product shall be supplied in 48” wide banners with lengths as indicated.  All edges will be sewn with grommets for mounting.

1.3 MOUNTING

A.
Manufactures standard accessories for securely mounting banners, of type and size indicated and complying with the following requirements:


1. Grommets shall be installed to facilitate mounting and allow banner to drape from one structure to the next. 

2.4
ACOUSTICAL PERFORMANCE


A.   Model SR-100-2 PVC Banner shall have a minimum NRC rating of 0.85

2.5
FLAMMIBILITY RATING

A. Nylon facing material shall have a Class A Flammability rating per CPAI-84: Substrate /core shall have a Class A Flammability rating per ASTM E-84.

PART 3 – EXECUTION

3.1 INSTALLATION

A. Install Ceiling banners in locations indicated; top edges level and in alignment with other banners.   Comply with manufactures written instructions for installation of banners using type of mounting accessories indicated or, if not indicated, as recommended by manufacture.

3.2 CLEANING

A. After completion of installation of banners, remove dust and other foreign material according to manufactures written instructions.

B. Remove surplus material, rubbish, and debris resulting from banner installation, on completion of the work, and leave areas of installation in a neat and clean condition.

