SECTION 09618

SOUND ISOLATION MEMBRANES

[image: image1.jpg]INC2AC TR

IMPACT INSULATION SYSTEMS





** NOTE TO SPECIFIER **  Sound Seal; plant noise control, commercial and architectural acoustics and impact isolation systems.

.

This section is based on the products of Sound Seal, which is located at:


50 H.P. Almgren Dr.


Agawam, MA 01001


Toll Free Tel: (800) 569-1294


Tel: (413) 789-1770


Fax: (413) 789-4444


Email: sales@soundseal.com


Web: http:// www.soundseal.com.


{click Here} for additional information.
Sound Reducing Floor Underlayments  

Impacta™ Underlayments are a new line of products that provides impact insulation solutions for every condition in multi-family residential design. To meet the specified requirement for impact insulations, different systems are required for various types of flooring systems. Impacta underlayment products provide proven field and laboratory tested solutions for floor build-ups in wood frame, metal pan and concrete construction to meet HUD’s Grade I “luxury” and Grade II impact isolation building requirements. Impacta underlayment systems are locally reacting systems that are installed above wood or concrete slab. Impacta underlayments are ideal for hotel, condominiums, apartments, office building, schools, or any area where footfall noise is a concern.   

Underlay System for Linoleum  VCT

Impacta™ Jumpax® is a revolutionary and certified “dual” underlayment system, especially designed for stuck down decorative floor coverings like linoleum and vinyl composition tile.The Jumpax system is a free floating sub-floor suitable for comercial and residential use.- The dual underlayment system consists of a composed based board and a top board and is the best underlay system in terms of leveling and impact sound reduction.   

Underlay System for Hardwood  

Impacta™ Soundeater® is the most recent development in the field of sound reducing sub-flooring designed for 3/4” solid and 14-15mm semi-solid hardwood flooring.- Soundeater combines a specially designed tongue and groove impact absorbing soft board with a mating wooden profile.- The profile is placed free from the substrate between the soft boards every 10 1/2”.- The top side of the profile-will accept a 2” flooring nail on a 45 degree angle through 3/4” hardwood without touching the sub floor.- The-result is a totally free floating-hardwood floor.   

Underlay System for Laminate and Engineered Wood  

Impacta™ Redupax® is a certified underlayment system that has been designed to meet the requirements of parquet and wood laminate flooring.- Redupax is made from 100% recycled wood by-product and offers excellent impact isolation, thermal and leveling properties.- The Redupax system is a free floating sub-floor suitable for commercial and residential use.   

Underlay System for “Click & Fit” Laminate Wood  

Impacta™ Redupax+®-is a revolutionary new sound reducing underlay system specifically designed for glue less interlocking laminate flooring - better known as the ‘click and fit’ systems.- These ‘click and fit’ systems are gaining-tremendous popularity in both residential and commercial markets, as saver of both time and money.- However, our continuing research of the aspects of sound transmission revealed that these “clicked” floors behave differently than the traditional tongue and groove glued laminate floors.- It is because of this that we redesigned the Redupax product to address these concerns, thereby creating the Redupax Plus system specifically designed for glue less “click & fit” flooring.   

Dual Board Underlay System for Ceramic Tile and Natural Stone 

Impacta™ CeraSilence® is a sound reducing underlay systems that has been specially designed for ceramic tile and natural stone floors. Cera Silence is a completly free floating underlayment systems that is comprised of 2 parts.-The bottom board is a 15 mm soft board with a vvp paper layer with an interactive contact adhesive that when removed bonds to the top board.- The top board is a 10mm cement-bonded wood fiber board with an interactive contact adhesive that attaches to the bottom board. Synthetic Cork Underlament for Ceramic Tile and Natural Stone  

Impacta™ CeraZorb is a new and unique product specially designed to reduce footfall noise under ceramic tile and natural stone flooring. CeraZorb is a porous, closed-cell composite, formed through a patented process of fusing resilient closed-cell polymer beads at their tangent points. Used by the military as an impact absorption media in flight helmets for Navy fighter pilots, Cerazorb withstands repeated stress and absorbs energy while maintaining its strength and structure. Cerazorb’s unique structure makes it ideal for dampening footfall vibrations inherent in multi-level condominiums and apartments and assure years of consistent performance.   

Underlay System for Carpet and Carpet Tiles  

Impacta™ Superfloor® is designed to reduce footfall noise under carpet.- Superfloor underlayment has been used worldwide for over 20 years in helping reduce impact noise and extend the life time of the floor covering.-Superfloor is a natural insulation material made from pine and fir tree leaves.- Superfloor offers excellent reduction in both airborne and impact sound, providing outstanding thermal insulation and moisture and mold resisting qualities.   

Dual Underlay System for Laminate Wood and Engineered Wood  

Impacta™ ProZorb underlayment provides a low cost solution for foot traffic noise in condos, homes, apartments and townhouses. ProZorb underlayments have been designed and engineered for use under laminate and engineered wood flooring. Installation of ProZorb underlayment will add comfort, quiet the floor and reduce impact isolation vibration. ProZorb is available in 4’ x 100’ rolls or 400 sq. ft per roll.   

Copyright 2005, ARCAT, Inc.

PART 1   GENERAL

1.1 SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

A. Noise-reducing impact insulation system for vinyl, linoleum and VCT floors.

1.2 RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

A. Section 09650 – Resilient Flooring:  Vinyl, linoleum and VCT floors.

1.3 REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

A. U.S. Department of Housing and Urban Development (HUD): Guide to Airborne, Impact, and Structure Borne Noise Control in Multifamily Dwellings. 

1.4 SUBMITTALS

A. Submit under provisions of Section 01300.

B. Product Data:  Manufacturer's data sheets on each product to be used, including:

1. Preparation instructions and recommendations.

2. Storage and handling requirements and recommendations.

3. Installation methods.

** NOTE TO SPECIFIER **  Delete selection samples if colors have already been selected.

C. Selection Samples:  For each finish product specified, two complete sets of color chips representing manufacturer's full range of available colors and patterns.

D. Verification Samples:  For each finish product specified, two samples, minimum size 6 inches (150 mm) square, representing actual product, color, and patterns.

1.5 QUALITY ASSURANCE

** NOTE TO SPECIFIER **  Delete if not required.

A. Manufacturer Qualifications: The manufacturer shall be a firm with a minimum of two years of successful experience in manufacture of products with similar requirements.

** NOTE TO SPECIFIER **  Delete if not required.

B. Installer Qualifications: The installer shall be a firm with a minimum of two years of successful experience in installation of products with similar requirements.

** NOTE TO SPECIFIER **  Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store products in manufacturer's unopened packaging until ready for installation.

B. Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

1.7 PROJECT CONDITIONS

A. Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

PART 2   PRODUCTS

2.1 MANUFACTURERS

A. Acceptable Manufacturer:  Sound Seal; 50 H.P. Almgren Dr., Agawam, MA 01001.  Toll Free Tel: (800) 569-1294.  Tel: (413) 789-1770.  Fax: (413) 789-2248.  Email: impacta@soundseal.com. Web: http:// www.soundseal.com.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

B. Substitutions:  Not permitted.

C. Requests for substitutions will be considered in accordance with provisions of Section 01600.

** NOTE TO SPECIFIER **  Delete if not required.

2.2 NOISE-REDUCING IMPACT ISOLATION SYSTEM FOR VINYL, LINOLEUM AND VCT FLOORS

A. Acceptable Product: Impacta JUMPAX as manufactured by Sound Seal.

1. Acoustical Performance Rating (IIC):

** NOTE TO SPECIFIER **  Delete rating not required.

a. Wood Structure (IIC) 54, (FIIC) 57.

b. 6” Concrete slab (no ceiling)  (IIC) 51. 

2. Physical Characteristics:

a. MDF, polystyrene foam with aluminum film.

b. 3/8 inch (9.5 mm) thick 23 inches (584 mm) by 47 inches (1194 mm) boards.

c. 4 top and bottom boards.

3. Accessories:

a. 4 mil (0.1016 mm) polyethylene sheet.

b. Perimeter isolation material.

c. Polyethylene tape.

d. Acoustical caulk.

PART 3   EXECUTION

3.1 EXAMINATION

A. Do not begin installation until substrates have been properly prepared.

B. If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

3.2 PREPARATION

A. Clean surfaces thoroughly prior to installation.

B. Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

3.3 INSTALLATION

A. Install in accordance with manufacturer's instructions.

3.4 PROTECTION

A. Protect installed products until completion of project.

B. Touch-up, repair or replace damaged products before Substantial Completion.


END OF SECTION


09618-3

