Save time by using digital forms instead of paper checklists.

Go to www.monitorQA.com

Health & safety inspection checklist

A practical, field-ready checklist to catch hazards before they become incidents.

| Site / Location: |  | Date: |  |
| --- | --- | --- | --- |
| Inspector: |  | Shift / Area: |  |

1. Planning & access

| ☐ | Item | Severity (C/M/L) | Notes |
| --- | --- | --- | --- |
| ☐ | Prior inspection reports and open corrective actions reviewed beforehand |  |  |
| ☐ | Required PPE for this inspection identified and worn |  |  |
| ☐ | Relevant permits, SOPs or equipment manuals on hand if needed |  |  |

2. Fire & emergency preparedness

| ☐ | Item | Severity (C/M/L) | Notes |
| --- | --- | --- | --- |
| ☐ | Fire extinguishers unobstructed, charged, inspection tag current |  |  |
| ☐ | Emergency exits unlocked, unblocked and clearly marked |  |  |
| ☐ | Evacuation routes and assembly points posted and unobstructed |  |  |
| ☐ | Fire alarm / detection system tested within required interval |  |  |

3. Electrical & mechanical hazards

| ☐ | Item | Severity (C/M/L) | Notes |
| --- | --- | --- | --- |
| ☐ | No exposed wiring, damaged cords, or overloaded outlets |  |  |
| ☐ | Machine guards in place and functioning as designed |  |  |
| ☐ | Lockout/tagout devices available and used correctly |  |  |
| ☐ | Equipment inspection tags current (not expired or missing) |  |  |

4. Chemical & material storage

| ☐ | Item | Severity (C/M/L) | Notes |
| --- | --- | --- | --- |
| ☐ | Chemicals labeled correctly and stored per compatibility requirements |  |  |
| ☐ | Safety Data Sheets (SDS) accessible to all relevant staff |  |  |
| ☐ | Spill kits stocked, accessible and within expiry where applicable |  |  |
| ☐ | Materials stacked within marked height limits, sprinkler clearance kept clear |  |  |

5. PPE & personal safety

| ☐ | Item | Severity (C/M/L) | Notes |
| --- | --- | --- | --- |
| ☐ | Correct PPE available in usable condition (not just present) |  |  |
| ☐ | PPE actually worn correctly by staff observed during walkthrough |  |  |
| ☐ | Eyewash stations / emergency showers tested and functional |  |  |
| ☐ | First aid kits stocked and accessible |  |  |

6. Housekeeping & ergonomics

| ☐ | Item | Severity (C/M/L) | Notes |
| --- | --- | --- | --- |
| ☐ | Walkways and aisles clear of obstructions and trip hazards |  |  |
| ☐ | Spills or leaks addressed immediately, not left for later |  |  |
| ☐ | Workstations set up to reduce strain (height, reach, posture) |  |  |
| ☐ | Waste and combustible materials stored away from ignition sources |  |  |

7. People & process

| ☐ | Item | Severity (C/M/L) | Notes |
| --- | --- | --- | --- |
| ☐ | Staff interviewed about near-misses or recurring concerns |  |  |
| ☐ | Safety procedures observed being followed in practice, not just posted |  |  |
| ☐ | Training records current for staff working in higher-risk roles |  |  |

Corrective action tracker

| Finding | Severity | Owner | Due Date | Status |
| --- | --- | --- | --- | --- |

Severity key: C = Critical (stop work / immediate action)    M = Major (fix within days)    L = Low (routine cycle)

For digital checklists, photo-backed findings and automated corrective action tracking across every site, see monitorQA's health inspection software: www.monitorqa.com