## SDBM Datasheet
Input data for biogas flare system | Input data for Sequential Digester Gas Mixing System
A) | Customer information:
Organization Name:
Registered Address
Name of contact person
Designation
Contact Number (with country code)
E-mail address
Project Information
| Project Stage | : | Execution |  | FALSE | Proposal | FALSE | Tendering |  | FALSE
| Expected Delivery (months) | :
B) | Installation Location (Site Condition)
Installation Location
| Temp. |  |  |  | °C (Min.) |  |  |  | °C (Max.)
| Altitude |  |  |  | Meters (above MSL)
EPC / Consultant
Industry
C) | Digester Details
Number of Digesters
| Digester Type |  |  |  | (Primary / Secondary / Egg-shaped / Cylindrical)
| Operating Mode |  | Mesophilic | FALSE | Thermophilic | FALSE
| Diameter (m) |  |  |  | m
| Straight Wall Height |  |  |  | m
| Total Liquid Height |  |  |  | m
| Working Volume |  |  |  | m3
| Roof Type |  | Fixed | FALSE | Floating | FALSE | Membrane | FALSE
Additional Information
D) | Sludge Characteristics
| Feed Sludge Type |  |  |  | (WAS / Primary / Mixed / Industrial)
| Total Solids |  |  |  | %
| Volatile Solids |  |  |  | %
| Viscosity Data |  |  |  | if available
| Temperature |  |  |  | °C
| Foam Tendency |  |  |  | (Low / Moderate / High)
| Scum Formation Issues |  | Yes | FALSE | No | FALSE
E) | Mixing Requirements
| Primary Objective |  |  |  | (Homogenization / Stratification / Foam / Temp / Gas Release)
| Operation Preference |  |  |  | (Continuous / Sequential / Intermittent)
| Preferred Cycle Time |  |  |  | min/hr
| Required Blend Time |  |  |  | min
| Target Active Volume |  |  |  | %
| Acceptable Dead Zone |  |  |  | %
| Short-Circuiting Limit |  |  |  | %
F) | Gas Availability
| Average Biogas |  |  |  | Nm³/h
| Peak Biogas |  |  |  | Nm³/h
| Minimum Biogas |  |  |  | Nm³/h
| Methane |  |  |  | %
| Gas Temperature |  |  |  | °C
| Gas Pressure |  |  |  | mBar
| H₂S |  |  |  | ppm
G) | Sequential Distribution
Preferred Number of Injection Zones
| Distribution Preference |  | Uniform | FALSE | Directional | FALSE
| Priority Zones |  |  |  | (Feed / Blanket / Foam)
| Nozzle Sizes |  |  |  | mm
| Nozzle Elevation |  |  |  | m
H) | Utilities & Controls
| Instrument Air Available |  | Yes | FALSE | No | FALSE
| Electrical Supply |  |  |  | V/Ph/Hz
| Control Philosophy |  |  |  | (Local / PLC / SCADA)
| Required Instruments |  |  |  | (P/F/T/Gas Comp)
I) | Scope of Supply
| Blowers |  | Yes | FALSE | No | FALSE
| Mixing Headers |  | Yes | FALSE | No | FALSE
| Sequencing Valves |  | Yes | FALSE | No | FALSE
| Control Panel |  | Yes | FALSE | No | FALSE
| Instruments |  | Yes | FALSE | No | FALSE
| Installation Supervision |  | Yes | FALSE | No | FALSE
| Commissioning Support |  | Yes | FALSE | No | FALSE
J) | Attachments
| Site layout/ P&ID |  | Yes | FALSE | No | FALSE
| RFQ specifications |  | Yes | FALSE | No | FALSE
Others (please mention)