3i CONSTRUCTION MANAGEMENT

SUBCONTRACTOR SUBMITTAL CHECKLIST

| Instructions: Complete this checklist before submitting any product data, shop drawings, samples, certifications, or other submittal package to 3i. Incomplete packages may be returned without review. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Project: |  | Subcontractor: |  |
| Spec Section: |  | Submittal No.: |  |
| Description: |  | Revision: |  |

PRE-SUBMISSION VERIFICATION

| # | Verification Item | Check |
| --- | --- | --- |
| 1 | Correct project name and project number are identified, correct specification section number and title are identified | ☐ |
| 2 | Applicable drawing, detail, schedule, and room references are included. | ☐ |
| 3 | Exact manufacturer, product name, and product number are clearly marked. | ☐ |
| 4 | Unrelated products, models, sizes, colors, and options are crossed out or removed. | ☐ |
| 5 | Required sizes, dimensions, model numbers, and quantities are identified. | ☐ |
| 6 | Required colors, finishes, patterns, and textures are identified. | ☐ |
| 7 | All required accessories, components, fasteners, and installation materials are included. | ☐ |
| 8 | Installation location and intended use are clearly identified. | ☐ |
| 9 | Product complies with the drawings, specifications, addenda, and approved RFIs. | ☐ |
| 10 | Field conditions and dimensions have been verified where applicable. | ☐ |
| 11 | Adjacent trades and interface requirements have been coordinated. | ☐ |
| 12 | Current manufacturer lead time and required-on-site date have been confirmed. | ☐ |
| 13 | Warranty information is included when required. | ☐ |
| 14 | Required test reports, certifications, listings, and code-compliance documents are included. | ☐ |
| 15 | Shop drawings are project-specific and reflect actual field conditions. | ☐ |
| 16 | Required engineering calculations and drawings are signed and sealed when applicable. | ☐ |
| 17 | Required physical samples, color charts, or finish samples are included or separately delivered. | ☐ |
| 18 | All substitutions, exceptions, and deviations from the contract documents are clearly identified. | ☐ |
| 19 | The subcontractor has reviewed, coordinated, and approved the complete package before submission. | ☐ |
| 20 | The package is complete, legible, current, and organized in the correct sequence. | ☐ |
| 21 | The electronic file is a searchable PDF and is properly named. | ☐ |
| 22 | The submittal is being submitted early enough to allow 3i review, design-team review, resubmittal, procurement, and delivery. | ☐ |

SUBCONTRACTOR CERTIFICATION

| Prepared By: |  | Date: |  |
| --- | --- | --- | --- |
| Signature: |  | Title: |  |
| 3i Received By: |  | Date Received: |  |

Important: Materials or equipment requiring submittal approval may not be ordered, fabricated, delivered, or installed until written approval is received, unless 3i provides written authorization to proceed at the subcontractor’s risk.