## Report_1
Maintenance Report Customer
Date of maintenance
MyOxipack username
Maintenance performers
Leak Detection System
Model |  | SLT
Serial Nr. | [6 empty] | Software version
IP-address |  | 192.168.1.1 |  |  |  |  | Firmware
| Number | Description |  | Code |  |  | Pieces |  | Remarks
| Kolom1 | Kolom2 | Kolom23 | Kolom3 | Kolom33 | Kolom32 | Kolom4 | Kolom5 | Kolom52
Outside | 1 | Picture tester
| 2 | General operation
| 3 | Pollution extern
| 4 | Pollution membranes
| 5 | Tension bolts
| 6 | Condition seals
| 7 | Condition membranes
| 8 | Gas spring / Cylinder
| 9 | Hinges / Ball lock pins
| 10 | Lights
| 11 | Sensors extern
Inside | 50 | Pollution intern
| 51 | Air filters
| 52 | Non-return valves
| 53 | System test
| 54 | Venturi
| 55 | Software
| 56 | Pressure sensor
| 57 | PLC controller / CMS | [7 empty] | 0
| 58 | I / O card | [7 empty] | 0
| 59 | Time / date | [7 empty] | 0
| 60 | Backup logfile | [7 empty] | 0
| 61 | Display | [7 empty] | 0
| 62 | Remaining valves | [7 empty] | 0
| 63 | Air pressure sensor | [7 empty] | 0
0
| Leak Value |  | At start of visit |  |  | At end of visit
Kolom1 | Kolom2 | Kolom3 | Kolom4 | Kolom5 | Kolom6 | Kolom7 | Kolom8 | Kolom9 | Kolom92
| ∆P Empty | [5 empty] | AVG of three
| ∆P Package | [5 empty] | AVG of three
| ∆P Dummy | [5 empty] | AVG of three
0
Comments
Advice
[8 empty] | A | OK
[8 empty] | B | NOK solved
[8 empty] | C | NOK replaced & solved
| Equipment approved | [6 empty] | D | NOK not solved - action needed
| Yes = Green | [6 empty] | X | Not present
Maintenance Report Pictures
Mandatory Pictures
Picture 1 |  | Lid open |  |  |  |  | Picture 2 |  | Lid closed
Picture 3 |  | Machine serial number |  |  |  |  | Picture 4 |  | Leak Value
Optional Pictures
Picture 5 |  | Particularities |  |  |  |  | Picture 6 |  | Particularities
Picture 7 |  | Particularities / Damages |  |  |  |  | Picture 8 |  | Particularities / Damages

## Report_2
Maintenance Report Customer
Date of maintenance
MyOxipack username
Maintenance performers
Leak Detection System
Model |  | SLT
Serial Nr. | [6 empty] | Software version
IP-address |  | 192.168.1.1 |  |  |  |  | Firmware
| Number | Description |  | Code |  |  | Pieces |  | Remarks
| Kolom1 | Kolom2 | Kolom23 | Kolom3 | Kolom33 | Kolom32 | Kolom4 | Kolom5 | Kolom52
Outside | 1 | Picture tester
| 2 | General operation
| 3 | Pollution extern
| 4 | Pollution membranes
| 5 | Tension bolts
| 6 | Condition seals
| 7 | Condition membranes
| 8 | Gas spring / Cylinder
| 9 | Hinges / Ball lock pins
| 10 | Lights
| 11 | Sensors extern
Inside | 50 | Pollution intern
| 51 | Air filters
| 52 | Non-return valves
| 53 | System test
| 54 | Venturi
| 55 | Software
| 56 | Pressure sensor
| 57 | PLC controller / CMS | [7 empty] | 0
| 58 | I / O card | [7 empty] | 0
| 59 | Time / date | [7 empty] | 0
| 60 | Backup logfile | [7 empty] | 0
| 61 | Display | [7 empty] | 0
| 62 | Remaining valves | [7 empty] | 0
| 63 | Air pressure sensor | [7 empty] | 0
0
| Leak Value |  | At start of visit |  |  | At end of visit
Kolom1 | Kolom2 | Kolom3 | Kolom4 | Kolom5 | Kolom6 | Kolom7 | Kolom8 | Kolom9 | Kolom92
| ∆P Empty | [5 empty] | AVG of three
| ∆P Package | [5 empty] | AVG of three
| ∆P Dummy | [5 empty] | AVG of three
0
Comments
Advice
[8 empty] | A | OK
[8 empty] | B | NOK solved
[8 empty] | C | NOK replaced & solved
| Equipment approved | [6 empty] | D | NOK not solved - action needed
| Yes = Green | [6 empty] | X | Not present
Maintenance Report Pictures
Mandatory Pictures
Picture 1 |  | Lid open |  |  |  |  | Picture 2 |  | Lid closed
Picture 3 |  | Machine serial number |  |  |  |  | Picture 4 |  | Leak Value
Optional Pictures
Picture 5 |  | Particularities |  |  |  |  | Picture 6 |  | Particularities
Picture 7 |  | Particularities / Damages |  |  |  |  | Picture 8 |  | Particularities / Damages

## Remarks
Remarks | Remarks 2 |  |  | Remarks 3 | Remarks 4
Cleaned | Membrane | - | Membrane bolts set to correct torque | Yes = Green | Maintenance
Tightend |  | - | Membranes are slightly polluted, but in good condition | No = Red | Repair
Replaced |  | - | Membrane bolts tightened |  | Installation
|  | - | Membranes are worn and have been replaced.
Festo valve |  | + | Membrane in new condition
Festo valve replaced 1/8 |  | 0 | Membrane is best kept clean on a regular base and vacuum grease is used to mount seal correctly
Festo valve replaced 1/4 | Seal | 0 | Seal should be kept clean at al times
Festo valve replaced 3/8 |  | - | Seal replaced, cleaned seal groove and seal.
|  | + | Seal in new condition
MAC valve | Valve | - | Valves were polluted and have been replaced just like the air filters
MAC valve cleaned |  | - | Valves are cleaned
MAC valve replaced |  | + | Valves are clean and work fine
MAC valve replaced 1 / cleaned 1 | Pressure sensor | - | Pressure sensor has been cleaned
|  | - | Pressure sensor replaced (Calibrated)
|  | + | Pressure sensor works fine
Pressure sensor cleaned | Gas spring | - | Gas springs were worn and have been replaced
Pressure sensor replaced |  | - | Gas springs should be replaced
CAL Press.sensor replaced |  | + | Gas springs are working fine
| Air filters | - | Air filters were poluted and have been replaced, to avoid possible problems caused by internal pollution.
|  | + | Air filters are clean
| PLC/CMS | - | PLC / CMS have been replaced.
|  | - | PLC / CMS have been replaced, due to creating corrupt log file.
|  | + | PLC / CMS is working fine
| Printer | - | Printer needs to be replaced
|  | + | Printer is working correctly
| Machine | - | Machine thoroughly cleaned and maintenance carried out
|  | - | Machine date and time of equipment has been adjusted.
|  | - | Machine was very dirty and polluted.
|  | + | Machine works well and looks clean.
| Other | - | Dummy and/or insert has been polluted
|  | - | Many 203 errors in the log file, valve has been replaced.
|  | - | Ethernet connection has been fastened
|  | - | Please share results and findings with Oxipack.
|  | - | Air hoses, some have been replaced. These were dried out.
| Advice | - | Keep the machine and environment around clean to ensure the proper functioning of device.
|  | - | Annually maintenance preformed, internal and external parts are checked and the following points were observed.
|  | - | Replacement of Display