## CCRH Summary
Back of Envelope Load and DERs Estimate
[Facility Name]
Address, City, State Zip
Building
Building Sq ft | 6200 | sq foot
Stories | 1
Approx Ceiling Height | 12 | ft
Load
Annual Load with EV Charging | 91000 | kWhr
Estimated Avg Peak Load | 39.1921 | kW
Estimated Max Peak Load | 76 | kW
DERS Sizing
PV System Size | 60 | kW
Stationary Battery (BESS) | 129 | kWhr
Bus Battery | 100 | kWhr
HVAC Heat Pump | 10 | Tons
H2O heat pump
Level 2 V-G Charger | 30 | kW
MicroGrid | yes
BESS ~footprint (6-7 ft high cabinets) | 16 | sq ft
Energy Performance
PV Annual production | 75000 | kWh
% of annual load | 82.7%
Total BESS Capacity | 76.3333 | kW/3hr
BESS Capacity with 20% Reserve | 61.0667 | kW/3hr
Available for Grid Support | 31.0667
PV Carbon Offset | 9.75 | Metric Tons | 0.00013 | MTs/kWh
Resilience - NO EV Charging/No Large Equipment Use in Training Space
Avg Load Per Square Foot (kWh) | #REF!
Peak Load Per Square Foot (kWh) | #REF! | in winter with full heating
Avg Load Resilience | 74.5695 | hours
Peak Load Resilience | 46.4707 | hours
Peak Load Resilience with 25% load redux measures* | 61.961 | hours
% AVG Load Supported INDEFINITELY | 60.32% | based on Dec PV
% PEAK Load Supported INDEFINITELY | 37.7%
*25% load reduction in winter can be achieved by through 5⁰ to 10⁰ F thermostat set back, modest power rationing, use of cold weather to preserve food and other simple measures
2026-02-10 14:26
Beacon Climate Innovations.
All Rights Reserved

## Services+Reqs
| Site NAME |  | Services and Requirements |  | 2026-02-10 14:26
|  | Resilience Priority | Estimated Capacity
| Services |  | Normal | Outage | Recovery
1 | Heating/Cooling | High | Zero-carbon system maintains comfortable temperatures year-round | Maintain essential services with sustainable power sources | Prioritize quick restoration of full system capabilities
2 | Meetings/Office/Training | High | Space for community meetings, workforce and youth training | Limited use; prioritize emergency and recovery coordination - command center setup, communication hub, strategic planning for recovery | Restore to full capacity to continue community programs
3 | Workspace, Repair, Assembly Tools | High | Tools and workspace available for community and training programs, in emergency space can also be used for recovery measure | Tools available for emergency community repairs | Support rebuilding and repair efforts in the community
4 | Water/Ice | High | Drinking water and ice for cooling during events and hot days | Critical supply of potable water and ice for cooling | Ensure ongoing access to clean water for all recovery stages
5 | Child Care | Medium | Child care infrastructure still in discussion | Safe, supervised space for children during crises | Expand services to support recovery efforts for families
6 | Restrooms/Showers | Medium | Adequate facilities support daily users and occasional events, Restrooms only - ADA Compliant | Ensure water supply and sanitation for extended stays | Scale up capacity to meet increased post-disaster needs
7 | Food Prep and Storage | Low | Supports daily operations / lunch area | Non-perishable food distribution and minimal meal prep | Coordinate with local organizations for food supply and prep
8 | Shelter | Low | Flexible spaces provide shelter as needed | Convert available spaces to accommodate displaced residents | Continue to offer extended shelter services as needed

## Cost+Solutions
|  | [Facility Name] | Solutions and Costs |  |  | 2026-02-10 14:26
|  | Description | Costs |  | Constraints | References:
| Solutions |  | Capital Expenditures | Operating Expenses (Annual)
1 | Clean Resilient Community Power (CCRH) | Utilizes a 60 kW solar PV system with 229 kWh combined battery storage to ensure power continuity and reduce carbon footprint. Includes HVAC systems and microgrid capabilities. Also looking at an electric school bus and V2G (vehicle to grid) features. | $430,000 total system cost, with PV system at $210,000 and batteries at $129,000. Electric bus system costs at $232,500. Microgrid controller costs at $17,450 | Maintenance of solar panels and batteries, cost estimated based on system size and components, expected to be very miniminal (estimate to be under $2500/ year) | Interconnection with the grid. Space limitations for PV installation, reliance on sufficient sunlight, and initial high investment costs. | USDN, [Facility Name] Description, 8M Solar
| Recovery | Training space (carpentry/test equipement/place to learn a skill); potentially useful during emergency times, community center, | Part of initial infrastructure investment, includes costs for components and resources. | Operating training spaces | Maintaining updated and effective training spaces. | [Facility Name] Description
| Transportation | EV Bus, V2G System, Electric Charging System | School bus cost (after incentives): $122,500 | Power, vehicle upkeep | Maintaining the electric school bus. | [Facility Name] Description
2 | Resilient Communications | These are things to be determined, potential options include satellite communications and emergency broadcast | Dependent on infrastracure added and resources used as a result of supporting resilient communications | Dependent on infrastracure added and resources used as a result of supporting resilient communications | Dependent on communications incorporated | USDN
3 | Health & Wellbeing | These are things to be determined, potential options include medical supplies such as a first aid kit, AED machine, and perhaps wellness programs at [Facility Name] | Dependent on infrastracure added and resources used as a result of supporting health and wellbeing | Dependent on infrastracure added and resources used as a result of supporting health and wellbeing | Dependent on materials and programs incorporated | USDN
4 | Security | Not applicable to [Facility Name], Security measures deemed low priority | N/A | N/A | N/A | [Facility Name] Description
5
6
7
8
9
10

## Results Narrative
| Site NAME | Feasiblity Analysis Results - Clean Resilient Community Power (CCRH) |  | 2026-02-10 14:26
|  | Option 1 | Option 2 | Option 3
|  | Solar PV with Battery Storage | Microgrid Integration | Comprehensive Retrofit Including Security and Communication
| Capital Costs (before incentives) | Assuming a middle range of $200,000 for the complete system, USDN suggests range from $150,000 to $250,000 | Assuming $1,000,000 based on a more complex and robust system integration. | Assuming $500,000 for a complete overhaul including modern communication and security systems.
| Net Capital Costs (after incentives) | Assuming incentives cover 30%, the net cost would be $140,000. | With 30% covered by incentives, net costs would be $700,000. | With incentives covering 30%, net costs would be $350,000.
| Lifetime | Typical lifetimes of solar and battery systems are about 25-30 years | About 20-25 years for sophisticated microgrid systems. | 20 - 30 years
| Avg Annual O&M Cost | Estimated at $5,000 based on standard maintenance for solar and battery systems. | $25,000 due to complexity | $20,000, including regular updates to security and communications tech.
1 | Est. Annual Revenue Streams | Assuming net metering and possibly selling back to grid, let's estimate $10,000 annually. | Assuming enhanced capability to participate in demand response programs, let's estimate $30,000 annually. | ~$5,000, this option may not generate as much revenue.
2 | Est. Annual Savings | Based on energy savings, assuming a 20% reduction in energy bills which are approximately $20,000/year, this would result in $4,000 savings annually. | Assuming significant operational savings due to efficiency improvements, let's estimate $50,000 annually | Given efficiency improvements and security upgrades, estimate $25,000 annually.
3 | Est. Insurance Equivalent* | ? | ? | ?
4 | Lifecycle IRR | 4% | 4% | 4%
5 | Simple Payback (years) | (Net Capital Costs / (Annual Savings + Annual Revenue Streams)) = ($140,000 / ($14,000)) ≈ 10 years. | ($700,000 / ($80,000)) ≈ 8.75 years. | ($350,000 / ($30,000)) ≈ 11.67 years.
6 | Lifecycle NPV (6%) | Estimating an annual inflow of $14,000 and a discount rate of 6%, NPV over 25 years could be around $200,000. | Estimating an annual inflow of $80,000, the NPV could be around $950,000 over 25 years. | With an inflow of $30,000 annually, NPV might be around $450,000 over 25 years.
7
8

## Results Quant
| [Facility Name] | Feasiblity Analysis Results - Clean Energy Community Resilient Hub (CCRH)/ Power
|  | Option 1 | Option 2 | Option 3 | Option 4
|  | PV Only | PV, Stationary Battery | PV, Stationary Battery, Microgrid | PV, Stationary Batter, Micogrid, V2G Bus
| Capital Costs (before incentives) | 210000 | 339000 | 356450 | 626450
| Net Capital Costs (after incentives) | 126000 | 203400 | 178225 | 351370
| Lifetime | General rule of thumb 25 years | Battery - generally between 10 and 15. Total System - 18.75 | Microgrid - 12 -15 years. Total System - 16.125 years | V2G Bus - 12 - 15 years. Total System - 14.8 years
| Avg Annual O&M Cost | 100 $/year | Battery - 450 $/year | Microgrid - 50$/year | V2G = 1200 $/year | increase to $6,500 per year in maintenance
1 | Est. Annual Revenue Streams | 0 | 2150 | 2150 | 3816.6667
2 | Est. Annual Savings | 18922.2704 | 28583.373 | 28583.373 | 28583.373 | add $2,300 per year saving in maintenance and gas
3 | Est. Insurance Equivalent* |  | 60 kW standby power generator: $20,000; 120 gallon propane tank: $1,150; Installation Fee: 15000 Total: $36,150 | 60 kW standby power generator: $20,000; 120 gallon propane tank: $1,150; Installation Fee: 15000 Total: $36,150 | 60 kW standby power generator: $20,000; 120 gallon propane tank: $1,150; Installation Fee: 15000 Total: $36,150
| Net Annual Savings: | 18622.2704 | 30283.373 | 30683.373 | 31200.0396
4 | Lifecycle IRR | 14.5% | 13.14% | 15% | 2.95%
5 | Simple Payback (years) | 6.7661 | 6.78 | 5.95 | 11.2618
6 | Lifecycle NPV (6%) | 115748 | 121244 | 124275 | -63225
7
8

## About Facility
Annual Load Estimate
[Facility Name]
[Address, City, State]
|  |  | NS Dim (ft) | EW Dim (ft) | Total SF (sq ft) | PSF Energy (kWh) | Total Energy (kWh | Source
|  | Urban Room | 25.5 | 67.3 | 1715 | 13.7 | 23494 | Mixed use (max)*
|  | Flex Space | 62.3 | 16.2 | 1007 | 8.6 | 8661 | Mixed use (median)*
|  | Healing Center and Co-Working Space | 62.4 | 19.5 | 1216 | 15.3 | 18610 | Admin (max)
|  | Workforce Training | 41.6 | 31.3 | 1299 | 22.9 | 29758 | Lab (midway between 25% and median)
|  |  |  | Sub total | 5238 |  | 80522
|  |  | miles/ day | days/ year | miles/yr | miles/ kWh | Total Energy (kWh)
|  | Type A 25 person bus** | 60 | 248 | 14880 | 1.05 | 14171
|  | 2 Passenger Vehicles | 60 | 300 | 18000 | 3.8 | 4737
|  |  |  | Sub total | 32880 |  | 18908
[6 empty] | Total kWh/yr | 99430
|  | Average Load PSF |  |  |  |  | 15.3727 | kWh/SF
|  | 72 Hour Emergency Conditions (curtailed loads) |  |  |  | 80% | 12.2981 | kWh/SF
References
| * | https://www.eia.gov/consumption/commercial/data/2012/c&e/cfm/pba4.php
| ** | Electric School Bus U.S. Buyer's Guide 2024 - WRI's Electric School Bus Initiative (June 2024).xlsx
Notes
Dimensions (SF)
Total Land Area | 12000
Impermeable Surface Area | 12000
Building(s) footprint | 7341 | ~6,200 sf 325 bay street
Parking Lot area | 1805
Other Non-buildling useable space | 770 | Courtyard
Non useable space (e.g., accessability) | 2084 | 997 sf for accessability
Dimensional Check | 12000
Other Land
Wooded Land area | 0
Open/cleared Land | 0
Max Solar Roof Size | 5854
Mech Equip on Roof footprint | 201.5 | 10 Ton HVAC + 4 foot perimeter
Indoor Square Footage | 5580 | Est 90% of outdoor to indoor
Number of structures | 2 | One is not included 1,100 sf
Stories | 1 | for 325 Bay street
Parking spots | 8 | Estimated
Ceiling Height (ft) | 12

## References
Map Location | https://maps.app.goo.gl/hJmTzLpGfGmmuQj4A | [7 empty] | Battery Sizing/Foot Print Estimator
Load Estimates | Energy Information Administration (EIA)- About the Commercial Buildings Energy Consumption Survey (CBECS) | [9 empty] | sq in | sq ft | sqft/kwh |  |  | cu ft | cuft/kw
| c12.xlsx | [7 empty] | 16 | 28 | 448 | 3.1111 | 0.1037 | 55 | 24640 | 14.2593 | 2.1039 | 30 | khw
Heat Pump Sizing | How Much Energy Does a Heat Pump Use? ¦ EnergySage | [7 empty] | 16 | 21.3889 | 342.2222 | 2.3765 | 0.079218 | 72 |  |  |  | 30 | khw
Percentage of Energy Use | Use of energy in homes - U.S. Energy Information Administration (EIA)
PVWatts Calculator (nrel.gov)
[13 empty] | 10.2984 |  |  |  |  | 130 | kWh
| How Much Does a School Bus Cost? A Complete Guide for Buyers ¦ The Bus Center | [11 empty] | 18.1409 |  |  |  |  | 229
Battery Storage Demand Response ¦ Eversource
School Bus Mileage (Ultimate Guide) - MotorAsk
Electric School Bus Battery Size
| Type A | Type C | Type D
Cost | $230k-$311K | $280k-$491K | $327k-521K
Passenger Capacity | 21-30 | 77-81 | 84-90
Battery Capacity | 88-140kWh | 124-260kWh | 124-387kWh
Bidirectional? | Yes | Yes | Yes
Mileage/kWh |  | 0.67308
Average Miles per day |  | 40
kWh/day |  | 59.4286
kWh/yr |  | 21691.4286
387 | kW |  | A giant battery gives this new school bus a 300-mile range - Ars Technica
Frequently Asked Questions (FAQs) ¦ Electric School Bus Initiative
Electric School Bus Market Study and Electric School Bus U.S. Buyer's Guide ¦ Electric School Bus Initiative
Electric School Bus U.S. Buyer's Guide 2024 - WRI's Electric School Bus Initiative (June 2024).xlsx
PVWatts Calculator
PVWatts Monthly PV Performance Data
|  |  | Requested Location | taunton MA
|  |  | Location | Lat, Lng: 41.89, -71.1
|  |  | Latitude (DD) | 41.89
|  |  | Longitude (DD) | -71.1
|  |  | Elevation (m) | 11.3
|  |  | DC System Size (kW) | 60
|  |  | Module Type | Standard
|  |  | Array Type | Fixed (open rack)
|  |  | Array Tilt (deg) | 10
|  |  | Array Azimuth (deg) | 180
|  |  | System Losses (%) | 14.08
|  |  | DC to AC Size Ratio | 1.2
|  |  | Inverter Efficiency (%) | 96
|  |  | Ground Coverage Ratio | NA
|  |  | Albedo | From weather file
|  |  | Bifacial | No (0)
|  |  | Month | Daily Average POA Irradiance (kWh/m2/day) | DC Array Output (kWh) | AC System Output (kWh)
|  |  | 1 | 2.563 | 4183 | 3967
|  |  | 2 | 3.55 | 5214 | 4962
|  |  | 3 | 4.561 | 7190 | 6848
|  |  | 4 | 5.131 | 7496 | 7139
|  |  | 5 | 5.185 | 7577 | 7205
|  |  | 6 | 6.338 | 8747 | 8332
|  |  | 7 | 6.273 | 8847 | 8429
|  |  | 8 | 5.89 | 8330 | 7936
|  |  | 9 | 4.838 | 6809 | 6482
|  |  | 10 | 3.645 | 5491 | 5216
|  |  | 11 | 2.655 | 4068 | 3860
|  |  | 12 | 2.163 | 3476 | 3287 | Min | 106
[5 empty] | total | 73663 | Avg | 202

## BusCostEst (hidden)
School bus cost differential
electric bus | 245000 |  | Type A bus 24- 30 passenger
Incentives | 50% | low income, ITC, Made in US
122500
Convential Bus Cost | 110000 |  | Daily Rate: | $800 – $1,080
Differential | 12500
Charger Cost | 48784.5
Charger Maintenance | 67419
Total Cost of Bus for 13.5 Year Life Span: |  | 238703.5
Avoided Gasoline charges are
Miles driven per year | 10000 | miles per year |  |  | EV
mileage | 12 | Miles per gallon |  |  | 1.5 | kwh/mi
gasoline cost | 3.2 | $/gallon |  |  | 10000 | 15000 | kWhr
total annual cost | 2666.6667 | $/year
electricity cost | 1830.5085 | $/year |  |  | Gas
Savings per year | 836.1582 | $/year |  |  | 4.5 | 45000
30000
Maintenance costs for ebus is 50% of gas
savings | 1500 | per year
total savings | 2336.1582 | per year
Total Revenue | 3817 |  |  | Total EV Bust Cost Up Front | 171284.5
Savings Over Life Span | 31538.1356 |  |  | Regular Bus | 110000
Revenue Over Life Span | 51529.5 |  |  | Difference EV and Gas: | 61284.5
|  |  |  | Saving + Revenue Over life span: | 83067.6356
Payback | 5.3507 | years |  | Gap: | -21783.1356
Emmissions Estimate for Bus
Gas/kWheq | 0.0002638
electric MT/kWh | 0.00013
difference | 0.0001338
EV Charging kWh | 10169.4915
MT | 1.3607
Bus Emissions
lbs Co2/mile | 3.75 | lbs | Economic and environmental benefits electric school bus - edited.pdf
Miles/yr | 10000
lbs/yr | 37500 |  | bus | 30000
.lbs/MT | 2204.6226 |  | PV | 78000
| 17.0097 |  | Heat Pum | 22320
|  |  | Efficiency | #REF!
Emissions on PV | 31.8535 | Metric Tons | total | #REF!
Emmissions on Heat pumps
Gas | 10 |  | 60 | 31.8535
Heat Pump | 6 |  | 43.7 | 23.2
Net | 4
sq footage | #REF!
| #REF! |  | #REF! |  | savings
MT/yr | #REF!
energy efficiency | #REF! | Standard | #REF!
MT/yr | #REF! | efficient | #REF! | 30%
Total per year | #REF! | diff | #REF!

## Cost Estimate (hidden)
PV System | 210000 | 3.5 | perwatt
Stationary Battery | 129000 | 1000 | per kWh
Level 2 V-G | 25000 | 25000 | per unit
MicroGrid Controller | 17450 | 4.794% | system cost
total cost | 381450
Made in US Content* | 171450
ITC Rebate | 114435 | 30%
low income Rebate | 38145 | 10%
Made in US | 17145 | 10%
Total Rebates | 169725
Total cost for grants and finance | 211725
Elec Supply | 14525.055 | Annual Net Metering |  | Assume electric increase of 1.5% per year or 7.593% average for 10 year period
Demand | 13191.6461 | Peak Offset
Total savings | 27716.7011 | Per year
Payback | 7.6389 | years
Under a Connect Solutions DR Program | 3816.6667 | Estimate revene @ |  | 125 | kW
Total savings + revenue | 31533.3678 | Per year
Payback | 6.7143 | years
Electric Bill (including heating and bus charging) will drop from | 29000 | to | 2000
School bus cost differential
electric bus | 245000 |  | Type A bus 24- 30 passenger
Incentives | 50% | low income, ITC, Made in US
122500
Convential Bus Cost | 110000
Differential | 12500
Avoided Gasoline charges are | 10000 | miles per year
mileage | 12 | Miles per gallon
gasoline cos | 3.2 | $/gallon
total annual cost | 2666.6667 | $/year
electricity cost | 1830.5085 | $/year
Savings per year | 836.1582 | $/year
Maintenance costs for ebus is 50% of gas
savings | 1500 | per year
total savings | 2336.1582 | per year
Payback | 5.3507 | years

## Load Estimate (hidden)
BAU Annual | kWhr | Cost |  | Elec Rate
Community Space | 50765 | 9137.7 |  | 0.18 | Est
Training Space | 29758 | 5356.44
EV Charging | 10169.4915 | 1830.5085 |  | 40 | miles per day
Total | 90692.4915 | 16324.6485 |  | 1.0169 | miles/kWh | Small GREEN PoWER Bus
|  |  |  | 250 | days/yr
Avg Load w/o EV | 9.1921 |  |  | 2.5 | x avg to get peak
With EV | 30 |  |  | 2 | level charger
Estimated Peak | 39.1921 | 12260.6918 |  | 420 | per year above 10kW
|  |  |  | 312.8356 | per year above 10kW
|  |  |  | 26.0696 | avg per month
Total elec bill per year |  | 28585.3403
Connected Solution | 30.5333 | -3816.6667 |  | 125 | per kW |  |  |  |  | with bus electric (peak) savings
-3817
without bus savings
-2150
Large Individual Loads | [5 empty] | tons | kW
HVAC | 32252.4 | 35% |  | 5.78 | kW/sf | 0.2854 | 1
Water Heating | 13822.4571 | 15% |  |  |  | 35.0385
Refridgeration | 6450.48 | 7%
Lighting | 4607.4857 | 5%
All other | 30409.4057 | 33%
Total | 92149.7143 | 95%
Emergency Conditions (no EV Charging) |  | Battery Hour | kWh/hr | 24 hr kWh | 72 hr kWh |  | Daily PV kWh |  | kW Capacity need to support 72 hrs
Average* | 80% full pwr | 3 | 7.3536 | 176.4866 | 529.4597 | Avg | 201 | 60.63% | 176.4866
VOR Min Rule (indefinite) | 25% | 3 | 2.75 | 66 | 198 | Dec | 107 |  | 66
*Using training space for emergency purposes

## DER Sizing (hidden)
Normal Operation
Footprint of Roof HVAC Unit | 201.5 | 10 Ton + 4 foot perimiter
Available Roof size | 5854
less surrounding perimeter | 5200.3 | 92%
PV Rated Power kW | 78004.5 | 15 | watt/sf
PV Size Limit (kW) | 60000 | TMLP
PV Rated Array kW | 60000
PV kWh/yr avg | 1250 | 5-10% | shading | in Winter
|  | 10 | degree tilt
Avg PV production | 75000 | kWh/yr
% of total load | 82.7%
Lowest avg daily output | 106.4516 | kWh/day
Three days | 319.3548 | kWh
Stationary Battery | 129 | kWh
Bus Battery | 100 | kWh
Total Capacity | 229 | kWh
Grid Support | 183.2 | kWh | 0.8 | usable capacity
kW Capacity | 61.0667 |  | 3 | hour
Solar + Battery Capacity | 548.3548 | 548.3548 | 548.3548
avg load per hour | 7.3536 | 11.8 | 8.85
Avg power resilience | 74.5695 | 46.4707 | 61.961
| avg | Peak
Average Emergency Power per day | 176.4866 | 282.3785
% of load support indefinitely. Winter PV | 60.32% | 37.7%
Average Power/72 hr | 529.4597
25% Avg Power/72 hours | 198
Grid support capability | 30.5333 | 50%

## PO Estimate (hidden)
| Estimate | Notes
PV System | 210000 | 3.5 | perwatt
Stationary Battery* | 129000 | 1000 | per kWh
Level 2 V-G* | 35000 | 35000 | per unit (Matcha can apply their grant funding to this)
MicroGrid Controller* | 35300 | 10% | system cost
Contingency | 40930 | 10% | installed cost
Management/overhead | 56278.75 | 12.5% | BCI/PO/TPS
total cost | 506508.75
Made in US Content* | 199300
ITC Rebate | 151952.625 | 30%
low income Rebate | 50650.875 | 10%
Made in US | 19930 | 10%
Total Rebates | 222533.5
Total cost for grants and finance | 283975.25
Max | 305000 | without Made in US
Min | 260588.25 | Match covers EV Costs
Elec Supply | 14525.055 | Annual Net Metering |  | Assume electric increase of 1.5% per year or 7.593% average for 10 year period
Demand | 13191.6461 | Peak Offset
Total savings | 27716.7011 | Per year
Payback | 10.2456 | years
Under a Connect Solutions DR Program | 3816.6667 | Estimate revene @ |  | 125 | kW
Total savings + revenue | 31533.3678 | Per year
Payback | 9.0055 | years
Electric Bill (including heating and bus charging) will drop from | 29000 | to | 2000 |  | 27000
School bus cost differential
electric bus | 245000 |  | Type A bus 24- 30 passenger
Incentives | 50% | low income, ITC, Made in US
122500
Convential Bus Cost | 110000
Differential | 12500
Avoided Gasoline charges are | 10000 | miles per year
mileage | 12 | Miles per gallon
gasoline cos | 3.2 | $/gallon
total annual cost | 2666.6667 | $/year
electricity cost | 1830.5085 | $/year
Savings per year | 836.1582 | $/year
Maintenance costs for ebus is 50% of gas
savings | 1500 | per year
total savings | 2336.1582 | per year
Payback | 5.3507 | years